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1	WO 00366	PM 00400	2690 Pump Tray Tester	TE 82526-1	TE 82526-1


2	WO 00367	PM 00401	2690 Pump Tray Tester	TE 82526-4	TE 82526-4

Joel Mamalateo
Deduyo	Test Engineering	5th

Joel Mamalateo
Deduyo	Test Engineering	5th

Alliance Pump
Tray Station	Waters

Alliance Pump
Tray Station	Waters

WAT-RW- SKI00306

WAT-RW- SKI00306

24-Feb-	N	N	N	N	N	N	Y	N	NA
10

24-Feb-	N	N	N	N	N	N	Y	N	NA
10


NA.

WO 01077 Date: 21/02/13. WO 02176
Date 11/05/15.




3	WO 00368	PM 00402	2690 Pump Tray Tester	TE 82526	TE 82526


4	WO 00369	PM 00403	2690 Keypad LCD Tester	TE 82546	TE 82546

Joel Mamalateo
Deduyo	Test Engineering	5th

Joel Mamalateo
Deduyo	Test Engineering	5th

Alliance Pump
Tray Station	Waters

Alliance Front
Panel Station	Waters

WAT-RW- SKI00306

WAT-RW- SKI00281

24-Feb-	N	N	N	N	N	N	Y	N	NA
10

26-Feb-	N	N	N	N	N	N	Y	N	NA
10


NA.


NA.



5	WO 00370	PM 00404


2690 Carousel Carrier Drive Alignment
Station	TE 82520	TE 82520


Joel Mamalateo
Deduyo	Test Engineering	5th


Alliance Carousel
Station	Waters


WAT-RW- SKI00297


26-Feb-
10


N	N	N	N	N	N	Y	N	NA	WO 01597 Date: 20/01/14 Equipment
Return Customer.




6	WO 00371	PM 00405	Fluidics Tray Tester (Vacuum Degasser)	TE 82523-3	TE 82523-3

Joel Mamalateo
Deduyo	Test Engineering	5th

Alliance Heater
Cooler Station	Waters

WAT-RW- SKI00304/308

26-Feb-	N	N	N	N	N	N	Y	N	NA
11	NA.



7	WO 00372	PM 00406	2690/2790 Syringe Drive Tester	TE 82656	TE 82656


Joel Mamalateo
Deduyo	Test Engineering	5th


Alliance Car Plate Syringe
Drive Station	Waters


WAT-RW- SKI02048


26-Feb-
10


N	N	N	N	N	N	Y	N	NA



WO 03516 Date: 17/05/17.



8 WO 00373	PM 00407	0 Ring  Body Leak tester	TE 82626	TE 82626


Joel Mamalateo
Deduyo	Test Engineering	5th


Alliance Car Plate Syringe
Drive Station	Waters


SKW-RW- SKR00035


26-Feb-
11


N	N	N	N	N	N	Y	N	NA


WO 02758 Date: 15/03/16. WO 03910
Date 19/12/17 Resume Preventive Maintenance.




9 WO 00374	PM 00408	In Line Degasser	MX6CM8215R	NA


10 WO 00375	PM 00409	In Line Degasser	L02DG2367M	NA

Joel Mamalateo
Deduyo	Test Engineering	5th

Joel Mamalateo
Deduyo	Test Engineering	5th

Alliance Pump
Tray Station	Waters

Alliance Pump
Tray Station	Waters

SKW-RW- SKR00035

SKW-RW- SKR00035

26-Feb-	N	N	N	N	N	N	Y	N	NA
11

26-Feb-	N	N	N	N	N	N	Y	N	NA
11

WO 01571 Date 03/12/13. WO 02177
Date 11/05/15.


NA.




11 WO 00376	PM 00410	In Line Degasser	M05DG2685M	NA

Joel Mamalateo
Deduyo	Test Engineering	5th	Injector Station	Waters

SKW-RW- SKR00035

26-Feb-	N	N	N	N	N	N	Y	N	NA
11


WO 01294 Date 26/06/13.




12 WO 00377	PM 00411	In Line Degasser	F10DG2565M	NA


13 WO 00378	PM 00412	In Line Degasser	M05DG2691M	NA


14 WO 00379	PM 00413	In Line Degasser	F10DG2553M	NA

Joel Mamalateo
Deduyo	Test Engineering	5th

Joel Mamalateo
Deduyo	Test Engineering	5th

Joel Mamalateo
Deduyo	Test Engineering	5th

Alliance Pump
Tray Station	Waters

Alliance
HPMV Station	Waters

Alliance
Injector Station	Waters

SKW-RW- SKR00035

SKW-RW- SKR00035

SKW-RW- SKR00035

26-Feb-	N	N	N	N	N	N	Y	N	NA
11

26-Feb-	N	N	N	N	N	N	Y	N	NA
11

26-Feb-	N	N	N	N	N	N	Y	N	NA
11


NA.


NA.

WO 01077 Date: 21/02/13. WO 02759
Date 15/03/16.




15 WO 00380	PM 00414	In Line Degasser	M05DG2694M	NA

Joel Mamalateo
Deduyo	Test Engineering	5th

1525/1515/515
Pump Station	Waters

SKW-RW- SKR00035

26-Feb-	N	N	N	N	N	N	Y	N	NA
11	NA.




16 WO 00381	PM 00415	In Line Degasser	H04DG2941M	NA

Joel Mamalateo
Deduyo	Test Engineering	5th

1525/1515/515
Pump Station	Waters

SKW-RW- SKR00035

26-Feb-	N	N	N	N	N	N	Y	N	NA
11	NA.




17 WO 00382	PM 00476	In Line Degasser	F09DG2292M	NA

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

SKW-RW- SKR00035

26-Feb-	N	N	N	N	N	N	Y	N	NA
11	NA.




18 WO 00383	PM 00477	In Line Degasser	M09DG2458M	NA

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

SKW-RW- SKR00035

26-Feb-	N	N	N	N	N	N	Y	N	NA
11	NA.
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19 WO 00384	PM 00478	Acquity Actuater Tester	TE 82800 - 2	TE 82800 - 2

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

WAT-RW- SKI02034

26-Feb-	N	N	N	N	N	N	Y	N	NA
11


WO 03517 Date: 17/05/17.




20 WO 00385	PM 00479	Acquity Actuater Tester	TE 82800 - 3	TE 82800 - 3

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

WAT-RW- SKI02034

26-Feb-	N	N	N	N	N	N	Y	N	NA
11	WO 03518 Date: 17/05/17.




21 WO 00386	PM 00480	515 Bezel Assembly Tester	TE 82851	TE 82851


22 WO 00387	PM 00481	Pump Mechanics Run In Module	TE 82613	TE 82613

Joel Mamalateo
Deduyo	Test Engineering	5th

Joel Mamalateo
Deduyo	Test Engineering	5th

1525/1515/515
Pump Station	Waters

1525/1515/515
Pump Station	Waters

SKW-RW- SKR00035

SKW-RW- SKR00035

26-Feb-	N	N	N	N	N	N	Y	N	NA
11

26-Feb-	N	N	N	N	N	N	Y	N	NA
11


NA.


NA.



23 WO 00388	PM 00486	Dispenser Control Box	85070	85070


Joel Mamalateo
Deduyo	Test Engineering	5th


Alliance
Injector Station	Waters


SKW-RW- SKR00035


26-Feb-
11


N	N	N	N	N	N	Y	N	NA


WO 02760 Date: 15/03/16.  WO 03911
Date 19/12/17 Resume Preventive
Maintenance.




24 WO 00389	PM 00487	Electrical Safety Analyser	4406959	NA

Joel Mamalateo
Deduyo	Test Engineering	5th

Alliance
Station	Waters

WAT-RW- SKI00279

04-Aug-	Y	N	N	N	N	N	N	N	NA
09

WO 01078 Date: 21/02/13 Equipment Not In Use.  WO 01298 Date 02/07/13.




25 WO 00390	PM 00488	Electrical Safety Analyser	5037655	95037

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

WAT-RW- SKI00279

04-Aug-	Y	N	N	N	N	N	N	N	NA
09

WO 01295 Date 26/06/13. WO 01299
Date 02/07/13.




26 WO 00391	PM 00489	Electrical Safety Analyser	6069766	NA

Joel Mamalateo
Deduyo	Test Engineering	5th

Alliance
Station	Waters

WAT-RW- SKI00279

17-Mar-	Y	N	N	N	N	N	N	N	NA
10

WO 01296 Date 26/06/13. WO 01300
Date 02/07/13.




27 WO 00392	PM 00490	Electrical Safety Analyser	1140660	90282



Joel Mamalateo
Deduyo	Test Engineering	5th



Detector
Station	Waters



WAT-RW-
SKI00279	01-Jun-10



Y	N	N	N	N	N	N	N	NA


WO 01297 Date 26/06/13. WO 01301
Date 02/07/13. WO 01302 Date 02/07/13.
WO 01572 Date 03/12/13 Inactive- Remove from line (RE/094/13)




28 WO 01332	PM 01270	Tubing Sokaing System	NA	NA

Joel Mamalateo
Deduyo	Test Engineering	1st

Tube Cutting
Area	Waters

WAT-RW-	N	Y	N	N	N	N	N	N	NA
SKI02576	23-Jul-13


WO 02612 Date 18/01/16 Inactive- Remove from line (RE/009/16).


Tubing Sokaing System	NA	NA

Joel Mamalateo
Deduyo	Test Engineering	1st

Tube Cutting
Area	Waters

WAT-RW-
SKI02576	23-Jul-13

N	N	N	Y	N	N	N	N	NA




29 WO 01347	PM 01283	515 Pump Final Test CPU	SFST0259365	TE 82534

Joel Mamalateo
Deduyo	Test Engineering	5th

515/1500 series
Pump Station	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12

WO 02178 Date 11/05/15 Equipment Return to Customer.




30 WO 01348	PM 01284	1500 Pump Series Final Test CPU	B05L32002W	TE 82705-2


31 WO 01349	PM 01285	BSM / QSM Actuator Tester CPU	E85-05687	TE 82800-2

Joel Mamalateo
Deduyo	Test Engineering	5th

Joel Mamalateo
Deduyo	Test Engineering	5th

515/1500 series
Pump Station	Waters

BSM/QSM
Station	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12

WO 02179 Date 11/05/15 Equipment Return to Customer.


NA.




32 WO 01350	PM 01286	BSM / QSM Actuator Tester CPU	KKPABOR	TE 82800-3

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12	NA.




33 WO 01351	PM 01287	BSM / QSM Final Test CPU

H08L32067W /
G08BLM431C	TE 82943-11

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12	NA.




34 WO 01352	PM 01288	BSM / QSM Final Test CPU	M08L32055W	TE 82943-12

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12	NA.
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35 WO 01353	PM 01289	BSM / QSM Final Test CPU	M08L32151W	TE 82943-13

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12


NA.




36 WO 01354	PM 01290	BSM / QSM Final Test CPU	M08L32177W	TE 82943-14

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12	NA.




37 WO 01355	PM 01291	BSM / QSM Final Test CPU	M08L32051W	TE 82943-15

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12


NA.




38 WO 01356	PM 01292	BSM / QSM Final Test CPU


39 WO 01357	PM 01293	BSM / QSM Final Test CPU

B08L32155W /
A08LM136C	TE 82943-16

H07L32328W /
G07BLM843C	TE 82943-17

Joel Mamalateo
Deduyo	Test Engineering	5th

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

BSM/QSM
Station	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12


NA.


NA.




40 WO 01358	PM 01294	BSM / QSM Final Test CPU

LO8L32004W /
J08BLM106C	TE 82943-18

Joel Mamalateo
Deduyo	Test Engineering	5th

BSM/QSM
Station	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	02-Jul-12	NA.




41 WO 01573	PM 01390	In Line Degasser	G13DG2138M	NA

Joel Mamalateo
Deduyo	Test Engineering	5th

Alliance Pump
Tray Station	Waters

SKW-RW- SKR00035

03-Dec-	N	N	N	N	N	N	Y	N	NA
13	NA.




42	WO 01574	PM 01391

Guardian 6000 Plus Electrical Safety
Analyser	08280865	NA

Joel Mamalateo
Deduyo	Test Engineering	5th

Detector
Station	Waters


WAT-RW- SKI00279

29-Nov-
13

Y	N	N	N	N	N	N	N	NA


NA.



43 WO 01596	PM 01396	Carousel tester (Alliance CCD tester)	TE 82520-1	TE 82520-1


Joel Mamalateo
Deduyo	Engineering	5th


Alliance Carousel
Station	Waters


WAT-RW-
SKI00297	14-Jun-13


N	N	N	N	N	N	Y	N	NA



NA.




44 WO 01786	PM 01524	PDA Linearity test system	C08L32208W	TE82969-1


45 WO 01787	PM 01525	Detector Programming / Downloading CPU	C08L32078W	TE83057-4

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

Production
Floor	Waters

WAT-RW- SKI02997

SKW-RW- SKR00035

05-AUG-	N	N	N	N	N	N	N	Y	NA
14

05-AUG-	N	N	N	N	N	N	N	Y	NA
14

WO 02761 Date 15/03/16. WO 03519
Date: 17/05/17.

WO 04447 Date 21/09/18 Change Customer Equipment ID.




46 WO 01788	PM 01526	Detector Programming / Downloading CPU

H04BLM012C
/ J04L32108W	TE82964-1

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

05-AUG-	N	N	N	N	N	N	N	Y	NA
14


NA.




47	WO 01789	PM 01527	TUV / 2489 Final test CPU	G05L32009W	TE82903-06


48	WO 01790	PM 01528	TUV / 2489 Final test CPU	J04L32091W	TE82903-9

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

Production
Floor	Waters

WAT-RW- SKI03034

WAT-RW- SKI03034

05-AUG-	N	N	N	N	N	N	N	Y	NA
14

05-AUG-	N	N	N	N	N	N	N	Y	NA
14


WO 03588 Date 21/07/17.


WO 03589 Date 21/07/17.




49	WO 01791	PM 01529	TUV / 2489 Final test CPU	J04L32120W	TE82903-8

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

WAT-RW- SKI03034

05-AUG-	N	N	N	N	N	N	N	Y	NA
14	WO 03590 Date 21/07/17




50	WO 01792	PM 01530	TUV / 2489 Final test CPU	J04L32102W	TE82903-10

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

WAT-RW- SKI03034

05-AUG-	N	N	N	N	N	N	N	Y	NA
14	WO 03591 Date 21/07/17.




51 WO 01793	PM 01531	2998 / PDA / eLAMDA Final Test CPU	E13L32018W	TE82882-8

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

05-AUG-	N	N	N	N	N	N	N	Y	NA
14	NA.
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52 WO 01794	PM 01532	2998 / PDA / eLAMDA Final Test CPU


53 WO 01795	PM 01533	2998 / PDA / eLAMDA Final Test CPU

B08L32264W /
A08BLM670C	TE82882-6

D04BLM247C
/ H04L32213W	TE82882-1

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

Production
Floor	Waters

SKW-RW- SKR00035

SKW-RW- SKR00035

05-AUG-	N	N	N	N	N	N	N	Y	NA
14

05-AUG-	N	N	N	N	N	N	N	Y	NA
14

WO 02180 Date 11/05/15 Equipment Return to Customer.

WO 02181 Date 11/05/15 Equipment Return to Customer.




54 WO 01796	PM 01534	2998 / PDA / eLAMDA Final Test CPU	B08L32082W	TE82882-2

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

05-AUG-	N	N	N	N	N	N	N	Y	NA
14


NA.




55 WO 01797	PM 01535	2998 / PDA / eLAMDA Final Test CPU

G07L32030W /
F07BLM123C	TE82882-5

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

05-AUG-	N	N	N	N	N	N	N	Y	NA
14

WO 02182 Date 11/05/15 Equipment Return to Customer.




56 WO 01867	PM 01573	Rear Panel Test CPU	C08L32093W	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

25-Sep-	N	N	N	N	N	N	N	Y	NA
14


NA.




57 WO 01868	PM 01574	Autoloader 2 CPU	B08L32122N	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

25-Sep-	N	N	N	N	N	N	N	Y	NA
14	NA.




58 WO 01869	PM 01575	Transfer Module	TE82659-2	TE82659-2

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

25-Sep-	N	N	N	N	N	N	N	Y	NA
14	NA.




59	WO 01870	PM 01576	Flow cell Tester	G08998943N	TE186002998

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

25-Sep-	N	N	N	N	N	N	N	Y	NA
14	NA.




60	WO 01871	PM 01577	Filter Wheel Tester	TE82965	TE82965

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

25-Sep-	N	N	N	N	N	N	N	Y	NA
14	NA.



61	WO 01872	PM 01578	Light Meter	9120000-3 	9120000-3


62 WO 01873	PM 01579	TUV Lamp Supply	TE82874	TE82874


63 WO 02183	PM 01725	Chroma Electrical Safety Analyzer	19032G000182	NA


64 WO 02184	PM 01726	Carousel Tester	NA	TE82520-2


65 WO 02185	PM 01727	515 Pump Final Test CPU	LMGKCVW	TE82534

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

Production
Floor	Waters

Production
Floor	Waters

Production
Floor	Waters

Production
Floor	Waters

SKW-RW- SKR00035

SKW-RW- SKR00035

WAT-RW- SKI00279

WAT-RW- SKI00297

SKW-RW- SKR00035

25-Sep-	N	N	N	N	N	N	N	Y	NA
14

25-Sep-	N	N	N	N	N	N	N	Y	NA
14

15-May-	Y	N	N	N	N	N	N	N	NA
15

15-May-	N	N	N	N	N	N	Y	N	NA
15

11-May-	N	N	N	N	N	N	N	Y	NA
15

WO 02762 Date: 15/03/16 Inactive- Remove from line (RE/015/16).


NA.


NA.


NA.


NA.




66 WO 02186	PM 01728	1500 series Final CPU	LMGPRBH	TE82705-2

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

11-May-	N	N	N	N	N	N	N	Y	NA
15	NA.




67 WO 02187	PM 01729	Alliance Final Tester 1 CPU	KKPAAOH	NA


Joel Mamalateo
Deduyo	Engineering	5th


Production
Floor	Waters


SKW-RW- SKR00035


11-May-	N	N	N	N	N	N	N	Y	NA
15

WO 03177 Date: 05/12/16 Inactive- Remove from line (RE/054/16).




68 WO 02188	PM 01730	Alliance Final Tester 2 CPU	KKPRA3T	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

11-May-	N	N	N	N	N	N	N	Y	NA
15	NA.
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69 WO 02189	PM 01731	Alliance Final Tester 3 CPU	M11L32097W	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

11-May-	N	N	N	N	N	N	N	Y	NA
15


NA.




70 WO 02190	PM 01732	Alliance Final Tester 4 CPU	H10L32039W	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

11-May-	N	N	N	N	N	N	N	Y	NA
15	NA.




71 WO 02191	PM 01733	2998 / PDA / elamda Final Test CPU	NA	TE82882-09


72 WO 02192	PM 01734	2998 / PDA / elamda Final Test CPU	M12L32412W	TE82882-10


73 WO 02193	PM 01735	2998 / PDA / elamda Final Test CPU	F13L32287W	TE82882-11

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

Production
Floor	Waters

Production
Floor	Waters

SKW-RW- SKR00035

SKW-RW- SKR00035

SKW-RW- SKR00035

11-May-	N	N	N	N	N	N	N	Y	NA
15

11-May-	N	N	N	N	N	N	N	Y	NA
15

11-May-	N	N	N	N	N	N	N	Y	NA
15


NA.


NA.


NA.




74 WO 02194	PM 01736	Acquity Actuator Homing box	NA	TE83076-3

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

WAT-RW- SKI02962

11-May-	N	N	N	N	N	N	N	Y	NA
15	WO 03592 Date 24/07/17.




75 WO 00076	PM 00143	Laboratory Fume Hood	040318000D	NA

Joel Mamalateo
Deduyo	Engineering	5th

Preparation
Room	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00240	31-Jan-11	NA




Laboratory Fume Hood	040318000D	NA

Joel Mamalateo
Deduyo	Engineering	5th

Preparation
Room	Waters

SKW-RW- SKR00240

29-Aug-
12

N	N	N	Y	N	N	N	N	NA


WO 00869 Date 27/08/12.




76 WO 00846	PM 00796	Purelab Ultra MK2 Analytic	UAC279329	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
Preparation Lab	Waters

WAT-RW-	Y	N	N	N	N	N	N	N	NA
SKI00671	07-Jun-10	NA




Purelab Ultra MK2 Analytic	UAC279329	NA



Joel Mamalateo
Deduyo	Engineering	5th



Production
Preparation Lab	Waters



WAT-RW-
SKI00671	07-Jun-10



N	N	N	N	N	N	Y	N	NA


WO 04012 Date 03/04/18 Early yearly Preventive Maintenance. WO 04068 Date 25/05/18 Change PM Frequency & Equipment Serial Number.




77 WO 00862	PM 01126	Ultrasonic Tank System

ENA03C49754
2F	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
Preparation Lab	Waters

WAT-RW- SKI01746

23-Aug-	N	N	N	Y	N	N	N	N	NA
12	NA




78 WO 01435	PM 01351	Purelab Prima 90	P90F229898	NA

Joel Mamalateo
Deduyo	Engineering	1st	Tube Cutting	Waters

WAT-RW-	N	N	N	N	N	N	Y	N	NA	WO 01523 Date: 19/09/13. WO



Purelab Prima 90	P90F229898	NA


Joel Mamalateo
Deduyo	Engineering	1st	Tube Cutting	Waters


WAT-RW- SKI02637


12-Aug-	N	N	N	Y	N	N	N	N	NA
13

02794 Date: 03/05/16 Inactive-
 (
S
K
I01770
29-
J
u
l
-13
)Remove from line (RE/020/16).




79 WO 02756	PM 02120	PDA Final Tester	S4ALMVW	TE82882-13

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

15-Mar-	N	N	N	N	N	N	N	Y	NA
16	NA




80 WO 02757	PM 02121	PDA Final Tester	S4ALYMH	TE82882-14

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

15-Mar-	N	N	N	N	N	N	N	Y	NA
16	NA




81 WO 02821	PM 02153	Alliance Final Tester 5 CPU	C12L32205W	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

24-May-	N	N	N	N	N	N	N	Y	NA
16	NA




82 WO 02938	PM 02246	Vision Measuring System	100	NA

Joel Mamalateo
Deduyo	Engineering	5th	Production area	Waters

SKW-RW-	N	N	N	N	N	N	N	Y	NA
SKR00035	04-Jul-16	NA
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83 WO 03176	PM 02448	Alliance Final Tester 1 CPU	C12L32255W	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
Floor	Waters

SKW-RW- SKR00035

06-Dec-	N	N	N	N	N	N	N	Y	NA
16	NA




84 WO 03201	PM 02464	SQT / ORT Station	NA	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
Area	Waters

SKW-RW- SKR00035

23-Dec-	N	N	N	N	N	N	N	Y	NA
16	NA




85 WO 03508	PM 02618	Prime / Purge Module	NA	TE82733-1


86 WO 03509	PM 02619	Prime / Purge Module	NA	TE82733-2


87 WO 03510	PM 02620	Prime / Purge Module	NA	TE82733-3

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Production
eAlliance	Waters

Production
eAlliance	Waters

Production
eAlliance	Waters

WAT-RW- SKI04071

WAT-RW- SKI04071

WAT-RW- SKI04071

03-May-	N	N	N	N	N	N	N	Y	NA
17	NA

03-May-	N	N	N	N	N	N	N	Y	NA
17	NA

03-May-	N	N	N	N	N	N	N	Y	NA
17	NA




88 WO 03511	PM 02621	Prime / Purge Module	NA	TE82733-4

Joel Mamalateo
Deduyo	Engineering	5th

Production
eAlliance	Waters

WAT-RW- SKI04071

03-May-	N	N	N	N	N	N	N	Y	NA
17	NA




89 WO 03512	PM 02622	Prime / Purge Module	NA	TE82733-5

Joel Mamalateo
Deduyo	Engineering	5th

Production
eAlliance	Waters

WAT-RW- SKI04071

03-May-	N	N	N	N	N	N	N	Y	NA
17	NA




90 WO 03513	PM 02623	Prime / Purge Module	NA	TE82733-6

Joel Mamalateo
Deduyo	Engineering	5th

Production
eAlliance	Waters

WAT-RW- SKI04071

03-May-	N	N	N	N	N	N	N	Y	NA
17	NA




91	WO 00157	PM 00321	TUV Shunt 289002450 (TM007MD)	WT-F186	TM007MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW- ENG3009



25-Feb-
11



N	N	N	N	N	N	Y	N	NA


WO 01877 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03864 Date: 13/12/17 Inactive-Remove from line (RE/123/17).




92	WO 00162	PM 00326	TUV Shunt 289002450 (TM014MD)	WT-F191	TM014MD



Joel Mamalateo
Deduyo	Engineering	5th


Detectors Final Test




Waters



SKW- ENG3009



25-Feb-
11



N	N	N	N	N	N	Y	N	NA


WO 01877 Date 07/10/14. WO 03545
Date: 19/06/17.  WO 03865 Date: 13/12/17 Inactive-Remove from line (RE/124/17).




93	WO 00167	PM 00331	PDA shunt 289002226 (PM026MD)	WT-F196	PM026MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW- ENG3009



25-Feb-
11



N	N	N	N	N	N	Y	N	NA


WO 01877 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03962 Date:
22/02/18 Equipment return to Waters Customer.




94	WO 00169	PM 00333	PDA shunt 289002227 (#02)	WT-F199	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW- ENG3009

25-Feb-	N	N	N	N	N	N	Y	N	NA
11

WO 01877 Date 07/10/14. WO 03545
Date: 19/06/17.




95	WO 00172	PM 00336	PDA shunt 289002226 (PF159MD)	WT-F222	PF159MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW- ENG3009



25-Feb-
11



N	N	N	N	N	N	Y	N	NA


WO 01877 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03963 Date:
22/02/18 Equipment return to Waters Customer.




96	WO 00173	PM 00337	PDA shunt 289002149 (#01)	WT-F223	NA



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW- ENG3009



25-Feb-
11



N	N	N	N	N	N	Y	N	NA


WO 01877 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03964 Date: 22/02/18 Equipment return to Waters Customer.




97	WO 01732	PM 01479	TUV Shunt 289002450 (TF001MD)	WT-F246	TF001MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03833 Date: 30/11/17 Inactive-Remove from line (RE/108/17).
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98	WO 01733	PM 01480	TUV Shunt 289002450 (TF002MD)	WT-F247	TF002MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03834 Date:
30/11/17 Inactive-Remove from line (RE/109/17).




99	WO 01734	PM 01481	TUV Shunt 289002450 (TF003MD)	WT-F248	TF003MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03835 Date: 30/11/17 Inactive-Remove from line (RE/110/17).




100	WO 01735	PM 01482	TUV Shunt 289002450 (TF006MD)	WT-F249	TF006MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03836 Date: 30/11/17 Inactive-Remove from line (RE/111/17).




101	WO 01736	PM 01483	TUV Shunt 289002450 (TF007MD)	WT-F250	TF007MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03837 Date: 30/11/17 Inactive-Remove from line (RE/112/17).




102	WO 01737	PM 01484	TUV Shunt 289002450 (TF008MD)	WT-F251	TF008MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03838 Date:
30/11/17 Inactive-Remove from line (RE/113/17).




103	WO 01738	PM 01485	TUV Shunt 289002450 (TM001MD)	WT-F252	TM001MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03839 Date:
30/11/17 Inactive-Remove from line (RE/114/17).




104	WO 01739	PM 01486	TUV Shunt 289002450 (TM008MD)	WT-F253	TM008MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03840 Date:
30/11/17 Inactive-Remove from line (RE/115/17).




105	WO 01740	PM 01487	TUV Shunt 289002450 (TM009MD)	WT-F254	TM009MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03841 Date: 30/11/17 Inactive-Remove from line (RE/116/17).




106	WO 01741	PM 01488	TUV Shunt 289002450 (TM010MD)	WT-F255	TM010MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03842 Date: 30/11/17 Inactive-Remove from line (RE/117/17).




107	WO 01742	PM 01489	TUV Shunt 289002450 (TM011MD)	WT-F256	TM011MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03843 Date: 30/11/17 Inactive-Remove from line (RE/118/17).




108	WO 01743	PM 01490	TUV Shunt 289002450 (TM012MD)	WT-F257	TM012MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03844 Date: 30/11/17 Inactive-Remove from line (RE/119/17).



109	WO 01744	PM 01491	PDA shunt 289002226 (PF152MD)	WT-F258	PF152MD


Joel Mamalateo
Deduyo	Engineering	5th


Detectors Final
Test	Waters


SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17.WO 03924 Date: 12/01/18
Equipment return to Waters Customer.




110	WO 01745	PM 01492	PDA shunt 289002226 (PF153MD)	WT-F259	PF153MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14



N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03925 Date: 12/01/18 Equipment return to Waters Customer.
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111	WO 01746	PM 01493	PDA shunt 289002226 (PF160MD)	WT-F260	PF160MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03926 Date:
12/01/18 Equipment return to Waters Customer.




112	WO 01747	PM 01494	PDA shunt 289002226 (PF165MD)	WT-F261	PF165MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03927 Date:
12/01/18 Equipment return to Waters Customer.



113	WO 01748	PM 01495	PDA shunt 289002226 (PM024MD)	WT-F262	PM024MD


Joel Mamalateo
Deduyo	Engineering	5th


Detectors Final
Test	Waters


SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03928 Date:
12/01/18 Equipment return to Waters


	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Customer.

	


114
	


WO 01749
	


PM 01496
	


PDA shunt 289002226 (PM130MD)
	


WT-F263
	


PM130MD
	

Joel Mamalateo Deduyo
	


Engineering
	


5th
	

Detectors Final Test
	


Waters
	

SKW- ENG3009
	


10-Jul-14
	
N
	
N
	
N
	
N
	
N
	
N
	

Y
	
N
	
NA
	
WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03929 Date:
12/01/18 Equipment return to Waters Customer.

	


115
	


WO 01750
	


PM 01497
	


PDA shunt 289002226 (PM133MD)
	


WT-F264
	


PM133MD
	

Joel Mamalateo Deduyo
	


Engineering
	


5th
	

Detectors Final Test
	


Waters
	

SKW- ENG3009
	


10-Jul-14
	
N
	
N
	
N
	
N
	
N
	
N
	
Y
	
N
	
NA
	
WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03930 Date:
12/01/18 Equipment return to Waters Customer.

	


116
	


WO 01751
	


PM 01498
	


PDA shunt 289002226 (PM134MD)
	


WT-F265
	


PM134MD
	

Joel Mamalateo Deduyo
	


Engineering
	


5th
	

Detectors Final Test
	


Waters
	

SKW- ENG3009
	


10-Jul-14
	
N
	
N
	
N
	
N
	
N
	
N
	
Y
	
N
	
NA
	
WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03931 Date:
12/01/18 Equipment return to Waters Customer.

	


117
	


WO 01752
	


PM 01499
	


PDA shunt 289002227 (#01)
	


WT-F266
	


NA
	

Joel Mamalateo Deduyo
	


Engineering
	


5th
	

Detectors Final Test
	


Waters
	

SKW- ENG3009
	


10-Jul-14
	
N
	
N
	
N
	
N
	
N
	
N
	

Y
	
N
	
NA
	
WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03945 Date:
16/01/18 Equipment return to Waters Customer.

	

118
	

WO 01753
	

PM 01500
	

PDA shunt 289002149 (#02)
	

WT-F267
	

NA
	
Joel Mamalateo Deduyo
	

Engineering
	

5th
	
Detectors Final Test
	

Waters
	
SKW- ENG3009
	

10-Jul-14
	
N
	
N
	
N
	
N
	
N
	
N
	
Y
	
N
	
NA
	
WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17.

	

119
	

WO 01754
	

PM 01501
	

Linearity shunt 289002219 (#02)
	

WT-F268
	

NA
	
Joel Mamalateo Deduyo
	

Engineering
	

5th
	
Detectors Final Test
	

Waters
	
SKW- ENG3009
	

10-Jul-14
	
N
	
N
	
N
	
N
	
N
	
N
	
Y
	
N
	
NA
	
WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17.

	

120
	

WO 01755
	

PM 01502
	

Flow cell 289007555 (SFC0105)
	

WT-F269
	

SFC0105
	
Joel Mamalateo Deduyo
	

Engineering
	

5th
	
Detectors Final Test
	

Waters
	
SKW- ENG3009
	

10-Jul-14
	
N
	
N
	
N
	
N
	
N
	
N
	
Y
	
N
	
NA
	
WO 01879 Date 07/10/14. WO 03545
Date: 19/06/1. WO 03932 Date: 12/01/18 Equipment return to Waters Customer.

	


121
	


WO 01756
	


PM 01503
	


Flow cell 289007555 (SFC0109)
	


WT-F270
	


SFC0109
	

Joel Mamalateo Deduyo
	


Engineering
	


5th
	

Detectors Final Test
	


Waters
	

SKW- ENG3009
	


10-Jul-14
	
N
	
N
	
N
	
N
	
N
	
N
	

Y
	
N
	
NA
	
WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03933 Date: 12/01/18 Equipment return to Waters Customer.

	


122
	


WO 01757
	


PM 01504
	


Flow cell 289007555 (SFC0111)
	


WT-F271
	


SFC0111
	

Joel Mamalateo Deduyo
	


Engineering
	


5th
	

Detectors Final Test
	


Waters
	

SKW- ENG3009
	


10-Jul-14
	
N
	
N
	
N
	
N
	
N
	
N
	

Y
	
N
	
NA
	
WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03934 Date: 12/01/18 Equipment return to Waters Customer.

	


123
	


WO 01758
	


PM 01505
	


Flow cell 289007555 (SFC0113)
	


WT-F272
	


SFC0113
	

Joel Mamalateo Deduyo
	


Engineering
	


5th
	

Detectors Final Test
	


Waters
	

SKW- ENG3009
	


10-Jul-14
	
N
	
N
	
N
	
N
	
N
	
N
	

Y
	
N
	
NA
	
WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03935 Date: 12/01/18 Equipment return to Waters Customer.
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124	WO 01759	PM 01506	Flow cell 289007555 (SFC0115)	WT-F273	SFC0115



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03936 Date:
12/01/18 Equipment return to Waters Customer.




125	WO 01760	PM 01507	Flow cell 289007555 (SFC0116)	WT-F274	SFC0116



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03937 Date: 12/01/18 Equipment return to Waters Customer.




126	WO 01761	PM 01508	PDA shunt 289002226 (PM157MD)	WT-F275	PM157MD

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW-
ENG3009	10-Jul-14

N	N	N	N	N	N	Y	N	NA	WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17.




127	WO 01762	PM 01509	PDA shunt 289002226 (PM158MD)	WT-F276	PM158MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03938 Date: 12/01/18 Equipment return to Waters Customer.




128	WO 01763	PM 01510	PDA shunt 289002226 (PM159MD)	WT-F277	PM159MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03939 Date:
12/01/18 Equipment return to Waters Customer.




129	WO 01764	PM 01511	PDA shunt 289002226 (PM160MD)	WT-F278	PM160MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03940 Date:
12/01/18 Equipment return to Waters Customer.




130	WO 01765	PM 01512	PDA shunt 289002226 (PM161MD)	WT-F279	PM161MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03941 Date:
12/01/18 Equipment return to Waters Customer.




131	WO 01766	PM 01513	PDA shunt 289002226 (PM162MD)	WT-F280	PM162MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03942 Date: 12/01/18 Equipment return to Waters Customer.




132	WO 01767	PM 01514	PDA shunt 289002226 (PM163MD)	WT-F281	PM163MD



Joel Mamalateo
Deduyo	Engineering	5th



Detectors Final
Test	Waters



SKW-
ENG3009	10-Jul-14


N	N	N	N	N	N	Y	N	NA


WO 01879 Date 07/10/14. WO 03545
Date: 19/06/17. WO 03943 Date: 12/01/18 Equipment return to Waters Customer.



133	WO 02328	PM 01822


Assy, Analytical Flow Cell  2487/2489
(289007898)	WT-F293	NA


Joel Mamalateo
Deduyo	Engineering	5th


Detectors Final
Test	Waters


SKW- ENG3009


 (
29-S
e
p-
)15	N	N	N	N	N	N	Y	N	NA	WO 03545 Date: 19/06/17.



134	WO 02329	PM 01823


Assy, Analytical Flow Cell  2487/2489
(289007898)	WT-F294	NA


Joel Mamalateo
Deduyo	Engineering	5th


Detectors Final
Test	Waters


SKW- ENG3009


 (
29-S
e
p-
)15	N	N	N	N	N	N	Y	N	NA	WO 03545 Date: 19/06/17.



135	WO 02330	PM 01824


Assy, Analytical Flow Cell  2487/2489
(289007898)	WT-F295	NA


Joel Mamalateo
Deduyo	Engineering	5th


Detectors Final
Test	Waters


SKW- ENG3009


 (
29-S
e
p-
)15	N	N	N	N	N	N	Y	N	NA	WO 03545 Date: 19/06/17.



136	WO 02331	PM 01825


Assy, Analytical Flow Cell  2487/2489
(289007898)	WT-F296	NA


Joel Mamalateo
Deduyo	Engineering	5th


Detectors Final
Test	Waters


SKW- ENG3009


 (
29-S
e
p-
)15	N	N	N	N	N	N	Y	N	NA	WO 03545 Date: 19/06/17.
WO 03545 Date: 19/06/17. WO 04050


137	WO 02468	PM 01958	Linearity shunt 289002219 (#03)	WT-F292	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW-
ENG3009

18-Nov-
15

N	N	N	N	N	N	Y	N	NA

Date 16/05/18 Equipment return to
Waters Customer.
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138	WO 02469	PM 01959

Assy, Analytical Flow Cell 2487/2489
(289007898)	WT-F307	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW- ENG3009

18-Nov-
15

N	N	N	N	N	N	Y	N	NA


WO 03545 Date: 19/06/17.




139	WO 02470	PM 01960

Assy, Analytical Flow Cell 2487/2489
(289007898)	WT-F308	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW- ENG3009

18-Nov-
15

N	N	N	N	N	N	Y	N	NA


WO 03545 Date: 19/06/17.




140	WO 02471	PM 01961

Assy, Analytical Flow Cell  2487/2489
(289007898)	WT-F309	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW- ENG3009

18-Nov-
15

N	N	N	N	N	N	Y	N	NA


WO 03545 Date: 19/06/17.




141	WO 02472	PM 01962

Assy, Analytical Flow Cell 2487/2489
(289007898)	WT-F310	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW- ENG3009

18-Nov-
15

N	N	N	N	N	N	Y	N	NA


WO 03545 Date: 19/06/17.




142	WO 02473	PM 01963

Assy, Analytical Flow Cell  2487/2489
(289007898)	WT-F311	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW- ENG3009

18-Nov-
15

N	N	N	N	N	N	Y	N	NA


WO 03545 Date: 19/06/17.




143	WO 02474	PM 01964

Assy, Analytical Flow Cell  2487/2489
(289007898)	WT-F312	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW- ENG3009

18-Nov-
15

N	N	N	N	N	N	Y	N	NA


WO 03545 Date: 19/06/17.




144	WO 02475	PM 01965

Assy, Analytical Flow Cell  2487/2489
(289007898)	WT-F313	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW- ENG3009

18-Nov-
15

N	N	N	N	N	N	Y	N	NA


WO 03545 Date: 19/06/17.




145	WO 02476	PM 01966

Assy, Analytical Flow Cell  2487/2489
(289007898)	WT-F314	NA

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo

Detectors Final
Test	Waters

Detectors Final

SKW- ENG3009

SKW-

18-Nov-
15

N	N	N	N	N	N	Y	N	NA

N	N	N	N	N	N	Y	N	NA


WO 03545 Date: 19/06/17.
WO 03545 Date: 19/06/17. WO 03866
Date: 13/12/17 Inactive-Remove from

146	WO 02854	PM 02185	TUV Shunt 289002450 (TM109MD)	WAT-F323	TM109MD


147	WO 02855	PM 02186	TUV Shunt 289002450 (TM112MD)	WAT-F326	TM112MD


148	WO 02856	PM 02187	TUV Shunt 289002450 (TM114MD)	WAT-F328	TM114MD

Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Test	Waters

Detectors Final
Test	Waters

Detectors Final
Test	Waters

ENG3009	13-Jun-16

SKW-
ENG3009	13-Jun-16

SKW-
ENG3009	13-Jun-16



N	N	N	N	N	N	Y	N	NA

N	N	N	N	N	N	Y	N	NA

line (RE/125/17).
WO 03545 Date: 19/06/17. WO 03867
Date: 13/12/17 Inactive-Remove from line (RE/126/17).
WO 03545 Date: 19/06/17. WO 03868
Date: 13/12/17 Inactive-Remove from line (RE/127/17).
WO 03545 Date: 19/06/17. WO 03845


149	WO 03151	PM 02432	TUV Shunt 289002450 (TM110MD)	WAT-F324	TM110MD

Joel Mamalateo
Deduyo	Engineering	5th

Detectors Final
Test	Waters

SKW- ENG3009

28-Nov-
16

N	N	N	N	N	N	Y	N	NA

Date: 30/11/17 Inactive-Remove from line (RE/120/17).




150 WO 03633	PM 02683	Aperture Assembly CPU	K07L32122W	TE82868-2


151 WO 03634	PM 02684	PDA Rough Alignment CPU	L07L32070W	TE82880-2

Joel Mamalateo
Deduyo	Engineering	5th	Cleanroom	Waters

Joel Mamalateo
Deduyo	Engineering	5th	Cleanroom	Waters

SKW-RW- SKR00035

SKW-RW- SKR00035

18 Aug	N	N	N	N	N	N	N	Y	NA
17	NA

18 Aug	N	N	N	N	N	N	N	Y	NA
17	NA




152	WO 03635	PM 02685	PDA Fine Alignment CPU

D08L32121W /
C08BLM058C	TE82881-2

Joel Mamalateo
Deduyo	Engineering	5th	Cleanroom	Waters

SKW-RW- SKR00035

18 Aug	N	N	N	N	N	N	N	Y	NA
17	NA




153	WO 03636	PM 02686	2998 Flowcell Assembly CPU

K07L32024W/
240907024C	TE82916-2

Joel Mamalateo
Deduyo	Engineering	5th	Cleanroom	Waters

SKW-RW- SKR00035

18 Aug	N	N	N	N	N	N	N	Y	NA
17	NA




154	WO 03637	PM 02687	2998 Rough Alignment CPU	B08L32068W	TE82917-1

Joel Mamalateo
Deduyo	Engineering	5th	Cleanroom	Waters

SKW-RW- SKR00035

18 Aug	N	N	N	N	N	N	N	Y	NA
17	NA
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155	WO 03638	PM 02688	2998 Fine Alignment CPU	B08L32065W	TE82918-2

Joel Mamalateo
Deduyo	Engineering	5th	Cleanroom	Waters

SKW-RW- SKR00035

18 Aug	N	N	N	N	N	N	N	Y	NA
17	NA




156	WO 03639	PM 02689	PDA Assembly CPU

J06L32014W /
G06BLM650C	TE82951-1

Joel Mamalateo
Deduyo	Engineering	5th	Cleanroom	Waters

SKW-RW- SKR00035

18 Aug	N	N	N	N	N	N	N	Y	NA
17	NA




157	WO 03640	PM 02690	2998 Flowcell Tester CPU

B08L32248W/
A08BLM491C	TE82973-1

Joel Mamalateo
Deduyo	Engineering	5th	Cleanroom	Waters

SKW-RW- SKR00035

18 Aug	N	N	N	N	N	N	N	Y	NA
17	NA




158	WO 03641	PM 02691	TUV Shunt 289002450 (TF004MD)	NA	TF004MD


159	WO 03642	PM 02692	TUV Shunt 289002450 (TM107MD)	NA	TM107MD


160	WO 03643	PM 02693	TUV Shunt 289002450 (TM108MD)	NA	TM108MD

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

Detector Final
Test	Waters

Detector Final
Test	Waters

WAT-RW- SKI03034

WAT-RW- SKI03034

WAT-RW- SKI03034

21 Aug	N	N	N	N	N	N	N	Y	NA
17

21 Aug	N	N	N	N	N	N	N	Y	NA
17

21 Aug	N	N	N	N	N	N	N	Y	NA
17

WO 03869 Date: 13/12/17 Inactive- Remove from line (RE/128/17).

WO 03870 Date: 13/12/17 Inactive- Remove from line (RE/129/17).

WO 03846 Date: 30/11/17 Inactive- Remove from line (RE/121/17).




161	WO 03644	PM 02694	TUV Shunt 289002450 (TM111MD)	NA	TM111MD

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

WAT-RW- SKI03034

21 Aug	N	N	N	N	N	N	N	Y	NA
17

WO 03847 Date: 30/11/17 Inactive- Remove from line (RE/122/17).




162	WO 03645	PM 02695	TUV Shunt 289002450 (TM113MD)	NA	TM113MD

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

WAT-RW- SKI03034

21 Aug	N	N	N	N	N	N	N	Y	NA
17

WO 03871 Date: 13/12/17 Inactive- Remove from line (RE/130/17).




163	WO 03646	PM 02696	TUV Shunt 289002450 (TM115MD)	NA	TM115MD

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

WAT-RW- SKI03034

21 Aug	N	N	N	N	N	N	N	Y	NA
17

WO 03872 Date: 13/12/17 Inactive- Remove from line (RE/131/17).




164	WO 03647	PM 02697	TUV Shunt 289002450 (TM116MD)	NA	TM116MD

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters
Detector Final

WAT-RW- SKI03034

21 Aug	N	N	N	N	N	N	N	Y	NA
17

WO 03873 Date: 13/12/17 Inactive- Remove from line (RE/132/17).


165	WO 03648	PM 02698	Flow cell 289007555 (SFC0452)	NA	SFC0452

Joel Mamalateo
Deduyo	Engineering	5th

Test / Dry
Cabinet	Waters
Detector Final

SKW- ENG3009

21 Aug
17

N	N	N	N	N	N	Y	N	NA
NA

166	WO 03649	PM 02699	Flow cell 289007555 (SFC0454)	NA	SFC0454

Joel Mamalateo
Deduyo	Engineering	5th

Test / Dry
Cabinet	Waters
Detector Final

SKW- ENG3009

21 Aug	N	N	N	N	N	N	Y	N	NA
17	NA


167	WO 03650	PM 02700	Flow cell 289007555 (SFC0455)	NA	SFC0455


168	WO 03651	PM 02701	Flow cell 289007555 (SFC0463)	NA	SFC0463


169 WO 03652	PM 02702	PDA shunt 289002149 (Large 1)	NA	NA


170 WO 03653	PM 02703	PDA shunt 289002149 (Large 2)	NA	NA


171 WO 03654	PM 02704	PDA shunt 289002227 (Small 1)	NA	NA

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Test / Dry
Cabinet	Waters
Detector Final Test / Dry
Cabinet	Waters
Detector Final Test / Dry
Cabinet	Waters
Detector Final Test / Dry
Cabinet	Waters
Detector Final Test / Dry
Cabinet	Waters

SKW-
ENG3009

SKW- ENG3009

SKW- ENG3009

SKW- ENG3009

SKW- ENG3009

21 Aug
17

21 Aug
17

21 Aug
17

21 Aug
17

21 Aug
17

N	N	N	N	N	N	Y	N	NA
NA

N	N	N	N	N	N	Y	N	NA	WO 03944 Date: 12/01/18 Equipment
return to Waters Customer.

N	N	N	N	N	N	Y	N	NA	WO 03965 Date: 22/02/18 Equipment
return to Waters Customer.

N	N	N	N	N	N	Y	N	NA	WO 03966 Date: 22/02/18 Equipment
return to Waters Customer.

N	N	N	N	N	N	Y	N	NA	WO 03967 Date: 22/02/18 Equipment
return to Waters Customer.
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T OWNER
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( Y / N )	( Y / N )	( Y / N )	( Y / N )	( Y / N )	( Y / N )	( Y / N )	( Y / N )

OTHERS
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172	WO 03655	PM 02705	PDA shunt 289002227 (Small 2)	NA	NA

Joel Mamalateo
Deduyo	Engineering	5th

Test / Dry
Cabinet	Waters

SKW-
ENG3009

21 Aug
17

N	N	N	N	N	N	Y	N	NA	WO 03968 Date: 22/02/18 Equipment
return to Waters Customer.




173	WO 03656	PM 02706	PDA shunt 289002226 (PM003MD)	NA	PM003MD

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

SKW- ENG3009

21 Aug
17

N	N	N	N	N	N	Y	N	NA	WO 03969 Date: 22/02/18 Equipment
return to Waters Customer.




174	WO 03657	PM 02707	PDA shunt 289002226 (PM021MD)	NA	PM021MD

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

SKW- ENG3009

21 Aug
17

N	N	N	N	N	N	Y	N	NA
NA




175	WO 03658	PM 02708	PDA shunt 289002226 (PM023MD)	NA	PM023MD

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

SKW- ENG3009

21 Aug
17

N	N	N	N	N	N	Y	N	NA
NA




176	WO 03659	PM 02709	PDA shunt 289002226 (PM179MD)	NA	PM179MD

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

SKW- ENG3009

21 Aug
17

N	N	N	N	N	N	Y	N	NA
NA




177	WO 03660	PM 02710	PDA shunt 289002226 (PM180MD)	NA	PM180MD

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

SKW- ENG3009

21 Aug
17

N	N	N	N	N	N	Y	N	NA	WO 03970 Date: 22/02/18 Equipment
return to Waters Customer.




178	WO 03661	PM 02711	PDA shunt 289002226 (PM224MD)	NA	PM224MD

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

SKW- ENG3009

21 Aug
17

N	N	N	N	N	N	Y	N	NA
NA




179	WO 03788	PM 02750	TUV Shunt 289002450 (TM145MD)	TM145MD	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

WAT-RW-	N	N	N	N	N	N	N	Y	NA
SKI03034	31 Oct 17	NA




180	WO 03789	PM 02751	TUV Shunt 289002450 (TM0019)	TM0019	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

WAT-RW-	N	N	N	N	N	N	N	Y	NA
SKI03034	31 Oct 17	NA




181	WO 03790	PM 02752	TUV Shunt 289002450 (TM129MD)	TM129MD	NA

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

WAT-RW-	N	N	N	N	N	N	N	Y	NA
SKI03034	31 Oct 17	NA




182	WO 03791	PM 02753	Benchtop Measuring Machine (Starlite 150)	RSL 1002609	95515


183	WO 03805	PM 02758	TUV Shunt 289002450 (TM150MD)	TM150MD	NA

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Detector Final
Test	Waters

Detector Final
Test	Waters

WAT-RW- SKI04483

WAT-RW- SKI03034

02 Nov	N	N	N	N	N	N	N	Y	NA
17

09 Nov	N	N	N	N	N	N	N	Y	NA
17


WO 03950 Date 24/01/18 .


NA




184 WO 04089	PM 02866	Prime / Purge Module	NA	TE82733-7


185 WO 04090	PM 02867	Alliance Final Tester 6 CPU	A14L32340W	NA

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Production
eAlliance	Waters

Production
eAlliance	Waters

WAT-RW-	N	N	N	N	N	N	N	Y	NA
SKI04071	13 Jun 18	NA

WAT-RW-	N	N	N	N	N	N	N	Y	NA
SKI04210	13 Jun 18	NA




186 WO 04352	PM 03103	Printer (LaserJet Pro M402dn)	PHCND52518	NA


187 WO 04353	PM 03104	Printer (LaserJet Pro M402dn)	PHCNF49758	NA

Joel Mamalateo
Deduyo	Engineering	5th

Joel Mamalateo
Deduyo	Engineering	5th

Production
Alliance	Waters

Production
(BSM/QSM)	Waters

SKW-RW- SKR00035

SKW-RW- SKR00035

15 Aug	N	N	N	N	N	N	N	Y	NA
18	NA

15 Aug	N	N	N	N	N	N	N	Y	NA
18	NA




188	WO 04354	PM 03105	Printer (LaserJet Pro M402dn)	PHCNH24483	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
(Detector)	Waters

SKW-RW- SKR00035

15 Aug	N	N	N	N	N	N	N	Y	NA
18	NA




189	WO 04355	PM 03106	Printer (LaserJet P3005n)	JPKGJ01942	NA

Joel Mamalateo
Deduyo	Engineering	5th

Production
(Pump Series)	Waters

SKW-RW- SKR00035

15 Aug	N	N	N	N	N	N	N	Y	NA
18	NA


End of Data
image1.jpg
flex.




