## Others
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL
48 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | CEI PCBA | 12
49 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | CEI PCBA | 12
50 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | CEI PCBA | 12
51 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | CEI PCBA | 12
52 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | CEI PCBA | 12
53 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | CEI PCBA | 12
54 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | CEI PCBA | 12
55 | Electronic Load | Hewlett Packard | 60502B | US37244128 | CEI PCBA | 12
56 | Electronic Load | Hewlett Packard | 60502B | US37244138 | CEI PCBA | 12
57 | Electronic Load | Hewlett Packard | 60502B | US37244141 | CEI PCBA | 12
58 | Tektronics 4-Channel Digitizing Oscilloscope | Tektronix | TDS460A | B071897 | CEI PCBA | 12
59 | Electronic Load | Hewlett Packard | 60502B | US37243391 | CEI PCBA | 12
60 | Electronic Load | Hewlett Packard | 60502B | US37244144 | CEI PCBA | 12
61 | Electronic Load | Hewlett Packard | 60502A | 3011A-01246 | CEI PCBA | 12

## GTS1
Description | Brand | Model
Programmable DC Power supply | TDK Lambda | GENH30-25
Programmable DC Power supply | TDK Lambda | GENH30-25
Programmable DC Power supply | TDK Lambda | GENH60-12.5
Programmable DC Power supply | TDK Lambda | GENH60-12.5
Programmable DC Power supply | TDK Lambda | GENH60-12.5
Programmable DC Power supply | TDK Lambda | GENH60-12.5
6½ DIGITAL MULTIMETER | Agilent Tech | 34411A
20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Tech | 33220A
DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103
DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103
DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103
DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103
4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C
NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229
NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229
NI Programmable DC Power supply | National Instruments | PXI-4130
PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01

## GTS2
Description | Brand | Model
4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C
20MHz Function Arbitrary Waveform Generator | Agilent Technologies | 33220A
Agilent 61/2 Digit Multimeter | Agilent | 34411A
DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A
DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A
DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A
DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A
NI Programmable DC Power supply Power SMU | National Instruments | PXI-4130
NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229
NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229
Programmable DC Power supply | TDK Lambda | GENH30-25
Programmable DC Power supply | TDK Lambda | GENH30-25
Programmable DC Power supply | TDK Lambda | GENH60-12.5
Programmable DC Power supply | TDK Lambda | GENH60-12.5
Programmable DC Power supply | TDK Lambda | GENH60-12.5
Programmable DC Power supply | TDK Lambda | GENH60-12.5-LAN-U
PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01