## Others
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL
121 | Universal Front End Tester | National Instruments | PCI-6025E | 1347EFD | Flex Senai | 12

## GTS
Waters (PCBA) Calibration Master List
NO | LOCATION | EQUIPMENT ID | EQUIPMENT NAME | MANUFACTURER | MODEL | Qty
1 | WATERS (GTS TESTER) | S0206 | DC POWER SUPPLY | TDK-Lambda | GENH30-25 | 1
2 | WATERS (GTS TESTER) | S0207 | DC POWER SUPPLY | TDK-Lambda | GENH30-25 | 1
3 | WATERS (GTS TESTER) | S0208 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 1
4 | WATERS (GTS TESTER) | S0209 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 1
5 | WATERS (GTS TESTER) | S0210 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 1
6 | WATERS (GTS TESTER) | S0211 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 1
7 | WATERS (GTS TESTER) | S0205 | DC ELECTRONIC LOAD | CHROMA | 63103A | 4
8 | WATERS (GTS TESTER) | S0204 | 6 1/2 DIGITAL MULTIMETER | AGILENT | 34411A | 1
9 | WATERS (GTS TESTER) | S0203 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | AGILENT | 33220A | 1
10 | WATERS (GTS TESTER) | S0202 | DIGITAL PHOSPOR OSCILLOSCOPE | TEKTRONIX | TDS 3054C | 1
11 | WATERS (GTS TESTER) | S0748 | Prog Resistor | Marvin Test Solution | GX1164 | 1
12 | WATERS (GTS TESTER) | S0200 | Multifunction DAQ | National Instrument | NI PXI-6229 | 1
13 | WATERS (GTS TESTER) | S0201 | Multifunction DAQ | National Instrument | NI PXI-6229 | 1
14 | WATERS (GTS TESTER) | S0199 | Power SMU | National Instrument | NI PXI-4130 | 1