## Sheet1
EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL
Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12
Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6
Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6
Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6
Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6
Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12
Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12
Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | Flex | 12
Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | Flex | 12
Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6
Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12
Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12
Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12
Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6
Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6
Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6
Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6
Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6
Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6
Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6
Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6
Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6
Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6
Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6
Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6
Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12
Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6
Load Box | Chroma | S14-03 | 14354695 | Flex | 12
Load Box | Chroma | S14-03 | 14354681 | Flex | 12
Load Box | Chroma | S14-03 | 14354691 | Flex | 12
Load Box | Chroma | S14-03 | 7322788 | Flex | 12
Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | Flex | 12
Universal Front End Tester | National Instruments | PCI-6025E | 1347EFD | Flex Senai | 12