## Instrument_Inventory(07-13-20)
Warning: include_once(../lib/workOrder.class.php): failed to open stream: No such file or directory in /home/mpuser/public_html/newcdm.microprecision.com/report/reports_inventory.php on line 8
Warning: include_once(): Failed opening '../lib/workOrder.class.php' for inclusion (include_path='.:/usr/share/php') in /home/mpuser/public_html/newcdm.microprecision.com/report/reports_inventory.php on line 8
Instrument Inventory Report (Date Generated : 07-13-20)
Cal Control | Company / District | Cust Control | Serial Number | Location | Department | Manufacturer | Model Number | Type | Active | Tracking Status | Cal. Status | Last Cal Date | Next Due Date | Current Certificate
3211A01795 | WATERS SG | PWAT-16GC0006 | 3211A01795 |  |  | HEWLETT PACKARD | 60502B | DC ELECTRONIC LOAD MODULE | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
3211A02210 | WATERS SG | PWAT-16GC0005 | 3211A02210 |  |  | HEWLETT PACKARD | 60502B | DC ELECTRONIC LOAD MODULE | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
3211A00920 | WATERS SG | PWAT-16GC0007 | 3211A00920 |  |  | HEWLETT PACKARD | 60502B | DC ELECTRONIC LOAD MODULE | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
3444A02507 | WATERS SG | PWAT-16GC0020 | 3444A02507 |  |  | HEWLETT PACKARD | 66101A | DC POWER SUPPLY MODULE | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
3444A02477 | WATERS SG | PWAT16GC0018 | 3444A02477 |  |  | HEWLETT PACKARD | 66101A | DC POWER SUPPLY MODULE | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
US34213252 | WATERS SG | PWAT-16GC0015 | US34213252 |  |  | HEWLETT PACKARD | 66103A | DC POWER SUPPLY MODULE | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
US34213216 | WATERS SG | PWAT-16GC0019 | US34213216 |  |  | HEWLETT PACKARD | 66103A | DC POWER SUPPLY MODULE | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
US35221282 | WATERS SG | N/A | US35221282 |  |  | HEWLETT PACKARD | 66000A | MPS MAINFRAME | Yes | Complete | PASS | 2020-04-30 | 2021-04-30
MY44044085/95154 | WATERS SG | N/A | MY44044085/95154 |  |  | AGILENT | 33220A | FUNCTION/ARBITRARY WAVERFORM GENERATOR | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
95166 | WATERS SG |  | 95166 |  |  | TDK-LAMBDA | GENH30-25 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
95167 | WATERS SG |  | 95167 |  |  | TDK-LAMBDA | GENH30-25 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
C011477 | WATERS SG | PWAT-16GC0021 | C011477 |  |  | TEKTRONIX | TDS3054C | DIGITAL OSCILLOSCOPE | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
US38010248 | WATERS SG | PWAT-16GC0039 | US38010248 |  |  | RACAL-DANA INSTRUMENTS | 4152A | 6 1/2 DIGIT MULTIMETER | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
03070017 | WATERS SG | PWAT-16GC0040 | 03070017 |  |  | RACAL INSTRUMENTS | 2461-CD | 200 MHZ UNIVERSAL COUNTER | Yes | Complete | Overdue | 2020-04-30 | 2020-04-30
11173729 | WATERS SG |  | 11173729 |  |  | QUADTECH | GUARDIAN 6000 PLUS | ELECTRICAL SAFETY ANALYZER | Yes | Returned to Customer | PASS | 2020-03-03 | 2021-03-03
145DF3A | WATERS SG | PWAT-16GC0031 | 145DF3A |  |  | NATIONAL INSTRUMENTS | PXI-6229 | MULTIFUNCTION I/O | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
145DEFE | WATERS SG | PWAT-16GC0030 | 145DEFE |  |  | NATIONAL INSTRUMENTS | PXI-6229 | MULTIFUNCTION I/O | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
145025B | WATERS SG | PWAT-16GC0036 | 145025B |  |  | NATIONAL INSTRUMENTS | PXI-4130 | SOURCE MEASURE UNIT | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
MY44015802 | WATERS SG | N/A | MY44015802 |  |  | AGILENT | 33220A | FUNCTION / ARBITRARY WAVEFORM GENERATOR | Yes | Returned to Customer | PASS | 2020-07-03 | 2021-07-03
MY53002751/95155 | WATERS SG | N/A | MY53002751/95155 |  |  | AGILENT | 34411A | 6 1/2 DIGIT MULTIMETER | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
MY44028120 | WATERS SG | N/A | MY44028120 |  |  | AGILENT | 33220A | FUNCTION / ARBITRARY WAVEFORM GENERATOR | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
B020696 | WATERS SG | NA | B020696 |  |  | TEKTRONIX | TDS 3054C | FOUR CHANNEL DIGITIZING OSCILLOSCOPE | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97010 | WATERS SG | NA | 97010 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97011 | WATERS SG | NA | 97011 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97015 | WATERS SG | NA | 97015 |  |  | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97012 | WATERS SG | NA | 97012 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97017 | WATERS SG | NA | 97017 |  |  | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97018 | WATERS SG | NA | 97018 |  |  | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97013 | WATERS SG | NA | 97013 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97016 | WATERS SG | NA | 97016 |  |  | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97019 | WATERS SG | NA | 97019 |  |  | TDK LAMBDA | GENH30-25 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97020 | WATERS SG | NA | 97020 |  |  | TDK-LAMBDA | GENH30-25 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
1CD658C | WATERS SG | 97023 | 1CD658C |  |  | NATIONAL INSTRUMENTS | PXI-4130 | SOURCE MEASURE UNIT | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
1CA64F1 | WATERS SG | 97021 | 1CA64F1 |  |  | NATIONAL INSTRUMENTS | PXI-6229 | MULTIFUNCTION I/O MODULE | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
1CA64E1 | WATERS SG | 97022 | 1CA64E1 |  |  | NATIONAL INSTRUMENTS | PXI-6229 | MULTIFUNCTION I/O MODULE | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
MY46000178 | WATERS SG | 97025 | MY46000178 |  |  | AGILENT | 34411A | DIGITAL MULTIMETER | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
97014 | WATERS SG | NA | 97014 |  |  | GEOTEST | GX1164-01 | PROG. RESISTANCE CARD | Yes | Returned to Customer | PASS | 2019-03-05 | 2021-03-05
1227711 | WATERS SG | N/A | 1227711 |  |  | KEITHLEY | 2700 | DIGITAL MULTIMETER/DATA ACQUISITION SYSTEM | Yes | Returned to Customer | PASS | 2020-03-03 | 2021-03-03
6314A0001173 | WATERS SG |  | 6314A0001173 |  |  | CHROMA | 6314A | DC ELECTRONIC LOAD MAINFRAME | Yes | Returned to Customer |  | 1970-01-01 | 1970-01-01
63103A003947 | WATERS SG | 91980 | 63103A003947 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | Overdue | 2019-03-27 | 2020-03-27
63103A003907 | WATERS SG | 91979 | 63103A003907 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | Overdue | 2019-03-27 | 2020-03-27
63103A003897 | WATERS SG | 91978 | 63103A003897 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | Overdue | 2019-03-27 | 2020-03-27
63103A003917 | WATERS SG | 91977 | 63103A003917 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | Overdue | 2019-03-27 | 2020-03-27
11K5894Z | WATERS SG | 91987 | 11K5894Z |  |  | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY, DUAL CHANNEL | Yes | Returned to Customer | Overdue | 2019-03-30 | 2020-03-30
11K5891Z | WATERS SG | 91986 | 11K5891Z |  |  | TDK-LAMBDA | GENH 30-25 | DC POWER SUPPLY, DUAL CHANNEL | Yes | Returned to Customer | Overdue | 2019-03-30 | 2020-03-30
11K5892Z | WATERS SG | 91985 | 11K5892Z |  |  | TDK-LAMBDA | GENH 30-25 | DC POWER SUPPLY, DUAL CHANNEL | Yes | Returned to Customer | Overdue | 2019-03-30 | 2020-03-30
11K5893Z | WATERS SG | 91990 | 11K5893Z |  |  | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY, DUAL CHANNEL | Yes | Returned to Customer | Overdue | 2019-03-30 | 2020-03-30
11K5896Z | WATERS SG | 91988 | 11K5896Z |  |  | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY, DUAL CHANNEL | Yes | Returned to Customer | Overdue | 2019-03-30 | 2020-03-30
11K5895Z | WATERS SG | 91989 | 11K5895Z |  |  | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY, DUAL CHANNEL | Yes | Returned to Customer | Overdue | 2019-03-30 | 2020-03-30
C012802 | WATERS SG |  | C012802 |  |  | TEKTRONIX | TDS3054C | DIGITAL STORAGE OSCILLOSCOPE | Yes | Returned to Customer | Overdue | 2019-04-08 | 2020-04-08
11640209 | WATERS SG | 95750 | 11640209 |  |  | GEOTEST | GX1164-01 | PROG. RESISTANCE CARD | Yes | Returned to Customer | PASS | 2019-04-16 | 2021-04-16
1719001 | WATERS SG | WPPL0015 | 1719001 |  |  | VERMASON | 222563 | ESD TESTER | Yes | Returned to Customer | PASS | 2020-05-13 | 2021-05-13
MY44046858 | WATERS SG | 91773 | MY44046858 |  |  | AGILENT | 33220A | FUNCTION / ARBITRARY WAVEFORM GENERATOR | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
MY46000358 | WATERS SG | 95153 | MY46000358 |  |  | AGILENT | 34411A | 6 1/2 DIGIT MULTIMETER | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
631030017022 | WATERS SG | 95195 | 631030017022 |  |  | CHROMA | 63103 | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-22 | 2021-04-22
C011085 | WATERS SG | 95158 | C011085 |  |  | TEKTRONIX | TDS3054C | DIGITAL PHOSPHOR OSCILLOSCOPE | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
631030017030 | WATERS SG | 95194 | 631030017030 |  |  | CHROMA | 63103 | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-22 | 2021-04-22
631030017023 | WATERS SG | 95193 | 631030017023 |  |  | CHROMA | 63103 | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-22 | 2021-04-22
631030017042 | WATERS SG | 95192 | 631030017042 |  |  | CHROMA | 63103 | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-22 | 2021-04-22
MY48003752 | WATERS SG | 93245 | MY48003752 |  |  | AGILENT | 34411A | 6 1/2 DIGIT MULTIMETER | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
C012641 | WATERS SG | 93246 | C012641 |  |  | TEKTRONIX | TDS3054C | DIGITAL PHOSPHOR OSCILLOSCOPE | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
63103A005460 | WATERS SG | 93168 | 63103A005460 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
63103A005457 | WATERS SG | 93178 | 63103A005457 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
63103A005485 | WATERS SG | 93179 | 63103A005485 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
63103A005472 | WATERS SG | 93180 | 63103A005472 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
09M1029A | WATERS SG | 95173 | 09M1029A |  |  | LAMBDA | GENH30-25-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
1450264 | WATERS SG | 91746 | 1450264 |  |  | NATIONAL INSTRUMENTS | PXI-4130 | SOURCE MEASURE UNIT | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
09M1032A | WATERS SG | 95172 | 09M1032A |  |  | LAMBDA | GENH30-25-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
145DF14 | WATERS SG | 91745 | 145DF14 |  |  | NATIONAL INSTRUMENTS | PXI-6229 | MULTIFUNCTION I/O | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
09M1028A | WATERS SG | 95177 | 09M1028A |  |  | LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
145DF42 | WATERS SG | 91744 | 145DF42 |  |  | NATIONAL INSTRUMENTS | PXI-6229 | MULTIFUNCTION I/O | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
09M1026A | WATERS SG | 95176 | 09M1026A |  |  | LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
17E3258 | WATERS SG | 93188 | 17E3258 |  |  | NATIONAL INSTRUMENTS | PXI-6229 | MULTIFUNCTION I/O | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
09M1020A | WATERS SG | 95169 | 09M1020A |  |  | LAMBDA | GENH60-12.5 | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
17E3259 | WATERS SG | 93189 | 17E3259 |  |  | NATIONAL INSTRUMENTS | PXI-6229 | MULTIFUNCTION I/O | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
09M1019A | WATERS SG | 95168 | 09M1019A |  |  | LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-21 | 2021-04-21
160B92C | WATERS SG | 93190 | 160B92C |  |  | NATIONAL INSTRUMENTS | PXI-4130 | SOURCE MEASURE UNIT | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
12M4064Z | WATERS SG | 93182 | 12M4064Z |  |  | LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
12M4068Z | WATERS SG | 93183 | 12M4068Z |  |  | LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
12M4069Z | WATERS SG | 93184 | 12M4069Z |  |  | LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
09M1038A | WATERS SG | 93185 | 09M1038A |  |  | LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
12M4062Z | WATERS SG | 93186 | 12M4062Z |  |  | LAMBDA | GENH30-25-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
12M4063Z | WATERS SG | 93187 | 12M4063Z |  |  | LAMBDA | GENH30-25-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
G42285G | WATERS SG | WPPL0002 | G42285G |  |  | EPPENDORF | P1000 | PIPETTE | Yes | Returned to Customer | PASS | 2020-05-13 | 2021-05-13
170445616 | WATERS SG | WPPL0008 | 170445616 |  |  | VWR | 62344-641 | FOUR-CHANNEL ALARM TIMER | Yes | Returned to Customer | PASS | 2020-05-28 | 2021-05-28
G42127G | WATERS SG | WPPL0001 | G42127G |  |  | EPPENDORF | P1000 | PIPETTE | Yes | Returned to Customer | PASS | 2020-05-28 | 2021-05-28
145DF16 | WATERS SG | NA | 145DF16 |  |  | NATIONAL INSTRUMENTS | PXI-6229 | MULTIFUNCTION I/O MODULE | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
145DF2F | WATERS SG | NA | 145DF2F |  |  | NATIONAL INSTRUMENTS | PXI-6229 | MULTIFUNCTION I/O MODULE | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
MY44043984 | WATERS SG | NA | MY44043984 |  |  | AGILENT | 33220A | FUNCTION/ ABITRARY WAVEFORM GENERATOR | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
1459564 | WATERS SG | NA | 1459564 |  |  | NATIONAL INSTRUMENTS | PXI-4130 | SOURCE MEASURE UNIT | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
93228 | WATERS SG | NA | 93228 |  |  | MARVIN TEST SOLUTIONS | GX1164-01 | PROG. RESISTANCE CARD | Yes | Returned to Customer | PASS | 2019-07-15 | 2021-07-15
09M1039A | WATERS SG | 95162 | 09M1039A |  |  | TDK LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
09M1035A | WATERS SG | 95163 | 09M1035A |  |  | TDK LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2019-10-09 | 2020-10-09
09M1025A | WATERS SG | 95179 | 09M1025A |  |  | LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
09M1037A | WATERS SG | 95141 | 09M1037A |  |  | LAMBDA | GENH60-12.5-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
09M1017A | WATERS SG | 95178 | 09M1017A |  |  | LAMBDA | GENH30-25-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
09M1022A | WATERS SG | 95142 | 09M1022A |  |  | LAMBDA | GENH30-25-LAN | POWER SUPPLY | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
63103A000083 | WATERS SG | 95188 | 63103A000083 |  |  | CHROMA | 63103A | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
631030017035 | WATERS SG | 95191 | 631030017035 |  |  | CHROMA | 63103 | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
631030017265 | WATERS SG | 95190 | 631030017265 |  |  | CHROMA | 63103 | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
631030017021 | WATERS SG | 95189 | 631030017021 |  |  | CHROMA | 63103 | DC ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
MY48002718 | WATERS SG | NA | MY48002718 |  |  | AGILENT | 34411A | DIGITAL MULTIMETER | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
C010786 | WATERS SG | NA | C010786 |  |  | TEKTRONIX | TDS3054C | DIGITAL PHOSPHOR OSCILLOSCOPE | Yes | Returned to Customer | PASS | 2019-07-15 | 2020-07-15
34729085 | WATERS SG | WPPL0009 | 34729085 |  |  | NA | 1G | PRECISION WEIGHT | Yes | Returned to Customer | PASS | 2019-08-19 | 2020-08-19
35229142 | WATERS SG | WPPL0010 | 35229142 |  |  | NA | 10G | PRECISION WEIGHT | Yes | Returned to Customer | PASS | 2019-08-19 | 2020-08-19
632855699 | WATERS SG | WPPL0039 | 632855699 |  |  | MITUTOYO | 293-340-30 | DIGIMATIC MICROMETER | Yes | Returned to Customer | PASS | 2019-10-10 | 2020-10-10
B16215984 | WATERS SG |  | B16215984 |  |  | MITUTOYO | CD-8"ASX | DIGIMATIC CALIPER | Yes | Returned to Customer | PASS | 2019-10-10 | 2020-10-10
I22994G | WATERS SG | WPPL0018 | I22994G |  |  | EPPENDORF | RESEARCH PLUS | 20-200UL PIPETTE | Yes | Returned to Customer | PASS | 2019-11-11 | 2020-11-11
37029387 | WATERS SG | WPPL0043 | 37029387 |  |  | NA | 1G | PRECISION WEIGHT | Yes | Returned to Customer | PASS | 2019-11-06 | 2020-11-06
007011745026 | WATERS SG | WPPL0014 | 007011745026 |  |  | SCS | 00701 | MEGOHMMETER | Yes | Returned to Customer | PASS | 2019-11-27 | 2020-11-27
35700255 | WATERS SG | WPPL0006 | 35700255 |  |  | FLUKE | 77 IV | MULTIMETER | Yes | Returned to Customer | PASS | 2020-01-20 | 2021-01-20
I22911G | WATERS SG | WPPL0019 | I22911G |  |  | EPPENDORF | 20-200UL | 20-200UL PIPETTE | Yes | Returned to Customer | PASS | 2020-01-29 | 2021-01-29
101688687 | WATERS SG | WPPL0016 | 101688687 |  |  | MEGGER | MIT410/2 | INSULATION TESTER | Yes | Returned to Customer | PASS | 2020-01-31 | 2021-01-31
S11181097 | WATERS SG |  | S11181097 |  |  | ACDELCO | ARM601-3 | 3/8" DIGITAL TORQUE WRENCH | Yes | Returned to Customer | LTD. | 2020-01-31 | 2021-01-31
12303631 | WATERS SG | 2769 | 12303631 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-07-09 | 2021-01-09
7322786 | WATERS SG | NA | 7322786 |  |  | CHROMA | S14-30 | LOAD BOX | Yes | Returned to Customer | PASS | 2020-03-03 | 2021-03-03
14354682 | WATERS SG | NA | 14354682 |  |  | CHROMA | S14-03 | LOAD BOX | Yes | Returned to Customer | PASS | 2020-03-03 | 2021-03-03
14354681 | WATERS SG | 2095 | 14354681 |  |  | CHROMA | S14-03 | LOAD BOX | Yes | Returned to Customer | ROV | 2020-03-06 | 2021-03-06
19032G400225 | WATERS SG | NA | 19032G400225 |  |  | CHROMA | 19032 | ELECTRICAL SAFETY ANALYZER | Yes | Returned to Customer | PASS | 2020-03-04 | 2021-03-04
14354696 | WATERS SG | NA | 14354696 |  |  | CHROMA | S14-03 | LOAD BOX | Yes | Returned to Customer | PASS | 2020-03-04 | 2021-03-04
14354687 | WATERS SG | NA | 14354687 |  |  | CHROMA | S14-03 | LOAD BOX | Yes | Returned to Customer | PASS | 2020-03-03 | 2021-03-03
14354698 | WATERS SG | NA | 14354698 |  |  | CHROMA | S14-03 | LOAD BOX | Yes | Returned to Customer | PASS | 2020-03-03 | 2021-03-03
1347EFD | WATERS SG | N/A | 1347EFD |  |  | NATIONAL INSTRUMENTS | PCI-6025E | MULTIFUNCTION I/O | Yes | Returned to Customer | PASS | 2020-03-11 | 2021-03-11
RSL1002609 | WATERS SG | N/A | RSL1002609 |  |  | QUALITY VISION INTERNATIONAL | STARLITE 150 | BENCHTOP MEASURING MACHINE | Yes | Returned to Customer | PASS | 2020-03-30 | 2021-03-30
12337042 | WATERS SG | 2092 | 12337042 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-04-15 | 2020-10-15
12336741 | WATERS SG | 2035 | 12336741 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-04-15 | 2020-10-15
12326184 | WATERS SG | 0500 | 12326184 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-04-15 | 2020-10-15
12335004 | WATERS SG | 93371 | 12335004 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-04-17 | 2020-10-17
12333739 | WATERS SG | 93373 | 12333739 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-04-17 | 2020-10-17
12333783 | WATERS SG | 93372 | 12333783 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-04-17 | 2020-10-17
12333730 | WATERS SG | 93370 | 12333730 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-04-17 | 2020-10-17
002061-BH-BA-00 | WATERS SG | 91743 | 002061-BH-BA-00 |  |  | GEOTEST | GX1164-01 | PROG RESISTANCE CARD | Yes | Returned to Customer | PASS | 2020-04-21 | 2022-04-21
MY44052037 | WATERS SG | 93244 | MY44052037 |  |  | AGILENT | 33220A | FUNCTION / ARBITRARY WAVEFORM GENERATOR | Yes | Returned to Customer | PASS | 2020-04-28 | 2021-04-28
7322788 | WATERS SG | 2097 | 7322788 |  |  | CHROMA | S14-03 | LOAD BOX | Yes | Returned to Customer | ROV | 2020-05-02 | 2021-05-02
14354691 | WATERS SG | 2096 | 14354691 |  |  | CHROMA | S14-03 | LOAD BOX | Yes | Returned to Customer | ROV | 2020-05-02 | 2021-05-02
IZ-BK-BA-000 | WATERS SG | 93181 | IZ-BK-BA-000 |  |  | GEOTEST | GX1164-01 | PROG RESISTANCE CARD | Yes | Returned to Customer | PASS | 2020-04-29 | 2022-04-29
3211A01587 | WATERS SG | PWAT-16GC0004 | 3211A01587 |  |  | HEWLETT PACKARD | 60502B | ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
3312A02661 | WATERS SG | NA | 3312A02661 |  |  | HEWLETT PACKARD | 60502B | DC ELECTRONIC LOAD MAINFRAME | Yes | Complete | PASS | 2020-04-30 | 2021-04-30
3211A01907 | WATERS SG | PWAT-16GC0002 | 3211A01907 |  |  | HEWLETT PACKARD | 60502B | ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
3211A01876 | WATERS SG | PWAT-16GC0003 | 3211A01876 |  |  | HEWLETT PACKARD | 60502B | ELECTRONIC LOAD | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
US34213209 | WATERS SG | PWAT-16GC0017 | US34213209 |  |  | HEWLETT PACKARD | 66103A | DC POWER SUPPLY MODULE | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
US34213090 | WATERS SG | PWAT-16GC0016 | US34213090 |  |  | HEWLETT PACKARD | 66103A | DC POWER SUPPLY MODULE | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
US34213251 | WATERS SG | PWAT-16GC0014 | US34213251 |  |  | HEWLETT PACKARD | 66103A | DC POWER SUPPLY MODULE | Yes | Returned to Customer | PASS | 2020-04-30 | 2021-04-30
601Q29R | WATERS SG | WPPLS0012 | 601Q29R |  |  | CASIO | HS-3V | STOP WATCH | Yes | Returned to Customer | ROV | 2020-06-02 | 2021-06-02
63-5011 | WATERS SG | WPPLS0010 | 63-5011 |  |  | RADIO SHACK | 63-5011 | STOP WATCH | Yes | Returned to Customer | ROV | 2020-06-02 | 2021-06-02
A6B118/A6A2707 | WATERS SG | WPPLS0007 | A6B118/A6A2707 |  |  | FLUKE | 1522 | THERMOMETER READOUT W/PROBE | Yes | Returned to Customer |  | 1970-01-01 | 1970-01-01
A6C239/A6C1915 | WATERS SG | WPPLS0003 | A6C239/A6C1915 |  |  | FLUKE | 1522 | THERMOMETER READOUT W/PROBE | Yes | Returned to Customer |  | 1970-01-01 | 1970-01-01
2192550211 | WATERS SG | WPPLS0009 | 2192550211 |  |  | PRIMROSE TECHNOLOGY | WSG | SIGNAL GENARATOR | Yes | Returned to Customer | PASS | 2020-06-03 | 2021-06-03
0035802605 | WATERS SG | 1000829 | 0035802605 |  |  | SARTORIUS | QUINTIX 3102-1S | WEIGHING SCALE | Yes | Returned to Customer | PASS | 2020-05-22 | 2021-05-22
0036805690 | WATERS SG | 1000829 | 0036805690 |  |  | SARTORIUS | QUINTIX 224-1S | WEIGHING SCALE | Yes | Returned to Customer | PASS | 2020-05-22 | 2021-05-22
I36789G | WATERS SG |  | I36789G |  |  | EPPENDORF | P1000 | PIPETTE | Yes | Returned to Customer | PASS | 2020-05-28 | 2021-05-28
G45426G | WATERS SG |  | G45426G |  |  | EPPENDORF | 20-200UL | PIPETTE | Yes | Returned to Customer | PASS | 2020-05-28 | 2021-05-28
H17595G | WATERS SG |  | H17595G |  |  | EPPENDORF | 2-20 UL | PIPETTE | Yes | Returned to Customer | PASS | 2020-05-28 | 2021-05-28
K30059G | WATERS SG |  | K30059G |  |  | EPPENDORF | 0.1 - 2.5 UL | PIPETTE | Yes | Returned to Customer | PASS | 2020-06-02 | 2021-06-02
G36991G | WATERS SG |  | G36991G |  |  | EPPENDORF | 10-100 UL | PIPETTE | Yes | Returned to Customer | PASS | 2020-05-28 | 2021-05-28
H34803G | WATERS SG |  | H34803G |  |  | EPPENDORF | 10-100 UL | PIPETTE | Yes | Returned to Customer | PASS | 2020-05-29 | 2021-05-29
I56343H | WATERS SG |  | I56343H |  |  | EPPENDORF | 0.5-5 ML | PIPETTE | Yes | Returned to Customer | PASS | 2020-05-29 | 2021-05-29
10060165 | WATERS SG |  | 10060165 |  |  | OMEGA | DP80 | DIGITAL INDICATOR | Yes | Returned to Customer | PASS | 2020-06-10 | 2021-06-10
12324733 | WATERS SG | 499 | 12324733 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-06-03 | 2020-12-03
12326187 | WATERS SG | 0501 | 12326187 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-06-03 | 2020-12-03
12326180 | WATERS SG | 502 | 12326180 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-06-03 | 2020-12-03
12326190 | WATERS SG | 0503 | 12326190 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-06-03 | 2020-12-03
12326279 | WATERS SG | 0504 | 12326279 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-06-03 | 2020-12-03
US14B59309 | WATERS SG | WPPLS0001 | US14B59309 |  |  | V:KIT | VKIT-GFM | DIGITAL GAS FLOWMETER | Yes | Returned to Customer | LTD. | 2020-06-23 | 2021-06-23
B060926 | WATERS SG | NA | B060926 |  |  | TEKTRONIX | 460A | OSCILLOSCOPE | Yes | Complete | RN | 2020-07-03 | 2021-07-03
19032G400264 | WATERS SG | NA | 19032G400264 |  |  | CHROMA | 19032 | ELECTRICAL SAFETY ANALYZER | Yes | Returned to Customer | PASS | 2020-07-03 | 2021-07-03
12316088 | WATERS SG | 90966 | 12316088 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-07-02 | 2021-01-02
12336767 | WATERS SG | 94322 | 12336767 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-07-02 | 2021-01-02
12305757 | WATERS SG | 0206 | 12305757 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-07-09 | 2021-01-09
12200404 | WATERS SG | 0216 | 12200404 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-07-09 | 2021-01-09
12303279 | WATERS SG | 0217 | 12303279 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-07-09 | 2021-01-09
12315717 | WATERS SG | 0226 | 12315717 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-07-09 | 2021-01-09
12316922 | WATERS SG | 0278 | 12316922 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-07-09 | 2021-01-09
12326186 | WATERS SG | 0497 | 12326186 |  |  | A&D | HR-200 | ANALYTICAL BALANCE | Yes | Returned to Customer | PASS | 2020-07-09 | 2021-01-09
63145125/95148 | WATERS SG | NA | 63145125/95148 |  | NA | CHROMA | 63103/6314 | CONTROL PLUG-IN ELECTRONIC MAINFRAME MODULE LOAD | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
95170 | WATERS SG | NA | 95170 |  | NA | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
95171 | WATERS SG | NA | 95171 |  | NA | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
95165 | WATERS SG | NA | 95165 |  | NA | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18
95164 | WATERS SG | NA | 95164 |  | NA | TDK-LAMBDA | GENH 60-12.5 | DC POWER SUPPLY | Yes | Returned to Customer | PASS | 2020-02-18 | 2021-02-18