## Flex
S/N | Equipment ID | Equipment Description | Manufacturer | Model | Equipment Serial Number | Interval | Calibration Date | Due Date | Vendor | Equipment-Owner | Customized Equip. | Customer ID | Customer | Location | Active
1 | 0196 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | 12 Months | 2019-07-30 | 2020-07-30 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
2 | 0206 | Electronic Weigh Balance | AND | HR200 | 12305757 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90891 | Waters | Waters - Production | Y
10 | 0216 | Electronic Weigh Balance | AND | HR200 | 12200404 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90038 | Waters | Waters - Production | Y
11 | 0217 | Electronic Weigh Balance | AND | HR200 | 12303279 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90018 | Waters | Waters - Production | Y
17 | 0226 | Electronic Weigh Balance | AND | HR200 | 12315717 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90913 | Waters | Waters - Production | Y
26 | 0245 | Digital Multimeter | Fluke | 110 | 85730619 | 12 Months | 2019-12-16 | 2020-12-16 | Micro Precision | Joel Mamalateo Deduyo | N | 96263 | Waters | Waters - Production | Y
27 | 0246 | Digital Multimeter | Fluke | 179 | 90240092 | 12 Months | 2020-02-13 | 2021-02-13 | Micro Precision | Joel Mamalateo Deduyo | N | 91368 | Waters | Waters - Production | Y
28 | *** 0249 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | 12 Months | 2020-01-08 | 2021-01-08 | Micro Precision | Joel Mamalateo Deduyo | N | 95037 | Waters | Waters 5th Floor | Y
29 | 0256 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | 12 Months | 2019-11-22 | 2020-11-21 | Micro Precision | Joel Mamalateo Deduyo | N | WT-TE-0331 | Waters | 5th Floor | Y
31 | 0278 | Electronic Weigh Balance | AND | HR200 | 12316922 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 95206 | Waters | Waters - Production | Y
33 | 0280 | Clamp Meter | Kyoritsu | 2033 | 66386 | 12 Months | 2019-07-30 | 2020-07-30 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
34 | *** 0360 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | 12 Months | 2019-11-28 | 2020-11-28 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters 5th Floor | Y
36 | *** 0432 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 08280865 | 12 Months | 2019-10-03 | 2020-10-03 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
39 | 0497 | Electronic Weigh Balance | AND | HR200 | 12326186 | 06 Months | 2020-01-31 | 2020-07-31 | Micro Precision | Joel Mamalateo Deduyo | N | 90610 | Waters | Waters - Production | Y
40 | 0499 | Electronic Weigh Balance | AND | HR200 | 12324733 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90605 | Waters | Waters - Production | Y
41 | 0500 | Electronic Weigh Balance | AND | HR200 | 12326184 | 06 Months | 2020-04-15 | 2020-10-15 | Micro Precision | Joel Mamalateo Deduyo | N | 90608 | Waters | Waters - Production | Y
42 | 0501 | Electronic Weigh Balance | AND | HR200 | 12326187 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90604 | Waters (1500 Pump) | Waters - Production | Y
43 | 0502 | Electronic Weigh Balance | AND | HR200 | 12326180 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90603 | Waters | Waters - Production | Y
44 | 0503 | Electronic Weigh Balance | AND | HR200 | 12326190 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90600 | Waters | Waters - Production | Y
45 | 0504 | Electronic Weigh Balance | AND | HR200 | 12326279 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90607 | Waters | Waters - Production | Y
46 | 0592 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | 06 Months | 2020-03-04 | 2020-09-04 | Micro Precision | Phani | N | NA | Waters | 5th Floor | Y
47 | 0594 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | 06 Months | 2020-03-06 | 2020-09-06 | Micro Precision | Phani | N | NA | Waters | Waters - Production | Y
48 | 0595 | Dial Indicator | Mitutoyo | 2514S | JDY576 | 06 Months | 2020-03-06 | 2020-09-06 | Micro Precision | Phani | N | NA | Waters | Waters - Production | Y
50 | 0877 | Torque Wrench | Snap-on | QD1R200 | 0408302147 | 06 Months | 2020-03-04 | 2020-09-04 | Micro Precision | Gary Lai Yam Bee | N | NA | Waters | Waters - Production | Y
70 | *** 1492 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | 12 Months | 2019-10-26 | 2020-10-26 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
81 | 2035 | Electronic Weigh Balance | AND | HR200 | 12336741 | 06 Months | 2020-04-15 | 2020-10-15 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters (BSM/QSM ) | Waters - Production | Y
82 | 2092 | Electronic Weigh Balance | AND | HR200 | 12337042 | 06 Months | 2020-04-15 | 2020-10-15 | Micro Precision | Joel Mamalateo Deduyo | N | 92207 | Waters (Pump Series) | Waters - Production | Y
83 | *** 2094 | Load Box | Chroma | S14-03 | 14354695 | 12 Months | 2019-12-12 | 2020-12-12 | Micro Precision | Joel Mamalateo Deduyo | N | 86080 | Waters (Generic) | Waters - Production | Y
84 | *** 2095 | Load Box | Chroma | S14-03 | 14354681 | 12 Months | 2020-03-06 | 2021-03-06 | Micro Precision | Joel Mamalateo Deduyo | N | 86081 | Waters (Generic) | Waters - Production | Y
85 | *** 2096 | Load Box | Chroma | S14-03 | 14354691 | 12 Months | 2020-05-02 | 2021-05-02 | Micro Precision | Joel Mamalateo Deduyo | N | 86079 | Waters (Generic) | Waters - Production | Y
86 | *** 2097 | Load Box | Chroma | S14-03 | 7322788 | 12 Months | 2020-05-02 | 2021-05-02 | Micro Precision | Joel Mamalateo Deduyo | N | 86085 | Waters (Generic) | Waters - Production | Y
87 | 2217 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | 12 Months | 2020-03-30 | 2021-03-30 | Micro Precision | Joel Mamalateo Deduyo | N | 95515 | Waters | Waters - Production | Y
96 | 2769 | Electronic Weigh Balance | AND | HR200 | 12303631 | 06 Months | 2020-02-07 | 2020-08-07 | Micro Precision | Joel Mamalateo Deduyo | N | 82184 | Waters | Waters - Production | Y

## GES
NO | LOCATION | EQUIPMENT ID | EQUIPMENT NAME | MANUFACTURER | MODEL | MANUFACTURER SERIAL NO | CALIBRATION SOURCE | CALIBRATION CYCLE | LAST CALIBRATION | NEXT CALIBRATION
56 | WATERS (LC Model) | W1-16GC0016 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | Micro Precision | 12 | 03/03/2020 | 03/03/2021
57 | WATERS (LC Model) | W1-16GC0020 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Micro Precision | 12 | 10/07/2019 | 10/07/2020
58 | WATERS (LC Model) | W1-16GC0021 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Micro Precision | 12 | 06/11/2019 | 06/11/2020
59 | WATERS (LC Model) | W1-16GC0022 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Micro Precision | 12 | 15/01/2020 | 15/01/2021
60 | WATERS (LC Model) | W1-16GC0023 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Micro Precision | 12 | 03/03/2020 | 03/03/2021
61 | WATERS (MS(QDA) | W1-17GC0122 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Micro Precision | 12 | 13/8/2019 | 13/8/2020
62 | WATERS (MS(QDA) | W1-18GC0150 | Insulation Tester | Megger | MIT400 | 0703071132 | Micro Precision | 12 | 06/11/2019 | 06/11/2020
63 | WATERS (MS(QDA) | W1-19GC0152 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 44K-0204 | Micro Precision | 12 | 06/11/2019 | 06/11/2020
64 | WATERS (LC Model) | W1-16GC0088 | Load Box | CHROMA | S14-03 | 7322786 | Bestlabs Micro Precision | 12 | 03/03/2020 | 03/03/2021
65 | WATERS (LC Model) | W1-16GC0089 | Load Box | CHROMA | S14-03 | 14354687 | Bestlabs Micro Precision | 12 | 03/03/2020 | 03/03/2021
66 | WATERS (LC Model) | W1-16GC0090 | Load Box | CHROMA | S14-03 | 14354682 | Bestlabs Micro Precision | 12 | 03/03/2020 | 03/03/2021
67 | WATERS (LC Model) | W1-16GC0091 | Load Box | CHROMA | S14-03 | 14354698 | Bestlabs Micro Precision | 12 | 03/03/2020 | 03/03/2021
68 | WATERS (LC Model) | W1-16GC0002 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12335004 (93371) | MING DENG Micro Precision | 6 | 08/11/2019 | 08/05/2020
69 | WATERS (LC Model) | W1-16GC0005 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333739 (93373) | MING DENG Micro Precision | 6 | 08/11/2019 | 08/05/2020
70 | WATERS (LC Model) | W1-16GC0008 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333783 (93372) | MING DENG Micro Precision | 6 | 08/11/2019 | 08/05/2020
71 | WATERS (LC Model) | W1-16GC0011 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333730 (93370) | MING DENG Micro Precision | 6 | 08/11/2019 | 08/05/2020
72 | WATERS (LC Model) | W1-16GC0014 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12316088 (90966) | MING DENG Micro Precision | 6 | 02/01/2020 | 02/07/2020
73 | WATERS (LC Model) | W1-16GC0068 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12336767(94322) | MING DENG Micro Precision | 6 | 02/01/2020 | 02/07/2020
74 | WATERS (LC Model) | W1-16GC0017 | Digital Process Indicators | CHROMA | DP81R-SER-DC2 | 09030136 | SGS Micro Precision | 12 | 03/01/2020 | 03/01/2021
75 | WATERS (LC Model) | W1-16GC0018 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | SGS Micro Precision | 12 | 26/06/2019 | 26/06/2020

## CEI
S/No | INSTRUMENT | Model | INSTRUMENT SERIAL NO | LOCATION | LAST CALIBRATION DATE | NEXT CALIBRATION DATE | CALIBRATION FREQUENCY (1 Year unless otherwise specified) | RANGE | CALIBRATION LAB - Cert no.
1 | Electrical Satety Analyzer (Chroma) | 19032 | 19032G400225 | MFG | 2019-03-11 | 2020-03-11 | 1 | Ground Bond 25Amp, 100mOhm. DC Hipot 2.4kV, 5mA. | Micro Precision Cert: 551220082855388
3 | Load Box (Chroma) | S14-03 | 14354696 | MFG | 2019-03-11 | 2020-03-11 | 1 | Multirange | Micro Precision Cert: 551220082855388
1 | Electrical Safety Analyzer (Chroma) | 19032 | 19032G400225 | MFG | 2020-03-04 | 2021-03-04 | 1 | Ground Bond 20A, 100 mΩ. DC Hipot 2.121kV, 5mA. | Micro Precision Cert No : 551220083503166
3 | Load Box (Chroma) | S14-03 | 14354696 | MFG | 2020-03-04 | 2021-03-04 | 1 | Multirange | Micro Precision Cert No : 551220083503173
Note on F5: Swaminathan Vijayalakshmi: calibrated in house on 04- Mar'20
Note on F6: Swaminathan Vijayalakshmi: calibrated in house on 04- Mar'20

## WPPL
Cal Control | Cust Control | Serial Number | Manufacturer | Model Number | Type | Description | Work Order | Tracking Status | Last Cal Date | Next Due Date | Calibration Status
007011745026 | WPPL0014 | 007011745026 | SCS | 00701 | MEGOHMMETER | MEGOHMMETER | SG-11012717 | Returned to customer | 2019-11-27 | 2020-11-27 | IN TOLERANCE
101688687 | WPPL0016 | 101688687 | MEGGER | MIT410/2 | INSULATION TESTER | INSULATION TESTER | SG-11013231 | Returned to customer | 2020-01-31 | 2021-01-31 | IN TOLERANCE
170445616 | WPPL0008 | 170445616 | VWR | 62344-641 | FOUR-CHANNEL ALARM TIMER | FOUR-CHANNEL ALARM TIMER | SG-11014370 | Returned to customer | 2020-05-28 | 2021-05-28 | IN TOLERANCE
1719001 | WPPL0015 | 1719001 | VERMASON | 222563 | ESD TESTER | ESD TESTER | SG-11014246 | Returned to customer | 2020-05-13 | 2021-05-13 | IN TOLERANCE
2192550211 | WPPLS0009 | 2192550211 | PRIMROSE TECHNOLOGY | WSG | SIGNAL GENARATOR | SIGNAL GENARATOR | SG-11014318 | Work In Process |  |  | IN PROCESS
34729085 | WPPL0009 | 34729085 | NA | 1G | PRECISION WEIGHT | PRECISION WEIGHT | SG-11011724 | Returned to customer | 2019-08-19 | 2020-08-19 | IN TOLERANCE
35229142 | WPPL0010 | 35229142 | NA | 10G | PRECISION WEIGHT | PRECISION WEIGHT | SG-11011724 | Returned to customer | 2019-08-19 | 2020-08-19 | IN TOLERANCE
35700255 | WPPL0006 | 35700255 | FLUKE | 77 IV | MULTIMETER | MULTIMETER | SG-11013231 | Returned to customer | 2020-01-20 | 2021-01-20 | IN TOLERANCE
37029387 | WPPL0043 | 37029387 | NA | 1G | PRECISION WEIGHT | PRECISION WEIGHT | SG-11012578 | Returned to customer | 2019-11-06 | 2020-11-06 | IN TOLERANCE
601Q29R | WPPLS0012 | 601Q29R | CASIO | HS-3V | STOP WATCH | STOPWATCH | SG-11014318 | QC Inprocess | 2020-06-02 | 2021-06-02 | IN TOLERANCE
63-5011 | WPPLS0010 | 63-5011 | RADIO SHACK | 63-5011 | STOP WATCH | STOPWATCH | SG-11014318 | QC Inprocess | 2020-06-02 | 2021-06-02 | IN TOLERANCE
632855699 | WPPL0039 | 632855699 | MITUTOYO | 293-340-30 | DIGIMATIC MICROMETER | DIGIMATIC MICROMETER | SG-11012261 | Returned to customer | 2019-10-10 | 2020-10-10 | IN TOLERANCE
A6B118/A6A2707 | WPPLS0007 | A6B118/A6A2707 | FLUKE | 1522 | THERMOMETER READOUT W/PROBE | THERMOMETER READOUT W/PROBE | SG-11014318 | Work In Process |  |  | IN PROCESS
A6C239/A6C1915 | WPPLS0003 | A6C239/A6C1915 | FLUKE | 1522 | THERMOMETER READOUT W/PROBE | THERMOMETER READOUT W/PROBE | SG-11014318 | Work In Process |  |  | IN PROCESS
G42127G | WPPL0001 | G42127G | EPPENDORF | P1000 | PIPETTE | PIPETTE | SG-11014370 | Returned to customer | 2020-05-28 | 2021-05-28 | IN TOLERANCE
G42285G | WPPL0002 | G42285G | EPPENDORF | P1000 | PIPETTE | PIPETTE | SG-11014246 | Returned to customer | 2020-05-13 | 2021-05-13 | IN TOLERANCE
I22911G | WPPL0019 | I22911G | EPPENDORF | 20-200UL | 20-200UL PIPETTE | 20-200UL PIPETTE | SG-11013231 | Returned to customer | 2020-01-29 | 2021-01-29 | IN TOLERANCE
I22994G | WPPL0018 | I22994G | EPPENDORF | RESEARCH PLUS | 20-200UL PIPETTE | 20-200UL PIPETTE | SG-11012579 | Returned to customer | 2019-11-11 | 2020-11-11 | IN TOLERANCE