## Sheet1
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | COST (USD)
1 | Pipette | Eppendorf /VWR | P1000 | G42127G | WPPL Lab | 1 Year
2 | Pipette | Eppendorf / VWR | P1000 | G42285G | WPPL Lab | 1 Year
3 | Weighing Scale | Sartorius | MSA 125P-100-DI | 35701494 | WPPL Lab | 1 Year
4 | Multimeter | FLUKE / Region Suppliers (PTE) LTD | FL77-4 | 35700255 | WPPL Lab | 1 Year
5 | Wide Range Gauge | Edwards | D14703000 | 170077634 | WPPL Lab | 1 Year
6 | Wide Range Gauge | Edwards | D14703000 | 170077633 | WPPL Lab | 1 Year
7 | Wide Range Gauge | Edwards | D14703000 | 150253989 | WPPL Lab | 1 Year
8 | Wide Range Gauge | Edwards | D14703000 | 150253990 | WPPL Lab | 1 Year
9 | Traceable Stopwatch/ Timer Big Digit 4 Channel | VWR | 62344-641 | 170445616 | WPPL Lab | 2 Years
10 | Weight-1g | Sartorius | YCW313-00 | 34729085 | WPPL Lab | 1 Year
11 | Weight-10g | Sartorius | YCW413-00 | 35229142 | WPPL Lab | 1 Year
12 | Analogue Surface Resistance Meter Kit | Pro-Pack Materials Pte Ltd | SCS 701 | 7011745026 | WPPL Lab | 1 Year
13 | ESD Personnel Test Station | Vermason | 222563 | 1719001 | WPPL Lab | 1 Year
14 | Megger MIT410/2 Insulation Tester | Megger | MIT410/2 | 1006337101688680 | WPPL Lab | 1 Year
15 | Glassware washer | Lab Science Solution Pte Ltd | PG8593 | 74400208 | WPPL Lab | 1 Year
16 | Pipette | Eppendorf /VWR | 200uL | I22994G | WPPL Lab | 1 Year
17 | Pipette | Eppendorf /VWR | 200uL | I22911G | WPPL Lab | 1 Year
18 | Grundfos Pump | Adept Pure Water Limited | CME3-5 | 98358937 | Richport | 1 Year
19 | Tempreature Recorder | LogTag | TRIX-8 | 1000848285 | WPPL | 1 Year
20 | Tempreature Recorder | LogTag | TRIX-8 | 1000848290 | WPPL | 1 Year
21 | Tempreature Recorder | LogTag | TRIX-8 | 1000848288 | WPPL | 1 Year
22 | Tempreature Recorder | LogTag | TRIX-8 | 1000848283 | WPPL | 1 Year
23 | Tempreature Recorder | LogTag | TRIX-8 | 1000848289 | WPPL | 1 Year
24 | Tempreature Recorder | LogTag | TRIX-8 | 1000848284 | WPPL | 1 Year
25 | Tempreature Recorder | LogTag | TRIX-8 | 1000848286 | WPPL | 1 Year
26 | Tempreature Recorder | LogTag | TRIX-8 | 1000848287 | WPPL | 1 Year
27 | DIGIMATIC MICROMETER | Mitutoyo | MDC-1"PX | 632855699 | WPPL | 1 Year
28 | DIGIMATIC CALIPER | Mitutoyo | CD-8"ASX | B16215984 | WPPL | 1 Year
29 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400225 | CEI | 12 | 480
30 | Load Box | Chroma | S14-03 | 14354696 | CEI | 12 | 75
31 | Keithley Source Measurement Unit #1 | Keithley | 236 | 782275 | CEI PCBA | 12 | 1017.11
32 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | CEI PCBA | 12 | 145.89
33 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | CEI PCBA | 12 | 145.89
34 | 6½ DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY46000358 | CEI PCBA | 12 | 132.63
35 | 4 CH 500MHz OSCILLOSCOPE | Tektronix | TDS3054C | C011085 | CEI PCBA | 12 | 298.42
36 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | CEI PCBA | 12 | 397.89
37 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | CEI PCBA | 12 | 397.89
38 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | CEI PCBA | 12 | 119.37
39 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | CEI PCBA | 12 | 119.37
40 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | CEI PCBA | 12 | 119.37
41 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | CEI PCBA | 12 | 119.37
42 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44046858 | CEI PCBA | 12 | 232.1
43 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017022 | CEI PCBA | 12 | 198.94
44 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017023 | CEI PCBA | 12 | 198.94
45 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017030 | CEI PCBA | 12 | 198.94
46 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017042 | CEI PCBA | 12 | 198.94
47 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | CEI PCBA | 12 | 397.89
48 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | CEI PCBA | 12 | 165.79
49 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | CEI PCBA | 12 | 165.79
50 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | CEI PCBA | 12 | 165.79
51 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | CEI PCBA | 12 | 165.79
52 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | CEI PCBA | 12 | 165.79
53 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | CEI PCBA | 12 | 165.79
54 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | CEI PCBA | 12 | 165.79
55 | Electronic Load | Hewlett Packard | 60502B | US37244128 | CEI PCBA | 12 | 165.79
56 | Electronic Load | Hewlett Packard | 60502B | US37244138 | CEI PCBA | 12 | 165.79
57 | Electronic Load | Hewlett Packard | 60502B | US37244141 | CEI PCBA | 12 | 165.79
58 | Tektronics 4-Channel Digitizing Oscilloscope | Tektronix | TDS460A | B071897 | CEI PCBA | 12 | 271.89
59 | Electronic Load | Hewlett Packard | 60502B | US37243391 | CEI PCBA | 12 | 165.79
60 | Electronic Load | Hewlett Packard | 60502B | US37244144 | CEI PCBA | 12 | 165.79
61 | Electronic Load | Hewlett Packard | 60502A | 3011A-01246 | CEI PCBA | 12 | 165.79
62 | Keithley Source Measurement Unit #2 | Keithley | 236 | 0786386 | CEI PCBA | 12 | 1135.64
63 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12 | 59.34
64 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 53.7
65 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 52.75
66 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 53.7
67 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 52.75
68 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 53.7
69 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 52.75
70 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 53.7
71 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 52.75
72 | Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12 | 53.7
73 | Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12 | 53.7
74 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | Flex | 12 | 223.76
75 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | Flex | 12 | 231.5
76 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 53.7
77 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 52.75
78 | High Voltage Probe | Fluke | 80K-6 | 89200011 | Flex | 12 | 159.71
79 | Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12 | 79.12
80 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 217.74
81 | Picoammeter | Keithley | 485 | 310788 | Flex | 12 | 201.39
82 | Picoammeter | Keithley | 485 | 435110 | Flex | 12 | 201.39
83 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 219.78
84 | Liquilaz | Particle Measuring Systems | E20P | 51053 | Flex | 12 | 1353.85
85 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 53.7
86 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 52.75
87 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 53.7
88 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 52.75
89 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 53.7
90 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 52.75
91 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 53.7
92 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 52.26
93 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 53.7
94 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 52.75
95 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 53.7
96 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 52.75
97 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 53.7
98 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 52.75
99 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 53.7
100 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 52.75
101 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 47.74
102 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 46.89
103 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.87
104 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.44
105 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 17.9
106 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 23.44
107 | Mass Flow Meter | Aalborg | GFM17 | 170609-1 | Flex | 12 | 285.71
108 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 47.74
109 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 46.89
110 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12 | 217.74
111 | Macbeth Lighting | X-Rite | Judge II | C61093261217 | Flex | 12 | 805.86
112 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7
113 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7
114 | Load Box | Chroma | S14-03 | 14354695 | Flex | 12 | 89.51
115 | Load Box | Chroma | S14-03 | 14354681 | Flex | 12 | 89.51
116 | Load Box | Chroma | S14-03 | 14354691 | Flex | 12 | 89.51
117 | Load Box | Chroma | S14-03 | 7322788 | Flex | 12 | 89.51
118 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | Flex | 12 | 1303.48
119 | Universal Front End Tester | Keithley | 236 | 704826 | Flex Senai | 12 | 306.83
120 | Universal Front End Tester | Keithley | 236 | 796741 | Flex Senai | 12 | 3470
121 | Universal Front End Tester | National Instruments | PCI-6025E | 1347EFD | Flex Senai | 12 | 485.07
122 | Power SMU | National Instruments | PXI4130 | 1459564 | Flex Senai | 12 | 609.67
123 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF2F | Flex Senai | 12 | 471.77
124 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF16 | Flex Senai | 12 | 471.77
125 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C0110786 | Flex Senai | 12 | 119.92
126 | Function / Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44043984 | Flex Senai | 12 | 143.9
127 | Digital Multimeter | Agilent Technologies | 34411A | MY48002718 | Flex Senai | 12 | 107.93
128 | Mainframe / Electronic Load Module | Chroma | 6314 / 63103 / 63103A | 631400009104/ 631030017035/ 631030017265/ 631030017021/ 63103A000083 | Flex Senai | 12 | 167.89
129 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95162 | Flex Senai | 12 | 41.97
130 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95163 | Flex Senai | 12 | 41.97
131 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95179 | Flex Senai | 12 | 41.97
132 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95141 | Flex Senai | 12 | 41.97
133 | DC Power Supply | TDK Lambda | GENH30-25 | 95178 | Flex Senai | 12 | 41.97
134 | DC Power Supply | TDK Lambda | GENH30-25 | 95142 | Flex Senai | 12 | 41.97
135 | Source Measure Units | Keithley | 236 | 0810603 | Flex Senai | 12 | 3470
136 | Light Box | X-Rite | JUDGE II | C61093251217 | Venture (LC) | 12 | 720
137 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01907 | Venture PCBA (LC) | 12 | 141.5
138 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01876 | Venture PCBA (LC) | 12 | 141.5
139 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01587 | Venture PCBA (LC) | 12 | 141.5
140 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A02210 | Venture PCBA (LC) | 12 | 141.5
141 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01795 | Venture PCBA (LC) | 12 | 141.5
142 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A00920 | Venture PCBA (LC) | 12 | 141.5
143 | DC Power Supply | TDK Lambda | GENH30-25 | 95166 | Venture PCBA (LC) | 12 | 160
144 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95170 | Venture PCBA (LC) | 12 | 160
145 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95165 | Venture PCBA (LC) | 12 | 160
146 | DC Power Supply | TDK Lambda | GENH30-25 | 95167 | Venture PCBA (LC) | 12 | 160
147 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95164 | Venture PCBA (LC) | 12 | 160
148 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95171 | Venture PCBA (LC) | 12 | 160
149 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213251 | Venture PCBA (LC) | 12 | 170
150 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213252 | Venture PCBA (LC) | 12 | 170
151 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213090 | Venture PCBA (LC) | 12 | 170
152 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213209 | Venture PCBA (LC) | 12 | 170
153 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02477 | Venture PCBA (LC) | 12 | 170
154 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213216 | Venture PCBA (LC) | 12 | 170
155 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02507 | Venture PCBA (LC) | 12 | 170
156 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C011477 | Venture PCBA (LC) | 12 | 200
157 | Electronic Load Plug-In Module / Control Mainframe | Chroma | 63103/6314 | 63145125/95148 | Venture PCBA (LC) | 12 | 240
158 | Function/Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44044085/95154 | Venture PCBA (LC) | 12 | 250
159 | Keithley 236 Source Measure unit | Keithley | 236 | 0683301(ID#90744) | Venture PCBA (LC) | 12 | 247.2
160 | Keithley 236 Source Measure unit | Keithley | 236 | 0648831 (ID#90316) | Venture PCBA (LC) | 12 | 360
161 | Keithley 236 Source Measure unit | Keithley | 236 | 497638 | Venture PCBA (LC) | 12 | 360
162 | Keithley 236 Source Measure unit | Keithley | 236 | 0549819 (ID#95105) | Venture PCBA (LC) | 12 | 247.2
163 | Keithley 236 Source Measure unit | Keithley | 236 | 0796740 (ID#90275) | Venture PCBA (LC) | 12 | 360
164 | Keithley 236 Source Measure unit | Keithley | 236 | 0648819 (ID#90317) | Venture PCBA (LC) | 12 | 247.2
165 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DEFE | Venture PCBA (LC) | 12 | 270
166 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF3A | Venture PCBA (LC) | 12 | 270
167 | Multimeter | Agilent Technologies | 34411A | MY53002751/95155 | Venture PCBA (LC) | 12 | 144
168 | Oscillascope | Tektronix | TDS460A | B060926 | Venture PCBA (LC) | 12 | 350
169 | PCI 6025E | National Instruments | 6025E | C57A10 | Venture PCBA (LC) | 12 | 250
170 | POWER SMU | National Instruments | PXI4130 | 145025B | Venture PCBA (LC) | 12 | 270
171 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | Venture PCBA (LC) | 12 | 360
172 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | Venture PCBA (LC) | 12 | 360
173 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | Venture PCBA (LC) | 12
174 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | Venture PCBA (LC) | 12 | 300
175 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | Venture PCBA (LC) | 12 | 480
176 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | Venture PCBA (LC) | 12 | 480
177 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY48003234 | Venture PCBA (MS) | 12 | 144
178 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44015802 | Venture PCBA (MS) | 12 | 250
179 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 200
180 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 64
181 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 72
182 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 64
183 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 72
184 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 64
185 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 72
186 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 64
187 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 72
188 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 64
189 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 64
190 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 64
191 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 64
192 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | Venture (LC) | 12 | 176
193 | Digital Process Indicators | Chroma | DP81R-SER-DC2 | 09030136 | Venture (LC) | 12 | 350.4
194 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | Venture (LC) | 12 | 144
195 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Venture (LC) | 12 | 240
196 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Venture (LC) | 12 | 240
197 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Venture (LC) | 12 | 240
198 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Venture (LC) | 12 | 240
199 | Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 80
200 | Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 80
201 | Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 80
202 | Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 80
203 | Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 80
204 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Venture (LC) | 12 | 432
205 | Insulation Tester | Megger | MIT400 | 0703071132 | Venture (MS) | 12 | 180
206 | DC POWER SUPPLY | TDK Lambda | GENH30-25 | 97019 | Venture PCBA (MS) | 12 | 160
207 | DC POWER SUPPLY | TDK Lambda | GENH30-25 | 97020 | Venture PCBA (MS) | 12 | 160
208 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97015 | Venture PCBA (MS) | 12 | 160
209 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97016 | Venture PCBA (MS) | 12 | 160
210 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97017 | Venture PCBA (MS) | 12 | 160
211 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97018 | Venture PCBA (MS) | 12 | 160
212 | DC ELECTRONIC LOAD | Chroma | 63103A | 97010 | Venture PCBA (MS) | 12 | 240
213 | DC ELECTRONIC LOAD | Chroma | 63103A | 97011 | Venture PCBA (MS) | 12 | 240
214 | DC ELECTRONIC LOAD | Chroma | 63103A | 97012 | Venture PCBA (MS) | 12 | 240
215 | DC ELECTRONIC LOAD | Chroma | 63103A | 97013 | Venture PCBA (MS) | 12 | 240
216 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | 97025 | Venture PCBA (MS) | 12 | 144
217 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | 97026 | Venture PCBA (MS) | 12 | 250
218 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS 3054C | 97024 | Venture PCBA (MS) | 12 | 200
219 | Prog Resistor | Marvin Test Solution | GX1164 | 97014 | Venture PCBA (MS) | 12
220 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97021 | Venture PCBA (MS) | 12 | 270
221 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97022 | Venture PCBA (MS) | 12 | 270
222 | Power SMU | National Instruments | NI PXI-4130 | 97023 | Venture PCBA (MS) | 12 | 270
223 | DC Electronic Load mainframe | Hewlett Packard | 6050A | 3312A02661 | Venture PCBA (LC) | 12 | 0
224 | MPS MAINFRAME | Hewlett Packard | 66000A | US35221282 | Venture PCBA (LC) | 12 | 0
225 | Prog. Resistance Card | Geotest | GX1164-01 | 11640209 (95750) | Venture PCBA (LC) | 24 | 0
226 | Leak Detector | Leybold | PhoenixL 300i | 90001301209 | Venture (MS) | 15 | 2634.77