## Flex
S/N | Equipment ID | Equipment Description | Manufacturer | Model | Equipment Serial Number | Interval | Calibration Date | Due Date | Vendor | Equipment-Owner | Customized Equip. | Customer ID | Customer | Location | Active
1 | 0196 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | 12 Months | 2019-07-30 | 2020-07-30 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
2 | 0206 | Electronic Weigh Balance | AND | HR200 | 12305757 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90891 | Waters | Waters - Production | Y
10 | 0216 | Electronic Weigh Balance | AND | HR200 | 12200404 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90038 | Waters | Waters - Production | Y
11 | 0217 | Electronic Weigh Balance | AND | HR200 | 12303279 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90018 | Waters | Waters - Production | Y
14 | 0223 | HPMV Tester | Waters | NA | TE82625-1 | 06 Months | 2020-01-16 | 2020-07-16 | Internal | Joel Mamalateo Deduyo | Y | TE82625-1 | Waters | Waters - Production | Y
16 | 0225 | Injector Seal Pack Tester | Waters | TE82503-4 | TE82503-4 | 06 Months | 2020-01-16 | 2020-07-16 | Internal | Joel Mamalateo Deduyo | Y | TE82503-4 | Waters | Waters - Production | Y
17 | 0226 | Electronic Weigh Balance | AND | HR200 | 12315717 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90913 | Waters | Waters - Production | Y
30 | 0259 | Injector Seal Pack Tester | Waters | TE82503-5 | TE82503-5 | 06 Months | 2020-02-27 | 2020-08-27 | Internal | Joel Mamalateo Deduyo | Y | TE82503-05 | Waters | Waters - Production | Y
31 | 0278 | Electronic Weigh Balance | AND | HR200 | 12316922 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 95206 | Waters | Waters - Production | Y
33 | 0280 | Clamp Meter | Kyoritsu | 2033 | 66386 | 12 Months | 2019-07-30 | 2020-07-30 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
38 | 0481 | Liquilaz | Particle Measuring Systems | E20P | 51053 | 12 Months | 2019-08-21 | 2020-08-21 | Particle Measuring Systems | Joel Mamalateo Deduyo | N | NA | Waters | 5th Floor | Y
39 | 0497 | Electronic Weigh Balance | AND | HR200 | 12326186 | 06 Months | 2020-01-31 | 2020-07-31 | Micro Precision | Joel Mamalateo Deduyo | N | 90610 | Waters | Waters - Production | Y
49 | 0597 | Mass Flow Meter | AALBORG | GFM17 | 170609-1 | 12 Months | 2019-07-15 | 2020-07-15 | Caltek | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
53 | 1395 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E727A | 12 Months | 2019-07-10 | 2020-07-10 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
55 | 1397 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E729A | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
56 | 1398 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E730A | 12 Months | 2019-07-11 | 2020-07-11 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
60 | 1402 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E734A | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
61 | 1403 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E735A | 12 Months | 2019-07-10 | 2020-07-10 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
63 | 1405 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E737A | 12 Months | 2019-07-11 | 2020-07-11 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
64 | 1428 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E710A | 12 Months | 2019-07-11 | 2020-07-11 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
76 | 1781 | Column Heater | WATERS | WAT091727 | C13CHM795R | 12 Months | 2019-07-17 | 2020-07-17 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
77 | 1782 | Column Heater | WATERS | WAT091727 | D12CHM299R | 12 Months | 2019-07-17 | 2020-07-17 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
78 | 1783 | Column Heater | WATERS | WAT091727 | K14CHM398R | 12 Months | 2019-07-18 | 2020-07-18 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
79 | 1784 | Column Heater | WATERS | WAT091727 | L14CHM438R | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
80 | 1787 | Column Heater | WATERS | WAT091727 | D15CHM641R | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
96 | 2769 | Electronic Weigh Balance | AND | HR200 | 12303631 | 06 Months | 2020-02-07 | 2020-08-07 | Micro Precision | Joel Mamalateo Deduyo | N | 82184 | Waters | Waters - Production | Y

## Flex Senai
S/N | Equipment ID | Equipment Description | Manufacturer | Model | Equipment Serial Number | Interval | Calibration Date | Due Date | Vendor | Equipment-Owner | Customized Equip. | Customer ID | Customer | Location | Active
5 | S0199 | Power SMU | National instrument | PXI4130 | 1459564 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | NA | Waters | Waters Cell | Y
6 | S0200 | M Series Multifunction DAQ | National Instrument | PXI6229 | 145DF2F | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | NA | Waters | Waters Cell | Y
7 | S0201 | M Series Multifunction DAQ | National Instrument | PXI6229 | 145DF16 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | NA | Waters | Waters Cell | Y
8 | S0202 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C0110786 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | 95156 | Waters | Waters Cell | Y
9 | S0203 | Function / Arbitrary Waveform Generator | Agilent | 33220A | MY44043984 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | NA | Waters | Waters Cell | Y
10 | S0204 | Digital Multimeter | Agilent | 34411A | MY48002718 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | 95157 | Waters | Waters Cell | Y
11 | S0205 | Mainframe / Electronic Load Module | Chroma | 6314 / 63103 / 63103A | 631400009104/ 631030017035/ 631030017265/ 631030017021/ 63103A000083 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | NA | Waters | Waters Cell | Y
12 | S0206 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95162 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | 95162 | Waters | Waters Cell | Y
13 | S0207 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95163 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | 95163 | Waters | Waters Cell | Y
14 | S0208 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95179 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | 95179 | Waters | Waters Cell | Y
15 | S0209 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95141 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | 95141 | Waters | Waters Cell | Y
16 | S0210 | DC Power Supply | TDK Lambda | GENH30-25 | 95178 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | 95178 | Waters | Waters Cell | Y
17 | S0211 | DC Power Supply | TDK Lambda | GENH30-25 | 95142 | 12 months | 2019-07-15 | 2020-07-15 | Micro Precision | Gopinaath Al S | N | 95142 | Waters | Waters Cell | Y

## Venture
NO | LOCATION | EQUIPMENT ID | EQUIPMENT NAME | MANUFACTURER | MODEL | MANUFACTURER SERIAL NO | CALIBRATION SOURCE | CALIBRATION CYCLE | LAST CALIBRATION | NEXT CALIBRATION
26 | WATERS (RACAL TESTER) | PWAT-16GC0034 | Oscillascope | Textronix | TDS460A | B060926 | Micro Precision | 12 | 10/07/2019 | 10/07/2020
37 | WATERS (JUNIOR GTS FOR QDA) | PWAT-18GC0047 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | AGILENT | 33220A | MY44015802 | Micro Precision | 12 | 10/07/2019 | 10/07/2020
57 | WATERS (LC Model) | W1-16GC0020 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Micro Precision | 12 | 10/07/2019 | 10/07/2020
61 | WATERS (MS(QDA) | W1-17GC0122 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Micro Precision | 12 | 13/8/2019 | 13/8/2020
72 | WATERS (LC Model) | W1-16GC0014 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12316088 (90966) | MING DENG Micro Precision | 6 | 02/01/2020 | 02/07/2020
73 | WATERS (LC Model) | W1-16GC0068 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12336767(94322) | MING DENG Micro Precision | 6 | 02/01/2020 | 02/07/2020
3 | WATERS (RACAL TESTER) | PWAT-16GC0025 | Keithley 236 Source Measure unit | Keithley | 236 | 0648831 (ID#90316) | Keithley | 12 | 07/08/2019 | 07/08/2020

## CEI Batam
S/N | Location | Description | Brand | Model | Serial Number | Date Calibrated | Calibration Due Date | Report Number | Calibrated By | Interval | Buy / consign | Remark [Trigger Packed for shipment date ]
1 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | 2019-08-15 | 2020-08-15 | CEI / 2362 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
2 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | 2019-08-15 | 2020-08-15 | CEI / 2363 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
3 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | 2019-08-15 | 2020-08-15 | CEI / 2364 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
4 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | 2019-08-15 | 2020-08-15 | CEI / 2365 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
5 | Racal system | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | 2019-08-16 | 2020-08-16 | CEI / 2367 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
6 | Racal system | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | 2019-08-16 | 2020-08-16 | CEI / 2368 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
7 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | 2019-08-16 | 2020-08-16 | CEI / 2366 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
8 | Racal system ID# 92222 12MO WP72 | Electronic Load | HP | 60502B | US37244128 | 2019-08-15 | 2020-08-15 | CEI / 2374 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
9 | Racal system ID# 92224 12MO WP72 | Electronic Load | HP | 60502B | US37244138 | 2019-08-15 | 2020-08-15 | CEI / 2372 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
10 | Racal system ID#92225 12MO WP72 | Electronic Load | HP | 60502B | US37244141 | 2019-08-15 | 2020-08-15 | CEI / 2371 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
11 | Racal system | Tektronics 4-Channel Digitizing Oscilloscope | Tektronics | TDS460A | B071897 | 2019-08-15 | 2020-08-15 | CEI / 2375 | Tech systems Services & integration | yearly | Waters consigned |  | Racal
12 | Racal system ID# 90246WP72 | Electronic Load | HP | 60502B | US37243391 | 2019-08-15 | 2020-08-15 | CEI/2373 | Tech systems Services & integration | Yearly | Replacement unit from Waters Paul |  | Racal
13 | Racal system ID#90245WP72 | Electronic Load | HP | 60502B | US37244144 | 2019-08-15 | 2020-08-15 | CEI/2369 | Tech systems Services & integration | Yearly | Replacement unit from Waters Paul |  | Racal
14 | Racal system ID#90242WP72 | Electronic Load | HP | 60502A | 3011A-01246 | 2019-08-15 | 2020-08-15 | CEI/2370 | Tech systems Services & integration | Yearly | Replacement unit from Waters Paul |  | Racal
15 | Racal system | Keithley Source Measurement Unit #2 | Keithley | 236 | 0786386 | 2019-08-22 | 2020-08-22 | '0786386:20190822171221 | Tektronix Southeast Asia Pte. Ltd | yearly | Waters consigned |  | Racal