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S/N Equipment ID Equipment Description Manufacturer Model Equipment Serial  Number Interval Calibration Date Due Date Vendor


Equipment 


Owner


Customized 


Equipment Customer ID Customer Location Active


1 90221 Keithley Source Measurement Unit Keithley 236 0782275 12 months 15.Jan.19 31.Jan.20 ESSCO Calibration Laboratory N.A NO N.A Waters Milford out for service


2 92239 6½ Digit VXI Multimeter ID#92239 12MO V019 Racal Inc 4152A US38010180 12 months 26.Mar.19 26.Mar.20 Tra-Cal, LLC N.A NO N.A Waters Milford out for service


3 98205 3151 VX1 Waveform Generator ID#98205 V019 CEI Racal Inc 3151A+ 0305800 12 months 26.Mar.19 26.Mar.20 Tra-Cal, LLC N.A NO N.A Waters Milford out for service


4 92241 12MO V019 VX1 Counter Card Racal Inc 2461-CD 1100 12 months 26.Mar.19 26.Mar.20 Tra-Cal, LLC N.A NO N.A Waters Milford out for service


5 HP66103A DC Power Module 35V/4.5A Agilent Technologies 66103A US34212664
12 months 15.Aug.19


15.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


6 HP66103A DC Power Module 35V/4.5A Agilent Technologies 66103A US34212667
12 months 15.Aug.19


15.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


7 HP66103A DC Power Module 35V/4.5A Agilent Technologies 66103A US34212669
12 months 15.Aug.19


15.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


8 HP66103A DC Power Module 35V/4.5A Agilent Technologies 66103A US34212672
12 months 15.Aug.19


15.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


9 HP66101A DC Power Module 8V/16A Agilent Technologies 66101A US34442070
12 months 16.Aug.19


16.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


10 HP66101A DC Power Module 8V/16A Agilent Technologies 66101A MY40000535
12 months 16.Aug.19


16.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


11 HP66103A DC Power Module 35V/4.5A Agilent Technologies 66103A US34212670
12 months 16.Aug.19


16.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


12 92222 12MO WP72 Electronic Load HP 60502B US37244128
12 months 15.Aug.19


15.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


13 92224 12MO WP72 Electronic Load HP 60502B US37244138
12 months 15.Aug.19


15.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


14 92225 12MO WP72 Electronic Load HP 60502B US37244141 12 months 15.Aug.19
15.Aug.20 Tech systems Services & integration


N.A NO N.A Waters Waters Production
Y
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15 Tektronics 4-Channel Digitizing Oscilloscope Tektronics TDS460A B071897
12 months 15.Aug.19


15.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


16 90246WP72 Electronic Load HP 60502B US37243391
12 months 15.Aug.19


15.Aug.20 Tech systems Services & integration


N.A NO N.A Waters Waters Production


Y


17 90245WP72 Electronic Load HP 60502B US37244144
12 months 15.Aug.19


15.Aug.20 Tech systems Services & integration
N.A NO N.A Waters Waters Production


Y


18 90242WP72 Electronic Load HP 60502A 3011A-01246 12 months 15.Aug.19
15.Aug.20 Tech systems Services & integration


N.A NO N.A Waters Waters Production
Y


19 Keithley Source Measurement Unit  #2 Keithley 236 0786386
12 months


22.Aug.19 22.Aug.20 Tektronix Southeast Asia Pte. Ltd
N.A NO N.A Waters Waters Production


Y


20 95168
Programmable DC Power supply TDK Lambda


GENH30-25 
09M1019A 12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


21 95169
Programmable DC Power supply TDK Lambda


GENH30-25 
09M1020A 12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


22 95153
6½ DIGITAL MULTIMETER Agilent Tech


 34411A MY46000358
12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


23 95158
 4 CH 500MHz OSCILLOSCOPE


TEKTRONIX TDS3054C C011085
12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


24 91745
NI [ M series ]  MULTIFUNCTION DAQ  Device


National Instruments PXI-6229
145DF14 12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


25 91744
NI [ M series ]  MULTIFUNCTION DAQ  Device


National Instruments PXI-6229
145DF42 12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


26 95176
Programmable DC Power supply TDK Lambda


GENH60-12.5
09M1026A 12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


27 95177
Programmable DC Power supply TDK Lambda


GENH60-12.5 09M1028A
12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


28 95173
Programmable DC Power supply TDK Lambda


GENH60-12.5 09M1029A
12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


29 95172
Programmable DC Power supply TDK Lambda


GENH60-12.5 09M1032A
12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


30 91746
NI  Programmable DC Power supply


National Instruments PXI-4130
1450264 12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


31 91773
20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR Agilent Tech


33220A MY44046858
12 months


21.Apr.20 21.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


32 95195
DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W 


CHROMA  63103
631030017022 12 months


22.Apr.20 22.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


33 95193
DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W 


CHROMA  63103
631030017023 12 months


22.Apr.20 22.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


34 95192
DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W 


CHROMA  63103
631030017042 12 months


22.Apr.20 22.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


35 95194
DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W 


CHROMA  63103
631030017030 12 months


22.Apr.20 22.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


36 93188
NI [ M series ]  MULTIFUNCTION DAQ  Device


National Instruments PXI-6229 17E3258
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


37 93244 12M WP72 20MHz Function Arbitrary Waveform Generator Agilent Technologies 33220A MY44052037
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


38 93190
NI  Programmable DC Power supply Power SMU


National Instruments PXI-4130 160B92C
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


39 93168 DC Electronic Load 6A/60A/80V 300W Chroma 63103A 63103A005460
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


40 93178 DC Electronic Load 6A/60A/80V 300W Chroma 63103A 63103A005457
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


41 93179 DC Electronic Load 6A/60A/80V 300W Chroma 63103A 63103A005485
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


42 93180 DC Electronic Load 6A/60A/80V 300W Chroma 63103A 63103A005472
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


43 93245 12M WP72 Agilent 61/2 Digit Multimeter Agilent 34411A MY48003752
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


44 93185
Programmable DC Power supply TDK Lambda


GENH60-12.5-LAN-U 09M1038A
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


45 93189
NI [ M series ]  MULTIFUNCTION DAQ  Device


National Instruments PXI-6229 17E3259
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


46 93186
Programmable DC Power supply TDK Lambda


GENH30-25 12M4062Z
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


47 93187
Programmable DC Power supply TDK Lambda


GENH30-25 12M4063Z
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


48 93182
Programmable DC Power supply TDK Lambda


GENH60-12.5 12M4064Z
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


49 93183
Programmable DC Power supply TDK Lambda


GENH60-12.5 12M4068Z
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


50 93184
Programmable DC Power supply TDK Lambda


GENH60-12.5 12M4069Z
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


51 93246  12M WP72
 4 CH 500MHz OSCILLOSCOPE


TEKTRONIX TDS3054C C012641
12 months


28.Apr.20 28.Apr.21
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


52 91743
PXI PROGRAMMABLE RESISTOR MODULE


GEOTEST  GX 1164-01  002061-BH-BA-00
24 months


21.Apr.20 21.Apr.22
Micro Precision Calibration PTE LTD N.A NO N.A Waters Waters Production


Y


53 11640241 PXI PROGRAMMABLE RESISTOR MODULE GEOTEST  GX 1164-01 IZ-BK-BA-000
24 months


29.Apr.20 29.Apr.22
Micro Precision Calibration PTE LTD


N.A NO N.A
Waters Waters Production


Y


Reviewed by : Meryl Date: 08.May.20
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ISO Scope EQUIPMENT ID
EQUIPMENT 


DESCRIPTION


MANUFACTURER / 


DISTRIBUTOR
MODEL  SN ACTIVE?


EQUIPMENT


LOCATION
OWNER


*Validation/ 


Verification 


Required? 


Y/ N.A


PM Details PM Interval


(PM)


Last Maintenance 


Date


(PM)


Next Maintenance 


Date


CAL 


Interval


(CAL) 


Calibration 


Required


Y/ N.A


(Vendor)


(CAL)


Last Calibration 


Date 


(CAL)


Next 


Calibration 


Date


Intended Of Use Log In Date REMARKS


Yes WPPL0001 Pipette Eppendorf /VWR P1000 G42127G Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
28.May.20 28.May.21 Chemical solution preparation 13.Nov.17


Yes WPPL0002 Pipette Eppendorf / VWR P1000  G42285G Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
13.May.20 13.May.21 Chemical solution preparation 16.Nov.17


Yes WPPL0003 Weighing balance Sartorius MSA 125P-100-DI 35701494 Y WPPL IFWRC Lab PAE - Siddharth Y N/A N/A N/A N/A 1 Year
External -


Sartorius
27.Sep.19 26.Sep.20 Chemical solution preparation 07.Aug.17


Validation documents are maintained by Wilmslow 


Quality.


Yes WPPL0004 Freezer
Liebherr / ITS Science & 


Medical Pte. Ltd
LGUex 1500 840442763 Y WPPL IFWRC Lab PAE - Siddharth Y


PM Document - 


730005237
Monthly Refer Record Refer Record N/A N/A N/A N/A Storage of chemicals 14.Aug.17


Validation documents are maintained by Wilmslow 


Quality


Yes WPPL0005 Fridge
Liebherr / ITS Science & 


Medical Pte. Ltd
LKUexv 1610 840303798 Y WPPL IFWRC Lab PAE - Siddharth Y


PM Document - 


730005231
Weekly Refer Record Refer Record N/A N/A N/A N/A Storage of chemicals 14.Aug.17


Validation documents are maintained by Wilmslow 


Quality


Yes WPPL0006 Multimeter
FLUKE / Region Suppliers 


(PTE) LTD
FL77-4 35700255 Y WPPL R&D Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year


External -Ming 


Deng
20.Jan.20 20.Jan.21 Troubleshoot 06.Jan.17


No WPPL0007-1 Wide Range Gauge Edwards D14703000 190391391 Y WPPL R&D Lab PAE - Siddharth Y 1 Year
External - 


Edwards
05.Aug.19 05.Aug.20 24.Jul.20 Calibration by UK


No WPPL0007-2 Wide Range Gauge Edwards D14703000 190391392 Y WPPL R&D Lab PAE - Siddharth Y 1 Year
External - 


Edwards
05.Aug.19 05.Aug.20 24.Jul.20 Calibration by UK


No WPPL0007-3 Vacuum Pump Vacuubrand MD 1SW Vario-SP 41723604 Y WPPL R&D Lab PAE - Siddharth Y N/A N/A N/A N/A 24.Jul.20


Yes WPPL0008 
Traceable Stopwatch/ Timer 


Big Digit 4 Channel
VWR 62344-641 170445616 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 year


External - Micro 


Precision
28.May.20 28.May.21 Internal PM for 515 pump 28.Mar.18


Yes WPPL0009 Weight-1g Sartorius YCW313-00 34729085 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - 


Micro Precision
19.Aug.19 19.Aug.20 Internal PM for weighing scale 07.Aug.17 Equipment out for calibration, 23.08.19


No WPPL0010 Weight-10g Sartorius YCW413-00 35229142 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - 


Micro Precision
19.Aug.19 19.Aug.20 07.Aug.17


Yes WPPL0013 Fumehood Cupboard Anachem Technologies N/A 2018-130236 Y WPPL IFWRC Lab PAE - Siddharth Y External Service 1 year 05.Jun.20 05.Jun.21 N/A N/A N/A N/A 24.Jul.20 Service report only


No WPPL0014
Analogue Surface 


Resistance Meter Kit
Pro-Pack Materials Pte Ltd SCS 701 7011745026 N WPPL OPS cabinet (L6) PAE - Siddharth N/A N/A N/A N/A N/A 1 Year


External - 


SGS
27.Nov.19 27.Nov.20 13.Dec.17


No WPPL0015 ESD Personnel Test Station Vermason 222563 1719001 Y WPPL R&D Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
13.May.20 13.May.21 17.Nov.17


No WPPL0016
Megger MIT410/2 Insulation 


Tester
Megger MIT410/2 101688687 Y WPPL OPS cabinet (L6) PAE - Siddharth N/A N/A N/A N/A N/A 1 Year


External - 


SGS
31.Jan.20 31.Jan.21 24.Jul.20


Yes WPPL0017 Glassware washer Lab Science Solution Pte Ltd PG8593 74400208 Y WPPL IFWRC Lab PAE - Siddharth Y
Document - 


730005192
1 Year 07.Nov.19 06.Nov.20 1 Year N/A N/A N/A To wash the glassware 07.Sep.17


Validation documents are maintained by Wilmslow 


Quality


Yes WPPL0018 Pipette Eppendorf /VWR 200uL  I22994G Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
11.Nov.19 11.Nov.20 Chemical solution preparation 16.Nov.17


Yes WPPL0019 Pipette Eppendorf /VWR 200uL I22911G Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year External - VWR 29.Jan.20 29.Jan.21 Chemical solution preparation 16.Nov.17


Yes WPPL0020 Ultrasonic Bath Branson CPX3800H-E BHY12178300B Y WPPL IFWRC Lab PAE - Siddharth Y
Document - 


730005179
Monthly Refer Record Refer Record N/A N/A N/A N/A Chemical solution preparation 27.Mar.18 Validation documents only


Yes WPPL0021-1 QDa Waters MKII KAA0270 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A 24.Jul.20


Yes WPPL0021-3 Rotary Pump Vacuubrand RE 6W 42624010 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A 24.Jul.20


Yes WPPL0021-4 PC Lenovo C30 84RWRA9 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A 24.Jul.20


Yes WPPL0021-5 515 Pump Waters WAT207000 B19515413A Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A 24.Jul.20


Yes WPPL0031 Temperature Recorder LogTag TRIX-8 1000848287 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 29.Apr.20 28.Apr.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0032 Temperature Recorder LogTag TRIX-8 1000848286 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 03.Mar.20 02.Mar.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0033 Temperature Recorder LogTag TRIX-8 1000848284 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 03.Mar.20 02.Mar.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0034 Temperature Recorder LogTag TRIX-8 1000848289 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 03.Mar.20 02.Mar.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0035 Temperature Recorder LogTag TRIX-8 1000848283 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 03.Mar.20 02.Mar.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0036 Temperature Recorder LogTag TRIX-8 1000848288 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 29.Apr.20 28.Apr.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0037 Temperature Recorder LogTag TRIX-8 1000848290 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 29.Apr.20 28.Apr.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0038 Temperature Recorder LogTag TRIX-8 1000848285 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 29.Apr.20 28.Apr.21 To monitor Freezer/Fridge temperature 04.Jun.18


No WPPL0039 DIGIMATIC MICROMETER Mitutoyo MDC-1"PX 632855699 N WPPL OPS cabinet (L6) N/A N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
10.Oct.19 10.Oct.20 24.Sep.18


No WPPL0040 DIGIMATIC CALIPER Mitutoyo CD-8"ASX B16215984 N WPPL OPS cabinet (L6) N/A N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
10.Oct.19 10.Oct.20 24.Sep.18


Yes WPPL0041-1 PURELAB CHORUS 2+ ELGA RO/DI/UV 20LPH BP CRS00004189 Y WPPL IFWRC Lab PAE-Siddharth Y N/A 6 months 02.Jun.20 02.Dec.20 6 months N/A N/A N/A 24.Jul.20


Yes WPPL0041-2 PURELAB CHORUS 1 ELGA LSC MK2 CRS00004201 Y WPPL IFWRC Lab PAE-Siddharth Y N/A 6 months 02.Jun.20 02.Dec.20 6 months N/A N/A N/A 24.Jul.20


Yes WPPL0041-3 CHORUS DISPENSER ELGA LA756 DF00002860 Y WPPL IFWRC Lab PAE-Siddharth Y N/A 6 months 02.Jun.20 02.Dec.20 6 months N/A N/A N/A 24.Jul.20


No WPPL0042
Delco Digital Torque 


Wrench
ACDelco ARM601-3 A11181097 Y WPPL R&D Lab Yee Hwa N/A N/A N/A N/A 1 Year


External - Micro 


Precision
31.Jan.20 31.Jan.21 I Class Stack packing 24.Jul.20


Yes WPPL0043 Weight-1g Sartorius YCW313-00 37029387 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
06.Nov.19 06.Nov.20 01.Nov.19


 


Equipment DetailsWPPL CTRL #


To verify the prepared chemical solution


Chemical solution preparation


PM Cal


10.Dec.20


1 Year 19.Dec.19 19.Dec.20
Annual Check RGA - 


48607


Y
Document - 


730005097
1 Year 10.Dec.19


N/A
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S/N
Equipment 


ID
Equipment Description Manufacturer Model


Equipment Serial 


Number
Interval


Calibration 


Date
Due Date Vendor Equipment-Owner


Customized 


Equip.
Customer ID Customer Location Active


1 0196 Digital Thermometer with Probe (K type) Fluke 51 II 89280141 12 Months 30-Jul-19 30-Jul-20 TSIA Joel Mamalateo Deduyo N NA Waters Waters - Production Y


2 0206 Electronic Weigh Balance AND HR200 12305757 06 Months 09-Jul-20 09-Jan-21 Micro Precision Joel Mamalateo Deduyo N 90891 Waters Waters - Production Y


3 0207 Column Heater Waters WAT091727 M03CHM015R 12 Months 03-Apr-20 03-Apr-21 Internal Joel Mamalateo Deduyo Y 81008 Waters Waters 5th Floor Y


4 0208 Column Heater Waters WAT091727 E01CHM203R 12 Months 03-Apr-20 03-Apr-21 Internal Joel Mamalateo Deduyo Y 81009 Waters Waters 5th Floor Y


5 0209 Column Heater Waters WAT091727 D01CHM128R 12 Months 23-Jan-20 23-Jan-21 Internal Joel Mamalateo Deduyo Y 81010 Waters Waters - Production Y


6 0210 Column Heater Waters WAT091727 K03CHM938R 12 Months 23-Jan-20 23-Jan-21 Internal Joel Mamalateo Deduyo Y 81011 Waters Waters - Production Y


7 0211 Column Heater Waters WAT091727 B03CHM551R 12 Months 24-Jan-20 24-Jan-21 Internal Joel Mamalateo Deduyo Y 81012 Waters Waters - Production Y


8 0212 Column Heater Waters WAT091727 F00CHM528R 12 Months 24-Jan-20 24-Jan-21 Internal Joel Mamalateo Deduyo Y 81013 Waters Waters - Production Y


9 0213 Column Heater Waters WAT091727 F00CHM531R 12 Months 29-Jan-20 29-Jan-21 Internal Joel Mamalateo Deduyo Y 81014 Waters Waters - Production Y


10 0216 Electronic Weigh Balance AND HR200 12200404 06 Months 09-Jul-20 09-Jan-21 Micro Precision Joel Mamalateo Deduyo N 90038 Waters Waters - Production Y


11 0217 Electronic Weigh Balance AND HR200 12303279 06 Months 09-Jul-20 09-Jan-21 Micro Precision Joel Mamalateo Deduyo N 90018 Waters Waters - Production Y


12 0221 1500 Series Pump Final Test Station Waters Pump TE82705-2 06 Months 21-May-20 21-Nov-20 Internal Joel Mamalateo Deduyo Y TE82705-2 Waters Waters - Production Y


13 0222 515 Final Test Station Waters Pump TE82534 06 Months 21-May-20 21-Nov-20 Internal Joel Mamalateo Deduyo Y TE82534 Waters 5th Floor Y


14 0223 HPMV Tester Waters NA TE82625-1 06 Months 16-Jan-20 16-Jul-20 Internal Joel Mamalateo Deduyo Y TE82625-1 Waters Waters - Production Y


15 0224 2690 Pump Head Tester Waters NA TE82519 06 Months 22-May-20 22-Nov-20 Internal Joel Mamalateo Deduyo Y TE82519 Waters 5th Floor Y


16 0225 Injector Seal Pack Tester Waters TE82503-4 TE82503-4 06 Months 16-Jan-20 16-Jul-20 Internal Joel Mamalateo Deduyo Y TE82503-4 Waters Waters - Production Y


17 0226 Electronic Weigh Balance AND HR200 12315717 06 Months 09-Jul-20 09-Jan-21 Micro Precision Joel Mamalateo Deduyo N 90913 Waters Waters - Production Y


18 0233 Column Heater Waters WAT038040 H01CHM352M 12 Months 29-Jan-20 29-Jan-21 Internal Joel Mamalateo Deduyo Y 81020 Waters Waters - Production Y


19 0234 Column Heater Waters WAT038040 M00CHM910M 12 Months 29-Jan-20 29-Jan-21 Internal Joel Mamalateo Deduyo Y 81021 Waters Waters - Production Y


20 0235 Column Heater Waters WAT038040 H01CHM335M 12 Months 29-Jan-20 29-Jan-21 Internal Joel Mamalateo Deduyo Y 81022 Waters Waters - Production Y


21 0236 Column Heater Waters WAT038040 MX6JM7863M 12 Months 30-Jan-20 30-Jan-21 Internal Joel Mamalateo Deduyo Y 81018 Waters Waters - Production Y


22 0237 Column Heater Waters WAT038040 L97CHM711M 12 Months 30-Jan-20 30-Jan-21 Internal Joel Mamalateo Deduyo Y 81019 Waters Waters 5th Floor Y


23 0238 Column Heater Waters WAT038040 MX6KM9444M 12 Months 02-Apr-20 02-Apr-21 Internal Joel Mamalateo Deduyo Y 81017 Waters Waters 5th Floor Y


24 0239 Column Heater Waters WAT038040 MX5MM5993M 12 Months 30-Jan-20 30-Jan-21 Internal Joel Mamalateo Deduyo Y 81023 Waters Waters - Production Y


25 0244 Column Heater Waters WAT038040 MX6JM7867M 12 Months 30-Jan-20 30-Jan-21 Internal Joel Mamalateo Deduyo Y 81016 Waters Waters - Production Y


26 0245 Digital Multimeter Fluke 110 85730619 12 Months 16-Dec-19 16-Dec-20 TSIA Joel Mamalateo Deduyo N 96263 Waters Waters - Production Y


27 0246 Digital Multimeter Fluke 179 90240092 12 Months 13-Feb-20 13-Feb-21 TSIA Joel Mamalateo Deduyo N 91368 Waters Waters - Production Y


28 *** 0249 Electrical Safety Analyzer Quadtech Guardian 6000 5037655 12 Months 08-Jan-20 08-Jan-21 Micro Precision Joel Mamalateo Deduyo N 95037 Waters  Waters 5th Floor Y


29 0256 Pressure Calibrator Ametek APC10KGINDG 9093205 12 Months 22-Nov-19 21-Nov-20 Scientific Instruments Joel Mamalateo Deduyo N WT-TE-0331 Waters 5th Floor Y


30 0259 Injector Seal Pack Tester Waters TE82503-5 TE82503-5 06 Months 27-Feb-20 27-Aug-20 Internal Joel Mamalateo Deduyo Y TE82503-05 Waters Waters - Production Y


31 0278 Electronic Weigh Balance AND HR200 12316922 06 Months 09-Jul-20 09-Jan-21 Micro Precision Joel Mamalateo Deduyo N 95206 Waters Waters - Production Y


32 0279 High Voltage Probe Fluke 80K-6 89200011 12 Months 24-Sep-19 24-Sep-20 SGS Joel Mamalateo Deduyo N NA Waters 5th Floor Y


33 0280 Clamp Meter Kyoritsu 2033 66386 12 Months 30-Jul-19 30-Jul-20 TSIA Joel Mamalateo Deduyo N NA Waters Waters - Production Y


34 *** 0360 Electrical Safety Analyzer Quadtech Guardian 6000 6069766 12 Months 28-Nov-19 28-Nov-20 Micro Precision Joel Mamalateo Deduyo N NA Waters Waters 5th Floor Y


35 0431 Picoammeter Keithley 485 435110 12 Months 18-Feb-20 18-Feb-21 Keysight Technologies Joel Mamalateo Deduyo N NA Waters 5th Floor Y


36 *** 0432 Electrical Safety Analyzer Quadtech Guardian 6000 Plus 08280865 12 Months 03-Oct-19 03-Oct-20 Micro Precision Joel Mamalateo Deduyo N NA Waters Waters - Production Y


37 0458 Auto Pressure  (Flowcell Tester) Waters NA TE-82475-2 12 Months 09-Apr-20 09-Apr-21 Internal Joel Mamalateo Deduyo Y NA Waters 5th Floor Y


38 0497 Electronic Weigh Balance AND HR200 12326186 06 Months 09-Jul-20 09-Jan-21 Micro Precision Joel Mamalateo Deduyo N 90610 Waters Waters - Production Y


39 0499 Electronic Weigh Balance AND HR200 12324733 06 Months 03-Jun-20 03-Dec-20 Micro Precision Joel Mamalateo Deduyo N 90605 Waters Waters - Production Y


40 0500 Electronic Weigh Balance AND HR200 12326184 06 Months 15-Apr-20 15-Oct-20 Micro Precision Joel Mamalateo Deduyo N 90608 Waters Waters - Production Y
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41 0501 Electronic Weigh Balance AND HR200 12326187 06 Months 03-Jun-20 03-Dec-20 Micro Precision Joel Mamalateo Deduyo N 90604 Waters (1500 Pump) Waters - Production Y


42 0502 Electronic Weigh Balance AND HR200 12326180 06 Months 03-Jun-20 03-Dec-20 Micro Precision Joel Mamalateo Deduyo N 90603 Waters Waters - Production Y


43 0503 Electronic Weigh Balance AND HR200 12326190 06 Months 03-Jun-20 03-Dec-20 Micro Precision Joel Mamalateo Deduyo N 90600 Waters Waters - Production Y


44 0504 Electronic Weigh Balance AND HR200 12326279 06 Months 03-Jun-20 03-Dec-20 Micro Precision Joel Mamalateo Deduyo N 90607 Waters Waters - Production Y


45 0592 Torque Wrench Snap-on QD2R1000 1009032663 06 Months 04-Mar-20 04-Sep-20 Ming Deng Phani N NA Waters 5th Floor Y


46 0594 Dial Depth Gauge Mitutoyo 2904S / 7217S LQY537 / 000943 06 Months 06-Mar-20 06-Sep-20 Ming Deng Phani N NA Waters Waters - Production Y


47 0595 Dial Indicator Mitutoyo 2514S JDY576 06 Months 06-Mar-20 06-Sep-20 Ming Deng Phani N NA Waters Waters - Production Y


48 0597 Mass Flow Meter AALBORG GFM17 170609-1 12 Months 08-Jul-20 08-Jul-21 Caltek Joel Mamalateo Deduyo N NA Waters Waters - Production Y


49 0877 Torque Wrench Snap-on QD1R200 0408302147 06 Months 04-Mar-20 04-Sep-20 Ming Deng Gary Lai Yam Bee N NA Waters Waters - Production Y


50 1109 Dual Wavelength Detector Waters TUV Detector K05UPT479M 12 Months 31-Jan-20 31-Jan-21 Internal Joel Mamalateo Deduyo Y 91897 Waters Waters - Production Y


51 1394 2489 UV / Visible Detector Waters 186248900 H1387E726A 12 Months 12-Jun-20 12-Jun-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


52 1395 2489 UV / Visible Detector Waters 186248900 H1387E727A 12 Months 09-Jul-20 09-Jul-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


53 1396 2489 UV / Visible Detector Waters 186248900 H1387E728A 12 Months 24-Jun-20 24-Jun-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


54 1397 2489 UV / Visible Detector Waters 186248900 H1387E729A 12 Months 19-Jul-19 19-Jul-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


55 1398 2489 UV / Visible Detector Waters 186248900 H1387E730A 12 Months 09-Jul-20 09-Jul-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


56 1399 2489 UV / Visible Detector Waters 186248900 H1387E731A 12 Months 04-Jun-20 04-Jun-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


57 1400 2489 UV / Visible Detector Waters 186248900 H1387E732A 12 Months 12-Jun-20 12-Jun-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


58 1401 2489 UV / Visible Detector Waters 186248900 H1387E733A 12 Months 12-Jun-20 12-Jun-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


59 1402 2489 UV / Visible Detector Waters 186248900 H1387E734A 12 Months 19-Jul-19 19-Jul-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


60 1403 2489 UV / Visible Detector Waters 186248900 H1387E735A 12 Months 08-Jul-20 08-Jul-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


61 1404 2489 UV / Visible Detector Waters 186248900 H1387E736A 12 Months 19-Jun-20 19-Jun-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


62 1405 2489 UV / Visible Detector Waters 186248900 H1387E737A 12 Months 09-Jul-20 09-Jul-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


63 1428 2489 UV / Visible Detector Waters 186248900 H1387E710A 12 Months 09-Jul-20 09-Jul-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


64 1429 2489 UV / Visible Detector Waters 186248900 D1387E759A 12 Months 09-Apr-20 09-Apr-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


65 1430 2489 UV / Visible Detector Waters 186248900 D1387E763A 12 Months 09-Apr-20 09-Apr-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


66 1431 2489 UV / Visible Detector Waters 186248900 D1387E765A 12 Months 09-Apr-20 09-Apr-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


67 1432 2489 UV / Visible Detector Waters 186248900 D1387E766A 12 Months 03-Apr-20 03-Apr-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


68 1433 2489 UV / Visible Detector Waters 186248900 C1387E135M 12 Months 08-Apr-20 08-Apr-21 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


69 *** 1492 Electrical Safety Analyzer Chroma 19032 19032G000182 12 Months 26-Oct-19 26-Oct-20 Micro Precision Joel Mamalateo Deduyo N NA Waters Waters - Production Y


70 1515 2489 UV / Visible Detector WATERS 186248900 B1587E607A 12 Months 26-Dec-19 26-Dec-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


71 1516 2489 UV / Visible Detector WATERS 186248900 B1587E608A 12 Months 27-Dec-19 27-Dec-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


72 1519 2489 UV / Visible Detector WATERS 186248900 B1587E609A 12 Months 27-Dec-19 27-Dec-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


73 1520 2489 UV / Visible Detector WATERS 186248900 B1587E610A 12 Months 26-Dec-19 26-Dec-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


74 1577 Macbeth Lighting X-Rite Judge II C61093261217 12 Months 04-Sep-19 04-Sep-20 Xrite Hayati Binte Isshak N NA Waters Changi South - IQA Y


75 1781 Column Heater WATERS WAT091727 C13CHM795R 12 Months 17-Jul-19 17-Jul-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


76 1782 Column Heater WATERS WAT091727 D12CHM299R 12 Months 17-Jul-19 17-Jul-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


77 1783 Column Heater WATERS WAT091727 K14CHM398R 12 Months 18-Jul-19 18-Jul-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


78 1784 Column Heater WATERS WAT091727 L14CHM438R 12 Months 19-Jul-19 19-Jul-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


79 1787 Column Heater WATERS WAT091727 D15CHM641R 12 Months 19-Jul-19 19-Jul-20 Internal Joel Mamalateo Deduyo Y NA Waters Waters - Production Y


80 2035 Electronic Weigh Balance AND HR200 12336741 06 Months 15-Apr-20 15-Oct-20 Micro Precision Joel Mamalateo Deduyo N NA Waters (BSM/QSM ) Waters - Production Y


81 2092 Electronic Weigh Balance AND HR200 12337042 06 Months 15-Apr-20 15-Oct-20 Micro Precision Joel Mamalateo Deduyo N 92207 Waters (Pump Series) Waters - Production Y
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82 *** 2094 Load Box Chroma S14-03 14354695 12 Months 12-Dec-19 12-Dec-20 TSIA Joel Mamalateo Deduyo N 86080 Waters (Generic) Waters - Production Y


83 *** 2095 Load Box Chroma S14-03 14354681 12 Months 06-Mar-20 06-Mar-21 Micro Precision Joel Mamalateo Deduyo N 86081 Waters (Generic) Waters - Production Y


84 *** 2096 Load Box Chroma S14-03 14354691 12 Months 02-May-20 02-May-21 Micro Precision Joel Mamalateo Deduyo N 86079 Waters (Generic) Waters - Production Y


85 *** 2097 Load Box Chroma S14-03 7322788 12 Months 02-May-20 02-May-21 Micro Precision Joel Mamalateo Deduyo N 86085 Waters (Generic) Waters - Production Y


86 2217 Benchtop Measuring Machine Quality Vision International StarLite 150 RSL1002609 12 Months 30-Mar-20 30-Mar-21 Micro Precision Joel Mamalateo Deduyo N 95515 Waters Waters - Production Y


87 2348 2489 UV / Visible Detector Waters 186248900 C1887E101A 12 Months 20-Mar-20 20-Mar-21 Internal Joel Mamalateo Deduyo Y NA Waters (eAlliance) Waters - Production Y


88 2349 2489 UV / Visible Detector Waters 186248900 C1887E103A 12 Months 20-Mar-20 20-Mar-21 Internal Joel Mamalateo Deduyo Y NA Waters (eAlliance) Waters - Production Y


89 2350 2489 UV / Visible Detector Waters 186248900 C1887E106A 12 Months 13-Mar-20 13-Mar-21 Internal Joel Mamalateo Deduyo Y NA Waters (eAlliance) Waters - Production Y


90 2351 2489 UV / Visible Detector Waters 186248900 D1887E275A 12 Months 08-Apr-20 08-Apr-21 Internal Joel Mamalateo Deduyo Y NA Waters (eAlliance) Waters - Production Y


91 2352 Column Heater Module Waters WAT038040 M17CHM834M 12 Months 12-Jun-20 12-Jun-21 Internal Joel Mamalateo Deduyo Y NA Waters (eAlliance) Waters - Production Y


92 2353 Column Heater Module Waters WAT038040 M17CHM835M 12 Months 12-Jun-20 12-Jun-21 Internal Joel Mamalateo Deduyo Y NA Waters (eAlliance) Waters - Production Y


93 2354 Column Heater Module Waters WAT038040 M17CHM839M 12 Months 12-Jun-20 12-Jun-21 Internal Joel Mamalateo Deduyo Y NA Waters (eAlliance) Waters - Production Y
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1 S0168 Source Measure Units Keithley 236 0704826 12 months 02.09.2019 02.09.2020 Keysight Bernard N 95030 Waters Waters Cell


2 S0169 Source Measure Units Keithley 236 0796741 12 months 14.05.2020 14.05.2021 Keysight Bernard N 90274 Waters Waters Cell


3 S0170 Multifunction I/O National Instrument PCI-6025E 1347EFD 12 months 11.03.2020 11.03.2021 Micro Precision Bernard N NA Waters Waters Cell


4 S0171 PIC Charge Amp Tester National Instrument TE82961 130A201 12 months 02.03.2020 02.03.2021 Internal Bernard Y NA Waters Waters Cell


5 S0199 Power SMU National instrument PXI4130 1459564 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N NA Waters Waters Cell


6 S0200 M Series Multifunction DAQ National Instrument PXI6229 145DF2F 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N NA Waters Waters Cell


7 S0201 M Series Multifunction DAQ National Instrument PXI6229 145DF16 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N NA Waters Waters Cell


8 S0202 Digital Phosphor Oscilloscope Tektronix TDS3054C C010786 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N 95156 Waters Waters Cell


9 S0203
Function / Arbitrary Waveform 


Generator
Agilent 33220A MY44043984 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N NA Waters Waters Cell


10 S0204 Digital  Multimeter Agilent 34411A MY48002718 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N 95157 Waters Waters Cell


11 S0205 Mainframe / Electronic Load Module Chroma
6314 / 63103 / 


63103A


631400009104/ 631030017035/ 


631030017265/ 631030017021/ 


63103A000083


12 months 15.07.2019 15.07.2020 Micro Precision Bernard N NA Waters Waters Cell


12 S0206 DC Power Supply TDK Lambda GENH60-12.5 09M1039A 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N 95162 Waters Waters Cell


13 S0207 DC Power Supply TDK Lambda GENH60-12.5 09M1035A 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N 95163 Waters Waters Cell


14 S0208 DC Power Supply TDK Lambda GENH60-12.5 09M1025A 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N 95179 Waters Waters Cell


15 S0209 DC Power Supply TDK Lambda GENH60-12.5 09M1037A 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N 95141 Waters Waters Cell


16 S0210 DC Power Supply TDK Lambda GENH30-25 09M1017A 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N 95178 Waters Waters Cell


17 S0211 DC Power Supply TDK Lambda GENH30-25  09M1022A 12 months 15.07.2019 15.07.2020 Micro Precision Bernard N 95142 Waters Waters Cell


18 S0645 Source Measure Units Keithley 236 0810603 12 months 05.06.2020 05.06.2021 Keithley Bernard N NA Waters
Waters Functional 


Tester


19 S0748 Programmable Resistor PXI Board Geotest GX1164 93228 24 months 15.07.2019 15.07.2021 Micro Precision Bernard N NA Waters Waters Cell
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1 PWAT-16GC0002 DC Electronic Load module HEWLETT PACKARD 60502B 3211A01907 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(RACAL TESTER)
Y


2 PWAT-16GC0003 DC Electronic Load module HEWLETT PACKARD 60502B 3211A01876 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(RACAL TESTER)
Y


3 PWAT-16GC0004 DC Electronic Load module HEWLETT PACKARD 60502B 3211A01587 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(RACAL TESTER)
Y


4 PWAT-16GC0005 DC Electronic Load module HEWLETT PACKARD 60502B 3211A02210 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(RACAL TESTER)
Y


5 PWAT-16GC0006 DC Electronic Load module HEWLETT PACKARD 60502B 3211A01795 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(RACAL TESTER)
Y


6 PWAT-16GC0007 DC Electronic Load module HEWLETT PACKARD 60502B 3211A00920 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(RACAL TESTER)
Y


7 PWAT-16GC0008 DC Power Supply TDK-Lambda GENH30-25 95166 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


8 PWAT-16GC0009 DC Power Supply TDK-LAMBDA GENH60-12.5 95170 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


9 PWAT-16GC0010 DC Power Supply TDK-Lambda GENH60-12.5 95165 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


10 PWAT-16GC0011 DC Power Supply TDK-Lambda GENH30-25 95167 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


11 PWAT-16GC0012 DC Power Supply TDK-Lambda GENH60-12.5 95164 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


12 PWAT-16GC0013 DC Power Supply TDK-Lambda GENH60-12.5 95171 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


13 PWAT-16GC0014
DC POWER SUPPLY 


MODULE
HEWLETT PACKARD 66103A US34213251 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


14 PWAT-16GC0015
DC POWER SUPPLY 


MODULE
HEWLETT PACKARD 66103A US34213252 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


15 PWAT-16GC0016
DC POWER SUPPLY 


MODULE
HEWLETT PACKARD 66103A US34213090 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


16 PWAT-16GC0017
DC POWER SUPPLY 


MODULE
HEWLETT PACKARD 66103A US34213209 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


17 PWAT-16GC0018
DC POWER SUPPLY 


MODULE
HEWLETT PACKARD 66101A 3444A02477 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


18 PWAT-16GC0019
DC POWER SUPPLY 


MODULE
HEWLETT PACKARD 66103A US34213216 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


19 PWAT-16GC0020
DC POWER SUPPLY 


MODULE
HEWLETT PACKARD 66101A 3444A02507 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


20 PWAT-16GC0021 Digital Phosphor Oscilloscope Tektronix TDS3054C C011477 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


21 PWAT-16GC0022


Electronic Load Plug-In Module / 


Control Mainframe with 4 DC 


Electronic Load 6A/60A/80V 


300W


Chroma 63103/6314


63145125/95148


(S/N : ID#95184, 


ID#95185, ID#95186, 


ID#95187)


12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


22 PWAT-16GC0023
Function/Arbitrary Waveform 


Generator
Agilent 33220A MY44044085/95154 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(GTS TESTER)
Y


23 PWAT-16GC0030 M Series Multifunction DAQ National Instruments PXI6229 145DEFE 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


24 PWAT-16GC0031 M Series Multifunction DAQ National Instruments PXI6229 145DF3A 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


25 PWAT-16GC0033 Multimeter Agilent 34411A MY53002751/95155 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


26 PWAT-16GC0034 Oscillascope Textronix TDS460A B060926 12 Months 10/07/2019 10/07/2020 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(RACAL TESTER)
Out of service


27 PWAT-16GC0035 PCI 6025E National Instruments 6025E C57A10 12 Months 06/11/2019 06/11/2020 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(UNIVERSAL 


TESTER)


Y
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28 PWAT-16GC0036 POWER SMU
NATIONAL 


INSTRUMENTS
PXI4130 145025B 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(GTS TESTER)
Y


29 PWAT-16GC0037 Prog. Resistance Card Geotest GX1164-01 11640209 (95750) 24 Months 16/04/2019 16/04/2021 Micro Precision Ricky Celis Cortez N 95750 Waters
WATERS 


(GTS TESTER)
Y


30 PWAT-16GC0038 VXI  6 1/2 Digit Multimeter
Racal-Dana Instruments, 


inc.
4152A US38010437 12 Months 10/10/2019 10/10/2020 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


31 PWAT-16GC0039 VXI 6 1/2 Digit Multimeter
Racal-Dana Instruments, 


Inc.
4152A US38010248 12 Months 30/04/2020 30/04/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


32 PWAT-16GC0040 VXI Universal Counter 200 MHZ
Racal-Dana Instruments, 


inc.
2461-CD 03070017 12 Months 26/03/2019 26/03/2020 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Out of service


33 PWAT-16GC0041 VXI Universal Counter 200 MHZ
Racal-Dana Instruments, 


Inc.
2461-CD 1210 12 Months 10/10/2019 10/10/2020 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


34 PWAT-16GC0042 VXI Waveform Generator
Racal-Dana Instruments, 


Inc.
3151A+ 9809972 12 Months 30/07/2018 30/07/2019 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Out of service


35 PWAT-16GC0043 VXI Waveform Generator
Racal-Dana Instruments, 


inc.
3151A+ 0101813 12 Months 10/10/2019 10/10/2020 Micro Precision Ricky Celis Cortez N NA Waters


WATERS 


(RACAL TESTER)
Y


36 PWAT-18GC0046 6 1/2 DIGITAL MULTIMETER AGILENT 34411A MY48003234 12 Months 10/10/2019 10/10/2020 Micro Precision Ricky Celis Cortez N NA Waters


WATERS


(JUNIOR GTS FOR 


QDA)


Y


37 PWAT-18GC0047


20 MHZ 


FUNCTION/ARBITRARY 


WAVEFORM GENERATOR


AGILENT 33220A MY44015802 12 Months 03/07/2020 03/07/2021 Micro Precision Ricky Celis Cortez N NA Waters


WATERS


(JUNIOR GTS FOR 


QDA)


Y


38 PWAT-18GC0048
DIGITAL PHOSPOR 


OSCILLOSCOPE
TEKTRONIX TDS3054C C020604 12 Months 10/10/2019 10/10/2020 Micro Precision Ricky Celis Cortez N NA Waters


WATERS


(JUNIOR GTS FOR 


QDA)


Y


39 PWAT-18GC0049 DC POWER SUPPLY TDK-Lambda GENH30-25 97019 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


40 PWAT-18GC0050 DC POWER SUPPLY TDK-Lambda GENH30-25 97020 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


41 PWAT-18GC0051 DC POWER SUPPLY TDK-Lambda GENH60-12.5 97015 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


42 PWAT-18GC0052 DC POWER SUPPLY TDK-Lambda GENH60-12.5 97016 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


43 PWAT-18GC0053 DC POWER SUPPLY TDK-Lambda GENH60-12.5 97017 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


44 PWAT-18GC0054 DC POWER SUPPLY TDK-Lambda GENH60-12.5 97018 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


45 PWAT-18GC0055 DC ELECTRONIC LOAD CHROMA  63103A 97010 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


46 PWAT-18GC0056 DC ELECTRONIC LOAD CHROMA  63103A 97011 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


47 PWAT-18GC0057 DC ELECTRONIC LOAD CHROMA 63103A 97012 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


48 PWAT-18GC0058 DC ELECTRONIC LOAD CHROMA 63103A 97013 12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


49 PWAT-18GC0059 6 1/2 DIGITAL MULTIMETER AGILENT  34411A
MY46000178 


(ID#97025)
12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N ID#97025 Waters


WATERS 


(GTS TESTER)
Y


50 PWAT-18GC0060


20 MHZ 


FUNCTION/ARBITRARY 


WAVEFORM GENERATOR


AGILENT 33220A
MY44028120


(ID#97026)
12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N ID#97026 Waters


WATERS 


(GTS TESTER)
Y


51 PWAT-18GC0061
DIGITAL PHOSPOR 


OSCILLOSCOPE
TEKTRONIX  TDS 3054C


B020696 


(ID#97024)
12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N ID#97024 Waters


WATERS 


(GTS TESTER)
Y


52 PWAT-18GC0063 Multifunction DAQ National Instrument  NI PXI-6229
1CA64F1 


(ID#97021)
12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N ID#97021 Waters


WATERS 


(GTS TESTER)
Y


53 PWAT-18GC0064 Multifunction DAQ National Instrument  NI PXI-6229
1CA64E1


(ID#97022)
12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N ID#97022 Waters


WATERS 


(GTS TESTER)
Y
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54 PWAT-18GC0065 Power SMU National Instrument  NI PXI-4130
1CD658C 


(ID#97023)
12 Months 18/02/2020 18/02/2021 Micro Precision Ricky Celis Cortez N ID#97023 Waters


WATERS 


(GTS TESTER)
Y


55 PWAT-18GC0062 Prog Resistor Marvin Test Solution  GX1164 97014 24 Months 05/03/2019 05/03/2021 Micro Precision Ricky Celis Cortez N NA Waters
WATERS 


(GTS TESTER)
Y


56 W1-16GC0016
Multimeter / Data Acquisition 


System
Keithley Keithley 2700 1227711 12 Months 03/03/2020 03/03/2021 Micro Precision Ei Lwin Htay N NA Waters


WATERS


(LC Model)
Y


57 W1-16GC0020 Electrical Safety Analyzer Chroma 19032
19032G400264


(ID#93467)
12 Months 03/07/2020 03/07/2021 Micro Precision Chua Chong Keong N ID#93467 Waters


WATERS


(LC Model)
Y


58 W1-16GC0021 Electrical Safety Analyzer QuadTech Guardian 6000
7312754


(ID#91356)
12 Months 06/11/2019 06/11/2020 Micro Precision Chua Chong Keong N ID#91356 Waters


WATERS


(LC Model)
Y


59 W1-16GC0022 Electrical Safety Analyzer QuadTech Guardian 6000
5278621


(ID#91693)
12 Months 15/01/2020 15/01/2021 Micro Precision Chua Chong Keong N ID#91693 Waters


WATERS


(LC Model)
Y


60 W1-16GC0023 Electrical Safety Analyzer QuadTech 6000 Plus
11173729


(ID#91890)
12 Months 03/03/2020 03/03/2021 Micro Precision Chua Chong Keong N ID#91890 Waters


WATERS


(LC Model)
Y


61 W1-17GC0122 Pat and Flash Tester Seaward Electronic CLARE HAL 104 34J-0747 12 Months 13/8/2019 13/8/2020 Micro Precision Alan Oh N NA Waters
WATERS


(MS(QDA)
Y


62 W1-18GC0150 Insulation Tester Megger MIT400 0703071132 12 Months 06/11/2019 06/11/2020 Micro Precision Alan Oh N NA Waters
WATERS


(MS(QDA)
Y


63 W1-19GC0152 Pat and Flash Tester Seaward Electronic CLARE HAL 104 44K-0204 12 Months 06/11/2019 06/11/2020 Micro Precision Alan Oh N NA Waters
WATERS


(MS(QDA)
Y


64 W1-16GC0088 Load Box CHROMA S14-03 7322786 12 Months 03/03/2020 03/03/2021 Micro Precision Chua Chong Keong N NA Waters
WATERS


(LC Model)
Y


65 W1-16GC0089 Load Box CHROMA S14-03 14354687 12 Months 03/03/2020 03/03/2021 Micro Precision Chua Chong Keong N NA Waters
WATERS


(LC Model)
Y


66 W1-16GC0090 Load Box CHROMA S14-03 14354682 12 Months 03/03/2020 03/03/2021 Micro Precision Chua Chong Keong N NA Waters
WATERS


(LC Model)
Y


67 W1-16GC0091 Load Box CHROMA S14-03 14354698 12 Months 03/03/2020 03/03/2021 Micro Precision Chua Chong Keong N NA Waters
WATERS


(LC Model)
Y


68 W1-16GC0002
Digital Gram Balance - WP07 


(Weighing Scale)
AND (HR-200) HR-200 12335004 (93371) 6 Months 17/04/2020 17/10/2020 Micro Precision Myae Soe Chan N 93371 Waters


WATERS


(LC Model)
Y


69 W1-16GC0005
Digital Gram Balance - WP07 


(Weighing Scale)
AND (HR-200) HR-200 12333739 (93373) 6 Months 17/04/2020 17/10/2020 Micro Precision Myae Soe Chan N 93373 Waters


WATERS


(LC Model)
Y


70 W1-16GC0008
Digital Gram Balance - WP07 


(Weighing Scale)
AND (HR-200) HR-200 12333783 (93372) 6 Months 17/04/2020 17/10/2020 Micro Precision Myae Soe Chan N 93372 Waters


WATERS


(LC Model)
Y


71 W1-16GC0011
Digital Gram Balance - WP07 


(Weighing Scale)
AND (HR-200) HR-200 12333730 (93370) 6 Months 17/04/2020 17/10/2020 Micro Precision Myae Soe Chan N 93370 Waters


WATERS


(LC Model)
Y


72 W1-16GC0014
Digital Gram Balance - WP07 


(Weighing Scale)
AND (HR-200) HR-200 12316088 (90966) 6 Months 02/07/2020 02/01/2021 Micro Precision Myae Soe Chan N 90966 Waters


WATERS


(LC Model)
Y


73 W1-16GC0068
Digital Gram Balance - WP07 


(Weighing Scale)
AND (HR-200) HR-200 12336767(94322) 6 Months 02/07/2020 02/01/2021 Micro Precision Myae Soe Chan N 94322 Waters


WATERS


(LC Model)
Y


74 W1-16GC0017 Digital Process Indicators Omega DP81R-SER-DC2
TE83013-1


(09030136)
12 Months 03/01/2020 03/01/2021 SGS Ei Lwin Htay N TE83013-1 Waters


WATERS


(LC Model)
Y


75 W1-16GC0018
Digital Process Indicator C/W 


Probe
Omega DP 80 TE83013-2 (10060165) 12 Months 10/06/2020 10/06/2021 Micro Precision Ei Lwin Htay N TE83013-2 Waters


WATERS


(LC Model)
Y


76 IQC-16GC0010 Light Box X-Rite JUDGE II C61093251217 12 Months 04/09/2019 04/09/2020
RVC International 


Pte Ltd


Suresh 


Thirumavalavan 
N NA Waters IQC (WATERS) Y


77 PWAT-16GC0024 Keithley 236 Source Measure unit Keithley 236 0683301(ID#90744) 12 Months 17/03/2020 17/03/2021 Keysight Ricky Celis Cortez N ID#90744 Waters
WATERS 


(RACAL TESTER)
Y


78 PWAT-16GC0025 Keithley 236 Source Measure unit Keithley 236 0648831 (ID#90316) 12 Months 07/08/2019 07/08/2020 Keithley Ricky Celis Cortez N ID#90316 Waters
WATERS 


(RACAL TESTER)
Y
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79 PWAT-16GC0026 Keithley 236 Source Measure unit Keithley 236 497638 12 Months 17/03/2020 17/03/2021 Keysight Ricky Celis Cortez N NA Waters


WATERS 


(UNIVERSAL 


TESTER)


Y


80 PWAT-16GC0027 Keithley 236 Source Measure unit Keithley 236 0549819 (ID#95105) 12 Months 20/04/2020 20/04/2021 Keysight Ricky Celis Cortez N ID#95105 Waters WATERS (PCBA) Y


81 PWAT-16GC0028 Keithley 236 Source Measure unit Keithley 236 0796740 (ID#90275) 12 Months 08/06/2020 08/06/2021 Keysight Ricky Celis Cortez N ID#90275 Waters WATERS (PCBA) Y


82 PWAT-16GC0029 Keithley 236 Source Measure unit Keithley 236 0648819 (ID#90317) 12 Months 06/05/2018 06/05/2019 Keysight Ricky Celis Cortez N ID#90317 Waters


WATERS 


(UNIVERSAL 


TESTER)


Out of service


83 W1-17GC0095 Leak Detector Leybold PhoenixL 300i 90001301209 12 Months 19/02/2020 19/02/2021 Leybold Alan Oh N NA Waters
WATERS  


(CLEAN ROOM)
Y


84 W1-19GC0151 Leak Detector (Inficon) Inficon TL7 90001370779 15 Months 09/03/2020 09/03/2021 Inficon Alan Oh N NA Waters
Waters


(QDa/Beacon)
Y


Reviwed by : Lee Kwang Quek Date : 17-July-2020
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ISO Scope EQUIPMENT ID
EQUIPMENT 


DESCRIPTION


MANUFACTURER / 


DISTRIBUTOR
MODEL  SN ACTIVE?


EQUIPMENT


LOCATION
OWNER


*Validation/ 


Verification 


Required? 


Y/ N.A


PM Details PM Interval


(PM)


Last Maintenance 


Date


(PM)


Next Maintenance 


Date


CAL 


Interval


(CAL) 


Calibration 


Required


Y/ N.A


(Vendor)


(CAL)


Last Calibration 


Date 


(CAL)


Next 


Calibration 


Date


Intended Of Use Log In Date REMARKS


Yes WPPL0001 Pipette Eppendorf /VWR P1000 G42127G Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
28.May.20 28.May.21 Chemical solution preparation 13.Nov.17


Yes WPPL0002 Pipette Eppendorf / VWR P1000  G42285G Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
13.May.20 13.May.21 Chemical solution preparation 16.Nov.17


Yes WPPL0003 Weighing balance Sartorius MSA 125P-100-DI 35701494 Y WPPL IFWRC Lab PAE - Siddharth Y N/A N/A N/A N/A 1 Year
External -


Sartorius
27.Sep.19 26.Sep.20 Chemical solution preparation 07.Aug.17


Validation documents are maintained by Wilmslow 


Quality.


Yes WPPL0004 Freezer
Liebherr / ITS Science & 


Medical Pte. Ltd
LGUex 1500 840442763 Y WPPL IFWRC Lab PAE - Siddharth Y


PM Document - 


730005237
Monthly Refer Record Refer Record N/A N/A N/A N/A Storage of chemicals 14.Aug.17


Validation documents are maintained by Wilmslow 


Quality


Yes WPPL0005 Fridge
Liebherr / ITS Science & 


Medical Pte. Ltd
LKUexv 1610 840303798 Y WPPL IFWRC Lab PAE - Siddharth Y


PM Document - 


730005231
Weekly Refer Record Refer Record N/A N/A N/A N/A Storage of chemicals 14.Aug.17


Validation documents are maintained by Wilmslow 


Quality


Yes WPPL0006 Multimeter
FLUKE / Region Suppliers 


(PTE) LTD
FL77-4 35700255 Y WPPL R&D Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year


External -Ming 


Deng
20.Jan.20 20.Jan.21 Troubleshoot 06.Jan.17


No WPPL0007-1 Wide Range Gauge Edwards D14703000 190391391 Y WPPL R&D Lab PAE - Siddharth Y 1 Year
External - 


Edwards
05.Aug.19 05.Aug.20 24.Jul.20 Calibration by UK


No WPPL0007-2 Wide Range Gauge Edwards D14703000 190391392 Y WPPL R&D Lab PAE - Siddharth Y 1 Year
External - 


Edwards
05.Aug.19 05.Aug.20 24.Jul.20 Calibration by UK


No WPPL0007-3 Vacuum Pump Vacuubrand MD 1SW Vario-SP 41723604 Y WPPL R&D Lab PAE - Siddharth Y N/A N/A N/A N/A 24.Jul.20


Yes WPPL0008 
Traceable Stopwatch/ Timer 


Big Digit 4 Channel
VWR 62344-641 170445616 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 year


External - Micro 


Precision
28.May.20 28.May.21 Internal PM for 515 pump 28.Mar.18


Yes WPPL0009 Weight-1g Sartorius YCW313-00 34729085 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - 


Micro Precision
19.Aug.19 19.Aug.20 Internal PM for weighing scale 07.Aug.17 Equipment out for calibration, 23.08.19


No WPPL0010 Weight-10g Sartorius YCW413-00 35229142 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - 


Micro Precision
19.Aug.19 19.Aug.20 07.Aug.17


Yes WPPL0013 Fumehood Cupboard Anachem Technologies N/A 2018-130236 Y WPPL IFWRC Lab PAE - Siddharth Y External Service 1 year 05.Jun.20 05.Jun.21 N/A N/A N/A N/A 24.Jul.20 Service report only


No WPPL0014
Analogue Surface 


Resistance Meter Kit
Pro-Pack Materials Pte Ltd SCS 701 7011745026 N WPPL OPS cabinet (L6) PAE - Siddharth N/A N/A N/A N/A N/A 1 Year


External - 


SGS
27.Nov.19 27.Nov.20 13.Dec.17


No WPPL0015 ESD Personnel Test Station Vermason 222563 1719001 Y WPPL R&D Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
13.May.20 13.May.21 17.Nov.17


No WPPL0016
Megger MIT410/2 Insulation 


Tester
Megger MIT410/2 101688687 Y WPPL OPS cabinet (L6) PAE - Siddharth N/A N/A N/A N/A N/A 1 Year


External - 


SGS
31.Jan.20 31.Jan.21 24.Jul.20


Yes WPPL0017 Glassware washer Lab Science Solution Pte Ltd PG8593 74400208 Y WPPL IFWRC Lab PAE - Siddharth Y
Document - 


730005192
1 Year 07.Nov.19 06.Nov.20 1 Year N/A N/A N/A To wash the glassware 07.Sep.17


Validation documents are maintained by Wilmslow 


Quality


Yes WPPL0018 Pipette Eppendorf /VWR 200uL  I22994G Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
11.Nov.19 11.Nov.20 Chemical solution preparation 16.Nov.17


Yes WPPL0019 Pipette Eppendorf /VWR 200uL I22911G Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A N/A 1 Year External - VWR 29.Jan.20 29.Jan.21 Chemical solution preparation 16.Nov.17


Yes WPPL0020 Ultrasonic Bath Branson CPX3800H-E BHY12178300B Y WPPL IFWRC Lab PAE - Siddharth Y
Document - 


730005179
Monthly Refer Record Refer Record N/A N/A N/A N/A Chemical solution preparation 27.Mar.18 Validation documents only


Yes WPPL0021-1 QDa Waters MKII KAA0270 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A 24.Jul.20


Yes WPPL0021-3 Rotary Pump Vacuubrand RE 6W 42624010 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A 24.Jul.20


Yes WPPL0021-4 PC Lenovo C30 84RWRA9 Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A 24.Jul.20


Yes WPPL0021-5 515 Pump Waters WAT207000 B19515413A Y WPPL IFWRC Lab PAE - Siddharth N/A N/A N/A N/A 24.Jul.20


Yes WPPL0031 Temperature Recorder LogTag TRIX-8 1000848287 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 29.Apr.20 28.Apr.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0032 Temperature Recorder LogTag TRIX-8 1000848286 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 03.Mar.20 02.Mar.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0033 Temperature Recorder LogTag TRIX-8 1000848284 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 03.Mar.20 02.Mar.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0034 Temperature Recorder LogTag TRIX-8 1000848289 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 03.Mar.20 02.Mar.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0035 Temperature Recorder LogTag TRIX-8 1000848283 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 03.Mar.20 02.Mar.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0036 Temperature Recorder LogTag TRIX-8 1000848288 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 29.Apr.20 28.Apr.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0037 Temperature Recorder LogTag TRIX-8 1000848290 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 29.Apr.20 28.Apr.21 To monitor Freezer/Fridge temperature 04.Jun.18


Yes WPPL0038 Temperature Recorder LogTag TRIX-8 1000848285 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year External - UniCal 29.Apr.20 28.Apr.21 To monitor Freezer/Fridge temperature 04.Jun.18


No WPPL0039 DIGIMATIC MICROMETER Mitutoyo MDC-1"PX 632855699 N WPPL OPS cabinet (L6) N/A N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
10.Oct.19 10.Oct.20 24.Sep.18


No WPPL0040 DIGIMATIC CALIPER Mitutoyo CD-8"ASX B16215984 N WPPL OPS cabinet (L6) N/A N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
10.Oct.19 10.Oct.20 24.Sep.18


Yes WPPL0041-1 PURELAB CHORUS 2+ ELGA RO/DI/UV 20LPH BP CRS00004189 Y WPPL IFWRC Lab PAE-Siddharth Y N/A 6 months 02.Jun.20 02.Dec.20 6 months N/A N/A N/A 24.Jul.20


Yes WPPL0041-2 PURELAB CHORUS 1 ELGA LSC MK2 CRS00004201 Y WPPL IFWRC Lab PAE-Siddharth Y N/A 6 months 02.Jun.20 02.Dec.20 6 months N/A N/A N/A 24.Jul.20


Yes WPPL0041-3 CHORUS DISPENSER ELGA LA756 DF00002860 Y WPPL IFWRC Lab PAE-Siddharth Y N/A 6 months 02.Jun.20 02.Dec.20 6 months N/A N/A N/A 24.Jul.20


No WPPL0042
Delco Digital Torque 


Wrench
ACDelco ARM601-3 A11181097 Y WPPL R&D Lab Yee Hwa N/A N/A N/A N/A 1 Year


External - Micro 


Precision
31.Jan.20 31.Jan.21 I Class Stack packing 24.Jul.20


Yes WPPL0043 Weight-1g Sartorius YCW313-00 37029387 Y WPPL IFWRC Lab PAE-Siddharth N/A N/A N/A N/A N/A 1 Year
External - Micro 


Precision
06.Nov.19 06.Nov.20 01.Nov.19


 


Equipment DetailsWPPL CTRL #


To verify the prepared chemical solution


Chemical solution preparation


PM Cal


10.Dec.20


1 Year 19.Dec.19 19.Dec.20
Annual Check RGA - 


48607


Y
Document - 


730005097
1 Year 10.Dec.19


N/A
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