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HuaZhen Luo


From: Eugene Lim
Sent: Tuesday, 28 July, 2020 17:33
To: Jen Chen
Cc: Edwin Koh; Desmond Ann; HuaZhen Luo; Yeehwa Chan; Siddharth Udayshankar
Subject: NC #2 for Waters' instrument/tools


Hi Jen, 
 
Below is the list of Waters’ instrument/tools which are under the ISO audit scope. 
Highlighted in greens are instruments/tools that are required to be calibrated and have been checked by the team and it has the hardcopy calibration report stored in the 
office. 
The remaining ones which are not highlighted are items that require PM only. Hence there are no calibration report for these items. 
 
The information in the table was checked with the calibration report. 


WPPL CTRL # Equipment Details         


ISO 
Scope 


EQUIPMENT 
ID 


EQUIPMENT  
DESCRIPTION 


MANUFACTURER 
/ DISTRIBUTOR MODEL SN ACTIVE? EQUIPMENT 


LOCATION OWNER 
*Validation/ 
Verification 
Required?  


Y/ N.A 


PM 
Details 


Yes WPPL0001  Pipette Eppendorf /VWR P1000 G42127G Y WPPL 
IFWRC Lab 


PAE - 
Siddharth N/A N/A 


Yes  WPPL0002  Pipette Eppendorf / VWR P1000 G42285G Y WPPL 
IFWRC Lab 


PAE - 
Siddharth N/A N/A 


Yes  WPPL0003  Pipette Sartorius MSA 125P-
100-DI 35701494 Y WPPL 


IFWRC Lab 
PAE - 


Siddharth Y N/A 
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Yes  WPPL0004  Freezer 
Liebherr / ITS 


Science & Medical 
Pte. Ltd 


LGUex 
1500  840442763 Y WPPL 


IFWRC Lab 
PAE - 


Siddharth Y 


PM 
Document 


-  
730005237 


Yes  WPPL0005  Fridge 
Liebherr / ITS 


Science & Medical 
Pte. Ltd 


LKUexv 
1610 840303798 Y WPPL 


IFWRC Lab 
PAE - 


Siddharth Y 


PM 
Document 


-  
730005231 


Yes  WPPL0006  Multimeter 
FLUKE / Region 
Suppliers (PTE) 


LTD 
FL77-4 35700255 Y WPPL R&D 


Lab 
PAE - 


Siddharth N/A N/A 


Yes WPPL0008  


Traceable 
Stopwatch/ 


Timer Big Digit 
4 Channel 


VWR 62344-641 170445616 Y WPPL 
IFWRC Lab 


PAE - 
Siddharth N/A N/A 


Yes WPPL0009 Weight-1g Sartorius YCW313-00 34729085 Y WPPL 
IFWRC Lab 


PAE - 
Siddharth N/A N/A 


Yes WPPL0013 Fumehood 
Cupboard 


Anachem 
Technologies N/A  2018-130236 Y WPPL 


IFWRC Lab 
PAE - 


Siddharth Y External 
Service 


Yes  WPPL0017 Glassware 
washer 


Lab Science 
Solution Pte Ltd PG8593 74400208 Y WPPL 


IFWRC Lab 
PAE - 


Siddharth Y 
Document 


-  
730005192 


Yes  WPPL0018 Pipette Eppendorf /VWR 200uL   I22994G Y WPPL 
IFWRC Lab 


PAE - 
Siddharth N/A N/A 
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Yes  WPPL0019 Pipette Eppendorf /VWR 200uL  I22911G Y WPPL 
IFWRC Lab 


PAE - 
Siddharth N/A N/A 


Yes  WPPL0020 Ultrasonic Bath Branson CPX3800H-
E BHY12178300B Y WPPL 


IFWRC Lab 
PAE - 


Siddharth Y 
Document 


-  
730005179 


Yes  WPPL0021-
1 QDa Waters MKII KAA0270 Y WPPL 


IFWRC Lab 
PAE - 


Siddharth 


Y 
Document 


-  
730005097 


Yes  WPPL0021-
3 Rotary Pump Vacuubrand RE 6W 42624010 Y WPPL 


IFWRC Lab 
PAE - 


Siddharth 


Yes  WPPL0021-
4 PC Lenovo C30 84RWRA9 Y WPPL 


IFWRC Lab 
PAE - 


Siddharth 


Yes  WPPL0021-
5 515 Pump Waters WAT207000 B19515413A Y WPPL 


IFWRC Lab 
PAE - 


Siddharth 


Yes  WPPL0031 Temperature 
Recorder LogTag TRIX-8 1000848287 Y WPPL 


IFWRC Lab 
PAE-


Siddharth N/A N/A 


Yes  WPPL0032 Temperature 
Recorder LogTag TRIX-8 1000848286 Y WPPL 


IFWRC Lab 
PAE-


Siddharth N/A N/A 


Yes  WPPL0033 Temperature 
Recorder LogTag TRIX-8 1000848284 Y WPPL 


IFWRC Lab 
PAE-


Siddharth N/A N/A 


Yes  WPPL0034 Temperature 
Recorder LogTag TRIX-8 1000848289 Y WPPL 


IFWRC Lab 
PAE-


Siddharth N/A N/A 


Yes  WPPL0035 Temperature 
Recorder LogTag TRIX-8 1000848283 Y WPPL 


IFWRC Lab 
PAE-


Siddharth N/A N/A 


Yes  WPPL0036 Temperature 
Recorder LogTag TRIX-8 1000848288 Y WPPL 


IFWRC Lab 
PAE-


Siddharth N/A N/A 


Yes  WPPL0037 Temperature 
Recorder LogTag TRIX-8 1000848290 Y WPPL 


IFWRC Lab 
PAE-


Siddharth N/A N/A 


Yes  WPPL0038 Temperature 
Recorder LogTag TRIX-8 1000848285 Y WPPL 


IFWRC Lab 
PAE-


Siddharth N/A N/A 
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Yes  WPPL0041-
1 


PURELAB 
CHORUS 2+ ELGA RO/DI/UV 


20LPH BP CRS00004189 Y WPPL 
IFWRC Lab 


PAE-
Siddharth Y N/A 


Yes  WPPL0041-
2 


PURELAB 
CHORUS 1 ELGA LSC MK2 CRS00004201 Y WPPL 


IFWRC Lab 
PAE-


Siddharth Y N/A 


Yes  WPPL0041-
3 


CHORUS 
DISPENSER ELGA LA756 DF00002860 Y WPPL 


IFWRC Lab 
PAE-


Siddharth Y N/A 


Yes WPPL0043 Weight-1g Sartorius YCW313-00 37029387 Y WPPL 
IFWRC Lab 


PAE-
Siddharth N/A N/A 


 
Regards, 
Eugene Lim 
Manufacturing Engineer, 
Manufacturing  


 


 
[T] +65 6593 7120   
[F] +65 6873 0820   
[M] +65 9854 8885    
[W] www.waters.com 
[E] eugene_lim@waters.com 


Waters Pacific Pte Ltd   
1 Science Park Road   
#02-08 The Capricorn   
Singapore Science Park II   
Singapore 117528   
   


    


 
 






