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NC #2 for Waters' instrument/tools

Below is the list of Waters’ instrument/tools which are under the I1SO audit scope.
Highlighted in greens are instruments/tools that are required to be calibrated and have been checked by the team and it has the hardcopy calibration report stored in the

office.

The remaining ones which are not highlighted are items that require PM only. Hence there are no calibration report for these items.

The information in the table was checked with the calibration report.

WPPL CTRL # Equipment Details
*Validation/
ISO | EQUIPMENT | EQUIPMENT | MANUFACTURER 5 EQUIPMENT Verification PM
Scope ID DESCRIPTION | /DISTRIBUTOR MODEL SN ACTIVE? LOCATION OWNER Required? Details
Y/ N.A

: WPPL PAE -

Yes WPPL0001 Pipette Eppendorf /VWR P1000 G42127G Y IFWRC Lab | Siddharth N/A N/A
: WPPL PAE -

Yes WPPL0002 Pipette Eppendorf / VWR P1000 G42285G Y IFWRC Lab | Siddharth N/A N/A
: . MSA 125P- WPPL PAE -

Yes WPPL0003 Pipette Sartorius 100-DI 35701494 Y IFWRC Lab | Siddharth Y N/A






Liebherr / ITS

PM

. : LGUex WPPL PAE - Document
Yes | WPPL0O004 Freezer Smengiae&l_ll/(ljedlcal 1500 840442763 IFWRC Lab | Siddharth Y -
: 730005237
. PM
Liebherr / ITS
. . : LKUexv WPPL PAE - Document
Yes | WPPL0OO05 Fridge Smengiae&l_ll/(ljedlcal 1610 840303798 IFWRC Lab | Siddharth Y "
: 730005231
FLUKE / Region
Yes | WPPL0006 | Multimeter | Suppliers (PTE) | FL77-4 35700255 WPPL'-bR&D S.Z’g‘f N N/A
LTD a iddhart
Traceable
Stopwatch/ WPPL PAE -
Yes WPPL0008 Timer Big Digit VWR 62344-641 170445616 IFWRC Lab | Siddharth N/A N/A
4 Channel
, , WPPL PAE -
Yes WPPL0009 Weight-1g Sartorius YCW313-00 34729085 IFWRC Lab | Siddharth N/A N/A
Fumehood Anachem WPPL PAE - External
ves | WPPLOOTS | 0 hoard Technologies N/A 2018-130236 IFWRC Lab | Siddharth Y Service
i Document
Glassware Lab Science WPPL PAE -
Yes | WPPLOO1Y washer Solution Pte Ltd | G893 74400208 IFWRC Lab | Siddharth Y -
730005192
, WPPL PAE -
Yes WPPL0018 Pipette Eppendorf /VWR 200uL 122994G IFWRC Lab | Siddharth N/A N/A






. WPPL PAE -
Yes WPPL0019 Pipette Eppendorf /VWR 200uL 122911G Y IFWRC Lab | Siddharth N/A N/A
Document
Yes | WPPL0020 | Ultrasonic Bath Branson CPX3800H- | gLiv121783008 | v WPPL PAE - Y :
E IFWRC Lab | Siddharth
730005179
WPPL0021- WPPL PAE -
Yes y QDa Waters MKII KAA0270 Y IFWRC Lab | Siddharth
WPPL0021- WPPL PAE -
Yes 3 Rotary Pump Vacuubrand RE 6W 42624010 Y IFWRC Lab | Siddharth y Document
WPPL0021- WPPL PAE - .
Yes 4 PC Lenovo C30 84RWRA9 Y IFWRC Lab | Siddharth 730005097
WPPL0021- WPPL PAE -
Yes 5 515 Pump Waters WAT207000 | B19515413A Y IFWRC Lab | Siddharth
Temperature WPPL PAE-
Yes WPPL0031 Recorder LogTag TRIX-8 1000848287 Y IFWRC Lab | Siddharth N/A N/A
Temperature WPPL PAE-
Yes WPPL0032 Recorder LogTag TRIX-8 1000848286 Y IFWRC Lab | Siddharth N/A N/A
Temperature WPPL PAE-
Yes WPPL0033 Recorder LogTag TRIX-8 1000848284 Y IFWRC Lab | Siddharth N/A N/A
Temperature WPPL PAE-
Yes WPPL0034 Recorder LogTag TRIX-8 1000848289 Y IFWRC Lab | Siddharth N/A N/A
Temperature WPPL PAE-
Yes WPPL0035 Recorder LogTag TRIX-8 1000848283 Y IFWRC Lab | Siddharth N/A N/A
Temperature WPPL PAE-
Yes WPPL0036 Recorder LogTag TRIX-8 1000848288 Y IFWRC Lab | Siddharth N/A N/A
Temperature WPPL PAE-
Yes WPPL0037 Recorder LogTag TRIX-8 1000848290 Y IFWRC Lab | Siddharth N/A N/A
Temperature WPPL PAE-
Yes WPPL0038 Recorder LogTag TRIX-8 1000848285 Y IFWRC Lab | Siddharth N/A N/A






WPPL0O041- | PURELAB RO/DI/UV WPPL PAE-
Yes 1 CHORUS 2+ ELGA ooLpH Bp | CRS00004189 IFWRC Lab | Siddharth A N/A
WPPL0O041- | PURELAB WPPL PAE-
Yes ; Cooee® ELGA LSC MK2 | CRS00004201 e tan | Soatat Y N/A
WPPLO041- | CHORUS WPPL PAE-
Yes ; et ORS ELGA LA756 DF00002860 IS N P Y N/A
. . WPPL PAE-
Yes | WPPLO043 | Weight-1g SerEre YCW313-00 | 37029387 AN PR N/A N/A
Regards,

Eugene Lim
Manufacturing Engineer,
Manufacturing
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