# Contract Manufacturer competency checks

| Contract Manufacturer: | Flex |
| --- | --- |
| Date: | 26 Nov 2020 |
| Auditor: | Luo HuaZhen |
| Audit scope: | Alliance (Flex) |

Competency audit checklist

| Man |  | Y | N |
| --- | --- | --- | --- |
| 1. | Is the ASP/TSP displayed during production? | Y |  |
| 2. | Is it the correct ASP/TSP and revision? | Y |  |
| 3. | Does the operator know how to retrieve the ASP/TSP? | Y |  |
| 4. | Did the operator pick the parts from the correct bin? | Y |  |
| 5. | Are they appropriately attired for the assembly (e.g. ESD assembly) | Y |  |
| 6. | Is the operator trained to perform ASP? (Refer to training records) | Y |  |
| Machine |  |  |  |
| 7. | Are the tools within preventive maintenance schedule? | Y |  |
| 8. | Are the tools readily available? | Y |  |
| 9. | Are the testers within preventive maintenance/calibration schedule? | Y |  |
| 10. | Did the operator verify the pre-checks/checklist of the tool/tester/equipment before using? | Y |  |
| Method |  |  |  |
| 11. | Did the operator adhere to the latest procedure? | Y |  |
| 12. | Did the operator use the correct tools for assembly? (e.g. Correct torque driver) | Y |  |
| 13. | Did the operator adhere to critical clean requirement? (e.g. working in the fume hood, wearing glove etc.) | Y |  |
| Material |  |  |  |
| 14. | Did the operator segregate the pre-build sub-assembly components properly? | Y |  |
| 15. | Are the parts/components kept in a different compartment/bin? | Y |  |
| Environment |  |  |  |
| 16. | Are they performing assembly in correct environment setups (critical clean process such as cleanroom) | Y |  |
| 17. | Are the testers setup in the correct environment conditions? (e.g., heater cooler test, room temperature & humidity) | Y |  |

Note: 
1. Use only “Y” or “N”. Do not use any other characters in this checklist.
2. Please mark it as “Y” if the question is not applicable.

ASP/TSP audit table

Recommended: Sampling checks is ok on the ASP/TSP.

| ASP/TSP no. | Rev | Page | Findings | Comments |
| --- | --- | --- | --- | --- |
| WAT272239 | 34 | 1-10 | No Finding | Auditee: Chong Wooi Khip Operator is following TSP and no finding was observed. Operator training records and testers PM records were verified. |

Other findings

Immediate corrective action

5S table

Circle the 5S levels accordingly.

|  | Sort | Set in Order | Shine | Standardize | Sustain |
| --- | --- | --- | --- | --- | --- |
| 5 Continuous Improvement | Cleanliness problems are identified, and mess prevention actions are in placed | Essential items can be retrieved within 30 seconds with minimal motion. | Potential problems are identified, and countermeasures documented | Proven methods for area arrangement and practices are shared and used | Root causes are eliminated, and improvement actions include prevention |
| 4 Proficient | Clearing schedules and responsibilities are documented and followed | Minimal needed items are arranged in an orderly manner based on retrieval frequency. | Work areas cleaning, inspection and supply restocking are done daily. | Proven methods for area arrangement and practices are used in the area | Sources, frequency of problems are noted with root cause and corrective actions |
| 3 Advanced | Initial cleaning is completed, and mess sources are identified and corrected | Needed items are outlined, dedicated locations are labeled in planned quantities. | Visual controls and indicators are set and marked for work area | Agreements on labeling, quantities, and controls are documented | Work group is routinely checking area to maintain 5S agreements |
| 2 Basics | Essential and non-essential items are identified. Non-essential items are removed. | Essential items are stored and organized based on usage frequency | Key area items are marked to check and required level of performance noted | Work area has designated area arrangement and controls | Initial 5S level is established and is posted in the area |
| 1 Getting started | Essential and non-essential items are mixed throughout the area | Items are randomly placed throughout the area | Key area items are not identified and unmarked | Work area methods are not always followed and are not documented | Work area checks are randomly done and there is no 5S measurement |

5S evaluation chart

Pictures attachment

| S/N | Pictures | Findings |
| --- | --- | --- |
| 1. |  | Observed the hi-pot area has clearly marking with different colors for segregated area. It’s neat and clear. |
| 2. |  | The wire of keypad test area should have probably covered when off for break. It’s an area for improvement. |
| 3. |  |  |
| 4. |  |  |
| 5. |  |  |