## Sheet1
Asset Manual list for Tester | Qty | ID | Status | Remark | Review
iBSM | 4 | TE82943-19,20,21,22 | Individual equipment #ID are correct | All 6 testers are for both BSM and QSM
QSM | 2 | TE82943-1,24 | Individual equipment #ID are correct
iBSM (Actuator Homing Box) | 1 | TE83016-1 | Individual equipment #ID are correct
FTN | 8 | TE82854-10 to 17 | Discrepancies : p/n 999038144, 186015001,186015007, 186015031 |  | Please update the list to reflect this discripancies based on physical PN
2475 FLR | 6 | Lamp Alignment System, Optics Bench FLR System, Optic Bench 2475, Final Test stn 1 and 2 | Individual equipment #ID are correct | 3-inside clean room 3-outside clean room
Alliance Column Heater and Acquity CM | 13 |  | TE83013-1 and 2 are not in the list TE82984-1 and TE82987-1 are not in the list | In 2018, ID#95050 hipot tester was returned to WPPL due to out of calibration.
Column Manager | 2 |  | Individual equipment #ID are correct
36