## FORM
Section 1: Introduction
Requester | Kim Seng Chua | Date |  | 2021-02-10
Evaluation# |  | Version # |  | 00
Category | Others | TMD/ NCR # |  | N/
Affected P/N(s) | 279004514 | P/N Description(s) |  | HBM Transducer
Section 2: Evaluation Assessment
Problem Statement (Describe briefly of the issue. Any impacts to the production capacity, output, resources, or product designs. Include serial numbers and document numbers with revision where applicable. List down potential causes.)
1. 12x 279010881’s reworked to remove the capacitor, essentially converting them into 279004514’s without the SN/PN label. 2. There will be 12 pc shipping from Milford that have removed the capacitor to Flex for trial before mass pro. 3. These 12 pcs HBM transducer are NOT to be ship out.
Action Owner | Action Description |  |  |  | Expected Completion Date
Joel Mamalateo Deduyo | 1. Flex will first need to use DJ transducer(PN:279010881) to test in order to get 3 known good units of 186015001.Record data and publish to team 2. Then, total 12 pcs (PN: 279004514) will be installed in 3 different instruments ( 4 per), each instrument will be tested as per 735002010 for 3 times. Record Data and publish to team. 3. The HBM transducer (279004514) will then be remove from the instrument and install DJ parts (PN:279010881) for shipment. 4. These 12 pcs HBM transducer (279004514) are NOT to be ship out. |  |  |  | 2021-02-25
Section 3: Evaluation Approvals
| Name / Title |  | Signature |  | Date
CMO Mfg Lead
Waters Mfg Engineer
Waters Quality Engineer

## Data Collection
Existing Part Number(PN:279010881)
TESTER | IP ADDRESS | UUT SN | SKID# |  | PUMP A |  | PUMP B
[5 empty] | Primary | Accumulator | Primary | Accumulator
TE82943 |  |  |  | Transducer SN:
|  |  |  | Ripple Test Reading | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __
TE82943 |  |  |  | Transducer SN:
|  |  |  | Ripple Test Reading | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __
TE82943 |  |  |  | Transducer SN: | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __
|  |  |  | Ripple Test Reading | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __
New Part Number (PN: 279004514)
TESTER | IP ADDRESS | UUT SN | Batch NO |  | PUMP A |  | PUMP B
[5 empty] | Primary | Accumulator | Primary | Accumulator
TE82943 |  |  |  | Transducer SN:
|  |  |  | Ripple Test Reading | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __
TE82943 |  |  |  | Transducer SN:
|  |  |  | Ripple Test Reading | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __
TE82943 |  |  |  | Transducer SN:
|  |  |  | Ripple Test Reading | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __ | 1st: __ ; 2nd: __; 3rd: __

## Sheet1
TMD
First Article
NCR
Failure Analysis
Others