Note to Author: Suggestions and examples for completing this template are provided in blue text. Please remove all blue text before submitting the document for review/approval. Please attach the approved document to the ECR, if applicable.

For definitions and/or abbreviations, refer to the Definitions and Abbreviations section of 730001835, Process Validation Procedure for Milford Site.

For an explanation of the DIR format for the SAP #, refer to the Records section of 730001835, Process Validation Procedure for Milford Site.

# Validation Assessment

For the name of the Process, Test Method, or Equipment

PREPARED BY

| Name | Role | Signature | Date |
| --- | --- | --- | --- |

REVIEWED BY (minimum of one reviewer, additional reviewers may be added as applicable)

| Name | Role | Signature | Date |
| --- | --- | --- | --- |
|  | System Owner (If not Prepared By) |  |  |
|  | Test Validation Engineer |  |  |

APPROVED BY

| Name | Role | Signature | Date |
| --- | --- | --- | --- |
|  | Quality Engineer |  |  |

The “Prepared By” signature denotes that this document accurately describes the planned Process Validation activities.

The “Reviewed By” signature[s] denotes agreement with the details of the planned testing and/or deliverables to be performed in order to (verify, qualify, and/or validate) the name of the Process, Test Method, or Equipment.

The “Approved By” signature denotes that this document has been reviewed and approved for overall quality and completeness.

# Purpose

The purpose of the Validation Assessment Form (VAF) is to document the assessment of an engineering change to the released equipment, method, or process name (TE00XXXXX or VAL0XXXXX). This document shall also define the deliverable(s) required to maintain the equipment, test method, or process – qualification, verification or validation, based on the engineering change. Qualification/verification or validation of the equipment, method, or process shall ensure that it functions within its specifications.

(Changes to equipment, test methods, or processes that are considered low risk are excluded from further qualification activities and do not require a VAF. Low risk changes include document changes, replacement of identical components, calibration, and/or preventive maintenance.)

# Background

Describe briefly the equipment, test method, or process, how it works, where it is used and what it tests/produces. Describe briefly some of the major functional components. Provide a brief description of the tests or processes that are impacted by the change. Describe all reports and where they reside, if applicable. If the functional description becomes too complex, refer to sections of design documentation for more information.

Please list the associated part numbers this equipment, test method, or process modifies, tests and/or produces.

# Description of Change

## Briefly describe the change to the equipment, test method, or process.

# Risk assessment

## High Risk Assessment

## Please check the appropriate boxes below to determine the high risk assessed qualification or requalification requirements:

| ### Specification | ## No | ## Yes |
| --- | --- | --- |
| Is the change a test specification value being modified and/or added? |  |  |

| ### Software/Firmware | ## No | ## Yes |
| --- | --- | --- |
| Is the change a software modification that affects the way the system controls, and/or measures a test specification and/or PSC result? |  |  |
| Is the change due to firmware downloaded to the UUT by a test system? |  |  |
| Is the change a flash file update? |  |  |
| Is it a change to an existing, or the addition of a new, PCB Test Sequence? |  |  |

| ### Hardware (Mechanical, Electrical, Pneumatic, Hydraulic, etc.) | ## No | ## Yes |
| --- | --- | --- |
| Is the change a mechanical, electrical, pneumatic, and/or hydraulic modification that alters the way the system controls, and/or measures a test specification and/or PSC result? |  |  |

| ### Equipment/Process Moves | ## No | ## Yes |
| --- | --- | --- |
| Is the change a move of the equipment, test method or process, to a different facility? |  |  |

## Medium Risk Assessment

## Please check the appropriate boxes below to determine the medium risk assessed qualification or requalification requirements:

| ### Replacement of Non-Identical | ## No | ## Yes |
| --- | --- | --- |
| Is the change due to a replacement of a system component with a non-identical equivalent? |  |  |

| ### Computer Related or Replacement of Custom PCBs | ## No | ## Yes |
| --- | --- | --- |
| Is the change an update to the PC operating system? |  |  |
| Is the change a computer or printed circuit board replacement? |  |  |

| ### Software/Firmware | ## No | ## Yes |
| --- | --- | --- |
| Is the change a minor software bug fix or a minor improvement (i.e. a part number add)? |  |  |
| Is the change a test system instrument firmware update (i.e. update to a stack component)? |  |  |

| ### Equipment/Process Moves | ## No | ## Yes |
| --- | --- | --- |
| Is the change a move of the equipment, test method or process, within the Milford site? |  |  |

## An answer of Yes to any of the questions in Section 4.1 above results in a high risk and the associated qualification or requalification requirements, as defined in 730001835, Process Validation Procedure for Milford Site.

An answer of Yes to any of the questions in Section 4.2 above results in a medium risk and the associated qualification or requalification requirements, as defined in 730001835, Process Validation Procedure for Milford Site.

## This change results in a High, Medium, or Low Risk Assessment and the associated qualification or requalification requirements, as detailed in Section 6.0.

# Hazard Assessment:

Summarize any hazards potentially introduced to the environment, operator, assembler, service technician or end user due to the change.

# verification, Qualification and/or validation:

Based on the risk assessment performed above, in accordance with 730001835, Process Validation Procedure for Milford Site, complete the tables below based on the testing recommendations.  Summarize the verification, qualification and validation requirements in the Comments/Justification Section of each of the tables below. If the assessment results in a recommendation of performing a partial qualification and/or bench study verification for any of the verification, qualification and/or validation activities, summarize the recommendation and explain why this is appropriate and acceptable.

| ## Equipment Design Verification (EDV) | ## No | ## Yes |
| --- | --- | --- |
| Based on the Risk Assessment, does an EDV Protocol need to be created or revised due to this change? |  |  |
| Based on the Risk Assessment, does an EDV Protocol need to be executed due to this change? (Justify partial execution in the Comments/Justification section below.) |  |  |
| Comments/Justification Note to Author: All answers of “No” require justification or explanation (i.e. “This change is a local move and does not affect the design or control of the system.”). As applicable, briefly describe the EDV Protocol updates and required execution. In cases where the EDV Protocol only needs to be partially executed, please identify required Test Scripts and provide justification for executing a partial requalification. If an EDV is not required, but a bench study or verification of custom test software is deemed beneficial and/or being performed, provide an explanation and attach the objective evidence to this form. Then, capture appropriate signatures in Objective Evidence Completion section. |  |  |

| ## Installation Qualification (IQ) | ## No | ## Yes |
| --- | --- | --- |
| Based on the Risk Assessment, does an IQ Protocol need to be executed due to this change? (Justify partial execution in the Comments/Justification section below.) |  |  |
| Comments/Justification Note to Author: All answers of “No” require justification or explanation. (i.e. “This change does not alter the installation or equipment.”). In cases where a previously executed Installation Qualification was performed and only needs to be partially re-executed, please identify required Protocol Test Scripts and provide justification for executing a partial requalification. If an IQ is not required, but a bench study or verification of a manufacturing process and/or equipment is deemed beneficial and/or being performed, provide an explanation and attach the objective evidence to this form. Then, capture appropriate signatures in Objective Evidence Completion section. |  |  |

| ## Test Method Validation (TMV) | ## No | ## Yes |
| --- | --- | --- |
| Based on the Risk Assessment, does a TMV need to be executed due to this change? (Justify partial execution in the Comments/Justification section below.) |  |  |
| Comments/Justification Note to Author: All answers of “No” require justification or explanation. (i.e. “The system does not utilize external measurement equipment and this change does not involve Operator influence.”). In cases where a previously executed Test Method Validation was performed and only needs to be partially re-executed, please identify required Test Scripts and provide justification for executing a partial requalification. If a TMV is not required, but a bench study or verification of a test method and/or measurement system is deemed beneficial and/or being performed, provide an explanation and attach the objective evidence to this form. Then, capture appropriate signatures in Objective Evidence Completion section. |  |  |
| ## Operational Qualification (OQ) | ## No | ## Yes |
| Based on the Risk Assessment, does an OQ Protocol need to be created or revised due to this change? |  |  |
| Based on the Risk Assessment, does an OQ need to be executed due to this change? (Justify partial execution in the Comments/Justification section below.) |  |  |
| Comments/Justification Note to Author: All answers of “No” require justification or explanation. If an OQ is not being performed due to the process having 100% critical to quality (CTQ) attributes verified, simply write “100% critical to quality (CTQ) attributes verified”. As applicable, briefly describe the OQ Protocol updates and required execution. In cases where the OQ only needs to be partially executed, please identify required Test Scripts and provide justification for executing a partial requalification. If an OQ is not required, but a bench study or verification of the system being capable of producing acceptable product (throughout the intended operating range) is deemed beneficial and/or being performed, provide an explanation and attach the objective evidence to this form. Then, capture appropriate signatures in Objective Evidence Completion section. |  |  |

| ## Performance Qualification (PQ) | ## No | ## Yes |
| --- | --- | --- |
| Based on the Risk Assessment, does a PQ Protocol need to be created or revised due to this change? |  |  |
| Based on the Risk Assessment, does a PQ need to be executed due to this change? (Justify partial execution in the Comments/Justification section below.) |  |  |
| Comments/Justification Note to Author: All answers of “No” require justification or explanation. If a PQ is not being performed due to the process having 100% critical to quality (CTQ) attributes verified, simply write “100% critical to quality (CTQ) attributes verified”. As applicable, briefly describe the Performance Qualification Protocol updates and required execution. In cases where the Performance Qualification only needs to be partially executed, please identify required Test Scripts and provide justification for executing a partial requalification. If a PQ is not required, but a bench study or verification of the system being capable of producing acceptable product (under normal operating conditions) is deemed beneficial and/or being performed, provide an explanation and attach the objective evidence to this form. Then, capture appropriate signatures in Objective Evidence Completion section. |  |  |

## Electromagnetic Interference (EMI) Assessment:

Is there an impact to product EMI? In most cases the change to the process, test method, or equipment cannot affect the product EMI and the Author could write “This change only affects test equipment; therefore, there is no impact to product EMI.”.

# IMPLEMENTATION ASSESSMENT:

- Is there any impact to documentation, calibration or facilities/utilities?

- Is there impact to any other qualified, verified, or validated Process, Test Method, or Equipment?

- Any impact on production schedules (particularly if the system requires production to be stopped)?

- What resources are required for implementation (personnel, materials, machines, etc.)?

- Will additional training be required?

Note: Once approved all items in the Assessment section designated “Yes” are actions to be assigned and executed. These completed items shall be scanned and saved to SAP, as defined in 730001835, Process Validation Procedure for the Milford Site, and the wet copy shall be provided to Test Validation Engineering to be archived.

Note to Author: If the Validation Assessment resulted in a need to collect objective evidence, but will not result in the execution of an Equipment Design Verification, Installation Qualification, Test Method Validation, Operational Qualification and/or a Performance Qualification, the following Validation Assessment routing sheet may be included as part of this Validation Assessment Form and be used as a cover sheet for the required objective evidence and/or as a means to show that the required activities have been performed. This approval process should only be used for changes that do not require a detailed summary of the testing, which would normally be provided within a Process Validation Report.

If the below cover sheet will not be used as part of this Validation Assessment Form, delete it.

# Validation Assessment
Objective Evidence Completion

For the name of the Process, Test Method, or Equipment

PREPARED BY

| Name | Role | Signature | Date |
| --- | --- | --- | --- |

REVIEWED BY (minimum of one reviewer, additional reviewers may be added as applicable)

| Name | Role | Signature | Date |
| --- | --- | --- | --- |
|  | System Owner (If not Prepared By) |  |  |
|  | Validation Engineering |  |  |

APPROVED BY

| Name | Role | Signature | Date |
| --- | --- | --- | --- |
|  | Quality Engineer |  |  |

The “Prepared By” signature denotes that this document accurately describes the planned Process Validation activities.

The “Reviewed By” signature[s] denotes agreement with the details of the planned testing and/or deliverables to be performed in order to (verify, qualify, and/or validate) the name of the Process, Test Method, or Equipment.

The “Approved By” signature denotes that this document has been reviewed and approved for overall quality and completeness.

The below Attachments section is used to list all attachments that will serve as objective evidence, as required by this Validation Assessment Form.

ATTACHMENTS:

Attachment 1:

Attachment 2:

Attachment 3:

Attachment etc.:

All Attachments shall be marked with the Validation Assessment Form Document Number, Attachment Number, and will be paginated, as applicable.