Instructions for the Author:

This document is intended to serve as a template for the report deliverables defined in 730001835 – Process Validation Procedure for Milford Site. Text in red is for guidance and should be deleted and replaced with applicable information based on the executed protocol or procedure.

The Report title shall be based on the type of protocol or procedure that was executed and the nomenclature of the Process, Test Method, or Equipment.

The Report Number shall be based on the Process, Test Method, or Equipment Designator; with the suffix based on the type of Protocol or Procedure being executed.  The following shows the different Suffix examples:

- EDVR:  For an Equipment Design Verification Report

- IQR:  For an Installation Qualification Report

- TMVR:  For a Test Method Validation Report

- OQR:  For an Operational Qualification Report

- PQR:  For a Performance Qualification Report

Examples of a Process, Equipment or Test Method Report are shown below:

- VAL000649-EDVR

- VAL000649-TMVR

- TE0084000-1-IQR

# type of protocol executed (I.E. equipment design verification) REPORT

For the name of the Process, Test Method, or Equipment

PREPARED BY

| Name | Role | Signature | Date |
| --- | --- | --- | --- |

REVIEWED BY (minimum of one reviewer, additional reviewers may be added as applicable)

| Name | Role | Signature | Date |
| --- | --- | --- | --- |
|  | System Owner (If not Prepared By) |  |  |
|  | Test Validation Engineer |  |  |

APPROVED BY

| Name | Role | Signature | Date |
| --- | --- | --- | --- |
|  | Quality Engineer |  |  |

The “Prepared By” signature denotes that this document accurately describes the (verification, qualification, or validation) activities.

The “Reviewed By” signature[s] denotes agreement with the description of the (verification qualification, or validation) activities.

The “Approved By” signature denotes that this document has been reviewed and approved for overall quality and completeness.

REVISION HISTORY

| Version | Author | Summary of change |
| --- | --- | --- |
| XX | A.N. Other | First document for approval |

# Purpose

The (name of Process, Test Method, or Equipment/station) is located in (provide the location of where the process, test method, or equipment/station is used).  The (name of Process, Test Method, or Equipment/station) is used to perform (the purpose of the process, test method, or equipment/station) of the following part numbers: (List the part numbers, the process, test method, or equipment/station tests).

# Scope of Report

This (type of protocol executed) Report details the (Verification, Qualification, or Validation) activities undertaken for the (name of Process, Test Method, or Equipment/station) based on the requirements of the executed protocol, (name the protocol document number, revision, and title).

This (type of protocol executed) Report defines the documents used to (verify, qualify, or validate) the (name of Process, Test Method, or Equipment/station). List all applicable documents.

# Summary of Results - Statement of Fitness for Intended Use

This section should be a clear statement on the status of the Test Equipment and/or system and whether it is fit for intended use, bearing in mind any outstanding deviations or corrective actions.

The (name of Process, Test Method, or Equipment/station) was tested in accordance with (number/name or the protocol or procedure, including revision).  All (reference the test requirements – such as Test Scripts) were performed and (statement of: all objective evidence requirements have been met (and all deviations have been resolved)).

Waters now has the necessary documentation in place to ensure that the (name of Process, Test Method, or Equipment/station) complies with Waters’ requirements, the latest relevant quality system regulations, and cGMP practices.

Following the approval of this (Verification, Qualification, or Validation) Report, the (name of Process, Test Method, or Equipment/station) can be considered fully (verified, qualified, or validated) and fit for intended use.

# Glossary

The following definitions are used in this document:

| Term | Explanation |
| --- | --- |
| cGMP | Current Good Manufacturing Practice |
| TMV | Test Method Validation |
| EDV | Equipment Design Verification |
| IQ | Installation Qualification |
| OQ | Operational Qualification |
| PQ | Performance Qualification |
| QA | Quality Assurance |
| SOP | Standard Operating Procedure |
| TSP | Test Specification and Procedure |
| ASP | Assembly Procedure |
| MPR | Manufacturing Procedure |
| Cal/PM | Calibration/Preventive Maintenance |
| VAF | Validation Assessment Form |
| XXX | (insert/delete definitions as required) |

# Training

This section should provide details of assurance that personnel involved in the verification, qualification, or validation have been trained and that this training is documented.

For any test results in which a Production Operator performed the testing a training statement to the operating procedure (TSP, MPR, etc.) shall be included.  The Training Record Attachment shall be referenced.

A training statement to the Verification, Qualification, or Validation Protocol or Procedure, for any Performer(s), shall be included.  The Training Record Attachment shall be referenced.

# Verification, Qualification or Validation Results

This section should summarize the test activities and results specified in the Verification, Qualification, or Validation Protocol or Procedure. Photos or other objective evidence used to complete the Protocol or Procedure test scripts may be included within this section.

| Script or Section | Pass/Fail | Objective Evidence | Deviations |
| --- | --- | --- | --- |
| IQ-01 | Pass | Attachments 02, 03, and 04 | None |
| IQ-02 | Fail | Attachments 05 and 06 | Section 8, Deviation #1 |

# Attachments

This section is used to list all attachments used as objective evidence related to the performed Verification, Qualification, or Validation.  All attachment documents, including the filled out EDV, IQ, TMV, OQ, or PQ test script documents that were performed, will be labelled and attached to this report.

Attachment examples: EDV, IQ, TMV, OQ, or PQ Data Sheets, Calibration Certificates, Preventive Maintenance Certificates, Final Test Records (including Event Logs), Training Records, etc.

All Attachments should be in logical order in reference to the report and shall be marked with the Report Document Number, the report iteration, Attachment Number, and will be paginated.  Below is an example of this marking:

# Deviation from Test Equipment Verification, Qualification, or Validation

This section should provide an overview and resolution of any deviation occurrences during the performance of the associated Verification, Qualification, or Validation Protocol or Procedure.

All deviations must be resolved and documented within this report.  If there are NO deviations during the performance of the Protocol or Procedure, simply write the following for this section:

There were no deviations generated during the execution of (name the EDV, IQ, TMV, OQ, or PQ Protocol or Procedure document, including revision).

For each deviation provide the description, resolution and/or proposed corrective action, as applicable.

# References

The current approved versions of the following documents are referenced within this document:

| Reference | Document Number | Document title |
| --- | --- | --- |
| [x] | XXXXXXXX | (insert/delete references as required) |