## STANDARD Equipment list
Standard Equipment Lists
Item | ID number | Serial number | Manufacturer | MODEL | Descriptions
1 | CV0251 | MY41000451 | AGILENT | 6031A | DC POWER SUPPLY
2 | CA8094 | 2823A25888 | HEWLETT PACKARD | 3458A | MULTIMETER
3 | DH3876 | 6020913 | FLUKE | 5700A/NAF | MULTI-FUNCTION CALIBRATOR
4 | CT2147 | 103536 | ROHDE & SCHWARZ | SMA 100A-B103-B22 | SIGNAL GENERATOR
5 | DC4676 | 100244 | ROHDE & SCHWARZ | NRP-Z91 | AVG POWER SENSOR
6 | CH2324 | 804 | AGILENT | 34330A | CURRENT SHUNT
7 | CH2771 | 11C9CB8 | NATIONAL INSTRUMENTS | PXI-1031 | MAINFRAME
8 | CA8196 | 1BE4706 | NATIONAL INSTRUMENTS | NI PXI-8360 | MXI-EXPRESS
9 | DC8376 | EC2663 | NATIONAL INSTRUMENTS | PXI-4071 | DIGITAL MULTIMETER
10 | CN2505 | 177D413 | NATIONAL INSTRUMENTS | E SERIES | E/M/S SERIES CALIBRATION FIXTURE
11 | CA8201 | MY40004745 | AGILENT | 53132A | 225MHZ UNIVERSAL COUNTER
12 | P1000 | P1000 | CLAROSTAT MFG | 240C | POWER RESISTOR BOX
13 | Accesory Box and cables

## GTS 1
1 | Description | Brand | Model | Serial Number | Calibration Due Date | Alternate equipments
2 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | 2019-04-27 | NO
3 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | 2019-04-27 | NO
4 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | 2019-04-27 | NO
5 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | 2019-04-27 | NO
6 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | 2019-04-27 | NO
7 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | 2019-04-27 | NO
8 | 6½ DIGITAL MULTIMETER | Agilent Tech | 34411A | MY46000358 | 2019-04-27 | NO
9 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Tech | 33220A | MY44046858 | 2019-04-30 | NO
10 | DC ELECTRONIC LOAD MAINFRAME | CHROMA | 6314 | 63140009193 | 2019-04-30 | NO
11 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017022 | 2019-04-30 | NO
12 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017023 | 2019-04-30 | NO
13 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017030 | 2019-04-30 | NO
14 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017042 | 2019-04-30 | NO
15 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C011085 | 2019-04-27 | NO
16 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | 2019-04-27 | NO
17 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | 2019-04-27 | NO
18 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | 2019-05-03 | NO
19 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 91743 [ 002061-BH-BA-00) | 2020-07-31 | NO | cal. Handle by waters Paul D -----to ESSCO cal. Lab
GTS1 Tester equipments will Pack for calibration shipment on 8 Apr 2019 [Monday ]

## GTS 2
| Description | Brand | Model | Serial Number | Calibration Due Date | Alternate equipments
1 | Programmable DC Power supply | TDK Lambda | GENH60-12.5-LAN-U | 09M1038A | 2019-04-27 | NO
2 | Agilent 61/2 Digit Multimeter | Agilent | 34411A | MY48003752 | 2019-04-27 | NO
3 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3259 | 2019-04-27 | NO
4 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3258 | 2019-04-30 | NO
5 | 20MHz Function Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44052037 | 2019-04-30 | NO
6 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4062Z | 2019-04-27 | NO
7 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4063Z | 2019-04-27 | NO
8 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4064Z | 2019-04-27 | NO
9 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4068Z | 2019-04-27 | NO
10 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4069Z | 2019-04-27 | NO
11 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C012641 | 2019-04-27 | NO
12 | DC Electronic Load Main Frame 8 Channel | Chroma | 6314A |  | 2019-04-26 | NO
13 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005460 | 2019-04-26 | NO
14 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005457 | 2019-04-26 | NO
15 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005485 | 2019-04-26 | NO
16 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005472 | 2019-04-26 | NO
17 | NI Programmable DC Power supply Power SMU | National Instruments | PXI-4130 | 160B92C | 2019-05-03 | NO
18 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 11640241 (IZ-BK-BA-000) | 2020-06-30 | NO | Calibrate by Essco Waters USA need Prealert Paul in Jan 2018
GTS2 Tester equipments will Pack for calibration shipment on 22 Apr 2019 [Monday ]