## GTS Tester
GTS Calibration Master List |  |  |  | CEI |  |  |  | Venture |  |  | Flex
NO | EQUIPMENT NAME | MANUFACTURER | MODEL | MANUFACTURER SERIAL NO | 2018 Calibration Cost | 2019 Calibration Cost (Micro Precision) | Remarks | MANUFACTURER SERIAL NO | 2018 Calibration Cost | 2019 Calibration Cost | MANUFACTURER SERIAL NO | 2018 Calibration Cost | 2019 Calibration Cost (Micro Precision)
1 | DC POWER SUPPLY | TDK-Lambda | GENH30-25 | 09M1019A | 145.89 | 156 |  | 95166 | 160 | 160 | 09M1039A | 41.97 | 160
2 | DC POWER SUPPLY | TDK-Lambda | GENH30-25 | 09M1020A | 145.89 | 156 |  | 95167 | 160 | 160 | 09M1035A | 41.97 | 160
3 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 09M1026A | 119.37 | 156 |  | 95170 | 160 | 160 | 09M1025A | 41.97 | 160
4 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 09M1028A | 119.37 | 156 |  | 95165 | 160 | 160 | 09M1037A | 41.97 | 160
5 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 09M1029A | 119.37 | 156 |  | 95164 | 160 | 160 | 09M1017A | 41.97 | 160
6 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 09M1032A | 119.37 | 156 |  | 95171 | 160 | 160 | 09M1022A | 41.97 | 160
10 | DC ELECTRONIC LOAD | CHROMA | 63103A | 631030017022 / 631030017023 / 631030017030 / 631030017042 | 795.76 | 948 |  | 63145125/95148 | 960 | 960 | 631400009104 / 631030017035 / 631030017265 / 631030017021 / 63103A000083 | 167.89 | 960
11 | 6 1/2 DIGITAL MULTIMETER | AGILENT | 34411A | MY46000358 | 132.63 | 140 |  | MY53002751/95155 | 144 | 144 | MY48002718 | 107.93 | 144
12 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | AGILENT | 33220A | MY44046858 | 232.1 | 246 |  | MY44044085/95154 | 250 | 250 | MY44043984 | 143.9 | 250
13 | DIGITAL PHOSPOR OSCILLOSCOPE | TEKTRONIX | TDS 3054C | C011085 | 298.42 | 196 |  | C011477 | 200 | 200 | C010786 | 119.92 | 200
14 | Prog Resistor | Marvin Test Solution | GX1164 |  | 283 | 170 | No charge in 2019. Calibration due 2020. $340 per calibration / 2 years. | 11640209 (95750) | 283 | 185 | 002051 | 283 | 170
16 | Multifunction DAQ | National Instrument | NI PXI-6229 | 145DF14 | 397.89 | 264 |  | 145DEFE | 270 | 270 | 1459564 | 471.77 | 270
17 | Multifunction DAQ | National Instrument | NI PXI-6229 | 145DF42 | 397.89 | 264 |  | 145DF3A | 270 | 270 | 145DF2F | 471.77 | 270
18 | Power SMU | National Instrument | NI PXI-4130 | 1450264 | 397.89 | 266 |  | 145025B | 270 | 270 | 1459564 | 609.67 | 270
[5 empty] | 3704.84 | 3430 |  |  | 3607 | 3509 |  | 2627.67 | 3494
| 2018 Pricing | 2019 Pricing | 2020 Pricing
CEI #1 | 3704.84 | 3430 | 3284.36
CEI #2 | 3704.84 | 3430 | 3284.36
Venture #1 | 3607 | 3509 | 3284.36
Venture #2 | 3607 | 3509 | 3284.36
Flex #1 | 2627.67 | 3494 | 3284.36
| 17251.35 | 17372 | 16421.8
|  | 1200 | 1128 |  | Additional cost for on-site service
Total | 17251.35 | 18572 | 17549.8