## flextronics_reviewed
| Correct as of: | 2020-06-05
No. | Product Family | Part Number | Serial No. | FW Version | Date Received
1 | 2489/TUV | 186015022 | K05UPT479M | 1.10.1174 | 2007 | In use for spare bench p/n:
2 | 2489/TUV | 186015028 | A08UPT943M | 1.60.2273 |  | Wavelength Verifcation Failure (Not In Use)(To Scrapped)
3 | 2489/TUV | 186015031 | C10TUV025N | 1.60.2274 | 2012 | In use for spare bench p/n:
4 | 2489/TUV | 186002487 | L0787E095M | 1.40.1966 | 2009 | In use for spare bench p/n:
5 | 2489/TUV | WAT081110 | L03487649M | 1.01 (Spare bench testing only) | 2005
6 | 2489/TUV | WAT081110 | H05487269M | 1.01 (Spare bench testing only) | 2007 | No Display (To Scrapped)
7 | 2489/TUV | WAT081110 | H05487273M | 1.01 (Spare bench testing only) | 2007 | Lamp Power Suppy (To Scrapped)
8 | 2489/TUV | WAT081110 | H05487251M | 1.01 (Spare bench testing only) | 2007 | No Display (To Scrapped)
9 | 2489/TUV | WAT081110 | H05487257M | Non good unit, (test bed – no Optic Bench) |  | (To Scrapped)
10 | 2489/TUV | WAT081110 | G98487535M |  |  | (To Scrapped)
11 | 2998/PDA/eLambda | 186002998 | D08998406N | 1.41.6164 | 2010 | In use for spare bench p/n:
12 | 2998/PDA/eLambda | 186299800 | B13998443A | 1.41.6164 | 2015 | In use for spare bench p/n:
13 | 2998/PDA/eLambda | 186015026 | B08UPD563M | Not Tested in Flex and no test report | 2010 | Not Tested in Flex and no test report
14 | 2998/PDA/eLambda | 186015030 | A09UPL372M | Not Tested in Flex and no test report | 2011 | Not Tested in Flex and no test report
15 | 2998/PDA/eLambda | 186015032 | BETUPD008N | 1.65.6229 | 2012 | In use for spare bench p/n:
16 | 2998/PDA/eLambda | 186015034 | G13C2P293N | Not Tested in Flex and no test report | 2015 | In use for spare bench p/n:
17 | 2489 UV/Visible Detector | 186248900 | K1787E723A | 1.69.2682 | 2017
18 | 2490 UV/Visible Detector | 186248900 | K1787E724A | 1.69.2682 | 2017
19 | 2491 UV/Visible Detector | 186248900 | K1787E725A | 1.69.2682 | 2017
20 | 2492 UV/Visible Detector | 186248900 | K1787E727A | 1.69.2682 | 2017
21 | 2493 UV/Visible Detector | 186248900 | K1787E728A | 1.69.2682 | 2017
22 | 2494 UV/Visible Detector | 186248900 | K1787E729A | 1.69.2682 | 2017
23 | 2495 UV/Visible Detector | 186248900 | K1787E730A | 1.69.2682 | 2017
24 | 2496 UV/Visible Detector | 186248900 | K1787E731A | 1.69.2682 | 2017
25 | 2497 UV/Visible Detector | 186248900 | K1787E732A | 1.69.2682 | 2017
26 | 2498 UV/Visible Detector | 186248900 | K1787E745A | 1.69.2682 | 2017

## flextronics (2)
|  | Updated : | 2020-07-28
No. | Category | Product Family | Part Number | Serial No. | FW Version | Date Received | In use | Remarks
1 | Known Good unit | 2489/TUV | 186015022 | K05UPT479M | 1.10.1174 | 2007 | Yes | In use for spare bench p/n:700002554
2 | Known Good unit | 2489/TUV | 186015028 | A08UPT943M | 1.60.2273 | NA | No | Wavelength Verifcation Failure (Not In Use)(To Scrapped)
3 | Known Good unit | 2489/TUV | 186015031 | C10TUV025N | 1.60.2274 | 2012 | Yes | In use for spare bench p/n: 700005245
4 | Known Good unit | 2489/TUV | 186002487 | L0787E095M | 1.40.1966 | 2009 | Yes | In use for spare bench p/n: 279001150
5 | Known Good unit | 2489/TUV | WAT081110 | L03487649M | 1.01 (Spare bench testing only) | 2005 | No | No Display (To Scrap)
6 | Known Good unit | 2489/TUV | WAT081110 | H05487269M | 1.01 (Spare bench testing only) | 2007 | Yes | Working condition p/n:WAS081147
7 | Known Good unit | 2489/TUV | WAT081110 | H05487273M | 1.01 (Spare bench testing only) | 2007 | Yes | Working condition p/n:WAS081147
8 | Known Good unit | 2489/TUV | WAT081110 | H05487251M | 1.01 (Spare bench testing only) | 2007 | No | Auto Restart (To scrap)
9 | Bad unit | 2489/TUV | WAT081110 | H05487257M | 1.01 (Spare bench testing only) | TBD | No | (To Scrapped)
10 | Bad unit | 2489/TUV | WAT081110 | G98487535M | 1.01 (Spare bench testing only) | TBD | No | (To Scrapped)
11 | Known Good unit | 2998/PDA/eLambda | 186002998 | D08998406N | 1.41.6164 | 2010 | Yes | In use for spare bench p/n:700011867 and 700003765
12 | Known Good unit | 2998/PDA/eLambda | 186299800 | B13998443A | 1.41.6164 | 2015 | Yes | In use for spare bench p/n: 700003765 and 700003765
13 | Known Good unit | 2998/PDA/eLambda | 186015026 | B08UPD563M | Not Tested in Flex and no test report | 2010 | No | Not in useUsed as model during initial build od the project
14 | Known Good unit | 2998/PDA/eLambda | 186015030 | A09UPL372M | Not Tested in Flex and no test report | 2011 | No | Not in useUsed as model during initial build od the project
15 | Known Good unit | 2998/PDA/eLambda | 186015032 | BETUPD008N | 1.65.6229 | 2012 | Yes | In use for spare bench p/n: 700002787 and 700011652
16 | Known Good unit | 2998/PDA/eLambda | 186015034 | G13C2P293N | Not Tested in Flex and no test report | 2015 | Yes | In use for spare bench p/n:700009532
17 | Reliability unit | 2489 UV/Visible Detector | 186248900 | K1787E723A | 1.69.2682 | 2017 | No | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
18 | Reliability unit | 2490 UV/Visible Detector | 186248900 | K1787E724A | 1.69.2682 | 2017 | No | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
19 | Reliability unit | 2491 UV/Visible Detector | 186248900 | K1787E725A | 1.69.2682 | 2017 | No | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
20 | Reliability unit | 2492 UV/Visible Detector | 186248900 | K1787E727A | 1.69.2682 | 2017 | No | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
21 | Reliability unit | 2493 UV/Visible Detector | 186248900 | K1787E728A | 1.69.2682 | 2017 | No | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
22 | Reliability unit | 2494 UV/Visible Detector | 186248900 | K1787E729A | 1.69.2682 | 2017 | No | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
23 | Reliability unit | 2495 UV/Visible Detector | 186248900 | K1787E730A | 1.69.2682 | 2017 | No | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
24 | Reliability unit | 2496 UV/Visible Detector | 186248900 | K1787E731A | 1.69.2682 | 2017 | No | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
25 | Reliability unit | 2497 UV/Visible Detector | 186248900 | K1787E732A | 1.69.2682 | 2017 | No | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
26 | Reliability unit | 2498 UV/Visible Detector | 186248900 | K1787E745A | 1.69.2682 | 2017 | No | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
27 | Known Good unit | 1515 HplC | 186001515 | NA | NA | NA | No | Not in use Request to return to WPPL
28 | Known Good unit | 1525 Hplc | 186001525 | NA | NA | NA | No | Not in use Request to return to WPPL
28 | Known Good unit | 515 Hplc | WAT207000 | NA | NA | NA | No | Not in use Request to return to WPPL

## Scrap
|  | Updated : | 2020-07-28
No. | Category | Product Family | Part Number | Serial No. | FW Version | Date Received | In use | Remarks
2 | Known Good unit | 2489/TUV | 186015028 | A08UPT943M | 1.60.2273 | NA | No | Wavelength Verifcation Failure (Not In Use)(To Scrapped)
5 | Known Good unit | 2489/TUV | WAT081110 | L03487649M | 1.01 (Spare bench testing only) | 2005 | No | No Display (To Scrap)
8 | Known Good unit | 2489/TUV | WAT081110 | H05487251M | 1.01 (Spare bench testing only) | 2007 | No | Auto Restart (To scrap)
9 | Bad unit | 2489/TUV | WAT081110 | H05487257M | 1.01 (Spare bench testing only) | TBD | No | (To Scrapped)
10 | Bad unit | 2489/TUV | WAT081110 | G98487535M | 1.01 (Spare bench testing only) | TBD | No | (To Scrapped)

## Return to WPPL
|  | Updated : | 2020-07-28
No. | Category | Product Family | Part Number | Serial No. | FW Version | Date Received | In use | Remarks
13 | Known Good unit | 2998/PDA/eLambda | 186015026 | B08UPD563M | Not Tested in Flex and no test report | 2010 | No | Not in useUsed as model during initial build of the project
14 | Known Good unit | 2998/PDA/eLambda | 186015030 | A09UPL372M | Not Tested in Flex and no test report | 2011 | No | Not in useUsed as model during initial build of the project
27 | Known Good unit | 1515 HplC | 186001515 | NA | NA | NA | No | Not in use Request to return to WPPL
28 | Known Good unit | 1525 Hplc | 186001525 | NA | NA | NA | No | Not in use Request to return to WPPL
28 | Known Good unit | 515 Hplc | WAT207000 | NA | NA | NA | No | Not in use Request to return to WPPL