## To Scrap
|  | Updated : | 2020-12-21
No. | Category | Product Family | Part Number | Serial No. | FW Version | Date Received | Status | Remarks
1 | Known Good unit | 2489/TUV | 186015028 | A08UPT943M | 1.60.2273 | NA | To Scrap | 1. Not In Use 2. Wavelength Verifcation Failure
2 | Known Good unit | 2489/TUV | WAT081110 | L03487649M | 1.01 (Spare bench testing only) | 2005 | To Scrap | 1. Defective unit 2. No Display
3 | Known Good unit | 2489/TUV | WAT081110 | H05487251M | 1.01 (Spare bench testing only) | 2007 | To Scrap | 1. Defective unit 2. Auto Restart
4 | Known Good unit | 2998/PDA/eLambda | 186015026 | B08UPD563M | Not Tested in Flex and no test report | 2010 | To Scrap | 1. Not in use. 2. Unable to test spare bench as Known good unit version. 3. Not compatible with current software of TE82882 4. Will encounter loss comm when running test
5 | Known Good unit | 2998/PDA/eLambda | 186015030 | A09UPL372M | Not Tested in Flex and no test report | 2011 | To Scrap | 1. Not in use. 2. Unable to test spare bench as Known good unit version. 3. Not compatible with current software of TE82882 4. Will encounter loss comm when running test
6 | Known Good unit | 1515 HplC | 186001515 | NA | NA | NA | To Scrap | 1. Not in use 02-Sep-2020 1515 Golden UUT not able to detect by tester - - Eng'g Team agree to scrap
7 | Known Good unit | 1525 Hplc | 186001525 | NA | NA | NA | To Scrap | 1. Not in use 26-Aug-2020 1525 - No CPU board to retest / different PN - Team agree to declare not Golden. - Eng'g Team agree to scrap