## Sheet1
PC (Tester) = | 54
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.26.2 | SOLECTRONISNL1 | Solectron Instrument Serial Number Label 1 | 2006-01-20 | M50 | KKPPZ6P | 2005 | 0.5 | Windows XP SP3 | SAV Endpoint 12
10.249.26.3 | SOLECTRONPNL1 | Solectron Part Number Label 1 | 2006-01-20 | M50 | KKPAA7A | 2005 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.4 | SOLECTRONCOFP1 | Solectron Certificate Of Functional Performance 1 | 2006-01-20 | M50 | KKMAB8Z | 2005 | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.26.9 | TE82800-2 | Acquity Solvent Manager Pump Test Station | 2010-01-11 | LAC/E 12 | E85-05687 | 2009 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.10 | TE82800-3 | Acquity Solvent Manager Pump Test Station | 2009-10-14 | M50 | KKPAB0R | 2005 | 1.5 | Windows XP SP3 | SAV Endpoint 12
10.249.26.11 | TE82943-11 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | H08L32067W* | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.12 | TE82943-12 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | MO8L32055W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.13 | TE82943-13 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | M08L32151W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.14 | TE82943-14 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | M08L32177W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.15 | TE82943-15 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | M08L32051W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.16 | TE82943-16 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | B08L32155W* | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.17 | TE82943-17 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | H07L32328W* | 2007 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.18 | TE82943-18 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | L08L32004W* | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.20 | Final-Test-1 | Alliance Final Test Station | 2006-03-01 | LAC/E 13 | KKPAA0H | 2005 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.21 | Final-Test-2 | Alliance Final Test Station | 2006-03-01 | M50 | KKPRA3T | 2005 | 1 | Windows XP SP2 | SAV Endpoint 12
10.249.26.22 | Final-Test-3 | Alliance Final Test Station | 2006-03-01 | LAC/E 13 | M11L32019W | 2011 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.23 | Final-Test-4 | Alliance Final Test Station | 2006-03-01 | LAC/E 13 | H10L32039W | 2010 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.24 | Final-Test-5 | Alliance Final Test Station | 2015-03-30 | LAC/E 13 | C12L32205W | 2012 | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.26.25 | Final-Test-6 | Alliance Final Test Station | 2018-05-20 | LAC/E 13 | A14L32340W | 2014 | 4 | Windows 7 | SAV Endpoint 12
10.249.26.26 | Pumptray-Test-1 | Alliance Pumptray Tester | 2006-03-01 | M50 | KKLTM8V | 2005 | 1 | Windows XP SP2 | SAV Endpoint 12
10.249.26.27 | Pumptray-Test-2 | Alliance Pumptray Tester | 2006-03-01 | M55 | LMW2037 | 2014 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.28 | Pumptray-Test-3 | Alliance Pumptray Tester | 2006-03-01 | M58 | G13L32034W | 2013 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.29 | Pump-Test-1 | Alliance Pump Tester | 2006-03-01 | M50 | KKTCP0T | 2005 | 1 | Windows XP SP2 | SAV Endpoint 12
10.249.26.30 | - | HP PC with RS232 Port | 2006-03-01 | Other | NA | 2005 | 0.5 | Windows XP SP3 | None
10.249.26.32 | RearPanel-Tester | Autoloader and Rear Panel Tester | 2008-07-21 | LAC/E 12 | C08L32093W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.34 | AutoLoader-2 | Alliance AutoLoader 2 | 2008-08-05 | LAC/E 12 | B08L32122N | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.35 | TE82520-1 | Alliance CCD Test Station | 2013-05-03 | M50 | KKPAA4Y | 2005 | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.26.36 | TE82520-2 | Alliance CCD Test Station | 2014-11-21 | LAC/E 15 | BMQ5322 | 2014 | 8 | Windows 7 | SAV Endpoint 12
10.249.26.40 | TE82903-6 | TUV Final Test System | 2008-02-26 | LAC/E 10 | G05L32009W | 2005 | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.26.42 | TE82903-8 | TUV Final Test System | 2008-02-26 | LAC/E 10 | J04L32120W | 2004 | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.26.43 | TE82903-9 | TUV Final Test System | 2008-02-26 | LAC/E 11 | J04L32091W | 2008 | 2 | Windows XP SP2 | SAV Endpoint 12
10.249.26.44 | TE82903-10 | TUV Final Test System | 2008-02-26 | LAC/E 10 | J04L32102W | 2004 | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.26.45 | TE82964-1 | Detector Pretest System | 2008-02-26 | LAC/E 10 | H04BLM012C* | 2004 | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.26.50 | TE82534-1 | 515 Test | 2006-03-01 | M58 | LMGKCVW | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.51 | TE82705-2 | Breeze Test | 2006-03-01 | M58 | LMGPRBH | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.55 | Genealogy-SDS | Acquity BSM/QSM Genealogy Input Station | 2009-12-04 | LAC/E 12 | M07L32046W | 2007 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.56 | Genealogy-DET | Detector Genealogy Input Station | 2015-01-13 | LAC/E 12 | NA | 2010 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.63 | TE82918-2 | 2998 Fine Alignment System | 2008-05-19 | LAC/E 12 | B08L32065W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.64 | TE82868-2 | 2998 Aperture Alignment System | 2008-05-19 | LAC/E 12 | K07L32122W | 2007 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.65 | TE82951-2 | 2998 Mask Alignment System | 2008-05-19 | LAC/E 11 | J06L32014W* | 2006 | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.26.68 | TE82973-1 | 2998 Flowcell Noise and Drift System | 2008-05-27 | LAC/E 12 | B08L32248W* | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.71 | TE82916-2 | 2998 Flowcell Alignment System | 2008-10-07 | LAC/E 12 | K07L32024W* | 2007 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.72 | TE82917-1 | 2998 Rough Alignment System | 2008-12-29 | LAC/E 12 | B08L32068W | 2008 | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.26.73 | TE82880-2 | PDA Rough Alignment System | 2009-05-18 | LAC/E 12 | L07L32070W | 2007 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.74 | TE82881-2 | PDA Fine Alignment System | 2009-05-18 | LAC/E 12 | D08L32121W* | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.75 | TE82969-1 | PDA Linearity Test System | 2009-05-18 | LAC/E 13 | C10L32154W | 2010 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.76 | TE83057-4 | PDA Download Station | 2009-05-18 | LAC/E 12 | C08L32078W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.78 | TE82882-2 | 2998/PDA Final Test System | 2009-05-18 | LAC/E 11 | C06BLM057C* | 2006 | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.26.79 | TE82882-8 | 2998/PDA Final Test System | 2009-05-19 | LAC/E 32 | E13L32018W | 2013 | 4 | Windows 7 | SAV Endpoint 12
10.249.26.80 | TE82882-9 | 2998/PDA Final Test System | 2009-05-20 | LAC/E 32 | 318TH5J | 2013 | 4 | Windows 7 | SAV Endpoint 12
10.249.26.81 | TE82882-10 | 2998/PDA Final Test System | 2009-05-21 | LAC/E 32 | M12L32412W | 2012 | 4 | Windows 7 | SAV Endpoint 12
10.249.26.82 | TE82882-11 | 2998/PDA Final Test System | 2009-05-22 | LAC/E 32 | F13L32287W | 2013 | 4 | Windows 7 | SAV Endpoint 12
10.249.26.84 | TE82882-13 | 2998/PDA Final Test System | 2016-07-26 | LAC/E 32 | S4ALMVW | 2013 | 4 | Windows 7 | SAV Endpoint 12
10.249.26.85 | TE82882-14 | 2998/PDA Final Test System | 2016-07-26 | LAC/E 32 | S4ALYMH | 2013 | 4 | Windows 7 | SAV Endpoint 12
10.249.26.90 | SQT-Workstation | SQT Workstation | 2006-03-01 | LAC/E 32 | G13L32033W | 2013 | 4 | Windows 7 | SAV Endpoint 12
Server = | 1
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.26.6 | SOLECTRONMFG | Solectron Server (Flextronics Singapore) | 2006-01-20 | Other | 40NM291 | 2005 | 1 | Server 2003 | SAV Endpoint 12
10.249.26.1 | SOLECTRONMFG | Solectron Server (Flextronics Singapore) | 2018-07-17 | Other | HXQKN22 | 2014 | 8% | Server 2012 | SAV Endpoint 14
Label Printers = | 2
Pinter Model | Manufacturer | Serial Number | Mfg Year | Service Provider | Contract start date | Contract due date
DMX I-4308 | Honeywell | 54177579 | NA | Autopack Pte Ltd | NA | NA
DMX I-4308 | Honeywell | 54177587 | NA | Autopack Pte Ltd | NA | NA