## BSM.QSM
BSM /QSM |  |  | Image Created
IP Address | Name | Description | Date | Remarks
10.249.26.2 | Waters SISNL1 | Solectron Instrument Serial Number 1 | 2019-03-12
10.249.26.3 | Waters SPNL1 | Solectron Part Number Labeling 1 | 2019-03-12
10.249.26.4 | WATERSCOFP1 | WATERS Certificate Of Funtional Performance 1 | 2019-03-12
10.249.26.9 | TE 82800 - 2 | Acquity Actuator Tester #2 | 2019-02-13
10.249.26.10 | TE 82800 - 3 | Acquity Actuator Tester #3 | 2019-03-12
10.249.26.11 | TE 82943 - 11 | Acquity SDS Tester #11 | 2019-02-13
10.249.26.12 | TE 82943 - 12 | Acquity SDS Tester #12 | 2019-03-12
10.249.26.13 | TE 82943 - 13 | Acquity SDS Tester #13 | 2019-02-13
10.249.26.14 | TE 82943 - 14 | Acquity SDS Tester #14 | 2019-02-13
10.249.26.15 | TE 82943 - 15 | Acquity SDS Tester #15 | 2019-02-13
10.249.26.16 | TE 82943 - 16 | Acquity SDS Tester #16 | 2019-02-13
10.249.26.17 | TE 82943 - 17 | Acquity SDS Tester #17 | 2019-03-12
10.249.26.18 | TE 82943 - 18 | Acquity SDS Tester #18 | 2019-03-13
10.249.26.55 | Genealogy SDS | Acquity SDS Genealogy Stn (BSM/QSM) | 2019-03-12

## Detector.Clnrm
Detectors / Cleanroom |  |  | Image Created
IP Address | Name | Description | Date | Remarks
10.249.26.40 | TE 82903 - 6 | TUV Final Test Station | NA | Unable to activate Acronis
10.249.26.42 | TE 82903 - 8 | TUV Final Test Station | 2019-03-14
10.249.26.43 | TE 82903 - 9 | TUV Final Test Station | 2019-03-14
10.249.26.44 | TE 82903 - 10 | TUV Final Test Station | 2019-03-14
10.249.26.45 | TE 82964 - 1 | TUV Pretest System | 2019-03-13
10.249.26.75 | TE 82969 - 1 | PDA Linearity Tester | 2019-03-13
10.249.26.76 | TE 83057-4 | PDA Download Station | 2019-03-13
10.249.26.79 | TE 82882 - 8 | 2998/PDA Final Test 8 | 2019-03-13
10.249.26.80 | TE 82882 - 9 | 2998/PDA Final Test 9 | 2019-03-13
10.249.26.81 | TE 82882 - 10 | 2998/PDA Final Test 10 | 2019-03-13
10.249.26.82 | TE 82882 - 11 | 2998/PDA Final Test 11 | 2019-03-13
10.249.26.84 | TE 82882 -13 | PDA Final Test System 13 | 2019-03-14 | Backup thru Windows OS
10.249.26.85 | TE 82882 -14 | PDA Final Test System 14 | 2019-03-14 | Backup thru Windows OS
10.249.26.63 | TE 82918 - 2 | 2998 Fine Alignment Sys | 2019-03-14
10.249.26.64 | TE 82868 - 2 | 2998 Aperture Alignment System | 2019-03-14
10.249.26.65 | TE 82951 - 2 | 2998 Mask Alignment Sys | 2019-03-14
10.249.26.66 | TE 82916 - 2 | Flowcell Alignment Fixture | 2019-03-14
10.249.26.68 | TE 82973 - 1 | 2998 Flowcell Noise & Drift System | NA | CD-ROM unable to read
10.249.26.72 | TE 82917 - 1 | 2998 Rough Alignment | 2019-03-14
10.249.26.73 | TE 82880 - 2 | PDA Rough Alignment Sys | 2019-03-14
10.249.26.74 | TE 82881 - 2 | PDA Fine Alignment Stn | 2019-03-14
10.249.26.56 | Genealogy SDS | Acquity SDS Genealogy Stn (Detector) | 2019-03-14
10.249.26.58 | TE 83096 - 2 | PDA Universal Optic Bench Alignment | 2019-03-15 | Backup thru Windows OS
10.249.26.59 |  | Universal PDA Alignment | 2019-03-16 | Backup thru Windows OS

## Alliance.pump
Alliance / pump |  |  | Image Created
IP Address | Name | Description | Date | Remarks
10.249.26.50 | TE 82534 - 2 | 515 Pump Final Test | 2019-02-12
10.249.26.51 | TE 82705 - 2 | 1500 pump Final Test | 2019-03-12
10.249.26.20 | Final Test - 1 | Waters Alliance Test Station | 2019-02-12
10.249.26.21 | Final Test - 2 | Waters Alliance Test Station | 2019-03-13
10.249.26.22 | Final Test - 3 | Waters Alliance Test Station | 2019-02-11
10.249.26.23 | Final Test - 4 | Waters Alliance Test Station | 2019-02-12
10.249.26.24 | Final Test - 5 | Waters Alliance Test Station | 2019-03-13
10.249.26.25 | Final Test - 6 | Waters Alliance Test Station | 2019-02-11
10.249.26.26 | TE 82526 - 1 | Waters Alliance Test Station ( Pumptray Test - 1 ) | 2019-03-13
10.249.26.27 | TE 82526 - 2 | Waters Alliance Test Station ( Pumptray Test - 2 ) | 2019-03-13
10.249.26.28 | TE 82526 - 3 | Waters Alliance Test Station ( Pumptray Test - 3 ) | 2019-03-13
10.249.26.29 | TE 82519 | Waters Alliance Test Station ( Pump Test - 1 ) | Computer auto shutdown
10.249.26.32 | TE 82573 - 1 | E-Alliance Rear Panel Test | 2019-03-12
10.249.26.34 | AutoLoader - 2 | Alliance AutoLoader Station 2 | 2019-03-12
10.249.26.33 | AutoLoader - 3 | Alliance AutoLoader Station 3 | 2019-03-12
10.249.26.35 | TE 82520 - 1 | Alliance Carousel/Carrier Alignment Station -1 | Computer auto shutdown
10.249.26.36 | TE 82520 - 2 | Alliance Carousel/Carrier Alignment Station -2 | 2019-03-13 | Backup thru Windows OS
10.249.26.37 | TE 82546 | Front Panel Station | 2019-03-13
10.249.26.38 | TE 0084018-1 | Heater Cooler Tester
10.249.26.90 | QA Workstation | QA Workstation/SQT.ORT | 2019-02-11
NA | PMS | Particle Measurement

## XP update
IP Address | Computer Name | Computer Description | Date
10.249.26.1 | solectronmfgnew | Windows Server 2012 R2 OLD: Power Edge T320 ST: HXQKN22 NEW: Power Edge R330 ST: FVDCBS2 | Intel Xeon
| Firewall | OLD: Sonicwall PN : TZ 210 SN: 0017C54431A4 NEW: Palo Alto PN : PA220 SN: 520-000309-00G
10.249.26.2 | SOLECTRONISNL1 | Solectron Instrument Serial Number Label 1
10.249.26.3 | SOLECTRONPNL1 | Solectron Part Number Label 1
10.249.26.4 | SOLECTRONCOFP1 | Solectron Certificate Of Functional Performance 1
10.249.26.9 | TE82800-2 | Acquity Solvent Manager Pump Test Station | 2019-05-29
10.249.26.10 | TE82800-3 | Acquity Solvent Manager Pump Test Station | 2019-05-29
10.249.26.11 | TE82943-11 | Acquity Solvent Manager Test Station | 2019-05-29
10.249.26.12 | TE82943-12 | Acquity Solvent Manager Test Station | 2019-05-29
10.249.26.13 | TE82943-13 | Acquity Solvent Manager Test Station | 2019-05-29
10.249.26.14 | TE82943-14 | Acquity Solvent Manager Test Station | 2019-05-29
10.249.26.15 | TE82943-15 | Acquity Solvent Manager Test Station | 2019-05-29
10.249.26.16 | TE82943-16 | Acquity Solvent Manager Test Station | 2019-05-29
10.249.26.17 | TE82943-17 | Acquity Solvent Manager Test Station | 2019-05-29
10.249.26.18 | TE82943-18 | Acquity Solvent Manager Test Station | 2019-05-29
10.249.26.20 | Final-Test-1 | Alliance Final Test Station | 2019-05-29
10.249.26.21 | Final-Test-2 | Alliance Final Test Station | SERVICE PACK 2
10.249.26.22 | Final-Test-3 | Alliance Final Test Station | 2019-05-29
10.249.26.23 | Final-Test-4 | Alliance Final Test Station | 2019-05-29
10.249.26.24 | Final-Test-5 | Alliance Final Test Station | 2019-05-29
10.249.26.26 | Pumptray-Test-1 | Alliance Pumptray Tester | WINDOWS 7
10.249.26.27 | Pumptray-Test-2 | Alliance Pumptray Tester | 2019-05-29
10.249.26.28 | Pumptray-Test-3 | Alliance Pumptray Tester | 2019-05-29
10.249.26.29 | Pump-Test-1 | Alliance Pump Tester | SERVICE PACK 2
10.249.26.30 | - | HP PC with RS232 Port | NOT IN USED
10.249.26.32 | RearPanel-Tester | Autoloader and Rear Panel Tester | 2019-05-29
10.249.26.33 | AutoLoader-3 | Alliance AutoLoader 3 | 2019-05-29
10.249.26.34 | AutoLoader-2 | Alliance AutoLoader 2 | 2019-05-29
10.249.26.35 | TE82520-1 | Alliance CCD Test Station | 2019-05-29
10.249.26.40 | TE82903-6 | TUV Final Test System | 2019-05-29
10.249.26.42 | TE82903-8 | TUV Final Test System | 2019-05-29
10.249.26.43 | TE82903-9 | TUV Final Test System | 2019-05-29
10.249.26.44 | TE82903-10 | TUV Final Test System | 2019-05-29
10.249.26.45 | TE82964-1 | Detector Pretest System | 2019-05-29
10.249.26.50 | TE82534-(1)2 | 515 Test | 2019-05-29
10.249.26.51 | TE82705-2 | Breeze Test | 2019-05-29
10.249.26.55 | Genealogy-SDS | Acquity BSM/QSM Genealogy Input Station | 2019-05-29
10.249.26.56 | Genealogy-DET | Detector Genealogy Input Station | 2019-05-29
10.249.26.63 | TE82918-2 | 2998 Fine Alignment System | 2019-05-29
10.249.26.64 | TE82868-2 | 2998 Aperture Alignment System | 2019-05-29
10.249.26.65 | TE82951-2 | 2998 Mask Alignment System | 2019-05-29
10.249.26.68 | TE82973-1 | 2998 Flowcell Noise and Drift System | 2019-05-29
10.249.26.71 | TE82916-(2)1 | 2998 Flowcell Alignment System | 2019-05-29
10.249.26.72 | TE82917-1 | 2998 Rough Alignment System | 2019-05-29
10.249.26.73 | TE82880-2 | PDA Rough Alignment System | 2019-05-29
10.249.26.74 | TE82881-2 | PDA Fine Alignment System | 2019-05-29
10.249.26.75 | TE82969-1 | PDA Linearity Test System | 2019-05-29
10.249.26.76 | TE83057-4 | PDA Download Station | 2019-05-29
10.249.26.78 | TE82882-2 | 2998/PDA Final Test System | NOT IN USED