## Sheet1
Date | Responding Time from Waters | Waters Singapore | Responding Time from Flex | Flex
2021-01-09 |  |  |  | Amy Sent Quote for replacement Keithley 236
2021-01-06 | 2.5 weeks (Quarter end +holidays) | Discussed in Eng Meeting: 1. Flex to update technical evaluation result; 2. Flex to show justification of 3000RM for renting a Keithley 236 for Apr & sept use.
18. 12 2020 |  |  | 17 days | 1. Flex proposed to send Keithley 236 for technical evaluation in Micro Precision; 2. Proposed to rent a Keithley 236 when need a spare unit for calibration; 3. Determine This Keithley 236 MOD
2020-11-19 | 1 day | 1. Agreed with Vincent's suggestion to have a replacement unit but need Flex to ensure the replacement unit is working as expected. Best way is to find out the root cause. 2. To Tektronix's request, we only requested have Keithley 236 calibrated as per OEM standard. Currently the unit is not working as the other 2 calibrated to OEM standard. The same issue was observed as per Flex update.
2020-11-18 |  |  | 5 days | 1. Vincent suggest we should get a replacement unit instead continue looking for repair option 2. Tektronix needs the additional information
2020-11-13 | 1 day | Agreed to have a 2nd opinion but better to communication well with Tektronix to avoid dispute on repair/calibration warranty.
2020-11-12 |  |  | 3 days | Flex requested to send the unit to Micro Precision to get 2nd opinion.
2020-11-09 | 3 days | Flex has tester in Senai and should be able to show the actual failure
2020-11-06 |  |  | 9 days | Flex said Tektronix request tester set up info
2020-10-27 |  |  | 35 days | Flex shared verification result Tektronix
2020-09-09 | 1 day | Flex need to find out root cause with Tektronix support, otherwise it's not justified to send for another calibration/checking with extra cost.
2020-09-08 |  |  | 17 days | Flex checked unit as Tektronix advice and request to send back to US for checking/repair
2020-08-17 |  |  | 4 days | Flex started claim calibration warranty
2020-08-13 | 1 day | Advised Flex to claim calibration warranty after checking quotation documents; Flex should ensure no impact to shipment due to this spare unit issue
2020-08-12 |  |  |  | Flex raised OESR to report Keithley 236 same failure after calibration
2020-07-01 |  |  |  | Flex received Keithley 236 returned from repair.
2020-05-20 |  |  |  | Flex shipped Keithley 236 to USA for repair after verification