## all
Location | Waters ID | Description | P.M. Due date | Need WPPL support | Preventive Maintenance parts
5042 test area | TE 83013-1 | Acquity H-Class CH-A Tester | 2019-01-02 | No | NA
5010 test area | TE 82956-2 | Acquity HTCH Tester | 2019-03-13 | No | NA
2441 test area | TE 82818 | TCM II tester | 2019-02-28 | No | NA
2449 test area | TE 82817 | PCM II tester | 2019-01-02 | No | NA
Column manager test area | TE 82984-1 | Column Manager Tester | 2019-04-19 | No | NA
Column manager test area | TE 82987-1 | BSM (F08UPB669R) | 2019-04-19 | YES | Perform by Waters Service Engineer
| TE 82987-1 | SM (F08UPA229R) | 2019-04-19 | YES | Perform by Waters Service Engineer
| TE 82987-1 | TUV (G08UPT373R) | 2019-04-19 | YES | Perform by Waters Service Engineer
1791 test area | TE 82774-2 | Alliance heater/Cooler tester | 2018-10-16 | YES | Parts available in Venture, cost quarterly claim to WPPL
1791 test area | TE 82774-3 | Alliance heater/Cooler tester | 2018-10-16 | YES | Parts available in Venture, cost quarterly claim to WPPL
1500 test area | TE 82723 | Breeze Column heater tester | 2019-01-02 | No | NA
RTZ assembly area | TE 82995-2 | RTZ tester | 2019-01-16 | YES | Parts available in Venture, cost quarterly claim to WPPL
RTZ assembly area | TE 82995-3 | RTZ tester | 2019-01-16 | YES | Parts available in Venture, cost quarterly claim to WPPL
Metering syringe drive area | TE 83006-2 | Metering syringe drive tester | 2019-01-02 | No | NA
FTN Final test area | TE 83064-10 | BSM (B08UPB497R) | 2018-10-04 | YES | Parts available in Venture, cost quarterly claim to WPPL
|  | CM (D11CMP976N) | 2018-10-04 | YES | Parts supply by WPPL.
|  | TUV (A10UPT477R) | 2018-10-04 | YES | Send out to Flextronics for P.M.
FTN Final test area | TE 83064-11 | BSM (A11UPB494R) | 2018-10-03 | YES | Parts available in Venture, cost quarterly claim to WPPL
|  | CM (D11CMP975N) | 2018-10-04 | YES | Parts supply by WPPL.
|  | TUV (A10UPT391R) | 2018-10-04 | YES | Send out to Flextronics for P.M.
FTN Final test area | TE 83064-12 | BSM (E09UPB549R) | 2018-10-10 | YES | Parts available in Venture, cost quarterly claim to WPPL
|  | CM (D11CMP980N) | 2018-10-11 | YES | Parts supply by WPPL.
|  | TUV (L09UPT295R) | 2018-11-13 | YES | Send out to Flextronics for P.M.
FTN Final test area | TE 83064-13 | BSM (L10UPB377R) | 2018-10-12 | YES | Parts available in Venture, cost quarterly claim to WPPL
|  | CM (D11CMP978N) | 2018-10-11 | YES | Parts supply by WPPL.
|  | TUV (B10UPT530R) | 2018-10-13 | YES | Send out to Flextronics for P.M.
FTN Final test area | TE 83064-14 | BSM (G09UPB973R) | 2019-01-02 | YES | Parts available in Venture, cost quarterly claim to WPPL
|  | CM (D11CMP922N) | 2018-12-29 | YES | Parts supply by WPPL.
|  | TUV (A09UPT635R) | 2018-12-29 | YES | Send out to Flextronics for P.M.
FTN Final test area | TE 83064-15 | BSM (G09UPB976R) | 2018-12-30 | YES | Parts available in Venture, cost quarterly claim to WPPL
|  | CM (D11CMP973N) | 2018-12-29 | YES | Parts supply by WPPL.
|  | TUV (G05UPT009N) | 2018-12-29 | YES | Send out to Flextronics for P.M.
FTN Final test area | TE 83064-16 | BSM (G09UPB980R) | 2019-01-03 | YES | Parts available in Venture, cost quarterly claim to WPPL
|  | CM (D11CMP924N) | 2018-12-29 | YES | Parts supply by WPPL.
|  | TUV (F10TUV144A) | 2019-01-15 | YES | Send out to Flextronics for P.M.
FTN Final test area | TE 83064-17 | BSM (J10UPB055R) | 2018-12-31 | YES | Parts available in Venture, cost quarterly claim to WPPL
|  | CM (D11CMP983N) | 2018-12-29 | YES | Parts supply by WPPL.
|  | TUV (F10TUV143A) | 2019-01-11 | YES | Send out to Flextronics for P.M.
New Column manager test area | TE 83026-1 | CM-A (A11CMP554N) | 2018-09-06 | No | NA
|  | CM-AUX (C11CMX315N) | 2018-09-06 | No | NA
New Column manager test area | TE 83026-2 | CM-A (B12CMP296G) | 2018-09-06 | No | NA
|  | CM-AUX (M11CMX180G) | 2018-09-06 | No | NA
New Column manager test area | TE 83013-2 | Acquity H-Class CH-30A Tester | 2018-05-31 | No | NA
W600 tester area | TE82824 | W600 tester (D046CE858G) | 2019-01-02 | No | NA
Optics Bench Alignment station | TE83031 | 515 HPLC pump | 2019-03-30 | YES | Parts supply by WPPL.
Optics Bench Alignment station | TE83031 | Optics Bench tester | 2019-01-03 | No | NA
Optics Bench Alignment station | TE83032 | 515 HPLC pump | 2019-03-30 | YES | Parts supply by WPPL.
Optics Bench Alignment station | TE83032 | Optics Bench tester | 2019-01-07 | No | NA
Detector test area | TE82757 | Firmware download tester | 2019-01-02 | No | NA
Detector test area | TE82760-5 | 1525 Binary HPLC pump | 2019-05-04 | YES | Send out to Flextronics for P.M.
|  | Final test station1 tester | 2019-05-04 | No | NA
Detector test area | TE82760-4 | 1525 Binary HPLC pump | 2019-05-11 | YES | Send out to Flextronics for P.M.
|  | Final test station2 tester | 2019-05-11 | No | NA
Lamp Alignment station | TE83029-1 | Lamp Alignment tester | 2019-01-03 | No | NA
BSM/QSM Test area | TE82943-1 | BSM Final tester | 2018-10-11 | No | NA
BSM/QSM Test area | TE82943-19 | BSM Final tester | 2018-10-12 | No | NA
BSM/QSM Test area | TE82943-20 | BSM Final tester | 2018-10-10 | No | NA
BSM/QSM Test area | TE82943-21 | BSM Final tester | 2018-10-13 | No | NA
BSM/QSM Test area | TE82943-22 | BSM Final tester | 2018-10-13 | No | NA
BSM/QSM Test area | TE82943-24 | BSM Final tester | 2018-10-12 | No | NA
BSM Assembly area | TE83076-1 | Actuator Homing Box | 2018-11-02 | No | NA
BSM/QSM Test area | 92096 | TUV (G15TUV584A) | 2018-10-13 | YES | Parts supply by WPPL.
BSM/QSM Test area | 92098 | TUV (G15TUV601A) | 2018-10-13 | YES | Parts supply by WPPL.
BSM/QSM Test area | 92099 | TUV (G15TUV599A) | 2018-10-12 | YES | Parts supply by WPPL.
BSM/QSM Test area | 92110 | TUV (G15TUV600A) | 2018-10-10 | YES | Parts supply by WPPL.
BSM/QSM Test area | 93062 | TUV (G09UPT639A) | 2018-10-11 | YES | Parts supply by WPPL.
BSM/QSM Test area | 92097 | TUV (G15TUV597A) | 2018-10-12 | YES | Parts supply by WPPL.

## Parts List supply by WPPL
S/No | Part Description | Part Number | Annual total qty need | Month | Where use
1 | Plunger | WAS207069 | 4 | March | 515 pump at Optics Bench Alignment stations
2 | Performance Plus Sapphire CV CART | 700000254 | 8 | March
3 | Seal, Clear-100 | WAT022934 | 4 | March
4 | Assy, Solvent Filter | WAT025531 | 2 | March
5 | Lamp | 402000351 Remark: this is old part number have to check with Flextronics what is the new part number to use. | 6 | October | TUV Detector at BSM/QSM test stations
6 | Acquity UPLC BEH C18 1.7 um 2.1X50 mm Column | 186002350 | 8 | October | Column Manager at FTN test stations
7 | Xbridge BEH C8 2.5µm 4.6x50mm XP Column | 186006049 | 8 | October

## Parts List available in Venture
S/No | Part Description | Part Number | Annual total qty need | Month | Where use
1 | Cable Molded 26 pin high density DSUB | 441000440 | 4 | October | 1791 test area
2 | Assy Sample tray, 2 drawer | 289005264 | 2 | January | RTZ assembly area
3 | CRC O-RING 2-016 TEFLON (CRC) | W1076152-R/CRC | 32 | October | FTN test area
4 | ASSY CHECK VALVE | W1205001672-R | 16
5 | ASSY FILTER IN-LINE SS FRIT | W1289003547D02-R | 16
6 | ASSY CARTRIDGE I2V | W1205001669-R | 16
7 | ASSY MIXER 18K 50 UL | W1289005805-R | 8
8 | PLUNGER .0787 DIA X 1.415 | W1405003468-R | 32
9 | SEAL WASH .0787 ID FIXED | W1425000930-R | 32
10 | SEAL HIGH PRESS DUAL SPRG .045 GLD PSI | W1425001037-R | 32
11 | ASSY TUBE SSV TO I2V | W1430001443-R | 16
12 | ASSY TUBE HEAD TO XDUCER MP35N | W1430002472-R | 32
13 | ASSY TUBE PRIM-OUT XDUCER TO CV MP35N | W1430002583/E-R | 16

## Venture purchase chemical
S/No | Part Description | Part Number | Annual total qty need | Where use | Remark
1 | Acquity UPLC production test solution | 700004105 | 12 | FTN | Venture GES purchase from WPPL
2 | Acquity UPLC Carryover Blank Test Solution | 700004106 | 12 | FTN
3 | Acquity UPLC Carryover Test Solution | 700004107 | 12 | FTN
4 | Waters GPV Test Solution kit | WAT042876 | 1 | Column Manager
5 | Production GPV Test Solution | 700005319 | 1 | QSM | Need WPPL help to purchase