## Sheet1
UUT | Station | Result | Date | Actions
186017007(Golden Unit) | -21 | Passed | 2021-05-05 |  | 3x UUT | SN# | status
186017001 (Flex 1st unit) | -22 | Failed/Leak | 2021-05-05 |  | 186017007(Golden Unit) | D20VTC728N | Passed
[5 empty] | 186017001 (Flex 1st unit) | D21VSM538A | Failed/x-intercept
186017001 (Flex 1st unit) | -21 | Failed/x-intercept | 2021-05-06 | Swapping UUT | 186017001 (Flex 2nd unit) | D21VSM537A | Passed
186017007 (Golden Unit) | -22 | Failed %RSD | 2021-05-06
186017007 (Golden Unit) | -21 | Passed | 2021-05-06 | Swapping UUT | Testers # | Status
186017001 (Flex 1st unit) | -22 | Failed/x-intercept | 2021-05-06 |  | TE0084050-21 | Passed both golden unit and Flex 2nd unit
[5 empty] | TE0084050-22 | Passed both golden unit and Flex 2nd unit (Retest)
186017001 (Flex 1st unit) | -21 | Failed/x-intercept | 2021-05-06 | Swapping UUT
186017007 (Golden Unit) | -22 | Passed | 2021-05-06
186017001 (Flex 2nd unit) | -21 | Passed | 2021-05-07 | Transferred to -22
186017001 (Flex 1st unit) | -22 | Failed/x-intercept | 2021-05-07
-- | -21 | --
186017001 (Flex 2nd unit) | -22 | Passed with retest | 2021-05-07