## Sheet1
Regular Consumable Items for FTN testing
P/N: | Description | Estimated Usage
430001101 | Tube, 316 SS 1/16ODx0.005ID | 96pcs/yr
430001102 | Tube, 316 SS 1/16ODx0.010ID | 96pcs/yr
700004105-1 | Acquity UPLC Production Test Solution | ~ 1 bottle/yr
700004107 | Waters Acquity UPLC Carryover Test Solution | ~ 24boxes /yr (1box= 2x Calibration bottles & 2x Challenge bottles)
700004106 | Acquity UPLC Blank Test Solution | ~ 1 bottle/yr
186000847C | Top vial, 12x32mm with Amber screw with cap & pre-slit | ~ 42boxes/yr (1 box= 100 vial)
186002457 | White screw cap | ~ 29 bags/yr (1 bag=100 caps)
186002128 | White screw cap | ~ 6 bags/yr (1 bag=100 caps)
186002127 | White screw cap | ~ 6 bags/yr (1 bag=100 caps)
186002350 | Acquity UPLC BEH C18 1.7um 2.1x50 mm Column | ~ 13 pcs/yr (PM included)
186006049 | XBridge BEH C8 2.5μm 4.6x50mm XP col | 8 pcs/yr (PM included)
Methanol Optima | NA | ~96 bottles/yr (1 bottle= 4L)
PM for FTN testers
Frequency | Procedure | Estimated Man Hour
Annual | 735003028, CPSM Final Test Maintenance Procedure | 16 hrs/tester
715000954,TUV Detector Performance Maintenance Protocol
715001008,Binary Solvent Manager Performance Maintenance Protocol
735003678, Generic PC Maintenance Procedure