## Sheet1
TE0084040 Bill of Materials
Item No. | Part Number | Description | Distributor | Supplier | Quantity | Cost/Unit | Cost | Link (for Non-Waters)
1 | 186016003 or 800000444 | Micro Binary Solvent Manager (refurb preffered) | Waters | Waters | 1 | 12682.79 | 12682.79 | N/A
2 | LM02-AAD-00-0-15D | Bronkhorst Low Flow Meter - Liqui-Flow Mini LM02 | Bronkhorst USA | Bronkhorst | 1 | 3144 | 3144 | https://www.bronkhorst.com/products/liquid-flow/liqui-flow-mini/lm02/
3 | N/A | PiPS-MV Plug-in PS RJ45 | Bronkhorst USA | Bronkhorst | 1 | 121 | 121 | https://www.bronkhorst.com/products/accessories-and-software/readout-and-power-supply/pips/
4 | N/A | Cable RJ45 male to RS232 female | Bronkhorst USA | Bronkhorst | 1 | 51 | 51 | N/A
5 | N/A | Modular Y-Adapter | Bronkhorst USA | Bronkhorst | 1 | 47 | 47 | N/A
6 | 279002203 | Transducer, Pressure, 1000 psi | Waters | Waters | 1 | 221.14 | 221.14 | N/A
7 | C5-2004-EMH3 | 4 Port Single Stream Valve (5kpsi) and Micro-Electric Actuator | VICI | VICI | 2 | 1071 | 2142 | https://www.vici.com/act/micmp.php
8 | NES-150-24 | Meanwell AC/DC Power Supply Single-OUT 24V 6.5A 156W 7-Pin | Master | Meanwell | 1 | 27.93 | 27.93 | https://www.masterelectronics.com/mean-well/nes15024-11952477.html
9 | NI CB-68LPR | NI 68-pin I/O Connector Block (PCB) | National Instruments | National Instruments | 1 | 126 | 126 | http://sine.ni.com/nips/cds/view/p/lang/en/nid/1186
10 | NI PCI-6220 | PCI-6220 Multifunction DAQ Card | National Instruments | National Instruments | 1 | 656 | 656 | http://sine.ni.com/nips/cds/view/p/lang/en/nid/14130
11 | SCH68-68-EPM | SCH68-68-EPM Cable | National Instruments | National Instruments | 1 | 122 | 122 | http://www.ni.com/en-us/support/model.sh68m-68f-epm-cable.html
12 | 999045028 | MSV Test Fixture (Standalone) | Waters | Waters | 1 | 2567.24 | 2567.24 | N/A
13 | 999045153 | Test Equipment Packaging (Test Box) | Waters | Waters | 1 | 1338.4 | 1338.4 | N/A
TE Total | [6 empty] | 23246.5
NOTE: This BOM only contains major components that need to be ordered for the test system. It does not encompass items such as: PCs, PC Accessories, PEEK tubing, wiring, terminal blocks, etc that can be found in the TE lab.