## Availability
Date:27-Aug-2018 | Please note: Our Instrument Availability sheet is updated every Month and posted on UC. Please contact Warranty Repair at ext. 3387 or 2485 if you have any questions.
Instrument | "New" Part Number | "Refurb" Part Number | Total Qty Available | Qty In GDC Available for Immediate Shipment | Est. time to ship if out of stock in the GDC
Please note that System Start Up Kits are not included with any of the refurbished part numbers listed below & should
be ordered separately. System Start Up Kit Part Numbers:
Classic Acquity: 200000198
H-Class: 200000275
I-Class: 200000302
nanoAcquity: 200000229
M-Class: 200000405
Acquity Arc: 200000445
Refurbished instruments are sold separately. When ordering a complete Acquity system please refer to the tabs below as a guide to
determine what items need to be ordered "New" vs "Refurbished".
ACQUITY
Classic Acquity
Acquity UPLC Binary Solvent Mgr. W/i2V | 186015001 | 800000240 | 2 | 2
Acquity UPLC Autosampler | 186015006 | 800000227 | 4 | 1
Acquity UPLC Column Manager-Right Inlet | 186015007 | 800000238 | 4 | 1
Acquity UPLC Column Manager-Left Inlet | 186015009 | 800000248 | 3 | 2
Acquity UPLC Sample Organizer | 186015020 | 800000196 | 9 | 4
Acquity Column Heater, HT | 186015010 | 800000247 | 1 | 1
Acquity UPLC Column Heater/Cooler | 186015008 | 800000234 | 5 | 2
H Class
Acquity UPLC QSM | 186015018 | 800000297 | 10 | 4
Acquity UPLC Sample Manager FTN** | 186015017 | 800000298 | 42 | 12
** The Refurb Sample Manager 800000298 doesn't include the CH-A 800000310. Please order it separately.
Acquity UPLC Sample Organizer W/Comp. | 186015014 | 800000399 | 13 | 3
Acquity H-Class BioQSM | 186015041 | 800000309 | 10 | 4
Acquity H-Class BioSM-FTN | 186015040 | 800000313 | 6 | 3
Acquity UPLC CM-A *** | 186015043 | 800000311 | 20 | 7
*** Valves are not provided with the refurbished CM-A. The proper valves should be ordered separately: H-Class - "205000768"-Kit, Valve Cartridges, SS CM-A; I Class - "205000877"-Kit, Valve Cartridges, SS I-Class CM-A
*** Tubing kits: "205000764" Kit, Acquity UPLC CM-A, Tubing, 2 Column; "205000765" Kit Acquity UPLC CM-A, Tubing, 4 Column; "205000767" Kit, Acquity UPLC CM-A, 6 Column; "205000898" Kit, ACQ, UPLC I-Class CM-A Tubing 2 Col. Please order separately.
Acquity H-Class CM-Aux*** | 186015049 | 800000314 | 8 | 4
Acquity UPLC CH-30A | 186015045 | 800000312 | 7 | 1
Acquity 30cm Column Heater Cooler | 186015011 | 800000296 | 16 | 8
Acquity UPLC CH-A*** | 186015042 | 800000310 | 12 | 4
***The APH part # 205000730 is not included with the CH-A. Please order separately.
I Class
Acquity UPLC I-Class BSM | 186015000 | 800000372 | 17 | 13
Acquity UPLC I-Class Sample Manager-FTN | 186015046 | 800000373 | 18 | 7
Acquity UPLC I-Class Sample Manager-FL | 186015060 | 800000410 | 13 | 5
Acquity UPLC CH-A*** | 186015042 | 800000310 | 13 | 4
Acquity APC
Acquity APC Isocratic Solvent Manager | 186015050 | 800000430 | 6 | 4
Acquity APC Sample Manager W/FTN | 186015051 | 800000429 | 5 | 5
Acquity CM-30S for APC # | 186015056 | 800000451 | 2 | 1
# The CM-30S APC Tubing&Integration Kit part # 205001317 isn't included with 800000451. Please order separately.
Acquity Single Zone Column Manager | 186015054 | 800000447 | 10 | 2
Acquity ISM
Acquity Isocratic Solvent Manager | 186015019 | 800000441 | 6 | 4
Acquity Detectors
Acquity UPLC ELSD w/nebulizer | 186015027 | 800000203 | 2 | 2
Acquity UPLC PDA Detector TC **** | 186015032 | 800000304 | 8 | 5
Acquity UPLC PDA eLambda Detector **** | 186015033 | 800000305 | 11 | 6
Acquity PDA Detector W/Taper Slit | 186015053 | 800000439 | 9 | 5
Acquity UPLC TUV Detector TC **** | 186015031 | 800000303 | 8 | 4
**** The PDA & TUV detectors: 800000304, 800000439, 8000000305 and 800000303 donot include flow cells, they must be ordered separately.
Acquity UPLC Fluorescence Detector | 186015029 | 800000235 | 21 | 6
Acquity RI Detector | 186015070 | 800000433 | 4 | 2
Acquity PDA Flowcell, Analytical 10 mm | 205015017 | 800000229 | 39 | 38
Acquity PDA Flowcell, High Sensitivity, 25 mm | 205015019 | 800000230 | 1 | 1
Acquity TUV Flowcell, Analytical 10 mm | 205015016 | 800000231 | 9 | 8
Acquity TUV Flowcell, High Sensitivity, 25 mm | 205015018 | 800000232 | 0 | 0 | Presently Sold Out
nanoAcquity
nanoAcquity BSM, HP | 186016002 | 800000257 | 0 | 0 | Presently Sold Out
nanoAcquity aux. Solvent Mgr, HP | 186016021 | 800000258 | 3 | 3
nanoAcquity Sample Manager W/Heat Trap Mod | 186016007 | 800000260 | 0 | 0 | Presently Sold Out
Acquity UPC2
Acquity UPC2 Binary Solvent Manager | 186015036 | 800000413 | 10 | 5
Acquity UPC2 Sample Manager Fixed Loop | 186015035 | 800000412 | 8 | 4
Acquity UPC2 PDA Detector | 186015034 | 800000414 | 5 | 4
Acquity UPC2 Convergence Manager | 186015037 | 800000424 | 13 | 2
Acquity Active Column Manager | 186015038 | 800000434 | 6 | 3
Acquity Auxiliary Column Manager | 186015039 | 800000440 | 6 | 2
Acquity CM-30S For UPC2 | 186015055 | 800000448 | 7 | 1
M-Class
Micro Binary Solvent Manager | 186016003 | 800000444 | 16 | 3
Auxiliary Solvent Manager | 186016022 | 800000445 | 8 | 3
Micro Sample Manager-FL | 186016012 | 800000442 | 17 | 4
Acquity Arc
Acquity Arc QSM-R | 186017000 | 800000460 | 6 | 4
Acquity Arc SM FTN-R W/Temp Control | 186017001 | 800000462 | 8 | 2
Acquity Arc 30cm Column Heater | 186017008 | 800000458 | 3 | 1
Acquity Arc 30cm Column Heater Cooler | 186017009 | 800000459 | 7 | 4
Acquity UPLC CH-30A | 186005045 | 800000312 | 1 | 1
Acquity Arc 2489 UV/VIS Detector * | 186017002 | 800000452 | 4 | 4
Acquity Arc 2998 PDA Detector * | 186017003 | 800000453 | 3 | 2
* The Acquity Arc 2489 & 2998 Detectors Include flow cells.
Acquity Arc 2414 RI Detector | 186017004 | 800000454 | 0 | 0 | Presently Sold Out
Acquity Arc 2424 ELD Detector | 186017005 | 800000455 | 2 | 1
ALLIANCE
e2695 Separations Module w/Sample H/C | 186269502 | 800000249 | 0 | 0 | Presently Sold Out
e2695 Separations Module w/out Sample H/C | 186269501 | 800000250 | 0 | 0 | Presently Sold Out
Alliance Column Heater (Platinum) | 186001863 | 800000134 | 0 | 0 | Presently Sold Out
Alliance Column Heater Cooler (Platinum) | 186001791 | 800000154 | 3 | 3
e2695 Separations Module w/Sample H/C (BLUE)## | 186269506 | 800000388 | 27 | 9
e2695 Separations Module W/Out Sam. H/C (BLUE)## | 186269505 | 800000386 | 12 | 7
e2695D W H/C 6 Samples (BLUE)## | 186269507 | 800000389 | 0 | 0 | Presently Sold Out
e2695D W H/C 8 Samples (BLUE)## | 186269508 | 800000390 | 0 | 0 | Presently Sold Out
## The Alliance Bottle Tray/Bucket part #'s: 176003103, 176003104 & 176003105 are not included with the refurbished (Blue) e2695.
Alliance Column Heater (BLUE) | 186186301 | 800000391 | 9 | 8
Alliance Column Heater Cooler (BLUE) | 186179100 | 800000393 | 13 | 12
AUTOSAMPLERS
2767 Sample Manager | 725000299 | 800000150 | 4 | 1
2777 Sample Manager | 186002777 | 800000166 | 0 | 0 | Presently Sold Out
2777C Sample Manager | 186002776 | 800000167 | 2 | 2
2707 Autosampler | 186004462 | 800000272 | 3 | 3
2707 Autosampler W/Cooler | 186004463 | 800000273 | 4 | 4
DATA PRODUCTS
Pump Control Module II | 186002449 | 800000178 | 0 | 0 | Presently Sold Out
CLASSIC DETECTORS
2998 PDA | 186002998 | 800000244 | 3 | 3
2998 Refresh PDA (BLUE) | 186299800 | 800000397 | 20 | 8
2414 RI | 186241400 | 800000144 | 2 | 2
2414 Refresh RI (BLUE) | 186241401 | 800000396 | 9 | 6
2424 ELSD | 186002424 | 800000236 | 1 | 1
2424 Refresh ELSD (BLUE) | 186242400 | 800000408 | 4 | 1
2432 Conductivity Detector | 186243200 | 800000470 | 3 | 2
2465 Electrochemical | 186002465 | 800000164 | 3 | 1
2475 Fluorescence - 45% Discount | 186002475 | 800000148 | 1 | 1
2475 Refresh Fluorescence (BLUE) | 186247500 | 800000407 | 27 | 7
2489 UV/VIS Detector | 186002487 | 800000239 | 3 | 3
2489 Refresh UV/VIS Detector (BLUE) | 186248900 | 800000398 | 6 | 4
MISCELLANEOUS/ MS
System Fluidics Organizer | 186003765 | 800000224 | 3 | 1
Degasser, 4 Chamber AF | 186001272 | 800000140 | 1 | 1
Degasser, 2 Chamber AF | 186001273 | 800000141 | 10 | 3
Temperature Control Module II | 186002441 | 800000177 | 5 | 5
Column Heater Module | WAT038040 | WAT091727 | 3 | 2
Post Column Reaction Module | 186000321 | 800000153 | 1 | 0 | 10-Days
Waters Fraction Collector III | 186001878 | 800000163 | 1 | 0 | 10-Days
Transfer Module, 6 Probes | 725271820 | 800000117 | 1 | 1
Transfer Module, 8 Probes | 725271822 | 800000118 | 0 | 0 | Presently Sold Out
1500 Column Heater | 186001500 | 800000147 | 3 | 2
SQ Detector 2 | 186005832 | 800000394 | 0 | 0 | Presently Sold Out
Waters Fraction Manager Analytical | 186006857 | 800000464 | 11 | 0 | 10-Days
PUMPS/CONTROLLERS
515 | WAT207000 | WAT069899 | 1 | 0 | 10-Days
1515 Isocratic | 186001515 | 800000145 | 4 | 3
1525 Binary | 186001525 | 800000146 | 7 | 4
1525 Micro | 186001825 | 800000151 | 1 | 0 | 10-Days
Waters Reagent Manager Pump | 725000556 | 800000130 | 0 | 0 | 10-Days
2545 Binary Gradient Module | 186025450 | 800000226 | 6 | 1
2535 Quaternary Gradient Module | 186004557 | 800000294 | 5 | 3
2545 Quaternary Gradient Module | 186004556 | 800000274 | 13 | 6
2555 Quaternary Gradient Module | 186255500 | 800000295 | 0 | 0 | Presently Sold Out

## I Class
2018-01-09
176015070
ACQUITY UPLC I-Class Core System w/SM-FL
Part # | Refurb Part # | Description | Quantity
186002350 | Order New | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Col | 1
186015000 | 800000372 | ACQUITY UPLC I-Class BSM | 1
186015042 | 800000310 | ACQUITY UPLC CH-A | 1
186015060 | 800000410 | ACQUITY UPLC I-Class Sample Manager-FL | 1
200000302 | Order New | Startup Kit, ACQUITY UPLC I-Class System | 1
205000894 | Order New | ACQ. I-Class APH, SS, 12.5 LG, .003 ID | 1
700002669 | Order New | ACQUITY UPLC Absorb. Start-Up Solution | 1
716003417 | Order New | Info Set, ACQUITY UPLC I-CLASS System | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
186005666CV | Order New | TruView LCMS vial slit PTFE/Sil Sep 100/ | 1
186000307C | Order New | 12x32 Gls Srw Cap Vl w/Bnd pre-slt septa | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument
2018-01-09
176015069
ACQUITY UPLC I-Class Core Sys w/ SM-FTN
Part # | Refurb Part # | Description | Quantity
186002350 | Order New | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Col | 1
186015000 | 800000372 | ACQUITY UPLC I-Class BSM | 1
186015042 | 800000310 | ACQUITY UPLC CH-A | 1
186015046 | 800000373 | ACQUITY UPLC I-Class Sample Manager-FTN | 1
200000302 | Order New | Startup Kit, ACQUITY UPLC I-Class System | 1
205000894 | Order New | ACQ. I-Class APH, SS, 12.5 LG, .003 ID | 1
700002669 | Order New | ACQUITY UPLC Absorb. Start-Up Solution | 1
716003417 | Order New | Info Set, ACQUITY UPLC I-CLASS System | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
186005666CV | Order New | TruView LCMS vial slit PTFE/Sil Sep 100/ | 1
186000307C | Order New | 12x32 Gls Srw Cap Vl w/Bnd pre-slt septa | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument
2018-01-09
176015075
ACQUITY UPLC I-Class CM-A System w/SM-FL
Part # | Refurb Part # | Description | Quantity
186002350 | Order New | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Col | 1
186015000 | 800000372 | ACQUITY UPLC I-Class BSM | 1
186015043 | 800000311 | ACQUITY UPLC CM-A | 1
205000898 | Order New | Kit, ACQ. UPLC I-Class CM-A Tubing 2 Col | 1
205000877 | Order New | KIT, VALVE CARTRIDGES, SS I-Class CM-A | 1
186015060 | 800000410 | ACQUITY UPLC I-Class Sample Manager-FL | 1
200000302 | Order New | Startup Kit, ACQUITY UPLC I-Class System | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
700002669 | Order New | ACQUITY UPLC Absorb. Start-Up Solution | 1
716003417 | Order New | Info Set, ACQUITY UPLC I-CLASS System | 1
186005666CV | Order New | TruView LCMS vial slit PTFE/Sil Sep 100/ | 1
186000327C | Order New | 12x32 gls max rec w/preslit septa | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument

## Classic
2018-01-09
176015000
ACQUITY UPLC Core System
Part # | Refurb Part # | Object description | Quantity
186015001 | 800000240 | Acquity UPLC Binary Solvent Mgr | 1
200000198 | Order New | Kit, Start Up, ACQUITY UPLC Sys. | 1
716001664 | Order New | Info. Set, ACQUITY UPLC System | 1
186015006 | 800000227 | ACQUITY UPLC Autosampler Mod. | 1
186015010 | 800000247 | ACQUITY UPLC Column Heater HT | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
186002350 | Order New | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Col | 1
700002669 | Order New | ACQUITY UPLC Absorb. Start-Up Solution | 1
186000327C | Order New | 12x32 gls max rec w/preslit septa | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument
2018-01-09
176015001
ACQUITY UPLC Col. Mgr. Sys. -Right Inlet
Part # | Refurb Part # | Description | Quantity
186015001 | 800000240 | Acquity UPLC Binary Solvent Mgr | 1
186015006 | 800000227 | ACQUITY UPLC Autosampler Mod. | 1
186015007 | 800000238 | ACQUITY UPLC Column Mgr - Right Inlet | 1
200000198 | Order New | Kit, Start Up, ACQUITY UPLC Sys. | 1
716001664 | Order New | Info. Set, ACQUITY UPLC System | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
186002350 | Order New | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Col | 1
700002669 | Order New | ACQUITY UPLC Absorb. Start-Up Solution | 1
186000327C | Order New | 12x32 gls max rec w/preslit septa | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument
2018-01-09
176015003
ACQUITY UPLC Col. Mgr. Sys.-Left Inlet
Part # | Refurb Part # | Description | Quantity
186015001 | 800000240 | Acquity UPLC Binary Solvent Mgr | 1
186015006 | 800000227 | ACQUITY UPLC Autosampler Mod. | 1
186015009 | 800000248 | ACQUITY UPLC Column Mgr.-Left Inlet | 1
200000198 | Order New | Kit, Start Up, ACQUITY UPLC Sys. | 1
716001664 | Order New | Info. Set, ACQUITY UPLC System | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
205000538 | Order New | KIT, INLET LINE EXT., LH COLUMN MANAGER | 1
186002350 | Order New | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Col | 1
700002669 | Order New | ACQUITY UPLC Absorb. Start-Up Solution | 1
186000327C | Order New | 12x32 gls max rec w/preslit septa | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument

## H Class
2018-01-09
176015007
ACQUITY UPLC H-Class Core System
Part # | Refurb Part # | Description | Quantity
186002350 | Order New | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Col | 1
186015017 | 800000298 | ACQUITY UPLC Sample Manager FTN | 1
186015018 | 800000297 | ACQUITY UPLC QSM | 1
186015042 | 800000310 | ACQUITY UPLC CH-A | 1
200000275 | Order New | Startup Kit, ACQUITY UPLC H-Class System | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
700002669 | Order New | ACQUITY UPLC Absorb. Start-Up Solution | 1
716003077 | Order New | Info Set, ACQUITY UPLC H-CLASS System | 1
205000730 | Order New | ACQUITY UPLC APH SS 12.5LG | 1
186000327C | Order New | 12x32 gls max rec w/preslit septa | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak sensor Kit 205000505 is included with each refurbished instument
2018-01-09
176015011
ACQUITY UPLC H-Class Bio Core System
Part # | Refurb Part # | Description | Quantity
186002350 | Order New | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Col | 1
186015040 | 800000313 | ACQUITY UPLC H-Class BioSM-FTN | 1
186015041 | 800000309 | ACQUITY UPLC H-Class BioQSM | 1
186015042 | 800000310 | ACQUITY UPLC CH-A | 1
200000276 | Order New | Startup Kit, ACQUITY UPLC H-Class BioSys | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
205000756 | Order New | ACQUITY UPLC APH MP35N 12.5LG | 1
700002669 | Order New | ACQUITY UPLC Absorb. Start-Up Solution | 1
716003084 | Order New | Info Set, ACQUITY UPLC H-Class Bio Sys | 1
186000327C | Order New | 12x32 gls max rec w/preslit septa | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument
2018-01-09
176015008
ACQUITY UPLC H-Class CM Core System
Part # | Refurb Part # | Description | Quantity
186002350 | Order New | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Col | 1
186015017 | 800000298 | ACQUITY UPLC Sample Manager FTN | 1
186015018 | 800000297 | ACQUITY UPLC QSM | 1
186015043 | 800000311 | ACQUITY UPLC CM-A | 1
200000275 | Order New | Startup Kit, ACQUITY UPLC H-Class System | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
700002669 | Order New | ACQUITY UPLC Absorb. Start-Up Solution | 1
716003077 | Order New | Info Set, ACQUITY UPLC H-CLASS System | 1
205000764 | Order New | Kit, ACQUITY UPLC CM-A, Tubing, 2 Column | 1
205000768 | Order New | KIT, VALVE CARTRIDGES, SS CM-A | 1
186000327C | Order New | 12x32 gls max rec w/preslit septa | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument

## UPC2
2018-01-09
176015035
ACQUITY UPC2 Core 1 System
"New Part #" | Refurb Part # | Description | Quantity
186015035 | 800000412 | ACQUITY UPC2 Sample Manager-Fixed Loop | 1
186015036 | 800000413 | ACQUITY UPC2 Binary Solvent Manager | 1
186015037 | 800000424 | ACQUITY UPC2 Convergence Manager | 1
186015038 | 800000434 | ACQUITY Active Column Manager | 1
205000986 | Order New | Kit, ACQUITY UPC2 CM-A 2 Column Tubing | 1
205000768 | Order New | KIT, VALVE CARTRIDGES, SS CM-A | 1
205001006 | Order New | Kit, ACQUITY UPC2 CO2 Connections | 1
200000305 | Order New | START UP KIT, ACQUITY UPC2 System | 1
205001008 | Order New | KIT, BOTTLE TRAY, SIDE MOUNT | 1
716003362 | Order New | INFORMATION SET, ACQUITY UPC2 SYSTEM | 1
667004760 | Order New | ACQUITY UPC2 System July 2012 Maint Rel | 1
186006564 | Order New | ACQUITY UPC2 BEH 1.7µm 3.0 x 100mm | 1
186000307C | Order New | 12x32 Gls Srw Cap Vl w/Bnd pre-slt septa | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 4
205001044 | Order New | Kit, TUBE, SS/AU, .007 ID X 14.50 LG T7 | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument
2018-01-09
176015036 | ACQUITY UPC2 Core 2 CM-A + CM-AUX
"New Part #" | Refurb Part # | Description | Quantity
186015035 | 800000412 | ACQUITY UPC2 Sample Manager-Fixed Loop | 1
186015036 | 800000413 | ACQUITY UPC2 Binary Solvent Manager | 1
186015037 | 800000424 | ACQUITY UPC2 Convergence Manager | 1
186015038 | 800000434 | ACQUITY Active Column Manager | 1
186015039 | 800000440 | ACQUITY Auxiliary Column Manager | 1
205001006 | Order New | Kit, ACQUITY UPC2 CO2 Connections | 1
205000986 | Order New | Kit, ACQUITY UPC2 CM-A 2 Column Tubing | 1
205000999 | Order New | Kit, ACQUITY UPC2 CM-A 4 Column Tubing | 1
205000768 | Order New | KIT, VALVE CARTRIDGES, SS CM-A | 1
200000305 | Order New | START UP KIT, ACQUITY UPC2 System | 1
716003362 | Order New | INFORMATION SET, ACQUITY UPC2 SYSTEM | 1
667004760 | Order New | ACQUITY UPC2 System July 2012 Maint Rel | 1
186006564 | Order New | ACQUITY UPC2 BEH 1.7µm 3.0 x 100mm | 1
186000307C | Order New | 12x32 Gls Srw Cap Vl w/Bnd pre-slt septa | 1
289002414 | Order New | ASSY, BOTTLE TRAY | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 5
205001045 | Order New | Kit, TUBE, SS/AU, .007 ID X 26.00 LG T7 | 1
205001066 | Order New | Kit, ACQUITY UPC2, Tall Foot & Bumper | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument
2018-01-09
176015037
ACQUITY UPC2 Core 3 CM-A + 2-CM-AUX
"New" Part # | Refurb Part # | Description | Quantity
186015035 | 800000412 | ACQUITY UPC2 Sample Manager-Fixed Loop | 1
186015036 | 800000413 | ACQUITY UPC2 Binary Solvent Manager | 1
186015037 | 800000424 | ACQUITY UPC2 Convergence Manager | 1
186015038 | 800000434 | ACQUITY Active Column Manager | 1
205000986 | Order New | Kit, ACQUITY UPC2 CM-A 2 Column Tubing | 1
205000999 | Order New | Kit, ACQUITY UPC2 CM-A 4 Column Tubing | 1
205001001 | Order New | Kit, ACQUITY UPC2 CM-A 6 Column Tubing | 1
205001006 | Order New | Kit, ACQUITY UPC2 CO2 Connections | 1
205000768 | Order New | KIT, VALVE CARTRIDGES, SS CM-A | 1
200000305 | Order New | START UP KIT, ACQUITY UPC2 System | 1
289002414 | Order New | ASSY, BOTTLE TRAY | 1
716003362 | Order New | INFORMATION SET, ACQUITY UPC2 SYSTEM | 1
667004760 | Order New | ACQUITY UPC2 System July 2012 Maint Rel | 1
186006564 | Order New | ACQUITY UPC2 BEH 1.7µm 3.0 x 100mm | 1
186000307C | Order New | 12x32 Gls Srw Cap Vl w/Bnd pre-slt septa | 1
186015039 | 800000440 | ACQUITY Auxiliary Column Manager | 2
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 6
205001046 | Order New | Kit, TUBE, SS/AU, .007 ID X 20.50 LG T7 | 1
205001066 | Order New | Kit, ACQUITY UPC2, Tall Foot & Bumper | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument
2018-01-09
176015039
ACQUITY UPC2 Core 4 with Column Oven
"New " Part # | Refurb Part # | Description | Quantity
186015035 | 800000412 | ACQUITY UPC2 Sample Manager-Fixed Loop | 1
186015036 | 800000413 | ACQUITY UPC2 Binary Solvent Manager | 1
186015037 | 800000424 | ACQUITY UPC2 Convergence Manager | 1
186015055 | 800000448 | ACQUITY CM-30S for UPC2 | 1
186006564 | Order New | ACQUITY UPC2 BEH 1.7µm 3.0 x 100mm | 1
200000305 | Order New | START UP KIT, ACQUITY UPC2 System | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 4
205001006 | Order New | Kit, ACQUITY UPC2 CO2 Connections | 1
205001313 | Order New | Kit, Single CM-30S UPC2 Integration | 1
289002414 | Order New | ASSY, BOTTLE TRAY | 1
716004228 | Order New | Info. Set., ACQUITY UPC2 w/ Column Oven | 1
700010064 | Order New | KIT, SMALL COLUMN INSTALLATION | 2
186000307C | Order New | 12x32 Gls Srw Cap Vl w/Bnd pre-slt septa | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit 205000505 is included with each refurbished instrument
2018-01-09
176015041
ACQUITY UPC2 CM-30S Primary Add-on
New Part # | Refurb Part # | Description | Quantity
186015055 | 800000448 | ACQUITY CM-30S for UPC2 | 1
205001313 | Order New | Kit, Single CM-30S UPC2 Integration | 1
700010062 | Order New | LABEL, 30CM 8-COLUMN DIAGRAM | 1
700010064 | Order New | KIT, SMALL COLUMN INSTALLATION | 2
2018-01-09
176015042
ACQUITY UPC2 CM-30S Secondary Add-on
"New " Part # | Refurb Part # | Description | Quantity
186015055 | 800000448 | ACQUITY CM-30S for UPC2 | 1
205001314 | Order New | Kit, CM-30S Secondary Oven | 1
700010063 | Order New | Kit, Dual Oven Labels | 1
700010064 | Order New | KIT, SMALL COLUMN INSTALLATION | 2

## Arc
2018-01-09
176017000 | ACQ Arc Sys Core 1- 30cm CH; FTN-R wTC
New Part # | Refurb Part # |  | Quantity
186017000 | 800000460 | ACQUITY Arc QSM-R | 1
186017001 | 800000462 | ACQUITY Arc SM FTN-R with Temp Control | 1
186017008 | 800000458 | ACQUITY Arc 30cm Column Heater | 1
200000445 | Order New | Startup Kit, ACQUITY Arc System | 1
205001487 | Order New | Kit, ACQUITY Arc CH/CHC Core Fluidics | 1
186000307C | Order New | 12x32 Gls Srw Cap Vl w/Bnd pre-slt septa | 1
186007375 | Order New | CORTECS C18 4.6 x 50mm 2.7µm Column | 1
186008093 | Order New | ACQUITY Arc UV Absorb start up Soln | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
716004465 | Order New | Info. Set., ACQUITY Arc System | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
**One Leak Sensor Kit 205000505 is included with each refurbished instrument
2018-01-09
176017002 | ACQ Arc Sys Core3-30cm CH/C FTN-R w/TC
New Part # | Refurb Part # | Description | Quantity
186017000 | 800000460 | ACQUITY Arc QSM-R | 1
186017001 | 800000462 | ACQUITY Arc SM FTN-R with Temp Control | 1
186017009 | 800000459 | ACQUITY Arc 30cm Column Heater/Cooler | 1
200000445 | Order New | Startup Kit, ACQUITY Arc System | 1
205001487 | Order New | Kit, ACQUITY Arc CH/CHC Core Fluidics | 1
186000307C | Order New | 12x32 Gls Srw Cap Vl w/Bnd pre-slt septa | 1
186007375 | Order New | CORTECS C18 4.6 x 50mm 2.7µm Column | 1
186008093 | Order New | ACQUITY Arc UV Absorb start up Soln | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
716004465 | Order New | Info. Set., ACQUITY Arc System | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit part # 205000505 is included with each refurbished instrument
2018-01-09
176017004 | ACQ Arc Sys Core 5- CH30-A; FTN-R w/TC
New Part # | Refurb Part # | Description | Quantity
186017000 | 800000460 | ACQUITY Arc QSM-R | 1
186017001 | 800000462 | ACQUITY Arc SM FTN-R with Temp Control | 1
186015045 | 800000312 | ACQUITY UPLC CH-30A | 1
200000445 | Order New | Startup Kit, ACQUITY Arc System | 1
205001488 | Order New | Kit, ACQUITY Arc CH-30A Core Fluidics | 1
205001485 | Order New | Kit, ACQUITY Arc Integration, CH-30A | 1
186000307C | Order New | 12x32 Gls Srw Cap Vl w/Bnd pre-slt septa | 1
186007375 | Order New | CORTECS C18 4.6 x 50mm 2.7µm Column | 1
186008093 | Order New | ACQUITY Arc UV Absorb start up Soln | 1
205000505 | ** | KIT, LEAK SENSOR ASSEMBLY | 3
716004465 | Order New | Info. Set., ACQUITY Arc System | 1
667005644 | Order New | Waters Driver Pack 2017 Release 1 | 1
** One Leak Sensor Kit part # 205000505 is included with each refurbished instrument

## M Class
2018-01-09
176016019
ACQUITY UPLC M-Class: uBSM, USM-FL, ASM
Part # | Refurb Part # | Description | Quantity
186016003 | 800000444 | Micro Binary Solvent Manager | 1
186016012 | 800000442 | Micro Sample Manager - Fixed Loop | 1
186016022 | 800000445 | Auxiliary Solvent Manager | 1
186007278 | Order New | Certified Container Low Volume Kit | 1
200000405 | Order New | Startup Kit, ACQUITY UPLC M-Class System | 1
600000671CV | Order New | LCMS Certif 12x32mm Total RecPreslit cbo | 1
667004601 | Order New | ACQUITY UPLC M-Class Driver Pack | 1
716003640 | Order New | Info Set, ACQUITY UPLC M-Class Sys. | 1
2018-01-09
176016021
ACQUITY UPLC M-Class: uBSM, uSM-FL
Part # | Refurb Part # | Description | Quantity
186016003 | 800000444 | Micro Binary Solvent Manager | 1
186016012 | 800000442 | Micro Sample Manager - Fixed Loop | 1
200000405 | Order New | Startup Kit, ACQUITY UPLC M-Class System | 1
667004601 | Order New | ACQUITY UPLC M-Class Driver Pack | 1
186007278 | Order New | Certified Container Low Volume Kit | 1
716003640 | Order New | Info Set, ACQUITY UPLC M-Class Sys. | 1
186005662CV | Order New | TruView LCMS MxRc Vial Slit PTFE/Sil Sep | 1
2018-01-09
176016017
ACQUITY UPLC M-Class w/HDX Technology
Part # | Refurb Part # | Description | Quantity
186016003 | 800000444 | Micro Binary Solvent Manager | 1
186016011 | Order New | nanoACQUITY UPLC HDX Manager | 1 | Refurb Part # Release Pending
186016022 | 800000445 | Auxiliary Solvent Manager | 1
200000455 | Order New | S/U Kit, ACQ UPLC M-Class HDX w/ZenFit | 1
667004601 | Order New | ACQUITY UPLC M-Class Driver Pack | 1
186007278 | Order New | Certified Container Low Volume Kit | 1
186005662CV | Order New | TruView LCMS MxRc Vial Slit PTFE/Sil Sep | 1
716003640 | Order New | Info Set, ACQUITY UPLC M-Class Sys. | 1