## Sheet1
ITEM | TSP-PDA FINAL TEST | TSP-UPC2 PDA DETECTOR & VEYRON PDA DETECTOR FINAL TEST | REMARKS
| 735001613 Rev. Y | 735002531 Rev. L
1 | 186015034 ACQUITY UPC2 PDA Detector | 186015034 ACQUITY UPC2 PDA Detector | 1. Both TSP bearing same part number listed in the part number affected. This will create confusion which TSP to follow. To remove duplicate numbers per attached redline.
2 | 186015053 ACQUITY UPC2 PDA Detector w/Taper slit | 186015053 ACQUITY UPC2 PDA Detector w/Taper slit
3 | 700009014 ASSY, OPTICS BENCH, SFC | 700009014 ASSY, OPTICS BENCH, SFC
4 | 700009532 ASSY, OPTICS BENCH, PDA | 700009532 ASSY, OPTICS BENCH, PDA
5 | 700011868 ASSEMBLY, OPTICS BENCH, PDA TS | 700011868 ASSEMBLY, OPTICS BENCH, PDA TS
6 | 700011869 ASSY, OPTICS BENCH, 2998 UPC2 | 700011869 ASSY, OPTICS BENCH, 2998 UPC2
7 | 800000414 Ref. UPC2 PDA Detector | 800000414 Ref. UPC2 PDA Detector
8 | 800000439 Refurb AcQuity PDA W/Taperslit | 800000439 Refurb AcQuity PDA W/Taperslit
9 | 176000278 Linearity Cuvette Set | WAT047691 Linearity Cuvette Set | 1. Both TSP showing different part numbers on the linearity Cuvette Kit. Flex is using WAT047691 and does not have 176000278. Pleaseamend accordingly in the TSP. See attached redline.
10 | WAT042885 Calibration Solution | WAT042885 996 Wavelength Accuracy Kit | 1. Part number Description is not consistent Propose to follow SAP decription "ERBIUM PER WAVELENGTH ACCY SOL".