Contact: 
Rick Davis

Company:
Waters Corp.

Telephone:
508 482-2522

Project:
2420 Personality Board

Part Number:
210000204

Revision:
E

1. Needs CPU2000 assembly

2. Move outer seal off sides. Use softer seal material.

3. Accommodate bottom side components

4. Don’t seal into corners (round off)

5. Drill all through-hole and test point location per drill file.

6. Install probes for the following through-hole connector pins:


Connector

Pins


Pin 1 location

J1 


1 thru 3 & 5 thru 8
343, 3735

J2 


1 thru 20

655, 5775

J3


1 thru 24

485, 1135

J4 


1 & 3


1100, 2300

J5


1 & 3


1100, 1800

J6 


1 thru 10

2650, 5850

J7


1 thru 16

2950, 6250

J8 


1,2,4,5,7,8

3862.5, 6112.5

J9


1 & 4


4600, 6175

J11 


1 thru 4

5250, 6175

J12 


1&2,4&5

6000, 6162.5

J15


1&2


6550, 6112.5

J16


1&2


6962.5, 6112.5

J17


1&3


7350, 4825

J18


1&2


7825, 4825

J19


1 thru 12

7900, 3050

J20


1 & 3


8075, 6100

J21


1 & 2


8612.5, 5712.5

J22


1 & 3


8700, 6062.5

J23


1 & 2


9050, 6062.5

J24


1,4,5,9


10050, 6062.5

J25


1 thru 20

10000, 250

J26


1 & 4


10312.5, 3562.5

J27


1 thru 10

10300, 1700

NOTE: Label connector Ref. Des. And Pin 1 locations

7. Install probes for the following Signals:


Name


Ref-Des pin #

Drill location

CS0


TPVia


6775, 1527.55

CS1


TPVia


6775, 1685.05

CPU_SDATA-OUT
TPVia


6962.5, 2250

CPU_SDATA_IN
TPVia


7125, 1900

CPU_Interrupt

TPVia


6775, 1842.5

CPU_CLK

TPVia


7200, 1800

POS11


TPVia


6787.5, 4600 & 8075, 5675 & 6475, 5800

NEG11

TPVia


7500, 4025 & 7212.5, 4025 & 7200, 4275

POS5


TPVia


5850, 4200 & 5450, 4437.2 & 6762.5, 4875

NEG5


TPVia


6656.25, 4062.5 & 6350, 4100 & 6500, 4300

RMTVCC

TPVia


7050, 1700 & 7350, 1700 & 7350, 1800 & 7325, 1900

RMTVCC

C102-pin1

6987.5, 1387.5

RMTGND

TPVia


6425, 1488.8 & 7125, 2450 & 7575, 1900 & 7575, 2200

RMTGND

C102- pin2

7184.5, 1387.5

AGND


C98-pin1

6500, 3100

AGND


C97- pin2

6697, 3650

AGND


TPVia


7025, 3675 & 6912.5, 4025 & 7312.5, 4025 & 7825, 4025

DACVCC

TPVia


4075, 3775 & 4700, 3512.5

VREF2.5

TPVia


4200, 4800

VREF106

TPVia


3687.5, 4325

DS1


DS1-K


1000, 3862.5

DS2


DS2-K


2550, 2681.25

DS3


DS3-K


2512.5, 2587.5

DS4


DS4-K


1175, 3525

DS5


DS5-K


1350, 3868.75

DS6


DS6-K


2481.25, 2743.75

DS7


DS7-K


1525, 3868.75

DS8


DS8-K


2200, 2743.75

