## Sheet1
Quantity | Part Number | Description | Owner | Remark |  | Quantity | Part Number | Description | Owner
4 | 441000294 | RS232 Cable | WPPL |  |  | 1 |  | Empower Workstation w/ multi BusLAC/E, Ethernet cards | Milford
2 | 186002441 | Waters Temperature Control Module | WPPL |  |  | 4 | 441000294 | RS232 Cable | Milford
4 | 186248900 | Waters 2489 UV Detector | WPPL |  |  | 4 |  | IEEE Cable 1.3 M | Milford
4 | 186003031 | Xbridge Column | wppL | Use inventory at wppl |  | 1 |  | Diaphragms Pump | Milford
1 | Cisco Router Switch | Switching Router (Milford to advise any special requirement) | WPPL | Flex |  | 1 |  | Diaphragms Switch | Milford
EQUIPMENT | DESCRIPTION | QA WORKSTATION |  | ALLIANCE FINAL TESTER | REMARKS |  |  |  | QA WORKSTATION |  | ALLIANCE FINAL TESTER
|  | Model \ Specification | Qty | REQUIRED |  |  | EQUIPMENT | DESCRIPTION | Model \ Specification | Qty | REQUIRED | REMARKS
Computer | CPU | no GPIB Card | 1 | 1 | -Need to have GPIB Card: Consign |  | Computer | CPU | no GPIB Card | 1 | 1 | #NAME?
| Monitor |  | 1 | 1 | -Existting monitor not able to support : Consign |  |  | Monitor |  | 1 | 1 | #NAME?
| Keyboard |  | 1 | 1 | OK |  |  | Keyboard |  | 1 | 1 | OK
| Mouse |  | 1 | 1 | OK |  |  | Mouse |  | 1 | 1 | OK
Ethernet Switch | NA | Cisco Router Switch | 1 | 1 | OK |  | Ethernet Switch | NA | Cisco Router Switch | 1 | 1 | OK
Ethernet Cables | NA | NA | 1 | 7 | Consign |  | Ethernet Cables | NA | NA | 1 | 7 | Consign - Can you please source it from your side? Difficult for us to purchase it without a PN and they are common items for manufacturing.
Column Heater | Column Heater | 186179100 | 1 | 4 | Consign |  | Column Heater | Column Heater | 186179100 | 1 | 4 | Consign - WPPL will provide
Column | XBridge Column | 186003031 | 1 | 4 | Consign |  | Column | XBridge Column | 186003031 | 1 | 4 | Consign - WPPL will provide
Temperature | Temperature Control Module | WAT03800 | NA | 2 | Consign |  | Temperature
Control Module | [6 empty] | Control Module | Temperature Control Module | WAT03800 | NA | 2 | Consign - WPPL will provide
Detector | 2489 Detector | 186299800 | 1 | 4 | Consign |  | Detector | 2489 Detector | 186299800 | 1 | 4 | Consign - WPPL will provide
AC Cable | AC Power cable | NA | 3 | 10 | Consign |  | AC Cable | AC Power cable | NA | 3 | 10 | Consign - - Can you please source it from your side? Difficult for us to purchase it without a PN and they are common items for manufacturing
Container | Solvent Container | Bottle Container | 1 | 2 | Consign |  | Container | Solvent Container | Bottle Container | 1 | 2 | Consign- Can you please source it from your side? Difficult for us to purchase it without a PN and they are common items for manufacturing
Consumable | Ultra Pure Water | Solvent A Line | 1 | 1 | Flex to support |  | Consumable | Ultra Pure Water | Solvent A Line
|  | Solvent B Line |  |  |  |  | Solvent B Line | 1 | 1 | Flex to support
Methanol | 100% | Solvent C Line | 1 | 1 | Flex to support |  | Methanol | 100% | Solvent C Line
|  | Solvent D Line |  |  |  |  | Solvent D Line
|  | Seal Wash Line |  |  |  |  | Seal Wash Line
|  | Needle Was Line |  |  |  |  | Needle Was Line | 1 | 1 | Flex to support
| Seal Wash Line | 30% MeOH | 1 | 1 | Flex to support |  |  | Seal Wash Line | 30% MeOH
|  | 70% UltraPure Water |  |  |  |  | 70% UltraPure Water | 1 | 1 | Flex to support