## Sheet1
MODE | STARTTIME | DURATION | SITE | STATION TYPE | STATION | OPERATOR | TEST | PRODUCT | SERIALNUMBER | FAILURES | FAILED MEASUREMENTS | RESULT
P | 12/28/2018 11:57:30.000 | 1:12 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP152G |  |  | PASS
P | 12/28/2018 09:31:13.000 | 1:06 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP150G |  |  | PASS
P | 12/27/2018 19:22:32.000 | 1:01 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP151G |  |  | PASS
P | 12/27/2018 19:09:45.000 | 0:09 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP151G | Ecord 6; |  | FAIL
P | 12/27/2018 18:56:45.000 | 1:04 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP149G |  |  | PASS
P | 12/27/2018 18:21:52.000 | 0:42 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP151G |  |  | FAIL
P | 12/27/2018 16:00:37.000 | 1:07 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP148G |  |  | PASS
P | 12/27/2018 15:58:43.000 | 0:16 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP149G | Pre-Heater Interface TC-CM-APH3; |  | FAIL
P | 12/27/2018 14:24:23.000 | 1:08 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP147G |  |  | PASS
P | 12/27/2018 13:25:20.000 | 1:12 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP146G |  |  | PASS
P | 12/27/2018 12:03:43.000 | 1:07 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP145G |  |  | PASS
P | 12/27/2018 11:52:34.000 | 1:15 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP144G |  |  | PASS
P | 12/27/2018 10:47:27.000 | 1:04 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP132G |  |  | PASS
P | 12/27/2018 10:27:25.000 | 1:16 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP143G |  |  | PASS
P | 12/26/2018 20:15:25.000 | 1:00 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP141G |  |  | PASS
P | 12/26/2018 19:55:53.000 | 0:17 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP141G | Pre-Heater Interface TC-CM-APH3; |  | FAIL
P | 12/26/2018 19:46:30.000 | 1:10 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP142G |  |  | PASS
P | 12/26/2018 18:24:15.000 | 1:18 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP140G |  |  | PASS
P | 12/26/2018 17:19:40.000 | 1:06 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP138G |  |  | PASS
P | 12/26/2018 16:19:35.000 | 1:11 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP139G |  |  | PASS
P | 12/26/2018 14:47:55.000 | 1:19 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP137G |  |  | PASS
P | 12/26/2018 13:43:08.000 | 1:14 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP135G |  |  | PASS
P | 12/26/2018 13:24:13.000 | 1:09 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP136G |  |  | PASS
P | 12/26/2018 11:52:19.000 | 1:05 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP133G |  |  | PASS
P | 12/26/2018 11:49:28.000 | 0:02 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP133G |  |  | FAIL
P | 12/26/2018 11:38:11.000 | 1:05 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP134G |  |  | PASS
P | 12/26/2018 08:46:10.000 | 1:30 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP131G |  |  | PASS
P | 12/24/2018 19:18:33.000 | 1:08 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP130G |  |  | PASS
P | 12/24/2018 17:21:29.000 | 1:51 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP129G |  |  | PASS
P | 12/21/2018 11:49:59.000 | 1:02 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP128G |  |  | PASS
P | 12/21/2018 11:29:11.000 | 0:08 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP128G | Leak Detector Interface Test; |  | FAIL
P | 12/19/2018 15:57:29.000 | 1:10 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP127G |  |  | PASS
P | 12/19/2018 15:22:37.000 | 1:09 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP125G |  |  | PASS
P | 12/19/2018 13:36:53.000 | 1:15 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP124G |  |  | PASS
P | 12/19/2018 13:31:13.000 | 1:20 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP126G |  |  | PASS
P | 12/19/2018 12:16:24.000 | 1:03 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP122G |  |  | PASS
P | 12/19/2018 11:18:19.000 | 1:13 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP123G |  |  | PASS
P | 12/19/2018 11:04:21.000 | 1:00 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP121G |  |  | PASS
P | 12/19/2018 09:47:55.000 | 1:21 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP120G |  |  | PASS
P | 12/19/2018 09:07:05.000 | 0:56 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP118G |  |  | PASS
P | 12/19/2018 08:56:08.000 | 0:08 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP118G | Ecord 6; |  | FAIL
P | 12/18/2018 19:59:05.000 | 0:07 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP118G | Leak Detector Interface Test; |  | FAIL
P | 12/18/2018 19:27:38.000 | 1:04 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP119G |  |  | PASS
P | 12/18/2018 18:28:02.000 | 1:03 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP117G |  |  | PASS
P | 12/18/2018 18:18:36.000 | 1:02 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP116G |  |  | PASS
P | 12/18/2018 16:56:34.000 | 1:08 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP108G |  |  | PASS
P | 12/18/2018 16:29:50.000 | 0:18 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP108G | Leak Detector Interface Test; |  | FAIL
P | 12/18/2018 16:29:45.000 | 1:07 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP115G |  |  | PASS
P | 12/18/2018 14:42:27.000 | 1:41 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP114G |  |  | PASS
P | 12/18/2018 14:42:07.000 | 1:36 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP113G |  |  | PASS
P | 12/18/2018 13:26:21.000 | 1:10 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP109G |  |  | PASS
P | 12/18/2018 13:26:00.000 | 1:10 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP112G |  |  | PASS
P | 12/18/2018 12:01:06.000 | 1:04 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP107G |  |  | PASS
P | 12/18/2018 11:39:31.000 | 1:06 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP110G |  |  | PASS
P | 12/18/2018 10:45:17.000 | 1:10 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP111G |  |  | PASS
P | 12/18/2018 10:27:52.000 | 1:05 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP105G |  |  | PASS
P | 12/18/2018 09:37:04.000 | 1:01 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP103G |  |  | PASS
P | 12/18/2018 09:19:31.000 | 0:09 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP103G | Leak Detector Interface Test; |  | FAIL
P | 12/18/2018 09:08:59.000 | 1:13 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP104G |  |  | PASS
P | 12/17/2018 16:59:21.000 | 1:07 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP101G |  |  | PASS
P | 12/17/2018 16:27:27.000 | 1:23 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP106G |  |  | PASS
P | 12/17/2018 15:48:06.000 | 1:03 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP100G |  |  | PASS
P | 12/17/2018 14:39:56.000 | 1:08 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP102G |  |  | PASS
P | 12/17/2018 13:25:11.000 | 1:02 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25705802 | Acquity CMA Test | 186015043 | M18CMP098G |  |  | PASS
D | 12/17/2018 13:19:47.000 | 0:02 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP100G |  |  | FAIL
P | 12/17/2018 12:29:58.000 | 0:52 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25705802 | Acquity CMA Test | 186015043 | M18CMP098G | Pre-Heater Interface TC-CM-APH1; |  | FAIL
P | 12/17/2018 12:23:07.000 | 0:02 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25705802 | Acquity CMA Test | 186015043 | M18CMP100G |  |  | FAIL
P | 12/17/2018 11:05:59.000 | 1:01 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25705802 | Acquity CMA Test | 186015043 | M18CMP097G |  |  | PASS
P | 12/17/2018 09:38:19.000 | 1:09 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25705802 | Acquity CMA Test | 186015043 | M18CMP099G |  |  | PASS
P | 12/17/2018 09:30:48.000 | 0:18 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25705802 | Acquity CMA Test | 186015043 | M18CMP098G | Pre-Heater Interface TC-CM-APH2; |  | FAIL
P | 12/14/2018 10:58:19.000 | 1:02 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25705802 | Acquity CMA Test | 186015043 | M18CMP092G |  |  | PASS
P | 12/14/2018 10:26:09.000 | 0:10 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25705802 | Acquity CMA Test | 186015043 | M18CMP092G |  |  | FAIL
P | 12/12/2018 16:23:38.000 | 1:03 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP091G |  |  | PASS
P | 12/12/2018 15:35:20.000 | 1:09 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP090G |  |  | PASS
P | 12/12/2018 13:49:53.000 | 1:01 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP089G |  |  | PASS
P | 12/12/2018 13:47:56.000 | 1:00 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP088G |  |  | PASS
P | 12/12/2018 12:17:25.000 | 0:05 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP088G | Ecord 6; |  | FAIL
P | 12/12/2018 11:05:35.000 | 0:52 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP088G |  |  | FAIL
P | 12/12/2018 09:45:11.000 | 1:23 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP087G |  |  | PASS
P | 12/12/2018 08:44:15.000 | 1:15 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP086G |  |  | PASS
P | 12/11/2018 15:52:35.000 | 1:05 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP085G |  |  | PASS
P | 12/11/2018 14:28:47.000 | 1:08 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP083G |  |  | PASS
P | 12/11/2018 14:17:43.000 | 1:07 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP084G |  |  | PASS
P | 12/11/2018 11:18:29.000 | 1:19 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP081G |  |  | PASS
P | 12/11/2018 11:17:10.000 | 1:21 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP082G |  |  | PASS
P | 12/11/2018 08:58:47.000 | 1:16 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP080G |  |  | PASS
P | 12/10/2018 16:51:45.000 | 1:06 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP079G |  |  | PASS
P | 12/10/2018 15:58:14.000 | 1:09 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP078G |  |  | PASS
P | 12/07/2018 17:28:16.000 | 1:41 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP077G |  |  | PASS
P | 12/07/2018 16:53:14.000 | 1:17 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP076G |  |  | PASS
P | 12/07/2018 14:20:49.000 | 1:18 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP074G |  |  | PASS
P | 12/07/2018 14:19:03.000 | 1:16 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP075G |  |  | PASS
P | 12/07/2018 11:26:25.000 | 1:10 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP072G |  |  | PASS
P | 12/07/2018 10:56:44.000 | 1:26 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP073G |  |  | PASS
P | 12/07/2018 09:00:15.000 | 1:06 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP070G |  |  | PASS
P | 12/07/2018 08:43:23.000 | 1:08 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP071G |  |  | PASS
P | 12/06/2018 17:21:25.000 | 1:01 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP069G |  |  | PASS
P | 12/06/2018 17:09:48.000 | 0:06 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP069G | Ecord 5; |  | FAIL
P | 12/06/2018 17:02:47.000 | 0:57 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP068G |  |  | PASS
P | 12/06/2018 16:31:17.000 | 0:27 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP069G | Ecord 6; |  | FAIL
P | 12/06/2018 14:58:05.000 | 1:24 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP067G |  |  | PASS
P | 12/06/2018 14:08:55.000 | 1:16 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP066G |  |  | PASS
P | 12/06/2018 10:58:55.000 | 1:15 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP064G |  |  | PASS
P | 12/06/2018 10:19:02.000 | 1:05 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP065G |  |  | PASS
P | 12/06/2018 08:43:50.000 | 1:17 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP062G |  |  | PASS
P | 12/05/2018 16:33:39.000 | 1:12 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP063G |  |  | PASS
P | 12/05/2018 16:32:54.000 | 1:11 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP061G |  |  | PASS
P | 12/05/2018 15:21:11.000 | 1:00 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP058G |  |  | PASS
P | 12/05/2018 15:17:42.000 | 1:06 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP060G |  |  | PASS
P | 12/05/2018 14:17:14.000 | 0:37 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP058G |  |  | FAIL
P | 12/05/2018 13:28:50.000 | 1:06 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP059G |  |  | PASS
P | 12/05/2018 13:27:27.000 | 0:44 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP058G |  |  | FAIL
P | 12/05/2018 11:02:24.000 | 1:15 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP057G |  |  | PASS
P | 12/05/2018 10:04:04.000 | 1:21 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP056G |  |  | PASS
P | 12/04/2018 20:25:48.000 | 13:10 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP055G |  |  | PASS
P | 12/04/2018 20:09:30.000 | 1:10 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP054G |  |  | PASS
P | 12/04/2018 18:53:24.000 | 1:06 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP052G |  |  | PASS
P | 12/04/2018 18:51:39.000 | 1:06 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP053G |  |  | PASS
P | 12/04/2018 17:24:40.000 | 1:00 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP051G |  |  | PASS
P | 12/04/2018 16:41:39.000 | 1:20 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP050G |  |  | PASS
P | 12/04/2018 15:23:19.000 | 1:08 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP048G |  |  | PASS
P | 12/04/2018 15:15:18.000 | 1:09 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP049G |  |  | PASS
P | 12/04/2018 14:01:41.000 | 1:00 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP047G |  |  | PASS
P | 12/04/2018 13:32:55.000 | 0:26 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP047G | TOP Auxillary Interface; |  | FAIL
P | 12/04/2018 13:28:49.000 | 1:10 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP046G |  |  | PASS
P | 12/04/2018 12:03:50.000 | 1:07 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP042G |  |  | PASS
P | 12/04/2018 11:38:18.000 | 1:15 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP045G |  |  | PASS
P | 12/04/2018 10:40:53.000 | 0:11 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP042G | Pre-Heater Interface TC-CM-APH1; |  | FAIL
P | 12/04/2018 09:58:11.000 | 1:12 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP044G |  |  | PASS
P | 12/03/2018 19:54:25.000 | 13:52 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP043G |  |  | PASS
P | 12/03/2018 18:57:17.000 | 0:15 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP042G | Leak Detector Interface Test; |  | FAIL
P | 12/03/2018 18:26:14.000 | 1:12 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP041G |  |  | PASS
P | 12/03/2018 17:19:28.000 | 1:05 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP039G |  |  | PASS
P | 12/03/2018 16:53:38.000 | 0:57 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | M18CMP040G |  |  | PASS
P | 12/03/2018 15:13:21.000 | 1:11 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | M18CMP038G |  |  | PASS
P | 12/01/2018 12:56:20.000 | 1:11 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | L18CMP036G |  |  | PASS
P | 12/01/2018 11:05:50.000 | 1:08 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-2 | 25704791 | Acquity CMA Test | 186015043 | L18CMP035G |  |  | PASS
P | 12/01/2018 10:48:55.000 | 1:11 | Sigma6(legacy) | Functional Test Station | Acquity CMA/CMA Aux Tester TE83026-1 | 25704791 | Acquity CMA Test | 186015043 | L18CMP037G |  |  | PASS