## Sheet1
Front View |  | Rear View | Left View | Right View
Equipments, Cables and Tools -- Item list
Item | Description
1 | Needlewash & Mobile Phase solution, 5%/95% MeOH/Milli-Q H20
2 | Fisher, Optima Methanol
3 | Assy, Bottle Tray
4 | Acquity TUV Detector
5 | Acquity UPLC CM-A (column manager)
6 | Acquity SDS 18K
7 | Switch Box
8 | Test Box with cables
9 | LCOM DB25 cable
10 | NI cable
11 | Cables to UUT - I/O connector, LCOM DB9, Ethernet, AC cord
12 | Tube, 316L, SS, 1/16OD X .010 ID, 16 RMA
13 | Tube, 316L, SS, 1/16OD X .005 ID, 16 RMA
14 | Peek Tubing
15 | Peek Tubing
16 | Waste Tank
17 | RS232,Ethernet and power cable of TUV Detectors
18 | RS232,Ethernet and power cable of Column Manager
19 | RS232,Ethernet and power cable of BSM (SDS 18K)
20 | Ethernet Switch
21 | 48 Vial Plate
22 | 384 Well Plate
23 | Weighted well plates
24 | Gap Tool
25 | Calibration Pin