| Originator | Emma Pierce | Title | Test Validation Engineer |  | Phone | 2452 | Date | 15 Dec 2020 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System Model | TE0084050 |  | System Name | CPSM Final Test System |  |  |  |  |  |  |
| Install Location | Milford, MA |  | Install Site | NPI |  |  |  |  |  |  |
| System Purpose | System facilitates the functional test of FTN, FL, and ARC sample managers. System downloads firmware, verifies electrical connection and assembly, performs various calibrations, verifies functional mechanical performance and assembly, and verifies chemistry performance. |  |  |  |  |  |  |  |  |  |
| System Design | The system is custom equipment designed by Test Engineering and includes a computer, touch screen monitor, cable interface box, BSM, TUV, and column manager. TE0084050 is an update to TE83064; TE83064 systems will be converted using existing system components when possible. |  |  |  |  |  |  |  |  |  |
| Timeline: | Q1-2021 is the target to convert TE83064 systems to TE0084050 systems |  |  |  |  |  |  |  |  |  |
| Specifications | The associated design documents for TE0084050 can be found at TE0084050EQ, TE0084050ME, and TE0084050SF in SAP. |  |  |  |  |  |  |  |  |  |
| Documentation | The associated TSP for this system can be found at 735002984 in SAP. |  |  |  |  |  |  |  |  |  |
| Quality Risk Assessment: Does the equipment, method, and/or process considered to have minimum effect on the final product? Is the critical functionality of the final product of this equipment, method, and/or process adequately tested during later production steps? |  |  |  |  |  |  |  |  | Yes | No |
| - An answer of “No” to both questions requires qualification per 730001835, Process Validation Procedure. - An answer of “Yes” to either question identifies low risk to product quality and requires justification below: Note: A response of “Yes” to one or both questions may still result in qualification activities. |  |  |  |  |  |  |  |  |  |  |
| This system will be validated according to the Process Validation Procedure 730001835. |  |  |  |  |  |  |  |  |  |  |
| Comments | This form is for the installation of TE0084050-3, TE0084050-4, TE0084050-5, and TE0084050-6. |  |  |  |  |  |  |  |  |  |

TO BE FILLED OUT BY SITE VMP COORDNATOR

Assigned TE or VAL Designator(s):

| Responsibility | Name | Title | Signature | Date |
| --- | --- | --- | --- | --- |
| Originator |  |  |  |  |
| VMP Coordinator |  |  |  |  |