Instructions

Fill out requestor name, phone extension, date, and the Equipment ID number.

Check either Change or Remove.

For a change select each item to be changed and provide new value.

Provide justification for No Calibration Required or for Calibration / PM interval change in Comments.

For Remove, select Inactive or Deactivate, provide the reason and obtain the equipment owner’s signature.

If custom test equipment is being removed provide part numbers, planner, and engineering manager signatures.

| Requestor: Richard Davis | Phone: 2522 | Date: Dec 18, 2020 |
| --- | --- | --- |

Equipment ID:    TE83064-4______________________________

Change (select all that apply)

Type   Select New Type(s)

Calibration 	Preventive Maintenance (PM) 	No Calibration Required 	Calibrate Before Use

New Cost Center: N/A		 New Work Center: N/A

New calibration/PM interval: N/A	Months	 New Procedure: N/A

Comments:

TE83064-4 is being upgraded to TE0084050-5. This involves replacing the PC, new test software, modifying the Test Box, replacing some cables, and changing the TE#. The remaining components are unchanged.

| Remove (select Inactive or Deactivate) |  |
| --- | --- |
| Inactive - Stop Calibration / PM schedule Deactivate (Scrap equipment) |  |
| Reason: TE83064-4 is being upgraded to TE0084050-5. |  |
| Equipment Owner: Michael Doyle Signature: |  |
| Custom Equipment only (Equipment ID has “TE” prefix) |  |
| Part Number(s) affected: (Attach additional sheet if necessary) |  |
| Part Number | Description |
| 186015017/800000298 | Acquity H-Class FTN |
| 186015035/800000412 | Acquity UPC2 FL |
| 186015040/800000313 | Acquity H-Class FTN BIO |
| 186015046/800000373 | Acquity I-Class FTN |
| 186015060/800000410 | Acquity I-Class FL |
| 186015085/800000489 | Acquity H-Class FTN Plus |
| 186015086/800000483 | Acquity H-Class FTN BIO Plus |
| 186015087/800000481 | Acquity I-Class FL Plus |
| 186015088/800000482 | Acquity I-Class FTN Plus |
| 186016012/800000442 | Acquity M-Class Micro FL |
| 186017001/800000462 | Acquity ARC FTN w/heater-cooler |
| 186017007/800000461 | Acquity ARC FTN |
| 186017011/800000472 | Acquity ARC FTN BIO |
| 186017017/800000509 | Acquity ARC HPLC FTN |
| 186018002/800000530 | Acquity Premier H-Class FTN |
| Production Planner: N/A – no obsolescence involved Signature: N/A |  |
| Engineering Manager: Christine Smith Signature: |  |

Calibration Coordinator:  Adam Townsend

Print

Signature: 	 Date:

End of Data