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Instructions
Fill out requestor name, phone extension and date.
Enter the Equipment information (N/A any that do not apply).
Select the type(s) of maintenance that apply.  Provide justification in Additional Information if type is No Calibration Required.
For equipment requiring calibration attach the calibration Certificate to this form.  If a calibration certificate is not available, the equipment will be sent for calibration.
Requestor:
	[bookmark: Text3]Name: Richard Davis	
	Phone: 2522	
	[bookmark: Text4]Date :18 Dec 2020	


Equipment Information
	[bookmark: _GoBack]Description: CPSM Final Test	

	Manufacturer: Test Engineering, Custom	
	Model Number: TE0084050-5	

	Part Number: N/A	
	Serial Number: 5	

	Tool Size/Dimension: N/A	

	Cost Center: WP72	
	Work Center: PM_WP72	


Select all that apply
	Calibration |_|
	Preventive Maintenance (PM) |_|
	No Calibration Required |_|
	Calibrate Before Use |_|


	Include justification for No Calibration Required
Dates and Procedure
	Calibration Date: 28 Aug 2020	
	Calibration Due: Aug 21	

	Calibration Interval (Months): 12	
	Procedure: 735003028	


Additional Information: There is no measuring or signaling devices to calibrate. PM only	     	     	     	

Calibration Coordinator Use Only
Equipment ID Number: 10018811	
Calibration Coordinator: Adam Townsend	
	Print
Signature: 	 Date: 	
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