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Instructions
Fill out requestor name, phone extension, date, and the Equipment ID number.
Check either Change or Remove.
For a change select each item to be changed and provide new value.
Provide justification for No Calibration Required or for Calibration / PM interval change in Comments.
For Remove, select Inactive or Deactivate, provide the reason and obtain the equipment owner’s signature.
If custom test equipment is being removed provide part numbers, planner, and engineering manager signatures.
	Requestor:    Richard Davis	
	Phone:   2522	
	Date:   Jan 12, 2021	


Equipment ID:    TE83064-4______________________________
|X| Change (select all that apply)
|_| Type   Select New Type(s)
	Calibration |_|	Preventive Maintenance (PM) |_|	No Calibration Required |_|	Calibrate Before Use |_|
|_| New Cost Center: N/A		|_| New Work Center: N/A	
|_| New calibration/PM interval: N/A	Months	|_| New Procedure: N/A	
Comments: 
TE83064-9 is being upgraded to TE0084050-7. This involves replacing the PC, new test software, modifying the Test Box, replacing some cables, and changing the TE#. The remaining components are unchanged.		

	|X| Remove (select Inactive or Deactivate)

		|_| Inactive - Stop Calibration / PM schedule	|X| Deactivate (Scrap equipment)

	Reason: TE83064-9 is being upgraded to TE0084050-7.	
	

	Equipment Owner:  Michael Doyle	Signature: 	

	Custom Equipment only (Equipment ID has “TE” prefix)

	Part Number(s) affected: (Attach additional sheet if necessary)

	Part Number
	Description

	186015017/800000298
	Acquity H-Class FTN

	186015035/800000412
	Acquity UPC2 FL

	186015040/800000313
	Acquity H-Class FTN BIO

	186015046/800000373
	Acquity I-Class FTN

	186015060/800000410
	Acquity I-Class FL

	186015085/800000489
	Acquity H-Class FTN Plus

	186015086/800000483
	Acquity H-Class FTN BIO Plus

	186015087/800000481
	Acquity I-Class FL Plus

	186015088/800000482
	Acquity I-Class FTN Plus

	186016012/800000442
	Acquity M-Class Micro FL

	186017001/800000462
	Acquity ARC FTN w/heater-cooler

	186017007/800000461
	Acquity ARC FTN

	186017011/800000472
	Acquity ARC FTN BIO

	186017017/800000509
	Acquity ARC HPLC FTN

	186018002/800000530
	Acquity Premier H-Class FTN

	Production Planner: N/A – no obsolescence involved	Signature: N/A	

	Engineering Manager:   Christine Smith	Signature: 	


Calibration Coordinator:  Adam Townsend	
	Print
Signature: 	 Date: 	
End of Data
Waters Confidential	Template 730001104 V02
It is the User's responsibility to verify they are using the current released version
image1.jpeg
Waters

THE SCIENCE OF WHAT'S POSSIBLE™




