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Instructions
Fill out requestor name, phone extension and date.
Enter the Equipment information (N/A any that do not apply).
Select the type(s) of maintenance that apply.  Provide justification in Additional Information if type is No Calibration Required.
For equipment requiring calibration attach the calibration Certificate to this form.  If a calibration certificate is not available, the equipment will be sent for calibration.
Requestor:
	Name:   Richard Davis	
	Phone:   2522	
	Date:   Dec 1, 2020	


Equipment Information
	Description:     CPSM Final Test 	

	Manufacturer: N/A	
	Model Number: N/A	

	Part Number: N/A	
	Serial Number: N/A	

	Tool Size/Dimension: N/A	

	Cost Center:   WP72	
	Work Center:   WP56	


Select all that apply
	Calibration |_|
	Preventive Maintenance (PM) |X|
	No Calibration Required |X|
	Calibrate Before Use |_|


	Include justification for No Calibration Required
Dates and Procedure
	Calibration Date:    Aug, 2020	
	Calibration Due:   Aug. 2021	

	Calibration Interval (Months):   12	
	Procedure:    735003028	


Additional Information: There are no measuring or signaling devices to calibrate. PM only.				

Calibration Coordinator Use Only
Equipment ID Number:    TE0084050-R1	
Calibration Coordinator:   Adam Townsend	
	Print
Signature: 	 Date: 	
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