## System
Project: | CPSM Final Test System |  | Test Equipment # | TE0084050
CEA # |  |  | Revision: | 1
G/L # |  |  | Date: | 2019-07-08
Engineer: | Davis |  | Sheet 1 of 4
Item | Quantity | Description | Manufacturer | Part Number | Unit Price | Total | Ordered | Due | Received
1 | 1 | TUV Detector | Waters | 186015022 | 2830 | 2830 |  | * | * | 1415
2 | 1 | TUV Flowcell | Waters | 205015016 | 1062 | 1062
3 | 1 | Acquity Solvent Delivery System (I-Class) | Waters | 186015000 | 9989 | 9989 |  |  |  | 4994.5
4 | 1 | Acquity UPLC BEH, C18 1.7um 2.1x50mm column | Waters | 186002350 | 140 | 140
5 | 1 | XBridge BEH C8 2.5µm 4.6x50mm XP col | Waters | 186006049 | 172.98 | 172.98
6 | 1 | Acquity Column Manager (CM-A) | Waters | 186015043 | 2549.13 | 2549.13 |  |  |  | 1274.565
7 | 1 | Assy, Bottle Tray | Waters | 289001680 | 163.29 | 163.29
8 | 1 | Ethernet, active hub, 5 port | newegg |  | 13.99 | 13.99
9 | a/r | Peek tubing .040 x .062, 36 inches | Waters | WAT027-08 | 0 | 0
10 | a/r | peek tubing .005 x .062, 36 inches | Waters | WAT027-01 | 0 | 0
11 | 2 | Well Plate 384 positions | Waters | 186002631 | 0 | 0
12 | 1 | 48 Vial Plate | Waters | 405003743 |  | 1
13 | 2 | Assy, Cart, 9 Port CM, 18 KPSI, Dome | Waters | 289006760 | 334.4 | 668.8
14 | 2 | 384 Well Plate, 100uL Square well | Waters | 186002631 |  | 2
15 | [5 empty] | 0
16 | [5 empty] | 0
17 | [5 empty] | 0
18 | [5 empty] | 0
19 | [5 empty] | 0
20 | [5 empty] | 0
21 | [5 empty] | 0
22 | [5 empty] | 0
23 | [5 empty] | 0
24 | [5 empty] | 0
25 | [5 empty] | 0
0
26 | [5 empty] | 0
27 | [5 empty] | 0
28 | [5 empty] | 0
0
[6 empty] | 17592.19 |  |  |  | 7684.065

## PC
Project: | CPSM Final Test System |  | Test Equipment # | TE0084050
CEA # |  |  | Revision: | 1
G/L # |  |  | Date: | 2019-07-09
Engineer: | Davis |  | Sheet 2 of 4
Item | Quantity | Description | Manufacturer | Part Number | Unit Price | Total | Ordered | Due | Received
1 | 1 | 1U, Rack Mount, Long life, Industrial PC | Superlogics | SL-1U-LLQ370M-LA | 1365 | 1365 |  | * | *
2 | [5 empty] | 0
3 | [5 empty] | 0
4 | [5 empty] | 0
5 | 1 | Optical Mouse & Keyboard | Labstock |  | 0 | 0
6 | 1 | 17" flat Panel touchscreen Display | Generic |  | 400 | 400
7 | [5 empty] | 0
8 | [5 empty] | 0
9 | 1 | Barcode scanner | Advanced Data Capture | BTL-80 custom | 360 | 360
10 | [5 empty] | 0
11 | 1 | 2U 22in Vented Rack Mount Shelf | StarTech | CABSHELF22V | 71.99 | 71.99
12 | [5 empty] | 0
13 | [5 empty] | 0
14 | [5 empty] | 0
15 | [5 empty] | 0
16 | [5 empty] | 0
17 | [5 empty] | 0
18 | [5 empty] | 0
19 | [5 empty] | 0
20 | [5 empty] | 0
21 | [5 empty] | 0
22 | [5 empty] | 0
23 | [5 empty] | 0
24 | [5 empty] | 0
25 | [5 empty] | 0
0
26 | [5 empty] | 0
27 | [5 empty] | 0
28 | [5 empty] | 0
0
2196.99

## Cable Interface Box
Project: | CPSM Final Test System |  | Test Equipment # | TE0084050
CEA # |  |  | Revision: | 1
G/L # |  |  | Date: | 2019-07-09
Engineer: | Davis |  | Sheet 3 of 4
Item | Quantity | Description | Manufacturer | Part Number | Unit Price | Total | Ordered | Due | Received
1 | [5 empty] | 0 |  | * | *
2 | 1 | Power Entry Module | labstock |  |  | 0
3 | 1 | fuse, 250VAC/8amp | labstock |  |  | 0
4 | 1 | PCB, HTCH-A | Waters | 210000412 | 81.11 | 81.11
5 | 1 | Relay socket, Potter & Brumfield #27E121 | Newark | 57F3430 | 8.44 | 8.44
6 | 1 | Relay, Potter & Brumfield KUP_11D15-5 | Newark | 77B2999 | 9.19 | 9.19
7 | 1 | AC Plug receptical, round | Hubbel | HBL5258 | 12.45 | 12.45
8 | 1 | IC, relay driver UDN2981A, Allegro | Newark | 09F1706 | 1.83 | 1.83
9 | 1 | CPC, 16 pin,panel mount,male | labstock |  |  | 0
10 | [5 empty] | 0
11 | 14 | Sheet metal & machine shop | Waters |  | 52 | 728
12 | [5 empty] | 0
13 |  | paint | Jaco | Lot Charge | 300 | 300
14 | 1 | Power Supply, 24V 50W | Astrodyne | RS50-24 | 43.05 | 43.05
15 | [5 empty] | 0
16 | 2 | Cable, USB A-B, .3 meters | LCOM | CAUABHFX-03M | 14.19 | 28.38
17 | [5 empty] | 0
18 | 1 | ASSY, CABLE, PROBE, I-BUTTON CM |  | 279002200 | 31.78 | 31.78
19 | [5 empty] | 0
20 | 1 | Startech,4 Port USB to DB9 RS232 Serial Adapter Hub | Startech | ICUSB2324I | 115.99 | 115.99
21 | [5 empty] | 0
22 | 1 | NI USB-6501 | National Instruments |  | 110 | 110
23 | [5 empty] | 0
24 | 2 | USB Adapter B-A, shielded | LCOM | ECF504-BAS | 8.61 | 17.22
25 | [5 empty] | 0
0
26 | 1 | Shadow Board |  |  | 400 | 400
27 | [5 empty] | 0
28 | [5 empty] | 0
0
1887.44
[6 empty] | 225.99 | 447 | 672.99

## Cables
Project: | CPSM Final Test System |  | Test Equipment # | TE0084050
CEA # |  |  | Revision: | 1
G/L # |  |  | Date: | 2019-07-09
Engineer: | Davis |  | Sheet 4 of 4
Item | Quantity | Description | Manufacturer | Part Number | Unit Price | Total | Ordered | Due | Received
1 | [5 empty] | 0 |  | * | *
2 | [5 empty] | 0
3 | 4 | 9-pin Serial port cables, 10ft | L-Com | CSMN9MF-10 | 11.25 | 45
4 | [5 empty] | 0
5 | 1 | 26-pin HD connector cable | L-Com | CSM25MF-10 | 14 | 14
6 | [5 empty] | 0
7 | [5 empty] | 0
8 | [5 empty] | 0
9 | 6 | Ethernet standard cables 6-10 ft | L-Com | TRD855SCR-10 | 11.09 | 66.54
10 | [5 empty] | 0
11 | 1 | Event I/O cable | custom made | see wiring diagram |  | 0
12 | [5 empty] | 0
13 | 1 | Solvent Select Valve Cable | custom made | see wiring diagram |  | 0
14 | [5 empty] | 0
15 | [5 empty] | 0
16 | [5 empty] | 0
17 | [5 empty] | 0
18 | [5 empty] | 0
19 | [5 empty] | 0
20 | [5 empty] | 0
21 | [5 empty] | 0
22 | [5 empty] | 0
23 | [5 empty] | 0
24 | [5 empty] | 0
25 | [5 empty] | 0
0
26 | [5 empty] | 0
27 | [5 empty] | 0
28 | [5 empty] | 0
0
125.54

## Auto Solvent Select
Project: | CPSM Final Test System |  | Test Equipment # | TE0084050
CEA # |  |  | Revision: | 1
G/L # |  |  | Date: | 2019-07-09
Engineer: | Davis |  | Sheet 4 of 4
Item | Quantity | Description | Manufacturer | Part Number | Unit Price | Total | Ordered | Due | Received
1 | 1 | Cheminert 4 position Rotary Valve & Actuation System | Valco Instruments | C25-6484EMH | 906.5 | 906.5 |  | * | *
2 | 2 | FITTING | PARKER | 1MSEL2N SS | 0 | 0
3 | 1 | FITTING | " | 2MSEL2NSS | 0 | 0
4 | 2 | FITTING | " | 1MSC2NSS | 0 | 0
5 | 2 | FITTING | " | 2-2-2STSS | 0 | 0
6 | 1 | FITTING | " | 2PHSS | 0 | 0
7 | 2 | FITTING | " | 2-2SESS | 0 | 0
8 | 2 | FITTING | " | 2-2MHNSS | 0 | 0
9 | 1 | FITTING | " | 2-2FESS | 0 | 0
10 | 4 | FITTING,.040 BULKHEAD | Waters | WAT70194 | 0 | 0
11 | 1 | FILTER,10uM | Waters | WAT25531 | 0 | 0
12 | A/R | SCR,1/16 COMP. | Waters | WAT25313 | 0 | 0
13 | A/R | FERRULE,1/16 | Waters | WAT22330 | 0 | 0
14 | A/R | TUBING,.040 X .062 PEEK | Waters | WAT027-08 | 0 | 0
15 |  |  |  |  | 0 | 0
16 |  |  |  |  | 0 | 0
17 |  |  |  |  | 0 | 0
18 |  |  |  |  | 0 | 0
19 |  |  |  |  | 0 | 0
20 |  |  |  |  | 0 | 0
21 |  |  |  |  | 0 | 0
22 |  |  |  |  | 0 | 0
23 |  |  |  |  | 0 | 0
24 |  |  |  |  | 0 | 0
25 |  |  |  |  | 0 | 0
26 |  |  |  |  | 0 | 0
27 | [5 empty] | 0
28 | [5 empty] | 0
0
906.5

## Upgrade
|  |  | wp68 615100 | email approved 3/30
Item | Quantity | Description |  |  | Manufacturer | Part Number | Unit Price | Total | VC | PO#
1 | 1 | 1U, Rack Mount, Long life, Industrial PC |  |  | SuperLogics | SL-1U-LLQ370M-LA Configuration ID#3867780 | 1365 | 1365 | 27031 | 4502495813 | 1365
2 | [7 empty] | 0
3 | [7 empty] | 0
4 | [7 empty] | 0
5 | [7 empty] | 0
6 | 1 | 17" flat Panel touchscreen Display |  |  | ELO | ET1715L | 400 |  |  |  | 400
7 |  |  |  |  | ViewSonic | TD1711/ CDW5201210 | 299.99 | 299.99 | 7474
8 | [7 empty] | 0
9 | 1 | Cable Interface Box (3 panels, 2 w/ Paint) |  |  | Model Shop |  | 447 | 447 | No |  | 447
10 | [7 empty] | 0
11 | 1 | USB-6501 |  |  | National Instruments | 779205-01 | 114 | 114 | 12281 | 4502495814 | 114
12 | [7 empty] | 0
13 | 1 | USB 4 port serial converter |  |  | StarTech | ICUSB2324I | 115 | 115 | 7474 CDW | 4502496093 | 115
14 | [7 empty] | 0
15 | 2 | Cable, USB A-B, .3 meters |  |  | LCOM | CAUABHFX-03M | 14.19 | 28.38 | 9251 | 4502495820
16 | [7 empty] | 0
17 | 2 | USB Adapter B-A, shielded |  |  | LCOM | ECF504-BAS | 8.61 | 17.22 | 9251 | 4502495820
18 | [7 empty] | 0
19 | 1 | 2U 16in Universal Vented Rack Mount Cantilever Shelf |  |  | StarTech | CABSHELFV | 47.99 | 47.99 | 7474 | 4502496093 | 47.99
20 | [7 empty] | 0
21 | 1 | Shadow Board Asembly |  |  | TE |  | 400 | 400
22 | [7 empty] | 0
23 |  | Sheet metal |  |  | Model Shop |  | 820 | 820
24 |  | Paint ($300 lot charge) |  |  |  |  | 300 | 300
25 | [7 empty] | 0
26 | [7 empty] | 0
27 | [7 empty] | 0
28 | [7 empty] | 0
0
[8 empty] | 3954.58 |  |  | 2488.99

## Systems
Location | Systems | Costs
Clean Room | 6 | 23727.48
NPI | 4 | 15818.32
Repair/Refurb | 2 | 7909.16
RDEL | 1 | 3954.58
GES, Singapore | 8 | 31636.64
Total | 21 | 83046.18

## Totals
New Tester
System | 17592.19
PC | 2196.99
Cable Interface Box | 1887.44
Cables | 125.54
Auto Solvent Select | 906.5
22708.66