## DP4 SR1 Update
| PN | Model Code | Refurb Part Number | Jumpers | Description | Firmware | Firmware PN | Test Firmware File Name
Classic
| 186015005 | UPS | 800000182 |  | Acquity Sample Manager w/Column Heater | ACQUITY SM firmware 1.60.364 | 361000509 | ACQUITYSampleManager.sft
| 186015006 | UPA | 800000227 |  | Acquity Sample Manager | ACQUITY SM firmware 1.60.364 | 361000509 | ACQUITYSampleManager.sft
| 186015006IVD |  |  |  | Acquity Sample Manager IVD | ACQUITY Autosampler Mod FW, v1.40 | 361000346 | ACQUITYSampleManager140.sft
| 186016006 | NPS | none |  | Acquity nano Sample Manager |  |  | nanoACQUITYSampleManager.sft
| 186016007 | NPS | 800000260 |  | Acquity nano Sample Manager W/Trap Valve |  |  | nanoACQUITYSampleManager.sft
CPSM
| 186015017 | SDI | 800000298 | 128 | H-Class FTN | ACQUITY H-Class FTN F/W v1.60.364 | 361000515 | ACQUITYSampleManagerFTN.sft
| 186015035 | C2S | 800000412 | 128 | UPC2 FL | ACQUITY SM-FL F/W v1.60.364 | 361000516 | ACQUITYSampleManagerC2S.sft
| 186015051 | APC | 800000429 | 128 | Veyron FTN | ACQ APC Sample Manager w/FTN v1.60.370 | 361000541 | ACQUITYSampleManagerAPC.sft
| 186015040 | BDI | 800000313 | 128 | H-Class Bio FTN | ACQUITY H-Class FTN F/W v1.60.364 | 361000515 | ACQUITYSampleManagerFTN.sft
| 186015046 | USM | 800000373 | 132 | I-Class FTN | ACQUITY H-Class FTN F/W v1.60.364 | 361000515 | ACQUITYSampleManagerFTN.sft
| 186015046IVD |  |  | 132 | I-Class FTN IVD | PRM., ACQUITY H-Class FTN F/W v1.51 | 361000437 | ACQUITYSampleManagerFTN_IVD.sft
| 186015060 | UFL | 800000410 | 128 | I-Class FL | ACQUITY SM-FL F/W v1.60.364 | 361000516 | ACQUITYSampleManagerFL.sft
| 186016012 | NIS | 800000442 | 128 | M-Class FL (Micro Sample Manager) | Micro Sample Manager FL - F/W v1.56.376 | 361000689 | ACQUITYMicroSampleManager.sft
| 186017007 | VTC | 800000461 | 128 | ARC (Velox) FTN w/o heater-cooler | ACQ Arc SM FTN-R w/TC F/W v1.68.22 | 361000691 | AcquitySampleManagerARC.sft
| 186017001 | VSM | 800000462 | 128 | ARC (Velox) FTN w/heater-cooler | ACQ Arc SM FTN-R w/TC F/W v1.68.22 | 361000691 | AcquitySampleManagerARC.sft
| N2971031 | P08 |  | 128 | PKI H-Class FTN | Altus A-30 Sampling Module F/W v1.0.375 | 361000578 | MakoSampleManager.sft
DP4 SR1
Classic
| 186015005 | UPS |  |  | Acquity Sample Manager w/Column Heater | PRM, ACQUITY SM firmware 1.65.375 | 361000600
| 186015006 | UPA |  |  | Acquity Sample Manager | PRM, ACQUITY SM firmware 1.65.375 | 361000600
| 186015006IVD | UPA |  |  | Acquity Sample Manager IVD | unchanged | 361000346
| 186016006 | NPS |  |  | Acquity nano Sample Manager | unchanged
| 186016007 | NPS |  |  | Acquity nano Sample Manager W/Trap Valve | unchanged
CPSM
| 186015017 | SDI |  |  | H-Class FTN CPSM | PRM, ACQ UPLC SM-FTN Firmware v1.65.375 | 361000602
| 186015035 | C2S |  |  | UPC2 FL CPSM | unchanged | 361000516
| 186015051 | APC |  |  | Veyron CPSM | unchanged | 361000541
| 186015040 | BDI |  |  | H-Class Bio FTN CPSM | PRM, ACQ UPLC SM-FTN Firmware v1.65.375 | 361000602
| 186015046 | USM |  |  | I-Class FTN CPSM | PRM, ACQ UPLC SM-FTN Firmware v1.65.375 | 361000602
| 186015046IVD |  |  |  | I-Class FTN CPSM IVD | unchanged | 361000437
| 186015060 | UFL |  |  | FL CPSM | PRM, ACQUITY SM-FL firmware 1.65.375 | 361000601
| 186016012 | NIS |  |  | M-Class Micro Sample Manager | unchanged | 361000526
| 186017007 | VTC |  |  | ARC (Velox) FTN w/o heater-cooler | released | 361000587
| 186017001 | VSM |  |  | ARC (Velox) FTN w/heater-cooler | released | 361000587
| N2971031 | P08 |  |  | PKI H-Class FTN CPSM | released | 361000578

## Denim Firmware
PN | Model Code | Refurb Part Number | Jumpers | Description | Firmware | Firmware PN | Test Firmware File Name
Classic
186015005 | UPS | 800000182 |  | Acquity Sample Manager w/Column Heater | PRM, ACQUITY SM firmware 1.65.375 | 361000600 | ACQUITYSampleManager.sft
186015006 | UPA | 800000227 |  | Acquity Sample Manager | PRM, ACQUITY SM firmware 1.65.375 | 361000600 | ACQUITYSampleManager.sft
186015006IVD | UPA |  |  | Acquity Sample Manager IVD | unchanged | 361000346 | ACQUITYSampleManager140.sft
186016006 | NPS | none |  | Acquity nano Sample Manager | unchanged |  | nanoACQUITYSampleManager.sft
186016007 | NPS | 800000260 |  | Acquity nano Sample Manager W/Trap Valve | unchanged |  | nanoACQUITYSampleManager.sft
CPSM
186015017 | SDI | 800000298 |  | H-Class FTN CPSM | PRM, ACQ UPLC SM-FTN Firmware v1.65.375 | 361000602 | ACQUITYSampleManagerFTN.sft
186015035 | C2S | 800000412 |  | UPC2 FL CPSM | PRM, ACQUITY SM-FL firmware 1.70.392 | 361000746 | ACQUITYSampleManagerC2S.sft
186015051 | APC | 800000429 |  | Veyron CPSM | unchanged | 361000541 | ACQUITYSampleManagerAPC.sft
186015040 | BDI | 800000313 |  | H-Class Bio FTN CPSM | PRM, ACQ UPLC SM-FTN Firmware v1.65.375 | 361000602 | ACQUITYSampleManagerFTN.sft
186015046 | USM | 800000373 |  | I-Class FTN CPSM | PRM, ACQ UPLC SM-FTN Firmware v1.65.375 | 361000602 | ACQUITYSampleManagerFTN.sft
186015046IVD | USM | N/A |  | I-Class FTN CPSM IVD | PRM., ACQUITY H-Class FTN F/W v1.51 | 361000437 | ACQUITYSampleManagerFTN_IVD.sft
186015060 | UFL | 800000410 |  | FL CPSM | PRM, ACQUITY SM-FL firmware 1.70.392 | 361000746 | ACQUITYSampleManagerFL.sft
186016012 | NIS | 800000442 |  | M-Class Micro Sample Manager | Micro Sample Mgr. FL - F/W v1.56.376 | 361000689 | ACQUITYMicroSampleManager.sft
186017007 | VTC | 800000461 |  | ARC (Velox) FTN w/o heater-cooler | PRM, Arc/Bio SM FTN-R w/TC F/W v1.71.164 | 361000747 | AcquitySampleManagerARC.sft
186017001 | VSM | 800000462 |  | ARC (Velox) FTN w/heater-cooler | PRM, Arc/Bio SM FTN-R w/TC F/W v1.71.164 | 361000747 | AcquitySampleManagerARC.sft
N2971031 | P08 | N/A |  | PKI H-Class FTN CPSM | PRM, Altus A-30 SM F/W v1.0.375 | 361000578 | MakoSampleManager.sft
186017011 | BFT | 800000472 |  | ARC Bio FTN | PRM, Arc/Bio SM FTN-R w/TC F/W v1.71.164 | 361000747 | AcquitySampleManagerARC.sft
186017001 | VSM | 800000462 |  | ARC (Velox) FTN w/heater-cooler | PRM, ACQ Arc SM FTN-R w/TC F/W v1.70.27 - This version is for online use for one customer. It will be added to BOM at the next driver pak release | 361000738 | AcquitySampleManagerARC.sft
Denim Firmware Update
TE83064-3 | NPI | 2018-01-25
TE83064-4 | NPI | 2018-01-25
TE83064-5 | MFG | 2018-01-25
TE83064-6 | MFG | 2018-01-25
TE83064-7 | MFG | 2018-01-25
TE83064-8 | MFG | 2018-01-25
TE83064-9 | MFG | 2018-01-25
TE83064-18 | MFG | 2018-01-25
TE83064-19 | MFG | 2018-01-25
TE83064-Refrb | Repair | 2018-01-25
TE83064-Refrb2 | Repair | 2018-01-25
TEW83064-RDEL | RDEL | 2018-01-24

## Part Numbers
NEW
PN | Model Code | Refurb Part Number | Description
186015035 | C2S | 800000412 | UPC2 FL CPSM
186015017 | SDI | 800000298 | H-Class FTN
186015051 | APC | 800000429 | Veyron CPSM (APC)
186015040 | BDI | 800000313 | H-Class FTN Bio
186015046 | USM | 800000373 | I-Class FTN
186015046IVD | USM | N/A | I-Class FTN CPSM IVD
186015060 | UFL | 800000410 | I-Class FL
186015060 | UFL | 800000410 | I-class FL
186016012 | NIS | 800000442 | M-Class Micro Sample Manager
186017007 | VTC | 800000461 | ARC (Velox) FTN w/o heater-cooler
186017001 | VSM | 800000462 | ARC (Velox) FTN w/heater-cooler
186017011 | BFT | 800000472 | ARC Bio FTN
N2971031 | P08 | N/A | PKI H-Class FTN CPSM
186015085 | FTP | 800000489 | H-Class FTN Plus
186015086 | FBP | 800000483 | H-Class Bio-FTN Plus
186015087 | FLP | 800000481 | I-Class FL Plus
186015088 | FNP | 800000482 | I-Class FTN Plus
186017017 | AHF | 800000509 | Arc HPLC SM FTN-R w/ heater-cooler
186018002 | PFT | 800000530 | Acquity Premier FTN
186019002 | PSF | 800000544 | ARC Premier FTN w/ heater-cooler

## Emerald
PN | Model Code | Refurb Part Number | Jumpers | Description | Firmware | Firmware PN | Test Firmware File Name
186015017 | SDI | 800000298 |  | H-Class FTN CPSM | PRM, ACQ UPLC SM-FTN Firmware V1.71.395 | 361000774 | ACQUITYSampleManagerFTN.sft
186015035 | C2S | 800000412 |  | UPC2 FL CPSM | PRM, ACQUITY SM-FL firmware 1.70.392 | 361000746 | ACQUITYSampleManagerC2S.sft
186015051 | APC | 800000429 |  | APC FTN CPSM | unchanged | 361000541 | ACQUITYSampleManagerAPC.sft
186015040 | BDI | 800000313 |  | H-Class Bio FTN CPSM | PRM, ACQ UPLC SM-FTN Firmware V1.71.395 | 361000774 | ACQUITYSampleManagerFTN.sft
186015046 | USM | 800000373 |  | I-Class FTN CPSM | PRM, ACQ UPLC SM-FTN Firmware V1.71.395 | 361000774 | ACQUITYSampleManagerFTN.sft
186015046IVD | USM | N/A |  | I-Class FTN CPSM IVD | PRM., ACQUITY H-Class FTN F/W v1.51 | 361000437 | ACQUITYSampleManagerFTN_IVD.sft
186015060 | UFL | 800000410 |  | FL CPSM | PRM, ACQUITY SM-FL firmware 1.70.392 | 361000746 | ACQUITYSampleManagerFL.sft
186016012 | NIS | 800000442 |  | M-Class Micro Sample Manager | Micro Sample Mgr. FL - F/W v1.56.376 | 361000689 | ACQUITYMicroSampleManager.sft
186017007 | VTC | 800000461 |  | ARC (Velox) FTN w/o heater-cooler | PRM, Arc SM FTN-R F/W v1.71.164 | 361000747 | AcquitySampleManagerARC.sft
186017001 | VSM | 800000462 |  | ARC (Velox) FTN w/heater-cooler | PRM, Arc SM FTN-R w/TC F/W v1.71.164 | 361000747 | AcquitySampleManagerARC.sft
N2971031 | P08 | N/A |  | PKI H-Class FTN CPSM | PRM, Altus A-30 SM F/W v1.0.375 | 361000578 | MakoSampleManager.sft
186017011 | BFT | 800000472 |  | ARC Bio FTN | PRM, Arc/Bio SM FTN-R w/TC F/W v1.71.164 | 361000747 | AcquitySampleManagerARC.sft
186017001 | VSM | 800000462 |  | ARC (Velox) FTN w/heater-cooler | PRM, ACQ Arc SM FTN-R w/TC F/W v1.70.27 - This version is for online use for one customer. It will be added to BOM at the next driver pak release | 361000738 | AcquitySampleManagerARC.sft
186015085 | FTP | 800000489 |  | H-Class FTN Plus | V1.71.395 | 361000774 | ACQUITYSampleManagerFTNPlus.sft
186015086 | FBP | 800000483 |  | H-Class Bio-FTN Plus | V1.71.395 | 361000774 | ACQUITYSampleManagerFTNPlus.sft
186015087 | FLP | 800000481 |  | I-Class FL Plus | PRM, ACQUITY SM-FL firmware 1.70.392 | 361000746 | ACQUITYSampleManagerFLPlus.sft
186015088 | FNP | 800000482 |  | I-Class FTN Plus | V1.71.395 | 361000774 | ACQUITYSampleManagerFTNPlus.sft

## FL Spec changes
TE83064-3 | NPI | n/a | 1.43
TE83064-4 | NPI | n/a | 1.43
TE83064-20 | NPI | n/a | 1.43
TE83064-21 | NPI | n/a | 1.43
TE83064-6 | MFG | 2020-09-04 | 1.43
TE83064-7 | MFG | 2020-09-08 | 1.43
TE83064-8 | MFG | 2020-09-04 | 1.43
TE83064-9 | MFG | 2020-09-04 | 1.43
TE83064-18 | MFG | 2020-09-04 | 1.43
TE83064-19 | MFG | 2020-09-08 | 1.43
TE83064-Refrb | Repair | 2020-09-04 | 1.43
TE83064-Refrb2 | Repair | 2020-09-04 | 1.43
TEW83064-RDEL | RDEL | n/a
TE83064-10 | SNG |  | 1.42
TE83064-11 | SNG |  | 1.42
TE83064-12 | SNG |  | 1.42
TE83064-13 | SNG |  | 1.42
TE83064-14 | SNG |  | 1.42
TE83064-15 | SNG |  | 1.42
TE83064-16 | SNG |  | 1.42
TE83064-17 | SNG |  | 1.42

## Upgrade
Test Station | Location |  | Upgrade Date | Approved | New Test Station | GUID
TE83064-20 | NPI |  | 2021-01-11 | √ | TE0084050-3 | DD183ABB-0796-4BB6-92AA-CC2CCD6A5788
TE83064-21 | NPI |  | 2021-01-07 | √ | TE0084050-4 | 0A359965-3ECC-4B96-AEB5-CB3D878BBCF7
TE83064-4 | NPI |  | 2021-01-05 | √ | TE0084050-5 | CEF98A09-6596-4146-912E-143427233B77
TE83064-3 | NPI |  | 2021-01-06 | √ | TE0084050-6 | E04CE6BB-8F49-4C40-8D29-18A4C59BC125
TE83064-9 | MFG |  | 2021-01-12 |  | TE0084050-7 | E965FEB0-3467-44D3-B3DA-B7FB054BC297
TE83064-8 | MFG |  |  |  | TE0084050-8 | 825581EC-0199-4E9B-8721-7E72DB70767F
TE83064-6 | MFG |  |  |  | TE0084050-9
TE83064-7 | MFG |  |  |  | TE0084050-10
TE83064-18 | MFG |  |  |  | TE0084050-11
TE83064-19 | MFG |  |  |  | TE0084050-12
TE83064-Refrb | Repair |  | 2020-12-03 | √ | TE0084050-R1 | 5A5C2075-AFD3-4A0C-BE3A-5CA374E96ED7
TE83064-Refrb2 | Repair |  | 2020-12-09 | √ | TE0084050-R2 | 62CC7D44-7823-4384-9207-EAE2D8ED982C
TEW83064-RDEL | RDEL
TE83064-10 | GES |  |  |  | 13
TE83064-11 | GES |  |  |  | 14
TE83064-12 | GES |  |  |  | 15
TE83064-13 | GES |  |  |  | 16
TE83064-14 | GES |  |  |  | 17
TE83064-15 | GES |  |  |  | 18
TE83064-16 | GES |  |  |  | 19*
TE83064-17 | GES |  |  |  | 20*
| Flex |  |  |  | 21
| Flex |  |  |  | 22
| Flex |  |  |  | 19*
| Flex |  |  |  | 20*
2 stations from Venture will be transferred to Flex*