Instructions

Fill out requestor name, phone extension and date.

Enter the Equipment information (N/A any that do not apply).

Select the type(s) of maintenance that apply.  Provide justification in Additional Information if type is No Calibration Required.

For equipment requiring calibration attach the calibration Certificate to this form.  If a calibration certificate is not available, the equipment will be sent for calibration.

Requestor:

| Name: Luo HuaZhen | Phone: 7044 | Date: 4 Jun 2021 |
| --- | --- | --- |

Equipment Information

| Description: CPSM Final Test |  |
| --- | --- |
| Manufacturer: N/A | Model Number: N/A |
| Part Number: N/A | Serial Number: N/A |
| Tool Size/Dimension: N/A |  |
| Cost Center: WP21 | Work Center: Venture/GES |

Select all that apply

| Calibration | Preventive Maintenance (PM) | No Calibration Required | Calibrate Before Use |
| --- | --- | --- | --- |

Include justification for No Calibration Required

Dates and Procedure

| Calibration Date: Dec, 2020 | Calibration Due: Dec. 2021 |
| --- | --- |
| Calibration Interval (Months): 12 | Procedure: 735003028 |

Additional Information: There are no measuring or signaling devices to calibrate. PM only.

Calibration Coordinator Use Only

Equipment ID Number:    TE0084050-18

Calibration Coordinator:   Adam Townsend

Print

Signature: 	 Date:

End of Data