Photos about the PC harddisk changing.
New HDD in PC
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Old HDD (failing to load Windows XP)
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Display material BOM: General Item Overview
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Materal 186015043 ACQUITY UPLC Cl-A
Plant (cRoE] Waters Single Design Plant

Altemative BOM 1

Material | Document | General |

Ttem It | Component. ‘Component description Quantity Un |A...|Sls |vaid From |vaidto |change No.
o010 273002113 ASSY, COLUMN MANAGER, ACQUITY 1 EA ¥ [J 01.06.2010 31.12.9999 9152687 =
0020 . wAT06277 LABEL, CONGRATULATIONS 1 EA [] [J 01.06.2010 31.12.9999 9152687~
00301  WaT024406 LABEL, INSTRUMENT SN AND PACKAGING 1 EA [] [J 01.06.2010 31.12.2999 9152687
0040 L WATO24951 CERTIFICATE OF FUNCTIONAL PERF 1 EA ¥ [J 01.06.2010 31.12.2999 9152687
o0so . wAT027033 (CABLE TIE MINIATURE 1 EA [] [J 01.06.2010 31.12.2999 9152687
o001 WaT0ses26 DESICCANT, ACTIVATED, BAGGED, 8 UNITS 2 EA [] [J 01.06.2010 31.12.2999 9152687
00701 200000280 ACQUITY UPLC CM START UP KIT 1 EA ¥ [J 01.06.2010 31.12.2999 9152687
0001 230000872 BAG, POLY, GUSSETED, 2 MIL, 30 X 18 X 48 1 EA [] [J 01.06.2010 31.12.2999 9152687
0100 230000380 ENVELOPE, OWNER DOC. W/WINDOW 1 EA [] [J 08.06.2011 31.12.2999 9162380
0101 250001453 BOX, SHIPPING, ACTIVE COLUMN MANAGER 1 EA [] [J 06.03.2013 31.12.9999 9174446
0130 361000110 ACQUITY CM-A Fimware 1.69.154 1 EA [] [J 01.08.2017 31.12.2999 9215285
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Display material BOM: General Item Overview
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Plant (cRDE] Waters Single Design Plant

Altemative BOM 1

Material | Document | General |

Ttem It | Component. ‘Component description Quantity Un |A...|Sls |vaid From |vaidto |change No.
o010 waTa06277 LABEL, CONGRATULATIONS 1 EA [] []15.02.2012 31.12.9999 9168384~
00201 WaT024406 LABEL, INSTRUMENT SN AND PACKAGING 1 EA [] []15.02.2012 31.12.9999 9168384~
0030 L WATO24951 CERTIFICATE OF FUNCTIONAL PERF 1 EA ¥ [J 15.02.2012 31.12.2999 9168384
o0s0 L wWaAT027033 (CABLE TIE MINIATURE 1 EA [] [J 15.02.2012 31.12.2999 9168384
0001  waTosss26 DESICCANT, ACTIVATED, BAGGED, 8 UNITS 2 EA [] [J 15.02.2012 31.12.2999 9168384
01401  2000002e0 ACQUITY UPLC CM START UP KIT 1 EA ¥ [J 26.10.2012 31.12.9999 9173736
0150 2780027117 ASSY, CM-A, UPC2 1 EA ¥ [J 26.10.2012 31.12.9999 9173736
o160 230000380 ENVELOPE, OWNER DOC. W/WINDOW 1 EA [ [J 26.10.2012 31.12.9999 9173736
01701 250000872 BAG, POLY, GUSSETED, 2 MIL, 30 X 18 X 48 1 EA [ [J 26.10.2012 31.12.9999 9173736
o101 250001453 BOX, SHIPPING, ACTIVE COLUMN MANAGER 1 EA [ [J 26.10.2012 31.12.9999 9173736
0190 L 361000510 ACQUITY CM-A Fimware 1.60.136 1 EA [] [J 07.07.2014 31.12.2999 9189662
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Display material BOM: General Item Overview
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Altematve BoM 1 |
Material | Document | General |
Ttem It | Component. ‘Component description Quantity Un |A...|sts |vaid From |vaidto |change No.FT]
o010 200000281 Start up K, ACQUITY H-Class CM-AUX 1 EA ¥ [J 15.06.2010 31.12.9999 9153037 =
00201 273002135 'ASSY, COLUMN MANAGER AUXILARY, ACQUITY 1 EA ¥ [] 15.06.2010 31.12.9999 9153037 ~
0030 L w6277 LABEL, CONGRATULATIONS 1 EA [] [J 15.06.2010 31.12.2999 9153037
o001 WaT024406 LABEL, INSTRUMENT SN AND PACKAGING 1 EA [] [J 15.06.2010 31.12.2999 9153037
0050 L WAT024951 CERTIFICATE OF FUNCTIONAL PERF 1 EA ¥ [J 15.06.2010 31.12.2999 9153037
o001 WaT0ses26 DESICCANT, ACTIVATED, BAGGED, 8 UNITS 2 EA [] [J 15.06.2010 31.12.2999 9153037
00701 250000872 BAG, POLY, GUSSETED, 2 MIL, 30 X 18 X 48 1 EA [] [J 15.06.2010 31.12.2999 9153037
ooso . wAT027033 CABLE TIE MINIATURE 1 EA [] [J 15.06.2010 31.12.2999 9153037
0100 230000380 ENVELOPE, OWNER DOC. W/WINDOW 1 EA [] [J 08.06.2011 31.12.2999 9162380
0101 290001454 Esox, ‘SHIPPING, AUX COLUMN MANAGER! } EA [0 [ 06.03.2013 31.12.9999 9174446
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Materal [iee01s038 EQUITY Audiary Colurmn Manager
Plnt /GR0E] Waters Single Design Plant

Altemative BOM 1

Material | Document | General |

Ttem It | Component. ‘Component description Quantity Un |A...|sts |vaid From |vaidto |change No.FT]
o010 waTa06277 LABEL, CONGRATULATIONS 1 EA [] []15.02.2012 31.12.9999 9168384~
00201 WaT024406 LABEL, INSTRUMENT SN AND PACKAGING 1 EA [] []15.02.2012 31.12.9999 9168384~
0030 L WATO24951 CERTIFICATE OF FUNCTIONAL PERF 1 EA ¥ [J 15.02.2012 31.12.2999 9168384
o0s0 L wWaAT027033 (CABLE TIE MINIATURE 1 EA [] [J 15.02.2012 31.12.2999 9168384
0001  waTosss26 DESICCANT, ACTIVATED, BAGGED, 8 UNITS 2 EA [] [J 15.02.2012 31.12.2999 9168384
0120 200000281 Start up Ki, ACQUITY H-Class CM-AUX 1 EA ¥ [J 26.10.2012 31.12.9999 9173736
0130 L 279002126 ASSY, CM-AUX, UPC2 1 EA ¥ [J 26.10.2012 31.12.9999 9173736
01401 250000872 BAG, POLY, GUSSETED, 2 MIL, 30 X 18 X 48 1 EA [ [J 26.10.2012 31.12.9999 9173736
o101 250001454 BOX, SHIPPING, AUX COLUMN MANAGER 1 EA [ [J 26.10.2012 31.12.9999 9173736
o160 230000380 ENVELOPE, OWNER DOC. W/WINDOW 1 EA [] [J 26.10.2012 31.12.9999 9173736




