| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 1 | WO 00366 | PM 00400 | 2690 Pump Tray Tester | TE 82526-1 | TE 82526-1 | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Pump Tray Station | Waters | WAT-RW-SKI00306 | 24-Feb-10 | N | N | N | N | N | N | Y | N | NA | NA. |
| 2 | WO 00367 | PM 00401 | 2690 Pump Tray Tester | TE 825`26-4 | TE 82526-4 | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Pump Tray Station | Waters | WAT-RW-SKI00306 | 24-Feb-10 | N | N | N | N | N | N | Y | N | NA | WO 01077 Date: 21/02/13. WO 02176 Date 11/05/15. |
| 3 | WO 00368 | PM 00402 | 2690 Pump Tray Tester | TE 82526 | TE 82526 | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Pump Tray Station | Waters | WAT-RW-SKI00306 | 24-Feb-10 | N | N | N | N | N | N | Y | N | NA | NA. |
| 4 | WO 00369 | PM 00403 | 2690 Keypad LCD Tester | TE 82546 | TE 82546 | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Front Panel Station | Waters | WAT-RW-SKI00281 | 26-Feb-10 | N | N | N | N | N | N | Y | N | NA | NA. |
| 5 | WO 00370 | PM 00404 | 2690 Carousel Carrier Drive Alignment Station | TE 82520 | TE 82520 | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Carousel Station | Waters | WAT-RW-SKI00297 | 26-Feb-10 | N | N | N | N | N | N | Y | N | NA | WO 01597 Date: 20/01/14 Equipment Return Customer. |
| 6 | WO 00371 | PM 00405 | Fluidics Tray Tester (Vacuum Degasser) | TE 82523-3 | TE 82523-3 | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Heater Cooler Station | Waters | WAT-RW-SKI00304/308 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | NA. |
| 7 | WO 00372 | PM 00406 | 2690/2790 Syringe Drive Tester | TE 82656 | TE 82656 | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Car Plate Syringe Drive Station | Waters | WAT-RW-SKI02048 | 26-Feb-10 | N | N | N | N | N | N | Y | N | NA | WO 03516 Date: 17/05/17. |
| 8 | WO 00373 | PM 00407 | 0 Ring Body Leak tester | TE 82626 | TE 82626 | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Car Plate Syringe Drive Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 02758 Date: 15/03/16. WO 03910 Date 19/12/17. |
| 9 | WO 00374 | PM 00408 | In Line Degasser | MX6CM8215R | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Pump Tray Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 01571 Date 03/12/13. WO 02177 Date 11/05/15. |
| 10 | WO 00375 | PM 00409 | In Line Degasser | L02DG2367M | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Pump Tray Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | NA. |
| 11 | WO 00376 | PM 00410 | In Line Degasser | M05DG2685M | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | Injector Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 01294 Date 26/06/13. |
| 12 | WO 00377 | PM 00411 | In Line Degasser | F10DG2565M | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Pump Tray Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | NA. |
| 13 | WO 00378 | PM 00412 | In Line Degasser | M05DG2691M | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance HPMV Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | NA. |
| 14 | WO 00379 | PM 00413 | In Line Degasser | F10DG2553M | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Injector Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 01077 Date: 21/02/13. WO 02759 Date 15/03/16. |
| 15 | WO 00380 | PM 00414 | In Line Degasser | M05DG2694M | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | 1525/1515/515 Pump Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | NA. |
| 16 | WO 00381 | PM 00415 | In Line Degasser | H04DG2941M | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | 1525/1515/515 Pump Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | NA. |
| 17 | WO 00382 | PM 00476 | In Line Degasser | F09DG2292M | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | NA. |
| 18 | WO 00383 | PM 00477 | In Line Degasser | M09DG2458M | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | NA. |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 19 | WO 00384 | PM 00478 | Acquity Actuater Tester | TE 82800 - 2 | TE 82800 - 2 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | WAT-RW-SKI02034 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 03517 Date: 17/05/17. |
| 20 | WO 00385 | PM 00479 | Acquity Actuater Tester | TE 82800 - 3 | TE 82800 - 3 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | WAT-RW-SKI02034 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 03518 Date: 17/05/17. |
| 21 | WO 00386 | PM 00480 | 515 Bezel Assembly Tester | TE 82851 | TE 82851 | Joel Mamalateo Deduyo | Test Engineering | 5th | 1525/1515/515 Pump Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | NA. |
| 22 | WO 00387 | PM 00481 | Pump Mechanics Run In Module | TE 82613 | TE 82613 | Joel Mamalateo Deduyo | Test Engineering | 5th | 1525/1515/515 Pump Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | NA. |
| 23 | WO 00388 | PM 00486 | Dispenser Control Box | 85070 | 85070 | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Injector Station | Waters | SKW-RW-SKR00035 | 26-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 02760 Date: 15/03/16. WO 03911 Date 19/12/17. |
| 24 | WO 00389 | PM 00487 | Electrical Safety Analyser | 4406959 | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Station | Waters | WAT-RW-SKI00279 | 04-Aug-09 | Y | N | N | N | N | N | N | N | NA | WO 01078 Date: 21/02/13 Equipment Not In Use. WO 01298 Date 02/07/13. |
| 25 | WO 00390 | PM 00488 | Electrical Safety Analyser | 5037655 | 95037 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | WAT-RW-SKI01711 | 04-Aug-09 | Y | N | N | N | N | N | N | N | NA | WO 01295 Date 26/06/13. WO 01299 Date 02/07/13. |
|  |  |  |  |  |  |  |  |  |  |  | WAT-RW-SKI02703 | 16-Jan-19 | N | N | N | N | N | N | N | Y | NA | WO 05253 Date 15/10/19 Change PM Procedure number & add Yearly Frequency. |
| 26 | WO 00391 | PM 00489 | Electrical Safety Analyser | 6069766 | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Station | Waters | WAT-RW-SKI01711 | 17-Mar-10 | Y | N | N | N | N | N | N | N | NA | WO 01296 Date 26/06/13. WO 01300 Date 02/07/13. |
|  |  |  |  |  |  |  |  |  |  |  | WAT-RW-SKI02703 | 11-Dec-18 | N | N | N | N | N | N | N | Y | NA | WO 05254 Date 15/10/19 Change PM Procedure number & add Yearly Frequency. |
| 27 | WO 00392 | PM 00490 | Electrical Safety Analyser | 1140660 | 90282 | Joel Mamalateo Deduyo | Test Engineering | 5th | Detector Station | Waters | WAT-RW-SKI00279 | 01-Jun-10 | Y | N | N | N | N | N | N | N | NA | WO 01297 Date 26/06/13. WO 01301 Date 02/07/13. WO 01302 Date 02/07/13. WO 01572 Date 03/12/13 Inactive-Remove from line (RE/094/13) |
| 28 | WO 01332 | PM 01270 | Tubing Sokaing System | NA | NA | Joel Mamalateo Deduyo | Test Engineering | 1st | Tube Cutting Area | Waters | WAT-RW-SKI02576 | 23-Jul-13 | N | Y | N | N | N | N | N | N | NA | WO 02612 Date 18/01/16 Inactive-Remove from line (RE/009/16). |
|  |  |  | Tubing Sokaing System | NA | NA | Joel Mamalateo Deduyo | Test Engineering | 1st | Tube Cutting Area | Waters | WAT-RW-SKI02576 | 23-Jul-13 | N | N | N | Y | N | N | N | N | NA |  |
| 29 | WO 01347 | PM 01283 | 515 Pump Final Test CPU | SFST0259365 | TE 82534 | Joel Mamalateo Deduyo | Test Engineering | 5th | 515/1500 series Pump Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | WO 02178 Date 11/05/15 Equipment Return to Customer. |
| 30 | WO 01348 | PM 01284 | 1500 Pump Series Final Test CPU | B05L32002W | TE 82705-2 | Joel Mamalateo Deduyo | Test Engineering | 5th | 515/1500 series Pump Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | WO 02179 Date 11/05/15 Equipment Return to Customer. |
| 31 | WO 01349 | PM 01285 | BSM / QSM Actuator Tester CPU | E85-05687 | TE 82800-2 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | NA. |
| 32 | WO 01350 | PM 01286 | BSM / QSM Actuator Tester CPU | KKPABOR | TE 82800-3 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | NA. |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 33 | WO 01351 | PM 01287 | BSM / QSM Final Test CPU | H08L32067W / G08BLM431C | TE 82943-11 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | NA. |
| 34 | WO 01352 | PM 01288 | BSM / QSM Final Test CPU | M08L32055W | TE 82943-12 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | NA. |
| 35 | WO 01353 | PM 01289 | BSM / QSM Final Test CPU | M08L32151W | TE 82943-13 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | NA. |
| 36 | WO 01354 | PM 01290 | BSM / QSM Final Test CPU | M08L32177W | TE 82943-14 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | NA. |
| 37 | WO 01355 | PM 01291 | BSM / QSM Final Test CPU | M08L32051W | TE 82943-15 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | NA. |
| 38 | WO 01356 | PM 01292 | BSM / QSM Final Test CPU | B08L32155W / A08LM136C | TE 82943-16 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | NA. |
| 39 | WO 01357 | PM 01293 | BSM / QSM Final Test CPU | H07L32328W / G07BLM843C | TE 82943-17 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | NA. |
| 40 | WO 01358 | PM 01294 | BSM / QSM Final Test CPU | LO8L32004W / J08BLM106C | TE 82943-18 | Joel Mamalateo Deduyo | Test Engineering | 5th | BSM/QSM Station | Waters | SKW-RW-SKR00035 | 02-Jul-12 | N | N | N | N | N | N | N | Y | NA | NA. |
| 41 | WO 01573 | PM 01390 | In Line Degasser | G13DG2138M | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | Alliance Pump Tray Station | Waters | SKW-RW-SKR00035 | 03-Dec-13 | N | N | N | N | N | N | Y | N | NA | NA. |
| 42 | WO 01574 | PM 01391 | Guardian 6000 Plus Electrical Safety Analyser | 08280865 | NA | Joel Mamalateo Deduyo | Test Engineering | 5th | Detector Station | Waters | WAT-RW-SKI01711 | 29-Nov-13 | Y | N | N | N | N | N | N | N | NA | WO 05255 Date 15/10/19 Change PM Procedure number & add Yearly Frequency. |
|  |  |  |  |  |  |  |  |  |  |  | WAT-RW-SKI02703 | 22-Oct-18 | N | N | N | N | N | N | N | Y | NA |  |
| 43 | WO 01596 | PM 01396 | Carousel tester (Alliance CCD tester) | TE 82520-1 | TE 82520-1 | Joel Mamalateo Deduyo | Engineering | 5th | Alliance Carousel Station | Waters | WAT-RW-SKI00297 | 14-Jun-13 | N | N | N | N | N | N | Y | N | NA | NA. |
| 44 | WO 01786 | PM 01524 | PDA Linearity test system | C08L32208W | TE82969-1 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | WAT-RW-SKI02997 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | WO 02761 Date 15/03/16. WO 03519 Date: 17/05/17. |
| 45 | WO 01787 | PM 01525 | Detector Programming / Downloading CPU | C08L32078W | TE83057-4 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | WO 04447 Date 21/09/18. |
| 46 | WO 01788 | PM 01526 | Detector Programming / Downloading CPU | H04BLM012C / J04L32108W | TE82964-1 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | NA. |
| 47 | WO 01789 | PM 01527 | TUV / 2489 Final test CPU | G05L32009W | TE82903-06 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | WAT-RW-SKI03034 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | WO 03588 Date 21/07/17. |
| 48 | WO 01790 | PM 01528 | TUV / 2489 Final test CPU | J04L32091W | TE82903-9 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | WAT-RW-SKI03034 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | WO 03589 Date 21/07/17. |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 49 | WO 01791 | PM 01529 | TUV / 2489 Final test CPU | J04L32120W | TE82903-8 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | WAT-RW-SKI03034 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | WO 03590 Date 21/07/17 |
| 50 | WO 01792 | PM 01530 | TUV / 2489 Final test CPU | J04L32102W | TE82903-10 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | WAT-RW-SKI03034 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | WO 03591 Date 21/07/17. |
| 51 | WO 01793 | PM 01531 | 2998 / PDA / eLAMDA Final Test CPU | E13L32018W | TE82882-8 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | NA. |
| 52 | WO 01794 | PM 01532 | 2998 / PDA / eLAMDA Final Test CPU | B08L32264W / A08BLM670C | TE82882-6 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | WO 02180 Date 11/05/15 Equipment Return to Customer. |
| 53 | WO 01795 | PM 01533 | 2998 / PDA / eLAMDA Final Test CPU | D04BLM247C / H04L32213W | TE82882-1 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | WO 02181 Date 11/05/15 Equipment Return to Customer. |
| 54 | WO 01796 | PM 01534 | 2998 / PDA / eLAMDA Final Test CPU | B08L32082W | TE82882-2 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | WO 04562 Date 09/11/18 Inactive-Remove from line (RE/036/18). |
| 55 | WO 01797 | PM 01535 | 2998 / PDA / eLAMDA Final Test CPU | G07L32030W / F07BLM123C | TE82882-5 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 05-AUG-14 | N | N | N | N | N | N | N | Y | NA | WO 02182 Date 11/05/15 Equipment Return to Customer. |
| 56 | WO 01867 | PM 01573 | Rear Panel Test CPU | C08L32093W | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 25-Sep-14 | N | N | N | N | N | N | N | Y | NA | NA. |
| 57 | WO 01868 | PM 01574 | Autoloader 2 CPU | B08L32122N | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 25-Sep-14 | N | N | N | N | N | N | N | Y | NA | NA. |
| 58 | WO 01869 | PM 01575 | Transfer Module | TE82659-2 | TE82659-2 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 25-Sep-14 | N | N | N | N | N | N | N | Y | NA | NA. |
| 59 | WO 01870 | PM 01576 | Flow cell Tester | G08998943N | TE186002998 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 25-Sep-14 | N | N | N | N | N | N | N | Y | NA | NA. |
| 60 | WO 01871 | PM 01577 | Filter Wheel Tester | TE82965 | TE82965 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 25-Sep-14 | N | N | N | N | N | N | N | Y | NA | NA. |
| 61 | WO 01872 | PM 01578 | Light Meter | 9120000-3 | 9120000-3 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 25-Sep-14 | N | N | N | N | N | N | N | Y | NA | WO 02762 Date: 15/03/16 Inactive-Remove from line (RE/015/16). |
| 62 | WO 01873 | PM 01579 | TUV Lamp Supply | TE82874 | TE82874 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 25-Sep-14 | N | N | N | N | N | N | N | Y | NA | NA. |
| 63 | WO 02183 | PM 01725 | Chroma Electrical Safety Analyzer | 19032G000182 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | WAT-RW-SKI01711 | 15-May-15 | Y | N | N | N | N | N | N | N | NA | WO 05256 Date 15/10/19 Change PM Procedure number & add Yearly Frequency. |
|  |  |  |  |  |  |  |  |  |  |  | WAT-RW-SKI02703 | 26-Nov-18 | N | N | N | N | N | N | N | Y | NA |  |
| 64 | WO 02184 | PM 01726 | Carousel Tester | NA | TE82520-2 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | WAT-RW-SKI00297 | 15-May-15 | N | N | N | N | N | N | Y | N | NA | NA. |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 65 | WO 02185 | PM 01727 | 515 Pump Final Test CPU | LMGKCVW | TE82534 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 11-May-15 | N | N | N | N | N | N | N | Y | NA | NA. |
| 66 | WO 02186 | PM 01728 | 1500 series Final CPU | LMGPRBH | TE82705-2 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 11-May-15 | N | N | N | N | N | N | N | Y | NA | NA. |
| 67 | WO 02187 | PM 01729 | Alliance Final Tester 1 CPU | KKPAAOH | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 11-May-15 | N | N | N | N | N | N | N | Y | NA | WO 03177 Date: 05/12/16 Inactive-Remove from line (RE/054/16). |
| 68 | WO 02188 | PM 01730 | Alliance Final Tester 2 CPU | KKPRA3T | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 11-May-15 | N | N | N | N | N | N | N | Y | NA | NA. |
| 69 | WO 02189 | PM 01731 | Alliance Final Tester 3 CPU | M11L32097W | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 11-May-15 | N | N | N | N | N | N | N | Y | NA | NA. |
| 70 | WO 02190 | PM 01732 | Alliance Final Tester 4 CPU | H10L32039W | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 11-May-15 | N | N | N | N | N | N | N | Y | NA | NA. |
| 71 | WO 02191 | PM 01733 | 2998 / PDA / elamda Final Test CPU | NA | TE82882-09 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 11-May-15 | N | N | N | N | N | N | N | Y | NA | NA. |
| 72 | WO 02192 | PM 01734 | 2998 / PDA / elamda Final Test CPU | M12L32412W | TE82882-10 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 11-May-15 | N | N | N | N | N | N | N | Y | NA | NA. |
| 73 | WO 02193 | PM 01735 | 2998 / PDA / elamda Final Test CPU | F13L32287W | TE82882-11 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 11-May-15 | N | N | N | N | N | N | N | Y | NA | NA. |
| 74 | WO 02194 | PM 01736 | Acquity Actuator Homing box | NA | TE83076-3 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | WAT-RW-SKI02962 | 11-May-15 | N | N | N | N | N | N | N | Y | NA | WO 03592 Date 24/07/17. |
| 75 | WO 00076 | PM 00143 | Laboratory Fume Hood | 040318000D | NA | Joel Mamalateo Deduyo | Engineering | 5th | Preparation Room | Waters | SKW-RW-SKR00240 | 31-Jan-11 | N | N | N | N | N | N | N | Y | NA | NA |
|  |  |  | Laboratory Fume Hood | 040318000D | NA | Joel Mamalateo Deduyo | Engineering | 5th | Preparation Room | Waters | SKW-RW-SKR00240 | 29-Aug-12 | N | N | N | Y | N | N | N | N | NA | WO 00869 Date 27/08/12. |
| 76 | WO 00846 | PM 00796 | Purelab Ultra MK2 Analytic | UAC279329 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Preparation Lab | Waters | WAT-RW-SKI00671 | 07-Jun-10 | Y | N | N | N | N | N | N | N | NA | NA |
|  |  |  | Purelab Ultra MK2 Analytic | UAC279329 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Preparation Lab | Waters | WAT-RW-SKI00671 | 07-Jun-10 | N | N | N | N | N | N | Y | N | NA | WO 04012 Date 03/04/18. WO 04068 Date 25/05/18. |
| 77 | WO 00862 | PM 01126 | Ultrasonic Tank System | ENA03C497542F | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Preparation Lab | Waters | WAT-RW-SKI01746 | 23-Aug-12 | N | N | N | Y | N | N | N | N | NA | NA |
| 78 | WO 01435 | PM 01351 | Purelab Prima 90 | P90F229898 | NA | Joel Mamalateo Deduyo | Engineering | 1st | Tube Cutting | Waters | WAT-RW-SKI01770 | 29-Jul-13 | N | N | N | N | N | N | Y | N | NA | WO 01523 Date: 19/09/13. WO 02794 Date: 03/05/16 Inactive-Remove from line (RE/020/16). |
|  |  |  | Purelab Prima 90 | P90F229898 | NA | Joel Mamalateo Deduyo | Engineering | 1st | Tube Cutting | Waters | WAT-RW-SKI02637 | 12-Aug-13 | N | N | N | Y | N | N | N | N | NA |  |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 79 | WO 02756 | PM 02120 | PDA Final Tester | S4ALMVW | TE82882-13 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 15-Mar- 16 | N | N | N | N | N | N | N | Y | NA | NA |
| 80 | WO 02757 | PM 02121 | PDA Final Tester | S4ALYMH | TE82882-14 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 15-Mar-16 | N | N | N | N | N | N | N | Y | NA | NA |
| 81 | WO 02821 | PM 02153 | Alliance Final Tester 5 CPU | C12L32205W | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 24-May- 16 | N | N | N | N | N | N | N | Y | NA | NA |
| 82 | WO 02938 | PM 02246 | Vision Measuring System | 100 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production area | Waters | SKW-RW-SKR00035 | 04-Jul-16 | N | N | N | N | N | N | N | Y | NA | NA |
| 83 | WO 03176 | PM 02448 | Alliance Final Tester 1 CPU | C12L32255W | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 06-Dec- 16 | N | N | N | N | N | N | N | Y | NA | NA |
| 84 | WO 03201 | PM 02464 | SQT / ORT Station | NA | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Area | Waters | SKW-RW-SKR00035 | 23-Dec- 16 | N | N | N | N | N | N | N | Y | NA | NA |
| 85 | WO 03508 | PM 02618 | Prime / Purge Module | NA | TE82733-1 | Joel Mamalateo Deduyo | Engineering | 5th | Production eAlliance | Waters | WAT-RW-SKI04071 | 03-May- 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 86 | WO 03509 | PM 02619 | Prime / Purge Module | NA | TE82733-2 | Joel Mamalateo Deduyo | Engineering | 5th | Production eAlliance | Waters | WAT-RW-SKI04071 | 03-May- 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 87 | WO 03510 | PM 02620 | Prime / Purge Module | NA | TE82733-3 | Joel Mamalateo Deduyo | Engineering | 5th | Production eAlliance | Waters | WAT-RW-SKI04071 | 03-May- 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 88 | WO 03511 | PM 02621 | Prime / Purge Module | NA | TE82733-4 | Joel Mamalateo Deduyo | Engineering | 5th | Production eAlliance | Waters | WAT-RW-SKI04071 | 03-May- 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 89 | WO 03512 | PM 02622 | Prime / Purge Module | NA | TE82733-5 | Joel Mamalateo Deduyo | Engineering | 5th | Production eAlliance | Waters | WAT-RW-SKI04071 | 03-May- 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 90 | WO 03513 | PM 02623 | Prime / Purge Module | NA | TE82733-6 | Joel Mamalateo Deduyo | Engineering | 5th | Production eAlliance | Waters | WAT-RW-SKI04071 | 03-May- 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 91 | WO 00157 | PM 00321 | TUV Shunt 289002450 (TM007MD) | WT-F186 | TM007MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 25-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 01877 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03864 Date: 13/12/17 Inactive-Remove from line (RE/123/17). |
| 92 | WO 00162 | PM 00326 | TUV Shunt 289002450 (TM014MD) | WT-F191 | TM014MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 25-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 01877 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03865 Date: 13/12/17 Inactive-Remove from line (RE/124/17). |
| 93 | WO 00167 | PM 00331 | PDA shunt 289002226 (PM026MD) | WT-F196 | PM026MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 25-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 01877 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03962 Date: 22/02/18 Return to Waters Customer. |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 94 | WO 00169 | PM 00333 | PDA shunt 289002227 (#02) | WT-F199 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 25-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 01877 Date 07/10/14. WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 95 | WO 00172 | PM 00336 | PDA shunt 289002226 (PF159MD) | WT-F222 | PF159MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 25-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 01877 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03963 Date: 22/02/18. WO 04614 Date 09/01/19 WO 04754 Date: 04/04/19 Inactive-Remove from line (RE/024/19). |
| 96 | WO 00173 | PM 00337 | PDA shunt 289002149 (#01) | WT-F223 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 25-Feb-11 | N | N | N | N | N | N | Y | N | NA | WO 01877 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03964 Date: 22/02/18 Return to Waters Customer. |
| 97 | WO 01732 | PM 01479 | TUV Shunt 289002450 (TF001MD) | WT-F246 | TF001MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03833 Date: 30/11/17 Inactive-Remove from line (RE/108/17). |
| 98 | WO 01733 | PM 01480 | TUV Shunt 289002450 (TF002MD) | WT-F247 | TF002MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03834 Date: 30/11/17 Inactive-Remove from line (RE/109/17). |
| 99 | WO 01734 | PM 01481 | TUV Shunt 289002450 (TF003MD) | WT-F248 | TF003MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03835 Date: 30/11/17 Inactive-Remove from line (RE/110/17). |
| 100 | WO 01735 | PM 01482 | TUV Shunt 289002450 (TF006MD) | WT-F249 | TF006MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03836 Date: 30/11/17 Inactive-Remove from line (RE/111/17). |
| 101 | WO 01736 | PM 01483 | TUV Shunt 289002450 (TF007MD) | WT-F250 | TF007MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03837 Date: 30/11/17 Inactive-Remove from line (RE/112/17). |
| 102 | WO 01737 | PM 01484 | TUV Shunt 289002450 (TF008MD) | WT-F251 | TF008MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03838 Date: 30/11/17 Inactive-Remove from line (RE/113/17). |
| 103 | WO 01738 | PM 01485 | TUV Shunt 289002450 (TM001MD) | WT-F252 | TM001MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03839 Date: 30/11/17 Inactive-Remove from line (RE/114/17). |
| 104 | WO 01739 | PM 01486 | TUV Shunt 289002450 (TM008MD) | WT-F253 | TM008MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03840 Date: 30/11/17 Inactive-Remove from line (RE/115/17). |
| 105 | WO 01740 | PM 01487 | TUV Shunt 289002450 (TM009MD) | WT-F254 | TM009MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03841 Date: 30/11/17 Inactive-Remove from line (RE/116/17). |
| 106 | WO 01741 | PM 01488 | TUV Shunt 289002450 (TM010MD) | WT-F255 | TM010MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03842 Date: 30/11/17 Inactive-Remove from line (RE/117/17). |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 107 | WO 01742 | PM 01489 | TUV Shunt 289002450 (TM011MD) | WT-F256 | TM011MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03843 Date: 30/11/17 Inactive-Remove from line (RE/118/17). |
| 108 | WO 01743 | PM 01490 | TUV Shunt 289002450 (TM012MD) | WT-F257 | TM012MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03844 Date: 30/11/17 Inactive-Remove from line (RE/119/17). |
| 109 | WO 01744 | PM 01491 | PDA shunt 289002226 (PF152MD) | WT-F258 | PF152MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17.WO 03924 Date: 12/01/18 Return to Waters Customer. |
| 110 | WO 01745 | PM 01492 | PDA shunt 289002226 (PF153MD) | WT-F259 | PF153MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03925 Date: 12/01/18. WO 04615 Date 09/01/19 WO 04755 Date: 04/04/19 Inactive-Remove from line (RE/025/19). |
| 111 | WO 01746 | PM 01493 | PDA shunt 289002226 (PF160MD) | WT-F260 | PF160MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03926 Date: 12/01/18 Return to Waters Customer. |
| 112 | WO 01747 | PM 01494 | PDA shunt 289002226 (PF165MD) | WT-F261 | PF165MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03927 Date: 12/01/18 Return to Waters Customer. |
| 113 | WO 01748 | PM 01495 | PDA shunt 289002226 (PM024MD) | WT-F262 | PM024MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03928 Date: 12/01/18 Return to Waters Customer. |
| 114 | WO 01749 | PM 01496 | PDA shunt 289002226 (PM130MD) | WT-F263 | PM130MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03929 Date: 12/01/18 Return to Waters Customer. |
| 115 | WO 01750 | PM 01497 | PDA shunt 289002226 (PM133MD) | WT-F264 | PM133MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03930 Date: 12/01/18 Return to Waters Customer. |
| 116 | WO 01751 | PM 01498 | PDA shunt 289002226 (PM134MD) | WT-F265 | PM134MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03931 Date: 12/01/18 Return to Waters Customer. |
| 117 | WO 01752 | PM 01499 | PDA shunt 289002227 (#01) | WT-F266 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03945 Date: 16/01/18 Return to Waters Customer. |
| 118 | WO 01753 | PM 01500 | PDA shunt 289002149 (#02) | WT-F267 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18 |
| 119 | WO 01754 | PM 01501 | Linearity shunt 289002219 (#02) | WT-F268 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 120 | WO 01755 | PM 01502 | Flow cell 289007555 (SFC0105) | WT-F269 | SFC0105 | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/1. WO 03932 Date: 12/01/18 Return to Waters Customer. |
| 121 | WO 01756 | PM 01503 | Flow cell 289007555 (SFC0109) | WT-F270 | SFC0109 | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03933 Date: 12/01/18 Return to Waters Customer. |
| 122 | WO 01757 | PM 01504 | Flow cell 289007555 (SFC0111) | WT-F271 | SFC0111 | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03934 Date: 12/01/18 Return to Waters Customer. |
| 123 | WO 01758 | PM 01505 | Flow cell 289007555 (SFC0113) | WT-F272 | SFC0113 | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03935 Date: 12/01/18 Return to Waters Customer. |
| 124 | WO 01759 | PM 01506 | Flow cell 289007555 (SFC0115) | WT-F273 | SFC0115 | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03936 Date: 12/01/18 Return to Waters Customer. |
| 125 | WO 01760 | PM 01507 | Flow cell 289007555 (SFC0116) | WT-F274 | SFC0116 | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03937 Date: 12/01/18 Return to Waters Customer. |
| 126 | WO 01761 | PM 01508 | PDA shunt 289002226 (PM157MD) | WT-F275 | PM157MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18 Change PM Procedure Number. |
| 127 | WO 01762 | PM 01509 | PDA shunt 289002226 (PM158MD) | WT-F276 | PM158MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03938 Date: 12/01/18 Return to Waters Customer. |
| 128 | WO 01763 | PM 01510 | PDA shunt 289002226 (PM159MD) | WT-F277 | PM159MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03939 Date: 12/01/18 Return to Waters Customer. |
| 129 | WO 01764 | PM 01511 | PDA shunt 289002226 (PM160MD) | WT-F278 | PM160MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03940 Date: 12/01/18 Return to Waters Customer. |
| 130 | WO 01765 | PM 01512 | PDA shunt 289002226 (PM161MD) | WT-F279 | PM161MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03941 Date: 12/01/18 Return to Waters Customer. |
| 131 | WO 01766 | PM 01513 | PDA shunt 289002226 (PM162MD) | WT-F280 | PM162MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03942 Date: 12/01/18 Return to Waters Customer. |
| 132 | WO 01767 | PM 01514 | PDA shunt 289002226 (PM163MD) | WT-F281 | PM163MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 10-Jul-14 | N | N | N | N | N | N | Y | N | NA | WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03943 Date: 12/01/18 Return to Waters Customer. |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 133 | WO 02328 | PM 01822 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F293 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 29-Sep-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 134 | WO 02329 | PM 01823 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F294 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 29-Sep-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 135 | WO 02330 | PM 01824 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F295 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 29-Sep-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 136 | WO 02331 | PM 01825 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F296 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 29-Sep-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 137 | WO 02468 | PM 01958 | Linearity shunt 289002219 (#03) | WT-F292 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 18-Nov-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04050 Date 16/05/18 Return to Waters Customer. |
| 138 | WO 02469 | PM 01959 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F307 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 18-Nov-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 139 | WO 02470 | PM 01960 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F308 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 18-Nov-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 140 | WO 02471 | PM 01961 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F309 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 18-Nov-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 141 | WO 02472 | PM 01962 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F310 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 18-Nov-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18 . |
| 142 | WO 02473 | PM 01963 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F311 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 18-Nov-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 143 | WO 02474 | PM 01964 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F312 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 18-Nov-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 144 | WO 02475 | PM 01965 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F313 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 18-Nov-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 145 | WO 02476 | PM 01966 | Assy, Analytical Flow Cell 2487/2489 (289007898) | WT-F314 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3001-00 | 18-Nov-15 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18. |
| 146 | WO 02854 | PM 02185 | TUV Shunt 289002450 (TM109MD) | WAT-F323 | TM109MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 13-Jun-16 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 03866 Date: 13/12/17 Inactive-Remove from line (RE/125/17). |
| 147 | WO 02855 | PM 02186 | TUV Shunt 289002450 (TM112MD) | WAT-F326 | TM112MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 13-Jun-16 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 03867 Date: 13/12/17 Inactive-Remove from line (RE/126/17). |
| 148 | WO 02856 | PM 02187 | TUV Shunt 289002450 (TM114MD) | WAT-F328 | TM114MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | SKW-ENG3009 | 13-Jun-16 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 03868 Date: 13/12/17 Inactive-Remove from line (RE/127/17). |
| 149 | WO 03151 | PM 02432 | TUV Shunt 289002450 (TM110MD) | WAT-F324 | TM110MD | Joel Mamalateo Deduyo | Engineering | 5th | Detectors Final Test | Waters | WAT-RW-SKI03034 | 28-Nov-16 | N | N | N | N | N | N | Y | N | NA | WO 03545 Date: 19/06/17. WO 03845 Date: 30/11/17. WO 04616 Date 09/01/19 WO 04756 Date 04/04/19. |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 150 | WO 03633 | PM 02683 | Aperture Assembly CPU | K07L32122W | TE82868-2 | Joel Mamalateo Deduyo | Engineering | 5th | Cleanroom | Waters | SKW-RW-SKR00035 | 18 Aug 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 151 | WO 03634 | PM 02684 | PDA Rough Alignment CPU | L07L32070W | TE82880-2 | Joel Mamalateo Deduyo | Engineering | 5th | Cleanroom | Waters | SKW-RW-SKR00035 | 18 Aug 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 152 | WO 03635 | PM 02685 | PDA Fine Alignment CPU | D08L32121W / C08BLM058C | TE82881-2 | Joel Mamalateo Deduyo | Engineering | 5th | Cleanroom | Waters | SKW-RW-SKR00035 | 18 Aug 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 153 | WO 03636 | PM 02686 | 2998 Flowcell Assembly CPU | K07L32024W/ 240907024C | TE82916-2 | Joel Mamalateo Deduyo | Engineering | 5th | Cleanroom | Waters | SKW-RW-SKR00035 | 18 Aug 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 154 | WO 03637 | PM 02687 | 2998 Rough Alignment CPU | B08L32068W | TE82917-1 | Joel Mamalateo Deduyo | Engineering | 5th | Cleanroom | Waters | SKW-RW-SKR00035 | 18 Aug 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 155 | WO 03638 | PM 02688 | 2998 Fine Alignment CPU | B08L32065W | TE82918-2 | Joel Mamalateo Deduyo | Engineering | 5th | Cleanroom | Waters | SKW-RW-SKR00035 | 18 Aug 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 156 | WO 03639 | PM 02689 | PDA Assembly CPU | J06L32014W / G06BLM650C | TE82951-1 | Joel Mamalateo Deduyo | Engineering | 5th | Cleanroom | Waters | SKW-RW-SKR00035 | 18 Aug 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 157 | WO 03640 | PM 02690 | 2998 Flowcell Tester CPU | B08L32248W/ A08BLM491C | TE82973-1 | Joel Mamalateo Deduyo | Engineering | 5th | Cleanroom | Waters | SKW-RW-SKR00035 | 18 Aug 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 158 | WO 03641 | PM 02691 | TUV Shunt 289002450 (TF004MD) | NA | TF004MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 21 Aug 17 | N | N | N | N | N | N | N | Y | NA | WO 03869 Date: 13/12/17 Inactive-Remove from line (RE/128/17). |
| 159 | WO 03642 | PM 02692 | TUV Shunt 289002450 (TM107MD) | NA | TM107MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 21 Aug 17 | N | N | N | N | N | N | N | Y | NA | WO 03870 Date: 13/12/17 Inactive-Remove from line (RE/129/17). |
| 160 | WO 03643 | PM 02693 | TUV Shunt 289002450 (TM108MD) | NA | TM108MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 21 Aug 17 | N | N | N | N | N | N | N | Y | NA | WO 03846 Date: 30/11/17 WO 04617 Date 09/01/19. |
| 161 | WO 03644 | PM 02694 | TUV Shunt 289002450 (TM111MD) | NA | TM111MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 21 Aug 17 | N | N | N | N | N | N | N | Y | NA | WO 03847 Date: 30/11/17 WO 04618 Date 09/01/19. |
| 162 | WO 03645 | PM 02695 | TUV Shunt 289002450 (TM113MD) | NA | TM113MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 21 Aug 17 | N | N | N | N | N | N | N | Y | NA | WO 03871 Date: 13/12/17 Inactive-Remove from line (RE/130/17). |
| 163 | WO 03646 | PM 02696 | TUV Shunt 289002450 (TM115MD) | NA | TM115MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 21 Aug 17 | N | N | N | N | N | N | N | Y | NA | WO 03872 Date: 13/12/17 Inactive-Remove from line (RE/131/17). |
| 164 | WO 03647 | PM 02697 | TUV Shunt 289002450 (TM116MD) | NA | TM116MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 21 Aug 17 | N | N | N | N | N | N | N | Y | NA | WO 03873 Date: 13/12/17 WO 04619 Date 09/01/19. |
| 165 | WO 03648 | PM 02698 | Flow cell 289007555 (SFC0452) | NA | SFC0452 | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test / Dry Cabinet | Waters | SKW-ENG3001-00 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 04568 Date 21/11/18. |
| 166 | WO 03649 | PM 02699 | Flow cell 289007555 (SFC0454) | NA | SFC0454 | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test / Dry Cabinet | Waters | SKW-ENG3001-00 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 04568 Date 21/11/18. |
| 167 | WO 03650 | PM 02700 | Flow cell 289007555 (SFC0455) | NA | SFC0455 | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test / Dry Cabinet | Waters | SKW-ENG3001-00 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 04568 Date 21/11/18. |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 168 | WO 03651 | PM 02701 | Flow cell 289007555 (SFC0463) | NA | SFC0463 | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test / Dry Cabinet | Waters | SKW-ENG3009 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 03944 Date: 12/01/18 Return to Waters Customer. |
| 169 | WO 03652 | PM 02702 | PDA shunt 289002149 (Large 1) | NA | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test / Dry Cabinet | Waters | SKW-ENG3009 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 03965 Date: 22/02/18 Return to Waters Customer. |
| 170 | WO 03653 | PM 02703 | PDA shunt 289002149 (Large 2) | NA | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test / Dry Cabinet | Waters | SKW-ENG3009 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 03966 Date: 22/02/18 Return to Waters Customer. |
| 171 | WO 03654 | PM 02704 | PDA shunt 289002227 (Small 1) | NA | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test / Dry Cabinet | Waters | SKW-ENG3009 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 03967 Date: 22/02/18 Return to Waters Customer. |
| 172 | WO 03655 | PM 02705 | PDA shunt 289002227 (Small 2) | NA | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test / Dry Cabinet | Waters | SKW-ENG3009 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 03968 Date: 22/02/18 Return to Waters Customer. |
| 173 | WO 03656 | PM 02706 | PDA shunt 289002226 (PM003MD) | NA | PM003MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | SKW-ENG3001-00 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 03969 Date: 22/02/18. WO 05129 Date 03/09/19 . |
| 174 | WO 03657 | PM 02707 | PDA shunt 289002226 (PM021MD) | NA | PM021MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | SKW-ENG3001-00 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 04568 Date 21/11/18. WO 05118 Date 20/08/19 Inactive-Remove from line (RE/039/19). |
| 175 | WO 03658 | PM 02708 | PDA shunt 289002226 (PM023MD) | NA | PM023MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | SKW-ENG3001-00 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 04568 Date 21/11/18 . |
| 176 | WO 03659 | PM 02709 | PDA shunt 289002226 (PM179MD) | NA | PM179MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | SKW-ENG3001-00 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 04568 Date 21/11/18. |
| 177 | WO 03660 | PM 02710 | PDA shunt 289002226 (PM180MD) | NA | PM180MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | SKW-ENG3001-00 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 03970 Date: 22/02/18. WO 05130 Date 03/09/19. |
| 178 | WO 03661 | PM 02711 | PDA shunt 289002226 (PM224MD) | NA | PM224MD | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | SKW-ENG3001-00 | 21 Aug 17 | N | N | N | N | N | N | Y | N | NA | WO 04568 Date 21/11/18. |
| 179 | WO 03788 | PM 02750 | TUV Shunt 289002450 (TM145MD) | TM145MD | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 31 Oct 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 180 | WO 03789 | PM 02751 | TUV Shunt 289002450 (TM0019) | TM0019 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 31 Oct 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 181 | WO 03790 | PM 02752 | TUV Shunt 289002450 (TM129MD) | TM129MD | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 31 Oct 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 182 | WO 03791 | PM 02753 | Benchtop Measuring Machine (Starlite 150) | RSL 1002609 | 95515 | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI04483 | 02 Nov 17 | N | N | N | N | N | N | N | Y | NA | WO 03950 Date 24/01/18. |
| 183 | WO 03805 | PM 02758 | TUV Shunt 289002450 (TM150MD) | TM150MD | NA | Joel Mamalateo Deduyo | Engineering | 5th | Detector Final Test | Waters | WAT-RW-SKI03034 | 09 Nov 17 | N | N | N | N | N | N | N | Y | NA | NA |
| 184 | WO 04089 | PM 02866 | Prime / Purge Module | NA | TE82733-7 | Joel Mamalateo Deduyo | Engineering | 5th | Production eAlliance | Waters | WAT-RW-SKI04071 | 13 Jun 18 | N | N | N | N | N | N | N | Y | NA | NA |
| 185 | WO 04090 | PM 02867 | Alliance Final Tester 6 CPU | A14L32340W | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production eAlliance | Waters | WAT-RW-SKI04210 | 13 Jun 18 | N | N | N | N | N | N | N | Y | NA | NA |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 186 | WO 04352 | PM 03103 | Printer (LaserJet Pro M402dn) | PHCND52518 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production Alliance | Waters | SKW-RW-SKR00035 | 15 Aug 18 | N | N | N | N | N | N | N | Y | NA | NA |
| 187 | WO 04353 | PM 03104 | Printer (LaserJet Pro M402dn) | PHCNF49758 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | SKW-RW-SKR00035 | 15 Aug 18 | N | N | N | N | N | N | N | Y | NA | NA |
| 188 | WO 04354 | PM 03105 | Printer (LaserJet Pro M402dn) | PHCNH24483 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production (Detector) | Waters | SKW-RW-SKR00035 | 15 Aug 18 | N | N | N | N | N | N | N | Y | NA | NA |
| 189 | WO 04355 | PM 03106 | Printer (LaserJet P3005n) | JPKGJ01942 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production (Pump Series) | Waters | SKW-RW-SKR00035 | 15 Aug 18 | N | N | N | N | N | N | N | Y | NA | NA |
| 190 | WO 04601 | PM 03250 | Printer (LaserJet Pro M402dn) | PHCNH24481 | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | SKW-RW-SKR00035 | 13 Dec 18 | N | N | N | N | N | N | N | Y | NA | NA |
| 191 | WO 04635 | PM 03268 | Autoloader-3 CPU | 8189MU5 KLTL939 | 186002364 | Joel Mamalateo Deduyo | Engineering | 5th | Production Floor | Waters | SKW-RW-SKR00035 | 22 Jan 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 192 | WO 04677 | PM 03300 | Heater Cooler Tester | L18L32381W | TE0084018-1 | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI04210 | 25 Feb 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 193 | WO 04739 | PM 03319 | Temperature Control Module | J99TCM867R | 81024 | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05135 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 194 | WO 04740 | PM 03320 | Temperature Control Module | G01TCM633M | 81026 | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05135 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 195 | WO 04741 | PM 03321 | Temperature Control Module | MX4MM6882M | 81027 | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05135 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 196 | WO 04742 | PM 03322 | Temperature Control Module | MX5DM2250R | 81028 | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05135 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 197 | WO 04743 | PM 03323 | Temperature Control Module | H01TCM643M | 81029 | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05135 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 198 | WO 04744 | PM 03324 | Temperature Control Module | MX5MM4884M | 81030 | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05135 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 199 | WO 04745 | PM 03325 | Temperature Control Module | E97TCM153R | 81033 | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05135 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 200 | WO 04746 | PM 03326 | Temperature Control Module 2 | A18TC2481G | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05131 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 201 | WO 04747 | PM 03327 | Temperature Control Module 2 | B18TC2495G | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05131 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 202 | WO 04748 | PM 03328 | Temperature Control Module 2 | F13TC2204G | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05131 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 203 | WO 04749 | PM 03329 | Temperature Control Module 2 | F13TC2180G | NA | Joel Mamalateo Deduyo | Engineering | 5th | Production (Alliance) | Waters | WAT-RW-SKI05131 | 02 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 204 | WO 04800 | PM 03371 | TUV Detector | M09UPT366A | N/A | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 18 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 205 | WO 04801 | PM 03372 | TUV Detector | M09UPT364A | 84010 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 17 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 206 | WO 04802 | PM 03373 | TUV Detector | M09UPT361A | 84007 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 17 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 207 | WO 04803 | PM 03374 | TUV Detector | K09UPT215A | 84011 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 17 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 208 | WO 04804 | PM 03375 | TUV Detector | M09UPT362A | 84008 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 17 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 209 | WO 04805 | PM 03376 | TUV Detector | M09UPT363A | 84009 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 18 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 210 | WO 04806 | PM 03377 | TUV Detector | M09UPT360A | 84006 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 18 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 211 | WO 04807 | PM 03378 | TUV Detector | M09UPT359A | 84005 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 18 Apr 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 212 | WO 04944 | PM 03477 | Acquity SDS tester | NA | TE82943-11 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 14 Jun 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 213 | WO 04945 | PM 03478 | Acquity SDS tester | NA | TE82943-12 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 14 Jun 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 214 | WO 04946 | PM 03479 | Acquity SDS tester | NA | TE82943-13 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 14 Jun 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 215 | WO 04947 | PM 03480 | Acquity SDS tester | NA | TE82943-14 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 14 Jun 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 216 | WO 04948 | PM 03481 | Acquity SDS tester | NA | TE82943-15 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 17 Jun 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 217 | WO 04949 | PM 03482 | Acquity SDS tester | NA | TE82943-16 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 17 Jun 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 218 | WO 04950 | PM 03483 | Acquity SDS tester | NA | TE82943-17 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 17 Jun 19 | N | N | N | N | N | N | N | Y | NA | NA |
| 219 | WO 04951 | PM 03484 | Acquity SDS tester | NA | TE82943-18 | Joel Mamalateo Deduyo | Engineering | 5th | Production (BSM/QSM) | Waters | WAT-RW-SKI01716 | 17 Jun 19 | N | N | N | N | N | N | N | Y | NA | NA |

| [1] S/No | [2] WORK ORDER ID | [3] EQUIPMENT ID | [4] DESCRIPTION | [5] EQUIPMENT S/N. (IF ANY) | [6] CUSTOMER EQUIPMENT ID (IF ANY) | [7] EQUIPMENT OWNER | [8] DEPARTMENT | [9] FLOOR | [10] LOCATION | [11] PRODUCT | [12] PM PROCEDURE | [13] INITIAL DATE | [14] PM FREQUENCY |  |  |  |  |  |  |  |  | [15] REMARK |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | DAILY | WEEKLY | BIWEEKLY | MONTHLY | BIMONTHLY | QUARTERLY | HALF YEARLY | YEARLY | OTHERS |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) | ( Y / N ) |  |  |
| 220 | WO 05605 | PM 03816 | 2690 Pump Tray Tester | NA | TE 82526-2 | Joel Mamalateo Deduyo | Engineering | 5th | Alliance Pump Tray Station | Waters | WAT-RW-SKI00306 | 10-Feb-20 | N | N | N | N | N | N | Y | N | NA | NA |