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	( Y / N )
	( Y / N )
	( Y / N )
	( Y / N )
	( Y / N )
	( Y / N )
	( Y / N )
	( Y / N )
	
	

	1
	WO 00366
	PM 00400
	2690 Pump Tray Tester
	TE 82526-1
	TE 82526-1
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Pump Tray Station
	Waters
	WAT-RW-SKI00306
	24-Feb-10
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	2
	WO 00367
	PM 00401
	2690 Pump Tray Tester
	TE 825`26-4
	TE 82526-4
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Pump Tray Station
	Waters
	WAT-RW-SKI00306
	24-Feb-10
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01077 Date: 21/02/13.                        WO 02176 Date 11/05/15.

	3
	WO 00368
	PM 00402
	2690 Pump Tray Tester
	TE 82526
	TE 82526
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Pump Tray Station
	Waters
	WAT-RW-SKI00306
	24-Feb-10
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	4
	WO 00369
	PM 00403
	2690 Keypad LCD Tester
	TE 82546
	TE 82546
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Front Panel Station
	Waters
	WAT-RW-SKI00281
	26-Feb-10
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	5
	WO 00370
	PM 00404
	2690 Carousel Carrier Drive Alignment Station
	TE 82520
	TE 82520
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Carousel Station
	Waters
	WAT-RW-SKI00297
	26-Feb-10
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01597 Date: 20/01/14                         Equipment Return Customer.

	6
	WO 00371
	PM 00405
	Fluidics Tray Tester (Vacuum Degasser)
	TE 82523-3
	TE 82523-3
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Heater Cooler Station
	Waters
	WAT-RW-SKI00304/308
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	7
	WO 00372
	PM 00406
	2690/2790 Syringe Drive Tester
	TE 82656
	TE 82656
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Car Plate Syringe Drive Station
	Waters
	WAT-RW-SKI02048
	26-Feb-10
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03516 Date: 17/05/17.

	8
	WO 00373
	PM 00407
	0 Ring  Body Leak tester
	TE 82626
	TE 82626
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Car Plate Syringe Drive Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 02758 Date: 15/03/16.                           WO 03910 Date 19/12/17.

	9
	WO 00374
	PM 00408
	In Line Degasser
	MX6CM8215R
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Pump Tray Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01571 Date 03/12/13.                     WO 02177 Date 11/05/15.

	10
	WO 00375
	PM 00409
	In Line Degasser
	L02DG2367M
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Pump Tray Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	11
	WO 00376
	PM 00410
	In Line Degasser
	M05DG2685M
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Injector  Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01294 Date 26/06/13.

	12
	WO 00377
	PM 00411
	In Line Degasser
	F10DG2565M
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Pump Tray Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	13
	WO 00378
	PM 00412
	In Line Degasser
	M05DG2691M
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance HPMV Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	14
	WO 00379
	PM 00413
	In Line Degasser
	F10DG2553M
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Injector Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01077 Date: 21/02/13.                                    WO 02759 Date 15/03/16.

	15
	WO 00380
	PM 00414
	In Line Degasser
	M05DG2694M
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	1525/1515/515 Pump Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	16
	WO 00381
	PM 00415
	In Line Degasser
	H04DG2941M
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	1525/1515/515 Pump Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	17
	WO 00382
	PM 00476
	In Line Degasser
	F09DG2292M
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	18
	WO 00383
	PM 00477
	In Line Degasser
	M09DG2458M
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.
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	19
	WO 00384
	PM 00478
	Acquity Actuater Tester
	TE 82800 - 2
	TE 82800 - 2
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	WAT-RW-SKI02034
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03517 Date: 17/05/17.

	20
	WO 00385
	PM 00479
	Acquity Actuater Tester
	TE 82800 - 3
	TE 82800 - 3
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	WAT-RW-SKI02034
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03518 Date: 17/05/17.

	21
	WO 00386
	PM 00480
	515 Bezel Assembly Tester
	TE 82851
	TE 82851
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	1525/1515/515 Pump Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	22
	WO 00387
	PM 00481
	Pump Mechanics Run In Module
	TE 82613
	TE 82613
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	1525/1515/515 Pump Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	23
	WO 00388
	PM 00486
	Dispenser Control Box
	85070
	85070
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Injector Station
	Waters
	SKW-RW-SKR00035
	26-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 02760 Date: 15/03/16.                                 WO 03911 Date 19/12/17.

	24
	WO 00389
	PM 00487
	Electrical Safety Analyser
	4406959
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Station
	Waters
	WAT-RW-SKI00279
	04-Aug-09
	Y
	N
	N
	N
	N
	N
	N
	N
	NA
	WO 01078 Date: 21/02/13                        Equipment Not In Use.                                          WO 01298 Date 02/07/13.

	25
	WO 00390
	PM 00488
	Electrical Safety Analyser
	5037655
	95037
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	WAT-RW-SKI01711
	04-Aug-09
	Y
	N
	N
	N
	N
	N
	N
	N
	NA
	WO 01295 Date 26/06/13.                                    WO 01299 Date 02/07/13.

	
	
	
	
	
	
	
	
	
	
	
	WAT-RW-SKI02703
	16-Jan-19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 05253 Date 15/10/19                             Change PM Procedure number & add Yearly Frequency.

	26
	WO 00391
	PM 00489
	Electrical Safety Analyser
	6069766
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Station
	Waters
	WAT-RW-SKI01711
	17-Mar-10
	Y
	N
	N
	N
	N
	N
	N
	N
	NA
	WO 01296 Date 26/06/13.                       WO 01300 Date 02/07/13.

	
	
	
	
	
	
	
	
	
	
	
	WAT-RW-SKI02703
	11-Dec-18
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 05254 Date 15/10/19                          Change PM Procedure number & add Yearly Frequency.

	27
	WO 00392
	PM 00490
	Electrical Safety Analyser
	1140660
	90282
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Detector Station
	Waters
	WAT-RW-SKI00279
	01-Jun-10
	Y
	N
	N
	N
	N
	N
	N
	N
	NA
	WO 01297 Date 26/06/13.                          WO 01301 Date 02/07/13.                          WO 01302 Date 02/07/13.                       WO 01572 Date 03/12/13                                 Inactive-Remove from line (RE/094/13) 

	28
	WO 01332
	PM 01270
	Tubing Sokaing System
	NA
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	1st
	Tube Cutting Area
	Waters
	WAT-RW-SKI02576
	23-Jul-13
	N
	Y
	N
	N
	N
	N
	N
	N
	NA
	WO 02612 Date 18/01/16                           Inactive-Remove from line (RE/009/16).

	
	
	
	Tubing Sokaing System
	NA
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	1st
	Tube Cutting Area
	Waters
	WAT-RW-SKI02576
	23-Jul-13
	N
	N
	N
	Y
	N
	N
	N
	N
	NA
	

	29
	WO 01347
	PM 01283
	515 Pump Final Test CPU
	SFST0259365
	TE 82534
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	515/1500 series Pump Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 02178 Date 11/05/15                             Equipment Return to Customer.

	30
	WO 01348
	PM 01284
	1500 Pump Series Final Test CPU
	B05L32002W
	TE 82705-2
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	515/1500 series Pump Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 02179 Date 11/05/15                          Equipment Return to Customer.

	31
	WO 01349
	PM 01285
	BSM / QSM Actuator Tester CPU
	E85-05687
	TE 82800-2
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	32
	WO 01350
	PM 01286
	BSM / QSM Actuator Tester CPU
	KKPABOR
	TE 82800-3
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.
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	33
	WO 01351
	PM 01287
	BSM / QSM Final Test CPU
	H08L32067W / G08BLM431C
	TE 82943-11
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	34
	WO 01352
	PM 01288
	BSM / QSM Final Test CPU
	M08L32055W
	TE 82943-12
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	35
	WO 01353
	PM 01289
	BSM / QSM Final Test CPU
	M08L32151W
	TE 82943-13
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	36
	WO 01354
	PM 01290
	BSM / QSM Final Test CPU
	M08L32177W
	TE 82943-14
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	37
	WO 01355
	PM 01291
	BSM / QSM Final Test CPU
	M08L32051W
	TE 82943-15
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	38
	WO 01356
	PM 01292
	BSM / QSM Final Test CPU
	B08L32155W / A08LM136C
	TE 82943-16
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	39
	WO 01357
	PM 01293
	BSM / QSM Final Test CPU
	H07L32328W / G07BLM843C
	TE 82943-17
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	40
	WO 01358
	PM 01294
	BSM / QSM Final Test CPU
	LO8L32004W / J08BLM106C
	TE 82943-18
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	BSM/QSM Station
	Waters
	SKW-RW-SKR00035
	02-Jul-12
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	41
	WO 01573
	PM 01390
	In Line Degasser
	G13DG2138M
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Alliance Pump Tray Station
	Waters
	SKW-RW-SKR00035
	03-Dec-13
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	42
	WO 01574
	PM 01391
	Guardian 6000 Plus Electrical Safety Analyser
	08280865
	NA
	Joel Mamalateo Deduyo
	Test Engineering
	5th
	Detector Station
	Waters
	WAT-RW-SKI01711
	29-Nov-13
	Y
	N
	N
	N
	N
	N
	N
	N
	NA
	WO 05255 Date 15/10/19                           Change PM Procedure number & add Yearly Frequency.

	
	
	
	
	
	
	
	
	
	
	
	WAT-RW-SKI02703
	22-Oct-18
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	

	43
	WO 01596
	PM 01396
	Carousel tester (Alliance CCD tester)
	TE 82520-1
	TE 82520-1
	Joel Mamalateo Deduyo
	Engineering
	5th
	Alliance Carousel Station
	Waters
	WAT-RW-SKI00297
	14-Jun-13
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.

	44
	WO 01786
	PM 01524
	PDA Linearity test system
	C08L32208W
	TE82969-1
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	WAT-RW-SKI02997
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 02761 Date 15/03/16.                                  WO 03519 Date: 17/05/17.

	45
	WO 01787
	PM 01525
	Detector Programming / Downloading CPU
	C08L32078W
	TE83057-4
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 04447 Date 21/09/18.

	46
	WO 01788
	PM 01526
	Detector Programming / Downloading CPU
	H04BLM012C / J04L32108W
	TE82964-1
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	47
	WO 01789
	PM 01527
	TUV / 2489 Final test CPU
	G05L32009W
	TE82903-06
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	WAT-RW-SKI03034
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03588 Date 21/07/17.

	48
	WO 01790
	PM 01528
	TUV / 2489 Final test CPU
	J04L32091W
	TE82903-9
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	WAT-RW-SKI03034
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03589 Date 21/07/17. 
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	49
	WO 01791
	PM 01529
	TUV / 2489 Final test CPU
	J04L32120W
	TE82903-8
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	WAT-RW-SKI03034
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03590 Date 21/07/17

	50
	WO 01792
	PM 01530
	TUV / 2489 Final test CPU
	J04L32102W
	TE82903-10
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	WAT-RW-SKI03034
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03591 Date 21/07/17. 

	51
	WO 01793
	PM 01531
	2998 / PDA / eLAMDA Final Test CPU
	E13L32018W
	TE82882-8
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	52
	WO 01794
	PM 01532
	2998 / PDA / eLAMDA Final Test CPU
	B08L32264W / A08BLM670C
	TE82882-6
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 02180 Date 11/05/15                           Equipment Return to Customer.

	53
	WO 01795
	PM 01533
	2998 / PDA / eLAMDA Final Test CPU
	D04BLM247C / H04L32213W
	TE82882-1
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 02181 Date 11/05/15                            Equipment Return to Customer.

	54
	WO 01796
	PM 01534
	2998 / PDA / eLAMDA Final Test CPU
	B08L32082W
	TE82882-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 04562 Date 09/11/18                                 Inactive-Remove from line (RE/036/18).

	55
	WO 01797
	PM 01535
	2998 / PDA / eLAMDA Final Test CPU
	G07L32030W / F07BLM123C
	TE82882-5
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	05-AUG-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 02182 Date 11/05/15                             Equipment Return to Customer.

	56
	WO 01867
	PM 01573
	Rear Panel Test CPU
	C08L32093W
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	25-Sep-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	57
	WO 01868
	PM 01574
	Autoloader 2 CPU
	B08L32122N
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	25-Sep-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	58
	WO 01869
	PM 01575
	Transfer Module
	TE82659-2
	TE82659-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	25-Sep-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	59
	WO 01870
	PM 01576
	Flow cell Tester
	G08998943N
	TE186002998
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	25-Sep-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	60
	WO 01871
	PM 01577
	Filter Wheel Tester
	TE82965
	TE82965
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	25-Sep-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	61
	WO 01872
	PM 01578
	Light Meter
	9120000-3
	9120000-3
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	25-Sep-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 02762 Date: 15/03/16                               Inactive-Remove from line (RE/015/16).

	62
	WO 01873
	PM 01579
	TUV Lamp Supply
	TE82874
	TE82874
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	25-Sep-14
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	63
	WO 02183
	PM 01725
	Chroma Electrical Safety Analyzer
	19032G000182
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	WAT-RW-SKI01711
	15-May-15
	Y
	N
	N
	N
	N
	N
	N
	N
	NA
	WO 05256 Date 15/10/19                               Change PM Procedure number & add Yearly Frequency.

	
	
	
	
	
	
	
	
	
	
	
	WAT-RW-SKI02703
	26-Nov-18
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	

	64
	WO 02184
	PM 01726
	Carousel Tester
	NA
	TE82520-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	WAT-RW-SKI00297
	15-May-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA.
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	65
	WO 02185
	PM 01727
	515 Pump Final Test CPU
	LMGKCVW
	TE82534
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	11-May-15
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	66
	WO 02186
	PM 01728
	1500 series Final CPU
	LMGPRBH
	TE82705-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	11-May-15
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	67
	WO 02187
	PM 01729
	Alliance Final Tester 1 CPU
	KKPAAOH
	NA
	Joel Mamalateo Deduyo
	Engineering 
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	11-May-15
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03177 Date: 05/12/16                      Inactive-Remove from line (RE/054/16).

	68
	WO 02188
	PM 01730
	Alliance Final Tester 2 CPU
	KKPRA3T
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	11-May-15
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	69
	WO 02189
	PM 01731
	Alliance Final Tester 3 CPU
	M11L32097W
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	11-May-15
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	70
	WO 02190
	PM 01732
	Alliance Final Tester 4 CPU
	H10L32039W
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	11-May-15
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	71
	WO 02191
	PM 01733
	2998 / PDA / elamda Final Test CPU
	NA
	TE82882-09
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	11-May-15
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	72
	WO 02192
	PM 01734
	2998 / PDA / elamda Final Test CPU
	M12L32412W
	TE82882-10
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	11-May-15
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	73
	WO 02193
	PM 01735
	2998 / PDA / elamda Final Test CPU
	F13L32287W
	TE82882-11
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	11-May-15
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA.

	74
	WO 02194
	PM 01736
	Acquity Actuator Homing box
	NA
	TE83076-3
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	WAT-RW-SKI02962
	11-May-15
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03592 Date 24/07/17. 

	75
	WO 00076
	PM 00143
	Laboratory Fume Hood
	040318000D
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Preparation Room
	Waters
	SKW-RW-SKR00240
	31-Jan-11
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	
	
	
	Laboratory Fume Hood
	040318000D
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Preparation Room
	Waters
	SKW-RW-SKR00240
	29-Aug-12
	N
	N
	N
	Y
	N
	N
	N
	N
	NA
	WO 00869 Date 27/08/12.

	76
	WO 00846
	PM 00796
	Purelab Ultra MK2 Analytic
	UAC279329
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Preparation Lab
	Waters
	WAT-RW-SKI00671
	07-Jun-10
	Y
	N
	N
	N
	N
	N
	N
	N
	NA
	NA

	
	
	
	Purelab Ultra MK2 Analytic
	UAC279329
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Preparation Lab
	Waters
	WAT-RW-SKI00671
	07-Jun-10
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 04012 Date 03/04/18.                           WO 04068 Date 25/05/18. 

	77
	WO 00862
	PM 01126
	Ultrasonic Tank System
	ENA03C497542F
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Preparation Lab
	Waters
	WAT-RW-SKI01746
	23-Aug-12
	N
	N
	N
	Y
	N
	N
	N
	N
	NA
	NA

	78
	WO 01435
	PM 01351
	Purelab Prima 90
	P90F229898
	NA
	Joel Mamalateo Deduyo
	Engineering
	1st
	Tube Cutting
	Waters
	WAT-RW-SKI01770
	29-Jul-13
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01523 Date: 19/09/13.                                     WO 02794 Date: 03/05/16                                    Inactive-Remove from line (RE/020/16).

	
	
	
	Purelab Prima 90
	P90F229898
	NA
	Joel Mamalateo Deduyo
	Engineering
	1st
	Tube Cutting
	Waters
	WAT-RW-SKI02637
	12-Aug-13
	N
	N
	N
	Y
	N
	N
	N
	N
	NA
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	79
	WO 02756
	PM 02120
	PDA Final Tester
	S4ALMVW
	TE82882-13
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	15-Mar- 16
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	80
	WO 02757
	PM 02121
	PDA Final Tester
	S4ALYMH
	TE82882-14
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	15-Mar-16
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	81
	WO 02821
	PM 02153
	Alliance Final Tester 5 CPU
	C12L32205W
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	24-May- 16
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	82
	WO 02938
	PM 02246
	Vision Measuring System
	100
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production area
	Waters
	SKW-RW-SKR00035
	04-Jul-16
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	83
	WO 03176
	PM 02448
	Alliance Final Tester 1 CPU
	C12L32255W
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Floor
	Waters
	SKW-RW-SKR00035
	06-Dec- 16
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	84
	WO 03201
	PM 02464
	SQT / ORT Station
	NA
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Area
	Waters
	SKW-RW-SKR00035
	23-Dec- 16
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	85
	WO 03508
	PM 02618
	Prime / Purge Module
	NA
	TE82733-1
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production eAlliance
	Waters
	WAT-RW-SKI04071
	03-May- 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	86
	WO 03509
	PM 02619
	Prime / Purge Module
	NA
	TE82733-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production eAlliance
	Waters
	WAT-RW-SKI04071
	03-May- 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	87
	WO 03510
	PM 02620
	Prime / Purge Module
	NA
	TE82733-3
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production eAlliance
	Waters
	WAT-RW-SKI04071
	03-May- 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	88
	WO 03511
	PM 02621
	Prime / Purge Module
	NA
	TE82733-4
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production eAlliance
	Waters
	WAT-RW-SKI04071
	03-May- 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	89
	WO 03512
	PM 02622
	Prime / Purge Module
	NA
	TE82733-5
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production eAlliance
	Waters
	WAT-RW-SKI04071
	03-May- 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	90
	WO 03513
	PM 02623
	Prime / Purge Module
	NA
	TE82733-6
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production eAlliance
	Waters
	WAT-RW-SKI04071
	03-May- 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	91
	WO 00157
	PM 00321
	TUV Shunt 289002450 (TM007MD)
	WT-F186
	TM007MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	
Detectors Final Test
	Waters
	SKW-ENG3009
	25-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01877 Date 07/10/14.                                     WO 03545 Date: 19/06/17.                                     WO 03864 Date: 13/12/17                              Inactive-Remove from line (RE/123/17).

	92
	WO 00162
	PM 00326
	TUV Shunt 289002450 (TM014MD)
	WT-F191
	TM014MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	25-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01877 Date 07/10/14.                                       WO 03545 Date: 19/06/17.                           WO 03865 Date: 13/12/17                               Inactive-Remove from line (RE/124/17).

	93
	WO 00167
	PM 00331
	PDA shunt 289002226 (PM026MD)
	WT-F196
	PM026MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	25-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01877 Date 07/10/14.                                     WO 03545 Date: 19/06/17.                             WO 03962 Date: 22/02/18                          Return to Waters Customer.
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	94
	WO 00169
	PM 00333
	PDA shunt 289002227 (#02)
	WT-F199
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	25-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01877 Date 07/10/14.                                  WO 03545 Date: 19/06/17.                               WO 04568 Date 21/11/18.

	95
	WO 00172
	PM 00336
	PDA shunt 289002226 (PF159MD)
	WT-F222
	PF159MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	25-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01877 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03963 Date: 22/02/18. WO 04614 Date 09/01/19 WO 04754 Date: 04/04/19 Inactive-Remove from line (RE/024/19).

	96
	WO 00173
	PM 00337
	PDA shunt 289002149 (#01)
	WT-F223
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	25-Feb-11
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01877 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03964 Date: 22/02/18 Return to Waters Customer.

	97
	WO 01732
	PM 01479
	TUV Shunt 289002450 (TF001MD)
	WT-F246
	TF001MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03833 Date: 30/11/17 Inactive-Remove from line (RE/108/17).

	98
	WO 01733
	PM 01480
	TUV Shunt 289002450 (TF002MD)
	WT-F247
	TF002MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03834 Date: 30/11/17 Inactive-Remove from line (RE/109/17).

	99
	WO 01734
	PM 01481
	TUV Shunt 289002450 (TF003MD)
	WT-F248
	TF003MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03835 Date: 30/11/17 Inactive-Remove from line (RE/110/17).

	100
	WO 01735
	PM 01482
	TUV Shunt 289002450 (TF006MD)
	WT-F249
	TF006MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03836 Date: 30/11/17 Inactive-Remove from line (RE/111/17).

	101
	WO 01736
	PM 01483
	TUV Shunt 289002450 (TF007MD)
	WT-F250
	TF007MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03837 Date: 30/11/17 Inactive-Remove from line (RE/112/17).

	102
	WO 01737
	PM 01484
	TUV Shunt 289002450 (TF008MD)
	WT-F251
	TF008MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03838 Date: 30/11/17 Inactive-Remove from line (RE/113/17).

	103
	WO 01738
	PM 01485
	TUV Shunt 289002450 (TM001MD)
	WT-F252
	TM001MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03839 Date: 30/11/17 Inactive-Remove from line (RE/114/17).

	104
	WO 01739
	PM 01486
	TUV Shunt 289002450 (TM008MD)
	WT-F253
	TM008MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03840 Date: 30/11/17 Inactive-Remove from line (RE/115/17).

	105
	WO 01740
	PM 01487
	TUV Shunt 289002450 (TM009MD)
	WT-F254
	TM009MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03841 Date: 30/11/17 Inactive-Remove from line (RE/116/17).

	106
	WO 01741
	PM 01488
	TUV Shunt 289002450 (TM010MD)
	WT-F255
	TM010MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03842 Date: 30/11/17 Inactive-Remove from line (RE/117/17).
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	107
	WO 01742
	PM 01489
	TUV Shunt 289002450 (TM011MD)
	WT-F256
	TM011MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03843 Date: 30/11/17 Inactive-Remove from line (RE/118/17).

	108
	WO 01743
	PM 01490
	TUV Shunt 289002450 (TM012MD)
	WT-F257
	TM012MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03844 Date: 30/11/17 Inactive-Remove from line (RE/119/17).

	109
	WO 01744
	PM 01491
	PDA shunt 289002226 (PF152MD)
	WT-F258
	PF152MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17.WO 03924 Date: 12/01/18 Return to Waters Customer.

	110
	WO 01745
	PM 01492
	PDA shunt 289002226 (PF153MD)
	WT-F259
	PF153MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03925 Date: 12/01/18. WO 04615 Date 09/01/19 WO 04755 Date: 04/04/19 Inactive-Remove from line (RE/025/19).

	111
	WO 01746
	PM 01493
	PDA shunt 289002226 (PF160MD)
	WT-F260
	PF160MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03926 Date: 12/01/18 Return to Waters Customer.

	112
	WO 01747
	PM 01494
	PDA shunt 289002226 (PF165MD)
	WT-F261
	PF165MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03927 Date: 12/01/18 Return to Waters Customer.

	113
	WO 01748
	PM 01495
	PDA shunt 289002226 (PM024MD)
	WT-F262
	PM024MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03928 Date: 12/01/18 Return to Waters Customer.

	114
	WO 01749
	PM 01496
	PDA shunt 289002226 (PM130MD)
	WT-F263
	PM130MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03929 Date: 12/01/18 Return to Waters Customer.

	115
	WO 01750
	PM 01497
	PDA shunt 289002226 (PM133MD)
	WT-F264
	PM133MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03930 Date: 12/01/18 Return to Waters Customer.

	116
	WO 01751
	PM 01498
	PDA shunt 289002226 (PM134MD)
	WT-F265
	PM134MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03931 Date: 12/01/18 Return to Waters Customer.

	117
	WO 01752
	PM 01499
	PDA shunt 289002227 (#01)
	WT-F266
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03945 Date: 16/01/18 Return to Waters Customer.

	118
	WO 01753
	PM 01500
	PDA shunt 289002149 (#02)
	WT-F267
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14.                     WO 03545 Date: 19/06/17.                                                    WO 04568 Date 21/11/18 

	119
	WO 01754
	PM 01501
	Linearity shunt 289002219 (#02)
	WT-F268
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17.                                           WO 04568 Date 21/11/18.
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	120
	WO 01755
	PM 01502
	Flow cell 289007555 (SFC0105)
	WT-F269
	SFC0105
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/1. WO 03932 Date: 12/01/18 Return to Waters Customer.

	121
	WO 01756
	PM 01503
	Flow cell 289007555 (SFC0109)
	WT-F270
	SFC0109
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03933 Date: 12/01/18 Return to Waters Customer.

	122
	WO 01757
	PM 01504
	Flow cell 289007555 (SFC0111)
	WT-F271
	SFC0111
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03934 Date: 12/01/18 Return to Waters Customer.

	123
	WO 01758
	PM 01505
	Flow cell 289007555 (SFC0113)
	WT-F272
	SFC0113
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03935 Date: 12/01/18 Return to Waters Customer.

	124
	WO 01759
	PM 01506
	Flow cell 289007555 (SFC0115)
	WT-F273
	SFC0115
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03936 Date: 12/01/18 Return to Waters Customer.

	125
	WO 01760
	PM 01507
	Flow cell 289007555 (SFC0116)
	WT-F274
	SFC0116
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03937 Date: 12/01/18 Return to Waters Customer.

	126
	WO 01761
	PM 01508
	PDA shunt 289002226 (PM157MD)
	WT-F275
	PM157MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 04568 Date 21/11/18 Change PM Procedure Number.

	127
	WO 01762
	PM 01509
	PDA shunt 289002226 (PM158MD)
	WT-F276
	PM158MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03938 Date: 12/01/18 Return to Waters Customer.

	128
	WO 01763
	PM 01510
	PDA shunt 289002226 (PM159MD)
	WT-F277
	PM159MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03939 Date: 12/01/18 Return to Waters Customer.

	129
	WO 01764
	PM 01511
	PDA shunt 289002226 (PM160MD)
	WT-F278
	PM160MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03940 Date: 12/01/18 Return to Waters Customer.

	130
	WO 01765
	PM 01512
	PDA shunt 289002226 (PM161MD)
	WT-F279
	PM161MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03941 Date: 12/01/18 Return to Waters Customer.

	131
	WO 01766
	PM 01513
	PDA shunt 289002226 (PM162MD)
	WT-F280
	PM162MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03942 Date: 12/01/18 Return to Waters Customer.

	132
	WO 01767
	PM 01514
	PDA shunt 289002226 (PM163MD)
	WT-F281
	PM163MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	10-Jul-14
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 01879 Date 07/10/14. WO 03545 Date: 19/06/17. WO 03943 Date: 12/01/18 Return to Waters Customer.
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	133
	WO 02328
	PM 01822
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F293
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	29-Sep-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                                  WO 04568 Date 21/11/18.

	134
	WO 02329
	PM 01823
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F294
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	29-Sep-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                     WO 04568 Date 21/11/18.

	135
	WO 02330
	PM 01824
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F295
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	29-Sep-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                           WO 04568 Date 21/11/18.

	136
	WO 02331
	PM 01825
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F296
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	29-Sep-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                                 WO 04568 Date 21/11/18.

	137
	WO 02468
	PM 01958
	Linearity shunt 289002219 (#03)
	WT-F292
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	18-Nov-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                              WO 04050 Date 16/05/18                              Return to Waters Customer.

	138
	WO 02469
	PM 01959
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F307
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	18-Nov-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                              WO 04568 Date 21/11/18.

	139
	WO 02470
	PM 01960
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F308
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	18-Nov-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                                       WO 04568 Date 21/11/18.

	140
	WO 02471
	PM 01961
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F309
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	18-Nov-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                                    WO 04568 Date 21/11/18.

	141
	WO 02472
	PM 01962
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F310
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	18-Nov-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                                     WO 04568 Date 21/11/18 .

	142
	WO 02473
	PM 01963
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F311
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	18-Nov-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                               WO 04568 Date 21/11/18.

	143
	WO 02474
	PM 01964
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F312
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	18-Nov-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                                    WO 04568 Date 21/11/18.

	144
	WO 02475
	PM 01965
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F313
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	18-Nov-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                                  WO 04568 Date 21/11/18.

	145
	WO 02476
	PM 01966
	Assy, Analytical Flow Cell  2487/2489 (289007898)
	WT-F314
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3001-00
	18-Nov-15
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17.                                 WO 04568 Date 21/11/18.

	146
	WO 02854
	PM 02185
	TUV Shunt 289002450 (TM109MD)
	WAT-F323
	TM109MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	13-Jun-16
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17. WO 03866 Date: 13/12/17 Inactive-Remove from line (RE/125/17).

	147
	WO 02855
	PM 02186
	TUV Shunt 289002450 (TM112MD)
	WAT-F326
	TM112MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	13-Jun-16
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17. WO 03867 Date: 13/12/17 Inactive-Remove from line (RE/126/17).

	148
	WO 02856
	PM 02187
	TUV Shunt 289002450 (TM114MD)
	WAT-F328
	TM114MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	SKW-ENG3009
	13-Jun-16
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17. WO 03868 Date: 13/12/17 Inactive-Remove from line (RE/127/17).

	149
	WO 03151
	PM 02432
	TUV Shunt 289002450 (TM110MD)
	WAT-F324
	TM110MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detectors Final Test
	Waters
	WAT-RW-SKI03034
	28-Nov-16
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03545 Date: 19/06/17. WO 03845 Date: 30/11/17. WO 04616 Date 09/01/19  WO 04756 Date 04/04/19.
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	150
	WO 03633
	PM 02683
	Aperture Assembly CPU
	K07L32122W
	TE82868-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Cleanroom
	Waters
	SKW-RW-SKR00035
	18 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	151
	WO 03634
	PM 02684
	PDA Rough Alignment CPU
	L07L32070W
	TE82880-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Cleanroom
	Waters
	SKW-RW-SKR00035
	18 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	152
	WO 03635
	PM 02685
	PDA Fine Alignment CPU
	D08L32121W / C08BLM058C
	TE82881-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Cleanroom
	Waters
	SKW-RW-SKR00035
	18 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	153
	WO 03636
	PM 02686
	2998 Flowcell Assembly CPU
	K07L32024W/        240907024C
	TE82916-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Cleanroom
	Waters
	SKW-RW-SKR00035
	18 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	154
	WO 03637
	PM 02687
	2998 Rough Alignment CPU
	B08L32068W
	TE82917-1
	Joel Mamalateo Deduyo
	Engineering
	5th
	Cleanroom
	Waters
	SKW-RW-SKR00035
	18 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	155
	WO 03638
	PM 02688
	2998 Fine Alignment CPU
	B08L32065W
	TE82918-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Cleanroom
	Waters
	SKW-RW-SKR00035
	18 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	156
	WO 03639
	PM 02689
	PDA Assembly CPU
	J06L32014W / G06BLM650C
	TE82951-1
	Joel Mamalateo Deduyo
	Engineering
	5th
	Cleanroom
	Waters
	SKW-RW-SKR00035
	18 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	157
	WO 03640
	PM 02690
	2998 Flowcell Tester CPU
	B08L32248W/ A08BLM491C
	TE82973-1
	Joel Mamalateo Deduyo
	Engineering
	5th
	Cleanroom
	Waters
	SKW-RW-SKR00035
	18 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	158
	WO 03641
	PM 02691
	TUV Shunt 289002450 (TF004MD)
	NA
	TF004MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	21 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03869 Date: 13/12/17                               Inactive-Remove from line (RE/128/17).

	159
	WO 03642
	PM 02692
	TUV Shunt 289002450 (TM107MD)
	NA
	TM107MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	21 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03870 Date: 13/12/17                               Inactive-Remove from line (RE/129/17).

	160
	WO 03643
	PM 02693
	TUV Shunt 289002450 (TM108MD)
	NA
	TM108MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	21 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03846 Date: 30/11/17                                  WO 04617 Date 09/01/19.

	161
	WO 03644
	PM 02694
	TUV Shunt 289002450 (TM111MD)
	NA
	TM111MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	21 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03847 Date: 30/11/17                               WO 04618 Date 09/01/19.

	162
	WO 03645
	PM 02695
	TUV Shunt 289002450 (TM113MD)
	NA
	TM113MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	21 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03871 Date: 13/12/17                               Inactive-Remove from line (RE/130/17).

	163
	WO 03646
	PM 02696
	TUV Shunt 289002450 (TM115MD)
	NA
	TM115MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	21 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03872 Date: 13/12/17                                    Inactive-Remove from line (RE/131/17).

	164
	WO 03647
	PM 02697
	TUV Shunt 289002450 (TM116MD)
	NA
	TM116MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	21 Aug 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03873 Date: 13/12/17                      WO 04619 Date 09/01/19.

	165
	WO 03648
	PM 02698
	Flow cell 289007555 (SFC0452)
	NA
	SFC0452
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test / Dry Cabinet
	Waters
	SKW-ENG3001-00
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 04568 Date 21/11/18.

	166
	WO 03649
	PM 02699
	Flow cell 289007555 (SFC0454)
	NA
	SFC0454
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test / Dry Cabinet
	Waters
	SKW-ENG3001-00
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 04568 Date 21/11/18.

	167
	WO 03650
	PM 02700
	Flow cell 289007555 (SFC0455)
	NA
	SFC0455
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test / Dry Cabinet
	Waters
	SKW-ENG3001-00
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 04568 Date 21/11/18.
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	168
	WO 03651
	PM 02701
	Flow cell 289007555 (SFC0463)
	NA
	SFC0463
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test / Dry Cabinet
	Waters
	SKW-ENG3009
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03944 Date: 12/01/18                                    Return to Waters Customer.

	169
	WO 03652
	PM 02702
	PDA shunt 289002149 (Large 1)
	NA
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test / Dry Cabinet
	Waters
	SKW-ENG3009
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03965 Date: 22/02/18                                     Return to Waters Customer.

	170
	WO 03653
	PM 02703
	PDA shunt 289002149 (Large 2)
	NA
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test / Dry Cabinet
	Waters
	SKW-ENG3009
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03966 Date: 22/02/18                                   Return to Waters Customer.

	171
	WO 03654
	PM 02704
	PDA shunt 289002227 (Small 1)
	NA
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test / Dry Cabinet
	Waters
	SKW-ENG3009
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03967 Date: 22/02/18                                 Return to Waters Customer.

	172
	WO 03655
	PM 02705
	PDA shunt 289002227 (Small 2)
	NA
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test / Dry Cabinet
	Waters
	SKW-ENG3009
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03968 Date: 22/02/18                                      Return to Waters Customer.

	173
	WO 03656
	PM 02706
	PDA shunt 289002226 (PM003MD)
	NA
	PM003MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	SKW-ENG3001-00
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03969 Date: 22/02/18.                                     WO 05129 Date 03/09/19 .

	174
	WO 03657
	PM 02707
	PDA shunt 289002226 (PM021MD)
	NA
	PM021MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	SKW-ENG3001-00
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 04568 Date 21/11/18.                                      WO 05118 Date 20/08/19                              Inactive-Remove from line (RE/039/19).

	175
	WO 03658
	PM 02708
	PDA shunt 289002226 (PM023MD)
	NA
	PM023MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	SKW-ENG3001-00
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 04568 Date 21/11/18 .

	176
	WO 03659
	PM 02709
	PDA shunt 289002226 (PM179MD)
	NA
	PM179MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	SKW-ENG3001-00
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 04568 Date 21/11/18.

	177
	WO 03660
	PM 02710
	PDA shunt 289002226 (PM180MD)
	NA
	PM180MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	SKW-ENG3001-00
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 03970 Date: 22/02/18.                                       WO 05130 Date 03/09/19.

	178
	WO 03661
	PM 02711
	PDA shunt 289002226 (PM224MD)
	NA
	PM224MD
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	SKW-ENG3001-00
	21 Aug 17
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	WO 04568 Date 21/11/18.

	179
	WO 03788
	PM 02750
	TUV Shunt 289002450 (TM145MD)
	TM145MD
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	31 Oct 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	180
	WO 03789
	PM 02751
	TUV Shunt 289002450 (TM0019)
	TM0019
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	31 Oct 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	181
	WO 03790
	PM 02752
	TUV Shunt 289002450 (TM129MD)
	TM129MD
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	31 Oct 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	182
	WO 03791
	PM 02753
	Benchtop Measuring Machine (Starlite 150)
	RSL 1002609
	95515
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI04483
	02 Nov 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	WO 03950 Date 24/01/18.

	183
	WO 03805
	PM 02758
	TUV Shunt 289002450 (TM150MD)
	TM150MD
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Detector Final Test
	Waters
	WAT-RW-SKI03034
	09 Nov 17
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	184
	WO 04089
	PM 02866
	Prime / Purge Module
	NA
	TE82733-7
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production eAlliance
	Waters
	WAT-RW-SKI04071
	13 Jun 18
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	185
	WO 04090
	PM 02867
	Alliance Final Tester 6 CPU
	A14L32340W
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production eAlliance
	Waters
	WAT-RW-SKI04210
	13 Jun 18
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA
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	186
	WO 04352
	PM 03103
	Printer (LaserJet Pro M402dn)
	PHCND52518
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production Alliance
	Waters
	SKW-RW-SKR00035
	15 Aug 18
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	187
	WO 04353
	PM 03104
	Printer (LaserJet Pro M402dn)
	PHCNF49758
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	SKW-RW-SKR00035
	15 Aug 18
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	188
	WO 04354
	PM 03105
	Printer (LaserJet Pro M402dn)
	PHCNH24483
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (Detector)
	Waters
	SKW-RW-SKR00035
	15 Aug 18
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	189
	WO 04355
	PM 03106
	Printer (LaserJet P3005n)
	JPKGJ01942
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (Pump Series)
	Waters
	SKW-RW-SKR00035
	15 Aug 18
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	190
	WO 04601
	PM 03250
	Printer (LaserJet Pro M402dn)
	 PHCNH24481
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	SKW-RW-SKR00035
	13 Dec 18
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	191
	WO 04635
	PM 03268
	Autoloader-3 CPU
	8189MU5 KLTL939
	186002364
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
Floor
	Waters
	SKW-RW-SKR00035
	22 Jan 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	192
	WO 04677
	PM 03300
	Heater Cooler Tester
	L18L32381W
	TE0084018-1
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	WAT-RW-SKI04210
	25 Feb 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	193
	WO 04739
	PM 03319
	Temperature Control Module
	J99TCM867R
	81024
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	WAT-RW-SKI05135
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	194
	WO 04740
	PM 03320
	Temperature Control Module
	G01TCM633M
	81026
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	WAT-RW-SKI05135
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	195
	WO 04741
	PM 03321
	Temperature Control Module
	MX4MM6882M
	81027
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	WAT-RW-SKI05135
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	196
	WO 04742
	PM 03322
	Temperature Control Module
	MX5DM2250R
	81028
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	WAT-RW-SKI05135
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	197
	WO 04743
	PM 03323
	Temperature Control Module
	H01TCM643M
	81029
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	WAT-RW-SKI05135
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	198
	WO 04744
	PM 03324
	Temperature Control Module
	MX5MM4884M
	81030
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	WAT-RW-SKI05135
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	199
	WO 04745
	PM 03325
	Temperature Control Module
	E97TCM153R
	81033
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	WAT-RW-SKI05135
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	200
	WO 04746
	PM 03326
	Temperature Control Module 2
	A18TC2481G
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	
 WAT-RW-SKI05131
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	201
	WO 04747
	PM 03327
	Temperature Control Module 2
	B18TC2495G
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	
 WAT-RW-SKI05131
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	202
	WO 04748
	PM 03328
	Temperature Control Module 2
	F13TC2204G
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	WAT-RW-SKI05131
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA
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	203
	WO 04749
	PM 03329
	Temperature Control Module 2
	F13TC2180G
	NA
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production
(Alliance)
	Waters
	WAT-RW-SKI05131
	02 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	204
	WO 04800
	PM 03371
	TUV Detector
	M09UPT366A
	N/A
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	18 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	205
	WO 04801
	PM 03372
	TUV Detector
	M09UPT364A
	84010
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	17 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	206
	WO 04802
	PM 03373
	TUV Detector
	M09UPT361A
	84007
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	17 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	207
	WO 04803
	PM 03374
	TUV Detector
	K09UPT215A
	84011
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	17 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	208
	WO 04804
	PM 03375
	TUV Detector
	M09UPT362A
	84008
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	17 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	209
	WO 04805
	PM 03376
	TUV Detector
	M09UPT363A
	84009
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	18 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	210
	WO 04806
	PM 03377
	TUV Detector
	M09UPT360A
	84006
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	18 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	211
	WO 04807
	PM 03378
	TUV Detector
	M09UPT359A
	84005
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	18 Apr 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	212
	WO 04944 
	PM 03477
	Acquity SDS tester
	NA
	TE82943-11
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	14 Jun 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	213
	WO 04945 
	PM 03478
	Acquity SDS tester
	NA
	TE82943-12
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	14 Jun 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	214
	WO 04946 
	PM 03479
	Acquity SDS tester
	NA
	TE82943-13
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	14 Jun 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	215
	WO 04947 
	PM 03480
	Acquity SDS tester
	NA
	TE82943-14
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	14 Jun 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	216
	WO 04948
	PM 03481
	Acquity SDS tester
	NA
	TE82943-15
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	17 Jun 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	217
	WO 04949
	PM 03482
	Acquity SDS tester
	NA
	TE82943-16
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	17 Jun 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	218
	WO 04950
	PM 03483
	Acquity SDS tester
	NA
	TE82943-17
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	17 Jun 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA

	219
	WO 04951
	PM 03484
	Acquity SDS tester
	NA
	TE82943-18
	Joel Mamalateo Deduyo
	Engineering
	5th
	Production (BSM/QSM)
	Waters
	WAT-RW-SKI01716
	17 Jun 19
	N
	N
	N
	N
	N
	N
	N
	Y
	NA
	NA






	[1] 
S/No
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	( Y / N )
	( Y / N )
	( Y / N )
	( Y / N )
	( Y / N )
	( Y / N )
	( Y / N )
	
	

	220
	WO 05605
	PM 03816
	2690 Pump Tray Tester
	NA
	TE 82526-2
	Joel Mamalateo Deduyo
	Engineering
	5th
	Alliance Pump Tray Station
	Waters
	WAT-RW-SKI00306
	10-Feb-20
	N
	N
	N
	N
	N
	N
	Y
	N
	NA
	NA

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	





[16]
PREPARED BY:                                    Tan Li Booi
(PM COORDINATOR)                                                             NAME / SIGNATURE / DATE

[17]
APPROVED BY:                                 Nallajanula Phani Bhushan   
(HEAD OF DEPARTMENT)                                                   NAME / SIGNATURE / DATE
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