## Sheet1
Monday | Tuesday | Wednesday | Thursday | Friday
WPPL | CEI | Flex | Venture | WPPL
1. Production Meeting | 1. GX7310 power supply repair (Wait for CA action) | 1. Check Alliance Template 1.9 (Need to reply mike's email) | 1. QSM flow rate (Chan trimmed R1&R2 on TE24, Collect the data & monitoring) | 1. OSER update
2. Update OESR | 2. Tester Dashboard upate (new template) | 2. Tester PC backup/Image (using PC list to check, should buy 1-2 HDD in WPPL?) | 2. FTN pump seal ware rate. Advise Lwin about the interim PM together with Desmond. | 2. Weekly Meeting slide update
3. Online Learning in WPPL | 3. Follow up recent repaired testers. | 3. TSP update, need to get confirmation from Flex and reply Matt today | 3. Hipot Test Training record & daily check record. Need to update Matt ASAP. ( Chroma Hipot cable damage, need repair & risk accessment) | 3. Oct Training request form
| 4. New Degasser board request ( CA should raise new OESR) | 4. Consigned equipment health check (1500 Pump) follow up | 4. Pump tester tubing change frequency determing by usage ( Chan is working on this) | 4. Online Learning in WPPL
| 5. Hipot Test Training Record & Daily Check record ( need to update Matt) | 5. pumptray repair ( Mark is verifying the PCB before shipping) | 5. Needle seal force (Rick's email to share with Venture and understand vetnure's spring supplier feedback)
| 6. Tester PC backup/Image ( shoud communicate with CA/Wang) | 6. Flex should inform WPPL for venture TUV PM | 6. PC/Tester backup/image ( Using PC list to check)
|  | 7. Hipot Test Training Record & daily check record. Need to repair 2x load boxes ASAP and update matt ASAP | 7. Asking Jason to repair the rebooting issue PC by using the new PC backup, need to follow up with him
|  | 8. Detector linearity Test IQ. Following up with James for approving | 8. GTS qualification
|  | 9. Consigned Equipement health check review (Alliance) | 9. Check with Desmond about TSP update in Venture
|  | 10. Alliance Final Tester 5 intermittently hangs. Joel suspect PC issue, it's under monitoring | 10. Read calibration procedures
|  | 11. Carryover SPC, Flex demo the SPC next week, need to advise the parameters under monitoring | 11. Tester dashboard updae.
|  | 12. Tester dashboard updae. | 12. FTN tester PM review