## Consumable for SQT
CONSUMABLES
P/N | Description | Criteria for replacement | Where Used
186003031 | X-bridge Column | When needed | SQT
402000351 | Lamp (The lamp is considered good if there is less than 2000 hours. However, if the TUV is being PM’ed at it’s yearly interval and if the TUV Lamp Hours are greater than 1000 hours, the Lamp must be replaced. ) | 2000Hr and average per year | SQT
700003741 | HPLC System UV Test Solutions (ampules 1, 3, 7, 8 & 9) | Once open, can be used within a week. | SQT
WAT035190 | In line Filter | When needed | SQT
186000307C | - Screw Top Vial, 12x32mm with cap & preslit PFTE Siliconce Septa | Need to use for every sample preaparation | SQT
| hplc grade methanol | Every new SQT system set up | SQT