For Flex (DA)

Flex consumable

| Part # | Deccription | TE/Tool/Consumable | Qty |
| --- | --- | --- | --- |
| 186003031 | XBridge C18 3.5 um 4.6 x 50 mm Column | Consumable | 10 |
| 186002457 | White, 9mm Screw Cap w/Bonded pre-slit P | Consumable | 2 |
| 186005827 | Blk Cap 12x32mm vial PSlt PTFE Sil Sept | Consumable | 1 |
| 186002127 | Green Screw Cap (9mm) w/Bonded Pre-Slit | Consumable | 1 |
| 186002128 | Red Screw Cap (9mm) w/Bonded Pre-Slit PT | Consumable | 1 |
| 700003741 | HPLC System UV Test Solutions (Ampules 1, 3, 7, 8 & 9) | Consumable | 6 |