For Flex (DA)

Flex consumable 

	Part #
	Deccription 
	TE/Tool/Consumable
	Qty

	186003031
	XBridge C18 3.5 um 4.6 x 50 mm Column     
	Consumable
	10 

	186002457
	White, 9mm Screw Cap w/Bonded pre-slit P     
	Consumable
	2 

	186005827
	Blk Cap 12x32mm vial PSlt PTFE Sil Sept     
	Consumable
	1 

	186002127
	Green Screw Cap (9mm) w/Bonded Pre-Slit     
	Consumable
	1 

	186002128
	Red Screw Cap (9mm) w/Bonded Pre-Slit PT     
	Consumable
	1 

	700003741
	HPLC System UV Test Solutions (Ampules 1, 3, 7, 8 & 9)
	Consumable
	6 
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