1. Get part number from Calibration Claim Summary. Eg,
[image: ]
2. In SAP, please key command
[bookmark: _GoBack]
3. Fill up necessary info such as plant ‘CDRD’
4. Check all
5. Get the part cost and verify if it’s tally with claim cost for lower.
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Spare Parts used in Waters@Kallang Place

Cost
S/N[_| Date DESCRIPTION - Partno BAAN No. Quantity_- -~ Remarks
1)For PDA detector(golden unit) p/n: 186005032 s/n: BETUPDOOSN due to lamp lighting fa
1| osAug20 [POWER SUPPLY, H LAMP HAMAMATS WATH278004465 | | waTH-279001105 2 si0145 [oonCh P/n:700011652)
& g 2)For UPC2 detector(golden unit) p/n: 186005034 s/n: G13C29293N due to noise failure.
|P/n:700011869)
1)For TEB2874 TUV lamp supply due to unable to power up lamp.
2 06.Aug.20 |PWR SUP DC 80W MULTI-OUTPUT RM 'WATH-279003675 'WATH-279003675 2 $40.00 2)For UPC2 detector(golden unit) p/n: 186005034 s/n: G13C29293N due to noise failure.
P/n:700011869)
2 11.Aug.20 [KIT CAROUSEL ASSY. \WAT-WAT270328 \WAT-WAT270328 1 $38.42 For Alliance master carousel.
A 11Aug 20 |ASSY, PCS ACQLPDA2 PERSONALTY WAT-210000815 WAT-210000815 N $202.40 :rnlj?::;;ﬂm(enlden unit) p/n: 186005032 5/n: BETUPDOOSN due to noise failure (For
5 27.Aug.20 |ASSEMBLY, CABLE LAMP-POWER SUP \WAT-441000619 \WAT-441000619 1 $3.02 For TEB2874 TUV lamp supply due to wear and tear (broken cable).





