## SPARE Consumable
CONSUMABLES
P/N | Description | Criteria for replacement | Where Used | Reference Document | Stock Balance (not under use in production) | Usage | Source | DATE ARRIVED | Delivery Order # | DATE REQUIRED
186003031 | X-bridge Column | TBD | Alliance Final Tester | WAT271129 | 0 | 26 pcs | Waters | NA | NA | TBD
700005319-1 | GPV Test solution p/n : (Due date on 04 Jun 2020) | Based on Expiration Date | QSM | 735002155 | 4 liter\bottle | Yearly Consumption | Waters | 2018-08-02 | 187136587 | 2019-08-04
WAT 042885 | Detector solution : Erbium Solution | Based on Expiration Date (in a box) 2 month after transfered to cuvette | 186002489 186248900 186002998 186299800 186015032 186015033 186015053 186015034 N2971014 N2971036 | 735003877 735003545 735002531 735003548 | 6 | replaced 1 box per month | Waters | 2018-12-04 |  | 2019-05-01
WAT 042881 | Detector solution : Linearity Solution | Based on Expiration Date (in a box) 1 month after transfered to cuvette | 186002489 186248900 186002998 186299800 186015032 186015033 186015053 186015034 N2971014 N2971036 | 735003877 735003545 735002531 735003548 | 21 | replaced 1 box per month | Waters | 2018-08-24 | 187212354 | 2019-09-04
700004156 | Cuvettes | scratches, broken, wear and tear | 186002489 186248900 186002998 186299800 186015032 186015033 186015053 186015034 N2971014 N2971036 | 735003877 735003545 735002531 735003548 | 5 | NA | Waters |  |  | NA
402000351 | Lamp (The lamp is considered good if there is less than 2000 hours. However, if the TUV is being PM’ed at it’s yearly interval and if the TUV Lamp Hours are greater than 1000 hours, the Lamp must be replaced. ) | 2000Hr and average per year | Alliance cell:21 BSM/QSM cell:8 | 735003471 735001828 71500121902 pg 3-7 | NA | 24 per year | Flex |  |  | NA
700003741 | HPLC System UV Test Solutions (ampules 1, 3, 7, 8 & 9) | 3 box per week | Alliance Final Test | WAT271129 | 25 | 3 box per week | Waters | 2019-01-21 |  | 2019-04-21
186002457 | White Screw cap with bonded, pre-slit PTFE/Silicone septa for 12x32 mm vial | 24 pcs per week | Alliance Final Test | WAT271129 | 100 pcs / pack | 24 | Waters
186005827 | Black Screw op cap, Pre-Slit PTFE/Silicone Septa, 9mm | 24 per week | Alliance Final Test | WAT271129 | 100 pcs/ pack | 24 | Waters
ASFV0 | Flow Valve | wear and tear | adhoc | adhoc | 2 | 1 to 1 replacement | Waters
279001105 | Lamp power supply | wear and tear | adhoc | adhoc | NA | 1 to 1 replacement | Flex | NA | NA | NA
279000852 | Power Supply | wear and tear | adhoc | adhoc | NA | 1 per detector | Flex | NA | NA | NA
WAT035190 | In line Filter (To be replaced on all Tester using in line filter every 6 months) | wear and tear | adhoc | adhoc | NA | NA | Flex | NA | NA | NA
WAT025566 | Fitting Plug (To be replaced on wear and tear occasion) | wear and tear | adhoc | adhoc | NA | NA | Flex | NA | NA | NA
186000307C | - Screw Top Vial, 12x32mm with cap & preslit PFTE Siliconce Septa | Change new vial\cap every new carryover test | Alliance Final Test station | adhoc | 93 Box | 50 / month | FLX-IX-2036-AR corporation. | NA | NA | NA
GUIDELINE :
- To trigger 2 months ahead
- During weekly Eng'g meeting and through email
Note on G4: 17 Oct 2018 trigger 3 months ahead